## Location
LOCATION INFORMATION
**DRAFT FOR DISCUSSION AT DISRS ONLY**
New field not currently in DR Hub
Note: A DERA (DER Aggregator) wil be required to create a "Location" (i.e., premise) in order to participate in PJM's markets. The following fields represent the information that will be required (where applicable) to create a Location.
Field | Description | EDC provides data during review | EDC approves/denies data | Viewable by EDC | Notes
Identifying Information
DER Location | Indicates this location is for DER | N | N | Y
Name | Name of the end-use customer | N | N | Y
Location ID | Auto-assigned when location is saved | N | N | Y
EDC Account Number | Unique EDC identifier for the electric service. | N | Y | Y
Address | The physical address of the end-use customer | N | Y | Y
City |  | N | Y | Y
State |  | N | Y | Y
Zip Code |  | N | Y | Y
DERA | Short Name of the DER Aggregator | N | N | Y
EDC | EDC of the end-use customer | N | Y | Y
Zone | Transmission zone of the end-use customer. | N | Y | Y
Business Segment | Agriculture, Forestry and Fishing, Correctional Facilities, Critical Gas Infrastructure, Data Center, Data Center with Crypto Mining, Hospitals, Industrial/Manufacturing, Mining, Multiple Dwelling Unit, Office Building, Residential, Retail Service, Schools, Services, Transportation, Communications, Electric, Gas and Sanitary Services | N | N | N
DER Type | Distributed Generation, DR with Distributed Injections, DR, Retail BTMG with only the distribution injection participating in the wholesale market | N | N | Y
Electrical Location | PSS/E Bus ID(s) | Y | Y | Y
% Electrical Location | Percent corresponding PSS/E Bus ID represents. Must add to 100% | Y | Y | Y
Meter Equipment - Source of meter data submitted to PJM
Meter Type | EDC, DERA | N | Y | Y | EDC only reviews EDC Meters.
For DERA Meters Only: |  | N | N | N
Meter Equipment | Name of approved metering equipment | N | N | N
Interval | Minute, Hourly, Telemetry, Other | N | N | N
Installation Date | Date meter was installed. Must be before effective date of registration. | N | N | N
Installation QA Plan | Reference to PJM-approved QA plan used to install the meter | N | N | N
I certify the meter has been installed according to this QA Plan | Certification by CSP/DERA that the meter has been installed per the approved QA Plan | N | N | N
Capability Summary of Location
Max Injections (kW) | Maximum injection amount based on interconnection process, | N | Y | Y
Max Market Eligibility (kW) | Maximum amount that will be offered into the market for this Location. May not be greater than the Max Injections. | N | N | Y
Generator Attributes and Capacity Nomination
Generator Name | The Aggregator's name for the generator | N | N | Y
Generator Type | Make consistent with ELCC classes Examples: Internal Combustion Engine, Combustion Turbines, Steam Engines and Cogeneration units, Solar, Wind | N | N | Y
Fuel Type | Coal, Diesel, Natural Gas, Oil, Gasoline, Kerosene, Propane, Wood, Landfill Gases and Waste products, Sun, Wind | N | N | Y
Generator Vintage | The year the generator was manufactured | N | N | Y
Retrofit Year | If the generator was retrofitted for pollution control equipment, indicate the year of the retrofit or a reasonable estimate of the year if the specific year is not available. | N | N | Y
Nameplate (kW) | kW rated capacity for the generator | N | Y | Y
Max Output (kW) | kW output that the generator will use for load reduction and injection during system emergency or during extremely high price periods (can be different from capacity commitment) | N | N | Y
Non-retail BTMG | Is the generator used to serve multiple retail electricity customers with use of a distribution system? This would typically be located in a municipal electric system or electric cooperative. | N | N | Y
Backup Generator Only | Is the generator used exclusively to maintain electricity during an unexpected or unplanned disconnection from the grid? | N | N | Y
Permit Status | The current status of environmental permits for the generator (Available, In Progress, Not Applicable) | N | N | Y
Permit Type | Indicates whether On-Site Generators can run during emergency or non-emergency conditions (Emergency Only, Non-Emergency) | N | N | Y
EIA 860 Gen ID | Government-issued id for existing and planned generators with 1 megawatt or greater of combined nameplate capacity. | N | N | Y
EIA 860 Plant Code | Plant code of the plant the generator is located | N | N | Y
Interconnection Agreement Type | ISA, WMPA, NEM, PURPA QF, None | N | Y | Y
Interconnection Agreement ID | ID depending on the Interconnection Agreement Type | N | Y | Y
DER Operability Date | Date DER is allowed to operate per the Interconnection approver | N | Y | Y
Injection Rights (kW) | Max injection amount based on interconnection process, | N | Y | Y | Already in DR Hub
Nominated ICAP | Amount committed in the Capacity Market. Must be below Injection Rights (kW) | N | N | N
Battery Attributes
Max Output (kW) | kW output that the battery will use for load reduction and injection | N | Y | Y
Battery Capacity (kW 1C) | Maximum kW discharge capability in one hour | N | N | Y
Battery Vintage | The year the battery was manufactured | N | N | Y
Type | The installation set-up: Electric Vehicle, PV system, Stand alone | N | N | Y
Chemistry | Lithium-Ion, Lithium-Air, Lithium-Metal, Lithium-Sulfur, Lead Acid, Zinc-Ion, Sodium-Ion, Sodium-Metal Halide, Magnesium-Ion, Magnesium-Lithium Hybrid, ZincManganese Oxide, Vanadium-Redox Flow, Zinc-Polyiodide Flow and, Organic Aqueous Flow | N | N | Y
Demand Response Attributes and Nomination
Technology Type | Will always be Demand Response | N | N | Y
Peak Load Contribution (kW) | Used to determine the load management capacity nomination for DR-related DER | N | Y | Y | Obtained from the EDC
Winter Peak Load (kW) | Used to determine the load management CP capacity nomination | N | N | Y | Calculated value based on meter data
Capacity Loss Factor | EDC capacity loss factor to convert retail power to transmission-level power. | N | Y | Y | Obtained from the EDC
Energy Loss Factor | EDC energy loss factor to convert retail power to transmission-level power. | N | Y | Y | Obtained from the EDC
Summer Managed Load | Reduction will be made to this kW amount for Firm Service Level, or reduction by this kW amount for Guaranteed Load Drop | N | N | Y
Winter Managed Load | Reduction will be made to this kW amount. | N | N | Y
Measurement Method | Method used to calculate how much the registration will drop to or by, such as Firm Service Level or Guaranteed Load Drop | N | N | Y
Summer Nomindated ICAP | Peak Load Contribution minus (Summer Managed Load * Capacity Loss Factor). | N | N | Y
Winter Nominated ICAP | Winter Peak Loadminus (Winter Managed Load * Winter Weather Adjusment) | N | N | Y
-- Load Reduction Method
Manufacturing (kW) | The load reduction capability (kW) for each applicable load reduction method represents a reasonable estimate of the location’s expected hourly energy load reduction. | N | N | N
Lighting (kW) |  | N | N | N
HVAC (kW) |  | N | N | N
Water Heaters (kW) |  | N | N | N
Refrigeration (kW) |  | N | N | N
Plug Load (kW) |  | N | N | N
Computing (kW) |  | N | N | N
Generator (kW) | kW used to meet load | N | N | N
Battery (kW) | kW used to meet load | N | N | N
RERRA
RERRA Name | Ordinance, resolution or regulation name | Y | Y | Y | Small EDCs must provide RERRA Evidence
RERRA ID | ID number specific to RERRA Evidence in DR Hub | Y | Y | Y
State | State the RERRA Evidence pertains to | Y | Y | Y
Evidence | Area, city or muni the RERRA Evidence pertains to | Y | Y | Y

## Registration
REGISTRATION INFORMATION
**DRAFT FOR DISCUSSION AT DISRS ONLY**
New field not currently in DR Hub
Note: A DERA (DER Aggregator) will be required to create a "Registration" (i.e., premise) in order to participate in PJM's markets. The following fields represent the information that will be required (where applicable) to create a Registration.
Field | Description | Notes
Identifying Information
Registration ID | System generated when record is saved
Registration | Limited to 40 characters through UI and Web Services.
DERA | Same DERA as location being registered
Program | Dropdown of programs that are available for enrollment on date registration is created. When registration is submitted, program is re-checked to make sure it's still available. The choice made in this field controls which tabs must be available on the registration. | New program DER
Effective date | Energy and Ancillary Services - default is 2 days after today's date. Capacity registrations: start of delivery year per program table.
Termination Date | Energy and Ancillary Services default to 400 number of days after effective date. Capacity registrations: end of delivery year
Status | System generated based on where the registration is in the registration process. -New: never submitted. -Pending: Submitted for review. -Duplicate: Duplicate process has been initiated. -Confirmed - Duplicate: duplicate process has been initiated for a confirmed registration. -Pending - Duplicate: duplicate process has been initiated on a pending registration. -Withdrawn: a pending registration has been withdrawn by the CSP. -Terminated: Either the CSP has terminated the registration before the effective (start) date, or the End Date has passed. -Denied EDC, Denied LSE, Denied EDC_LSE: part or all of the registration was denied.
EDC | Display only - comes from location(s)
Zone | Display only - comes from location (s)
Pricing Point | Pnode
LSE | LSE for the customer (only needed for certain Markets) | LSE is only needed if Demand Response is on a location
Allow Modifications: LSE EDC | Checking yes allows EDC and/or LSE to modify fields as they are reviewing them.
Hold Status | Checked by system or PJM. If checked, CSP may not submit settlements (can still participate in Market so eligible for events/settlement creation). If CBL Review is requested, system checks box automatically until task has been approved.
Markets | Markets the user has requested/have been confirmed - Capacity, Energy RT, Energy DA, SR, REG, Regulation with NEM, DASR.
Completed | Checkbox - can be checked once the registration is in Confirmed status. Once the checkbox is checked and registration saved, the CSP may not uncheck it. The registration data is transferred to Capacity Exchange
Test Required | Checked by system when capacity registration is created. PJM must be able uncheck (or re-check if mistake was made) flag individually or in bulk. Flag gets unchecked when registration has satisfied testing requirement.
EDC reliability issue | EDC provides input to PJM if DER should not be allowed to participate because it will create a reliability issues for Distribution System
Homogeneous or Heterogeneous | Refers to same or mix of technology types of the locations
PJM Telemetry setup | Reference to telemetry code for SCADA link
Num of Locations | Number of locations attached to the registration
Location Data - row for each location with rolled up data from location(s)
Location Name | Display only - comes from location(s)
Location EDC Account Number | Comes from location, can be edited here.
Nominated ICAP