## Location
LOCATION INFORMATION
**DRAFT FOR DISCUSSION AT DISRS ONLY**
New field not currently in DR Hub
Note: A DERA (DER Aggregator) will be required to create a "Location" (i.e., premise) in order to participate in PJM's markets. The following fields represent the information that will be required (where applicable) to create a Location.
Field | Description | EDC provides data during review | EDC approves/denies data | Viewable by EDC | Notes
Identifying Information
DER Location | Indicates this location is for DER | N | N | Y | If not DER, then it's a DR location. There are no changes to the DR Location screens or fields
Name | Name of the end-use customer | N | N | Y
Location ID | Auto-assigned when location is saved | N | N | Y
EDC Account Number | EDC specific reference, more than one DER or same type may be aggregated at same pnode on one registration | N | Y | Y
Address | The physical address of the end-use customer | N | Y | Y
City |  | N | Y | Y
State |  | N | Y | Y
Zip Code |  | N | Y | Y
DERA | Short Name of the DER Aggregator | N | N | Y
EDC | EDC of the end-use customer | N | Y | Y
Zone | Transmission zone of the end-use customer. | N | Y | Y
Business Segment | Agriculture, Forestry and Fishing, Correctional Facilities, Critical Gas Infrastructure, Data Center, Data Center with Crypto Mining, Hospitals, Industrial/Manufacturing, Mining, Multiple Dwelling Unit, Office Building, Residential, Retail Service, Schools, Services, Transportation, Communications, Electric, Gas and Sanitary Services | N | N | N
Electrical Location | PSS/E Bus ID(s) | Y | Y | Y
% Electrical Location | Percent corresponding PSS/E Bus ID represents. Must add to 100% | Y | Y | Y
Primary Electrical Location | Indicator determined by DR Hub that will allow other locations with the same primary location to be aggregated together on a registration. If there is no primary location (i.e.50-50 split), all PSS/E IDs with the highest percentage will be identified as primary. | N | N | Y
Meter Equipment - Source of meter data submitted to PJM
Meter Type | EDC, DERA | N | Y | Y | EDC only reviews EDC Meters.
For DERA Meters Only: |  | N | N | N
Meter Equipment | Name of approved metering equipment | N | N | N
Interval | Minute, Hourly, Telemetry, Other | N | N | N
Installation Date | Date meter was installed. Must be before effective date of registration. | N | N | N
Installation QA Plan | Reference to PJM-approved QA plan used to install the meter | N | N | N
I certify the meter has been installed according to this QA Plan | Certification by CSP/DERA that the meter has been installed per the approved QA Plan | N | N | N
Capability Summary of Location
Location DER Type | Distributed Generation, DR with Injections, DR | N | N | Y | Drives how nomination is calculated and meter data that is submitted (DG all goes to power meter, DRwI strips out negatives and sends to power meter)
Interconnection Agreement Type | EDC-NEM, EDC-DER, None, WMPA (wholesale), ISA (wholesale), NEM/PURPA/Other | N | Y | Y | Can have more than 1 type? If so, then triggers additional analysis
Interconnection Agreement ID | ID depending on the Interconnection Agreement Type | N | Y | Y
DER Operability Date | Date DER is allowed to operate per the Interconnection approver | N | Y | Y
Max Injections (kW) | Maximum injection amount based on interconnection process, | N | Y | Y
Max Load (kW) | Max hourly load over prior 12 months | N | Y | Y
Max Market Eligibility (kW) | Maximum amount that will be offered into the Energy & AS market for this Location. Calculated by DR Hub by adding the Max Injections and Min of Max Load and Sum of Load Reduction Capability | N | N | Y
Capacity Nomination |  |  |  |  | If DER Type is DG, then only Generator Nomination appears, if DRwI then Generator and DR nomination appear, if DR only, then DR nomination appears
- Distributed Generator Nomination
Nominated ICAP | Amount committed in the Capacity Market. Must be below Max Injection Rights (kW) | N | N | Y
- Demand Response Nomination
Peak Load Contribution (kW) | Used to determine the load management capacity nomination for DR-related DER | N | Y | Y | Obtained from the EDC
Measurement Method | Method used to calculate how much the registration will drop to or by, such as Firm Service Level or Guaranteed Load Drop | N | N | Y
Summer Managed Load | Reduction will be made to this kW amount for Firm Service Level, or reduction by this kW amount for Guaranteed Load Drop | N | N | Y
Capacity Loss Factor | EDC capacity loss factor to convert retail power to transmission-level power. | N | Y | Y | Obtained from the EDC
Summer Nominated ICAP | Peak Load Contribution minus (Summer Managed Load * Capacity Loss Factor). | N | N | Y
Winter Peak Load (kW) | Used to determine the load management CP capacity nomination | N | N | Y | Calculated value based on meter data
Winter Managed Load | Reduction will be made to this kW amount. | N | N | Y
Winter Nominated ICAP | Winter Peak Load minus (Winter Managed Load * Winter Weather Adjustment) | N | N | Y
Energy Loss Factor | EDC energy loss factor to convert retail power to transmission-level power. | N | Y | Y | Obtained from the EDC, used for emergency energy settlements
Generator Attributes
Generator Name | The Aggregator's name for the generator | N | N | Y
Generator Type | Onshore Wind, Offshore Wind, Fixed-Tilt Solar, Tracking Solar, Landfill Intermittent, Hydro, intermittent, 4-hr Storage, 6-hr Storage, 8-hr Storage, 10-hr Storage, Nuclear, Coal, Gas Combined Cycle, Gas Combustion Turbine, Gas Combustion Turbine Dual Fuel, Diesel Utility, Steam, Waast to Energy Stream, Oil-Fired Combustion Turbine | N | N | Y | Make consistent with ELCC classes. Combined Generator Type with Fuel Type
Fuel Type | Coal, Diesel, Natural Gas, Oil, Gasoline, Kerosene, Propane, Wood, Landfill Gases and Waste products, Sun, Wind | N | N | Y
Generator Vintage | The year the generator was manufactured | N | N | Y
Retrofit Year | If the generator was retrofitted for pollution control equipment, indicate the year of the retrofit or a reasonable estimate of the year if the specific year is not available. | N | N | Y
Nameplate (kW) | kW rated capacity for the generator | N | Y | Y
Max Output (kW) | kW output that the generator will use for load reduction and injection during system emergency or during extremely high price periods (can be different from capacity commitment) | N | N | Y
Non-retail BTMG | Is the generator used to serve multiple retail electricity customers with use of a distribution system? This would typically be located in a municipal electric system or electric cooperative. | N | N | Y
Backup Generator Only | Is the generator used exclusively to maintain electricity during an unexpected or unplanned disconnection from the grid? | N | N | Y
Permit Status | The current status of environmental permits for the generator (Available, In Progress, Not Applicable) | N | N | Y
Permit Type | Indicates whether On-Site Generators can run during emergency or non-emergency conditions (Emergency Only, Non-Emergency) | N | N | Y
EIA 860 Gen ID | Government-issued id for existing and planned generators with 1 megawatt or greater of combined nameplate capacity. | N | N | Y
EIA 860 Plant Code | Plant code of the plant the generator is located | N | N | Y
Battery Attributes
Max Output (kW) | kW output that the battery will use for load reduction and injection | N | Y | N
Battery Capacity (kW 1C) | Maximum kW discharge capability in one hour | N | N | N
Battery Vintage | The year the battery was manufactured | N | N | N
Type | The installation set-up: Electric Vehicle, PV system, Stand alone | N | N | N
Chemistry | Lithium-Ion, Lithium-Air, Lithium-Metal, Lithium-Sulfur, Lead Acid, Zinc-Ion, Sodium-Ion, Sodium-Metal Halide, Magnesium-Ion, Magnesium-Lithium Hybrid, ZincManganese Oxide, Vanadium-Redox Flow, Zinc-Polyiodide Flow and, Organic Aqueous Flow | N | N | N
Demand Response Attributes
-- Load Reduction Method
Manufacturing (kW) | The load reduction capability (kW) for each applicable load reduction method represents a reasonable estimate of the location’s expected hourly energy load reduction. | N | N | N
Lighting (kW) |  | N | N | N
HVAC (kW) |  | N | N | N
Water Heaters (kW) |  | N | N | N
Refrigeration (kW) |  | N | N | N
Plug Load (kW) |  | N | N | N
Computing (kW) |  | N | N | N
Generator (kW) | kW used to meet load | N | N | N
Battery (kW) | kW used to meet load | N | N | N
RERRA
RERRA Name | Ordinance, resolution or regulation name | Y | Y | Y | Small EDCs must provide RERRA Evidence
RERRA ID | ID number specific to RERRA Evidence in DR Hub | Y | Y | Y
State | State the RERRA Evidence pertains to | Y | Y | Y
Evidence | Area, city or muni the RERRA Evidence pertains to | Y | Y | Y

## Registration
REGISTRATION INFORMATION
**DRAFT FOR DISCUSSION AT DISRS ONLY**
New field not currently in DR Hub
Note: A DERA (DER Aggregator) will be required to create a "Registration" (i.e., premise) in order to participate in PJM's markets. The following fields represent the information that will be required (where applicable) to create a Registration.
Field | Description | Notes
Identifying Information
Registration ID | System generated when record is saved
Registration | Limited to 40 characters through UI and Web Services.
DERA | Same DERA as location being registered
Program | Dropdown of programs that are available for enrollment on date registration is created. When registration is submitted, program is re-checked to make sure it's still available. The choice made in this field controls which tabs must be available on the registration. | New program DER
Effective date | Energy and Ancillary Services - default is 2 days after today's date. Capacity registrations: start of delivery year per program table.
Termination Date | Energy and Ancillary Services default to 400 number of days after effective date. Capacity registrations: end of delivery year
Status | System generated based on where the registration is in the registration process. -New: never submitted. -Pending: Submitted for review. -Duplicate: Duplicate process has been initiated. -Confirmed - Duplicate: duplicate process has been initiated for a confirmed registration. -Pending - Duplicate: duplicate process has been initiated on a pending registration. -Withdrawn: a pending registration has been withdrawn by the CSP. -Terminated: Either the CSP has terminated the registration before the effective (start) date, or the End Date has passed. -Denied EDC, Denied LSE, Denied EDC_LSE: part or all of the registration was denied.
EDC | Display only - comes from location(s)
Zone | Display only - comes from location (s)
Pricing Point | Pnode, assigned by PJM after EDC has approved the registration
LSE | LSE for the customer (only needed for certain Markets) | LSE is only needed if Demand Response is on a location
Allow Modifications: LSE EDC | Checking yes allows EDC and/or LSE to modify fields as they are reviewing them.
Hold Status | Checked by system or PJM. If checked, CSP may not submit settlements (can still participate in Market so eligible for events/settlement creation). If CBL Review is requested, system checks box automatically until task has been approved.
Markets | Markets the user has requested/have been confirmed - Capacity, Energy RT, Energy DA, SR, REG, Regulation, SECR. | If there is an NEM on any location on the registration, the only market that may be selected is Ancillary Services (Regulation, SR, SECR)
Completed | Checkbox - can be checked once the registration is in Confirmed status. Once the checkbox is checked and registration saved, the CSP may not uncheck it. The registration data is transferred to Capacity Exchange
Test Required | Checked by system when capacity registration is created. PJM must be able uncheck (or re-check if mistake was made) flag individually or in bulk. Flag gets unchecked when registration has satisfied testing requirement.
EDC reliability issue | EDC provides input to PJM if DER should not be allowed to participate because it will create a reliability issues for Distribution System
PJM Approval | Automatic - if EDC approves, DR Hub automatically approves. If EDC denies, DR Hub automatically denies
DER Type | Heterogeneous or Homogenous. 'Refers to same or mix of technology types of the locations. Can be DG, DR or Both | Determined by DR Hub based on the Location DER Types of the associated location(s)
PJM Telemetry setup | Reference to telemetry code for SCADA link
Num of Locations | Number of locations attached to the registration
Max Injection (kW) | Total of Max Injections of all Locations
Max Load | Total of Max Loads of all Locations
Max Market Eligibility | Total Max Market Eligibility of all Locations
Total Nominated ICAP | Total Nominated ICAP of all Locations
Total Nominated UCAP | Total Nominated UCAP of all Locations
Location Data - row for each location with rolled up data from location(s)
Location Name | Display only - comes from location(s)
Location EDC Account Number | Comes from location, can be edited here.
Nominated ICAP | Rolled up from locatons, used on Capacity registraitons
Max Injection (kW) | From the location
Max Load | Used for Energy
Max Market Eligibility | Used for Energy

## UseCase1
DG, Single location, single DG in the Capacity Market
Step 3 - DERA links to Resource |  | Step 2 - DERA submit registration information, including capacity nomination and EDC approves | [11 empty] | Step 1 - DERA submits information, EDC approves and provides PSS/E ID information | [14 empty] | Step 2
DER Capacity Resource |  | Registration Info | [15 empty] | Location Info | [10 empty] | Capacity Nomination
Resource | LDA | Registration Start/End date | DER type | Market | Expected participation hours | Max Injection (kW) | Max Load | Max Market Eligibility | Total Nominated ICAP | Total Nominated UCAP | EDC reliability issue | PJM Approval | Pricing Point | Location | EDC | Locatinn Status | Zone | EDC account number | Physical address for DER | Interconnection Agreement ID | DER Operability Date | Interconnection Agreement Type | Max Injection (kW) | Max Load (kW) | Max Market Eligibility | PSS/E ID | PSS/E Percent | Primary PSS/E ID | Generator Type | Load Reduction Method | Additional Generator fields | Nominated ICAP | Nominated UCAP
DER Agg PECO | PECO | 6/1/27-5/31/28 | DG | Capacity (has Energy must offer) | WD, 0800 - 2000 | 500 | 0 | 500 | 500 | 465 | No | Yes | DER Agg 1 | Joes Solar | PECO | Confirmed | PECO | a3049333 | 12 Maple Street, Dawson, PA | qvd-01 | 2026-03-01 | EDC-DER | 500 | 0 | 500 | WARMNST4 13.800 | 100 | Y | Fixed-Tilt Solar | na | etc | 500 | 450

## UseCase2
DG, One location with 2 DGs on 1 registration in the Energy Market
Registration Info | [9 empty] | Location Info | [14 empty] | Capability
Registration Start/End date | DER type | Market | Expected participation hours | EDC reliability issue | PJM Approval | Pricing Point | Max Injection (kW) | Max Load | Max Market Eligibility | Location | EDC | Locatinn Status | Zone | EDC account number | Physical address for DER | Interconnection Agreement ID | DER Operability Date | Interconnection Agreement Type | Max Injection (kW) | Max Load (kW) | Max Market Eligibility | PSS/E ID | PSS/E Percent | Primary PSS/E ID | Gen Name | Generator Type | Max Output | Additional Generator fields | Load Reduction Method
2/15/27-2/15/28 | DG | Energy, AS | WD, 0800 - 2000 | No | Yes | DER Agg 2 | 800 | 0 | 800 | Dawson Solar1 | PECO | Confirmed | 12 Maple Street, Dawson, PA | a3049333 | 12 Maple Street, Dawson, PA | qvd-01 | 2026-03-01 | EDC-DER | 800 | 0 | 800 | WARMNST4 13.800 | 100 | Y | Gen 1 | Fixed-Tilt Solar | 500 | etc | na
[25 empty] | Gen 2 | Battery | 300 | etc | na

## UseCase3
DG, Two locations aggregated on 1 registration in the Energy Market
Registration Info | [9 empty] | Location Info | [14 empty] | Capability
Registration Start/End date | DER type | Market | Expected participation hours | EDC reliability issue | PJM Approval | Pricing Point | Max Injection (kW) | Max Load | Max Market Eligibility | Location | EDC | Locatinn Status | Zone | EDC account number | Physical address for DER | Interconnection Agreement ID | DER Operability Date | Interconnection Agreement Type | Max Injection (kW) | Max Load (kW) | Max Market Eligibility | PSS/E ID | PSS/E Percent | Primary PSS/E ID | Gen Name | Generator Type | Max Output | Load Reduction Method | Additional Generator fields
2/15/27-2/15/28 | DG | Energy, AS | WD, 0800 - 2000 | No | Yes | DER Agg 3 | 800 | 0 | 800 | Dawson Solar1 | PECO | Confirmed | 12 Maple Street, Dawson, PA | a3049333 | 12 Maple Street, Dawson, PA | qvd-01 | 2026-03-01 | EDC-DER | 500 | 0 | 500 | WARMNST3 13.800 | 100 | Y | Gen1 | Fixed-Tilt Solar | 500 | na | etc
[10 empty] | Joeville Solar1 | PECO | Confirmed | 1 Oak Rd, Joeville, PA | t34234234 | 1 Oak Rd, Joeville, PA | jvg-87 | 2026-03-10 | EDC-DER | 300 | 0 | 300 | WARMNST3 13.800 WARMNST4 13.800 | 60 40 | Y N | Gen2 | Fixed-Tilt Solar | 300 | na | etc

## UseCase4
DR, Two locations aggregated on 1 registration in the Capacity Market
DER Capacity Resource |  | Registration Info | [13 empty] | Location Info | [14 empty] | Attributes & Capability | [6 empty] | DR Capacity Nomination
Resource | LDA | Registration Start/End date | DER type | Market | Expected participation hours | EDC reliability issue | PJM Approval | Pricing Point | Max Injection (kW) | Max Load | Max Market Eligibility | Total Summer Nominated ICAP | Total Summer Nominated UCAP | Total Winter Nominated ICAP | Total Winter Nominated UCAP | Location | EDC | Locatinn Status | Zone | EDC account number | Physical address for DER | Interconnection Agreement ID | DER Operability Date | Interconnection Agreement Type | Max Injection (kW) | Max Load (kW) | Max Market Eligibility | PSS/E ID | PSS/E Percent | Primary PSS/E ID | Gen Name | Generator Type | Max Output | Load Reduction Method | Load Reduction Kw | Additional DR fields | Additional Generator fields | PLC | FSL | CLF | Summer Nom ICAP | WPL | WFSL | WWADF | Winter Nom ICAP
DER Agg PECO | PECO | 6/1/27-5/31/28 | DR | Capacity | WD, 0800 - 2000 | No | Yes | DER Agg 3 | 0 | 2100 | 1591 | 0 | 910.2 | 490.1006 | 450.8926 | Joe Molding | PECO | Confirmed | 12 Maple Street, Dawson, PA | a3049333 | 12 Maple Street, Dawson, PA | qvd-01 | 2026-03-01 | EDC-DER | 0 | 900 | 900 | WARMNST3 13.800 | 100 | Y | Gen1 | Fixed-Tilt Solar | 700 | Manufacturing | 300 | etc | etc | 800 | 550 | 1.056 | 219.2 | 900 | 550 | 1.054 | 420.9216
[16 empty] | Office Building | PECO | Confirmed | 1 Oak Rd, Joeville, PA | t34234234 | 1 Oak Rd, Joeville, PA | jvg-87 | 2026-03-10 | EDC-DER | 0 | 1200 | 691 | WARMNST3 13.800 WARMNST4 13.800 | 60 40 | Y N | Gen1 | Battery | 100 | HVAC | 500 | etc | etc | 900 | 200 | 1.045 | 691 | 300 | 250 | 1.054 | 69.179