## summary
Data in Presentations at 9/16 LAS
ZONENAME | AREANAME | Capacity | Demand | industry | note on data in this spreadsheet
BGE | BGE | x | x | data center
JCPL | JCPL | x | x | data center
METED | METED | x | x | data center
PECO | PECO | x | x | data center
PEPCO | PEPCO | x | x | data center
PEPCO | SMECO | x |  | data center
PPL | PPL | x |  | data center
PSEG | PSEG |  | x | data center & port electrification
AEP | APCO | x |  | industrial & crypto
AEP | IM | x |  | data center
AEP | AEPOHIO | x |  | data center
APS | PE | x | x | data center & industrial
APS | REC |  | x | data center | updated (lower) demand compared to 9/16 LAS presentation due to correction sent. no capacity values sent in submission template so capacity set equal to demand.
ATSI | OHIO | x | x | data center & industrial & stadium
COMED | COMED | x | x | data center & industrial
DAY | DAY | x | x | data center
DEOK | DEOK | x |  | industrial
DUQ | DUQ | x | x | data center
DOM | DOM |  | x | data center & voltage optimization | spreadsheet shows coincident demand compared to 9/16 LAS presentation which shows billing demand
DOM | NVEC | x | x | data center
DOM | ODEC | x | x | data center | 9/16 LAS presentation is showing maximum annual values and spreadsheet shows Summer maximum
DOM | REC |  | x | data center
EDC/LSE presentations posted under the 09.16.2025 Load Analysis Subcommittee meeting vary in the MW amounts shown with some showing the capacity ask and others showing the demand ask for large load adjustments.
This table shows which load definition was used in each presentation.
The tabs 2026 DEMAND Requests and 2026 CAPACITY Requests show both sets of data received by PJM in the templates that were submitted.

## 2026 DEMAND Requests
Total Demand Request for Large Load Adjustment
Note these are supplied to PJM by EDC/LSE are are not Final Large Load Adjustments
| ZONENAME | AREANAME | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046
AE
BGE | BGE | BGE |  | 17.756 | 25.369 | 42.898 | 110.011 | 177.123 | 244.236 | 308.817 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4 | 358.4
DPL
JCPL |  |  |  | 0 | 0 | 0 | 147 | 500 | 581 | 581 | 581 | 581 | 581 | 581 | 581 | 581 | 581 | 581 | 581 | 581 | 581 | 581 | 581 | 581
METED |  |  |  | 0 | 0 | 0 | 225 | 450 | 675 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900 | 900
PECO | PECO | PECO |  | 16.8 | 88.2 | 281.4 | 518 | 824.6 | 1149.4 | 1419.6 | 1568 | 1673 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708
PENLC
PEPCO |  |  |  | 0 | 70 | 235.2 | 417.9 | 600.6 | 807.8 | 1137.5 | 1319.5 | 1466.5 | 1613.5 | 1736 | 1736 | 1736 | 1736 | 1736 | 1736 | 1736 | 1736 | 1736 | 1736 | 1736
| PEPCO | PEPCO |  | 0 | 0 | 0 | 0 | 0 | 24.5 | 171.5 | 318.5 | 465.5 | 612.5 | 735 | 735 | 735 | 735 | 735 | 735 | 735 | 735 | 735 | 735 | 735
| PEPCO | SMECO |  | 0 | 70 | 235.2 | 417.9 | 600.6 | 783.3 | 966 | 1001 | 1001 | 1001 | 1001 | 1001 | 1001 | 1001 | 1001 | 1001 | 1001 | 1001 | 1001 | 1001 | 1001
PL | PPL | PPL |  | 248 | 2492.448 | 6718.704 | 10729.424 | 13343.6 | 14807.6 | 14998.8 | 15096 | 15096 | 15096 | 15096 | 15096 | 15096 | 15096 | 15096 | 15096 | 15096 | 15096 | 15096 | 15096 | 15096
PS | PSEG | PSEG |  | 718.8097 | 1304.4835 | 2038.2057 | 2617.1452 | 2970.4751 | 3151.9342 | 3404.204 | 3480.6208 | 3505.4564 | 3517.477 | 3525.7018 | 3550.3381 | 3558.5252 | 3566.7499 | 3603.5524 | 3607.3771 | 3611.2642 | 3613.4706 | 3613.8706 | 3636.6405 | 3637.1405
RECO
UGI
AEP |  |  |  | 3233 | 4707 | 6088 | 7681 | 9296 | 11328 | 13825 | 16245 | 18584 | 20922 | 21704 | 21704 | 21704 | 21704 | 21704 | 21704 | 21704 | 21704 | 21704 | 21704 | 21704
| AEP | APCO |  | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788 | 311.7788
| AEP | IM |  | 1031.1396 | 1463.8885 | 1848.8314 | 2099.9172 | 2653.6362 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913 | 2874.7913
| AEP | AEPOHIO |  | 1890.0028 | 2931.5932 | 3927.8136 | 5269.1357 | 6330.8047 | 8141.6157 | 10637.9408 | 13058.5827 | 15397.2144 | 17735.846 | 18517.1053 | 18517.1053 | 18517.1053 | 18517.1053 | 18517.1053 | 18517.1053 | 18517.1053 | 18517.1053 | 18517.1053 | 18517.1053 | 18517.1053
APS |  |  |  | 1109 | 1310 | 1493 | 2168.0273 | 2923.5665 | 3888.7522 | 5114.2964 | 5299.5367 | 5994.4094 | 6121.9584 | 6121.9584 | 6121.9584 | 6121.9584 | 6121.9584 | 6121.9584 | 6705.9584 | 6705.9584 | 6705.9584 | 6705.9584 | 6705.9584 | 6705.9584
| APS | PE |  | 1109 | 1310 | 1493 | 2128 | 2844 | 3801 | 4897 | 4994 | 5595 | 5685 | 5685 | 5685 | 5685 | 5685 | 5685 | 6269 | 6269 | 6269 | 6269 | 6269 | 6269
| APS | REC |  | 0 | 0 | 0 | 40.0273 | 79.5665 | 87.7522 | 217.2964 | 305.5367 | 399.4094 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584
ATSI | ATSI | OHIO |  | 353 | 623 | 1104 | 1658 | 4156 | 4922 | 5704 | 6050 | 6050 | 6163 | 6163 | 6163 | 6163 | 6163 | 6163 | 6163 | 6163 | 6163 | 6163 | 6163 | 6163
COMED | COMED | COMED |  | 900.466 | 1298.119 | 2086.025 | 3546.066 | 5241.244 | 6949.097 | 8628.622 | 10064.949 | 10725.65 | 10990.097 | 11051.209 | 11063.074 | 11070.478 | 11077.153 | 11080.181 | 11081.727 | 11082.136 | 11082.544 | 11082.953 | 11083.361 | 11083.77
DAYTON | DAY | DAY |  | 35 | 270 | 1245 | 3250 | 4700 | 6020 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335
DEOK | DEOK | DEOK |  | 16.2 | 37.8 | 43.2 | 43.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2
DLCO |  |  |  | 0 | 0 | 0 | 150 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250
EKPC
OVEC
DOM |  |  |  | 7219.5929 | 9175.5011 | 11015.3342 | 12534.8646 | 14604.4328 | 16698.3176 | 18776.6989 | 20428.5833 | 21955.1246 | 23986.3312 | 26211.15 | 29174.2203 | 31661.224 | 33324.0351 | 34527.6754 | 35382.354 | 36264.749 | 37003.2034 | 37683.3104 | 38353.1899 | 39027.438
| DOM | DOM |  | 4348.6102 | 4798.3587 | 5264.5551 | 5746.0595 | 6242.6359 | 6772.8522 | 7340.3928 | 7927.2077 | 8525.8843 | 9135.5299 | 9755.5737 | 10384.4339 | 11021.5308 | 11666.8621 | 12319.1064 | 12976.5545 | 13638.7938 | 14304.7875 | 14973.8455 | 15644.4079 | 16315.867
| DOM | NVEC |  | 2053.037 | 3075.841 | 3840.018 | 4442.071 | 5031.892 | 5835.344 | 6721.264 | 7471.528 | 8194.006 | 8931.089 | 9678.73 | 10844.567 | 11945.083 | 12765.607 | 13140.344 | 13281.194 | 13341.605 | 13367.082 | 13378.131 | 13377.448 | 13380.237
| DOM | ODEC |  | 399.9783 | 513.4065 | 578.971 | 640.8255 | 710.5346 | 854.8617 | 1034.5343 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615 | 1103.2615
| DOM | REC |  | 417.9674 | 787.8949 | 1331.7901 | 1705.9085 | 2619.3704 | 3235.2597 | 3680.5078 | 3926.5861 | 4131.9727 | 4816.4508 | 5673.5847 | 6841.9579 | 7591.3487 | 7788.3045 | 7964.9634 | 8021.3439 | 8181.0887 | 8228.0724 | 8228.0724 | 8228.0724 | 8228.0724
PJM RTO |  |  |  | 13867.6247 | 21401.9206 | 32390.9669 | 45795.6381 | 60116.8414 | 71552.337 | 81462.7383 | 88055.7898 | 93553.7404 | 98621.9637 | 101820.6192 | 104820.1908 | 107322.7856 | 109000.4965 | 110243.9672 | 111688.0165 | 112574.7076 | 113315.7765 | 113996.6925 | 114689.7499 | 115364.907

## 2026 CAPACITY Requests
Total Capacity Request for Large Load Adjustment
Note these are supplied to PJM by EDC/LSE are are not Final Large Load Adjustments
| ZONENAME | AREANAME | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046
AE
BGE | BGE | BGE |  | 21.835 | 32.71 | 57.752 | 153.627 | 249.502 | 345.377 | 440.893 | 512 | 512 | 512 | 512 | 512 | 512 | 512 | 512 | 512 | 512 | 512 | 512 | 512 | 512
DPL
JCPL |  |  |  | 0 | 0 | 0 | 163 | 555 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645
METED |  |  |  | 0 | 0 | 0 | 250 | 500 | 750 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
PECO | PECO | PECO |  | 24 | 126 | 402 | 740 | 1178 | 1642 | 2028 | 2240 | 2390 | 2440 | 2440 | 2440 | 2440 | 2440 | 2440 | 2440 | 2440 | 2440 | 2440 | 2440 | 2440
PENLC
PEPCO |  |  |  | 0 | 100 | 336 | 597 | 858 | 1154 | 1625 | 1885 | 2095 | 2305 | 2480 | 2480 | 2480 | 2480 | 2480 | 2480 | 2480 | 2480 | 2480 | 2480 | 2480
| PEPCO | PEPCO |  | 0 | 0 | 0 | 0 | 0 | 35 | 245 | 455 | 665 | 875 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
| PEPCO | SMECO |  | 0 | 100 | 336 | 597 | 858 | 1119 | 1380 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430
PL | PPL | PPL |  | 310 | 3115.56 | 8398.38 | 13411.78 | 16679.5 | 18509.5 | 18748.5 | 18870 | 18870 | 18870 | 18870 | 18870 | 18870 | 18870 | 18870 | 18870 | 18870 | 18870 | 18870 | 18870 | 18870
PS | PSEG | PSEG |  | 797 | 1559 | 2535 | 3288 | 3761 | 3984 | 4312 | 4414 | 4442 | 4455 | 4465 | 4497 | 4507 | 4516 | 4554 | 4558 | 4564 | 4566 | 4567 | 4590 | 4590
RECO
UGI
AEP |  |  |  | 3888.48 | 5661.78 | 7323.01 | 9238.32 | 11181.27 | 13625.27 | 16627.79 | 19539.28 | 22352.13 | 25164.98 | 26104.66 | 26104.66 | 26104.66 | 26104.66 | 26104.66 | 26104.66 | 26104.66 | 26104.66 | 26104.66 | 26104.66 | 26104.66
| AEP | APCO |  | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375 | 375
| AEP | IM |  | 1240.23 | 1760.73 | 2223.73 | 2525.73 | 3191.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73 | 3457.73
| AEP | AEPOHIO |  | 2273.25 | 3526.05 | 4724.28 | 6337.59 | 7614.54 | 9792.54 | 12795.06 | 15706.55 | 18519.4 | 21332.25 | 22271.93 | 22271.93 | 22271.93 | 22271.93 | 22271.93 | 22271.93 | 22271.93 | 22271.93 | 22271.93 | 22271.93 | 22271.93
APS |  |  |  | 1256 | 1500 | 1710 | 2456.0273 | 3291.5665 | 4361.7522 | 5709.2964 | 5905.5367 | 6667.4094 | 6804.9584 | 6804.9584 | 6804.9584 | 6804.9584 | 6804.9584 | 6804.9584 | 7452.9584 | 7452.9584 | 7452.9584 | 7452.9584 | 7452.9584 | 7452.9584
| APS | PE |  | 1256 | 1500 | 1710 | 2416 | 3212 | 4274 | 5492 | 5600 | 6268 | 6368 | 6368 | 6368 | 6368 | 6368 | 6368 | 7016 | 7016 | 7016 | 7016 | 7016 | 7016
| APS | REC |  | 0 | 0 | 0 | 40.0273 | 79.5665 | 87.7522 | 217.2964 | 305.5367 | 399.4094 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584 | 436.9584
ATSI | ATSI | OHIO |  | 403 | 703 | 1242 | 1891 | 4732 | 5583 | 6452 | 6837 | 6837 | 6962 | 6962 | 6962 | 6962 | 6962 | 6962 | 6962 | 6962 | 6962 | 6962 | 6962 | 6962
COMED | COMED | COMED |  | 1002.189 | 1596.314 | 2710.377 | 4799.999 | 7249.529 | 9742.203 | 12178.4 | 14257.173 | 15210.908 | 15588.567 | 15674.317 | 15690.942 | 15701.192 | 15710.4 | 15714.4 | 15718.4 | 15722.4 | 15726.4 | 15730.4 | 15734.4 | 15738.4
DAYTON | DAY | DAY |  | 35 | 270 | 1245 | 3250 | 4700 | 6020 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335 | 6335
DEOK | DEOK | DEOK |  | 18 | 42 | 48 | 48 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88
DLCO |  |  |  | 0 | 0 | 0 | 150 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250
EKPC
OVEC
DOM |  |  |  | 23171.1285 | 26134.9427 | 26851.5019 | 28115.2361 | 30597.3369 | 32497.5967 | 34241.9126 | 35857.6459 | 36541.1459 | 37483.8959 | 39174.4459 | 40663.2959 | 41687.4459 | 41780.4459 | 41780.4459 | 41780.4459 | 41780.4459 | 41780.4459 | 41780.4459 | 41780.4459 | 41780.4459
| DOM | DOM |  | 16589.8285 | 16758.6427 | 16729.2019 | 16679.6361 | 16630.0703 | 16599.78 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959 | 16592.8959
| DOM | NVEC |  | 4846.3 | 5699.3 | 6356.3 | 6989.6 | 7936.6 | 9373.15 | 10284.35 | 11508.75 | 12192.25 | 13135 | 14527.55 | 16016.4 | 17040.55 | 17133.55 | 17133.55 | 17133.55 | 17133.55 | 17133.55 | 17133.55 | 17133.55 | 17133.55
| DOM | ODEC |  | 543 | 697 | 786 | 870 | 964.6667 | 1160.6667 | 1404.6667 | 1498 | 1498 | 1498 | 1498 | 1498 | 1498 | 1498 | 1498 | 1498 | 1498 | 1498 | 1498 | 1498 | 1498
| DOM | REC |  | 1192 | 2980 | 2980 | 3576 | 5066 | 5364 | 5960 | 6258 | 6258 | 6258 | 6556 | 6556 | 6556 | 6556 | 6556 | 6556 | 6556 | 6556 | 6556 | 6556 | 6556
PJM RTO |  |  |  | 30926.6325 | 40841.3067 | 52859.0209 | 68551.9894 | 85870.7044 | 99197.6989 | 110681.792 | 118635.6356 | 124235.5933 | 128904.4013 | 131805.3813 | 133342.8563 | 134387.2563 | 134498.4643 | 134540.4643 | 135196.4643 | 135206.4643 | 135212.4643 | 135217.4643 | 135244.4643 | 135248.4643