## Setup
Enter Stakeholder Committee Name in cell A2:
Capacity Capability Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Effective Load Carrying Capability

## 1. Interest Identification
Capacity Capability Senior Task Force
Effective Load Carrying Capability
Interest Identification
Instructions: List interests of all parties on this page.
1 | Should be suited to reveal capacity value for energy-limited resources
2 | Configuration agnostic
3 | Reasonable risk protection for investors
4 | Allocation of value is non-discriminatory between incumbents and new entrants
5 | Accurately measures amount of tranditional generation that can be displaced while maintaining equivalent reliability
6 | Accurately captures impacts of increased resource penetration
7 | Accurately captures benefits of complementary resource types
8 | Obligations and penalty structure match assumptions used to calculate UCAP
9 | Accurately captures site-specific performance
10 | Clarity and transparancy in methods, assumptions, processes
11 | Predictability for the process over time
12 | Recognize and enable differential compensation of energy limited resources of different durations
13 | Analyses be forward looking - acknowledging future technology improvements in regard to turbines and solar panel efficiency and capability (system conditions)
14 | Financeability
15 | Creating equivalency among heterogenius characteristics and constraints (approximation)
16 | Hybrids - ELCC capability will be different depending on the duration of the battery (2,4,6, 8 hours)
17 | Ability to keep your current capacity accredidations regardless of the amount of incremental resources added
18 | Examine and incorporate resource class unique characteristics
19 | Minimal reliant on manual and pushing more on tariff for rules
20 | Transition rules for projects in queue that are energy limited
21 | Discuss impacts on CIR retention over time
22 | Evaluate and recognize incremental benefits of additional storage duration regardless of a class of duration
23 | Hyrdo - recognize study differences including water in flows, storage capability, permitting flexibility (site specific)
24 | Maintain ability to provide regulation
25 | Recognize intraday ramping value for certain resources; intraday quick start
26 | Protect existing investments with respect to existing resources (grandfathered)
27 | Account for future and historical technology improvements to determine forward ELCC
28 | Ensure the standard is maintain and the changes don't impact reliability or resource adequacy
29 | Evaluation and modeling of sub hourly capabilities for resources of interest
30 | Recognize excess capacity cleared in the market
31 | Publish a public page showing future values of ELCC per resource type
32 | Maintain a reasonable look ahead period and procedure
33 | Look at ways to avoid non-market assumptions in establishing the market
34 | Support accurate price signals for between technologies entry and exit of resources
35 | Reasonable PJM workload on implementation
36 | Accurate Forecast
37 | Market based solutions don't pick winners and losing based on non market criteria
38 | For PJM to further create robust, competitive and non-discriminatory electric power markets
39 | To establish markets that encourage the development of cost-efficient or cost-effective resources
40 | Recognize state capacity choices
41 | Review potential barriers to entry and eliminate unnecessary barriers to entry that drive up costs

## 2. Options Matrix
Capacity Capability Senior Task Force
Effective Load Carrying Capability
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E | F | G | H | Column1 | Column12
* | Implementation |  | NA | A: Transition plan items: For any delivery year with a BRA run prior to May 31, 2023, all corresponding ELCC analysis will be developed using generic backcasts for wind and solar, with unit-specific backcasts available on an opt-in basis. The generic backcasts will be based on a small set of technology types and regions. These generic backcasts will be used for all resources that have less than 10 years of operating data, unless a member requests that PJM develop a unit-specific backcast and provides the required data in the specified format at least 90 days prior to the deadline for release of ELCC results.; B: Transition plan items: Limited duration resources to begin utilizi For ELCC analysis run prior to January 1, 2022, PJM will develop generic backcasts for wind and solar resources based on a small set of technology types and regions. These generic backcasts will be used for all resources that have less than 10 years of operating data, unless a member requests that PJM develop a unit-specific backcast and provides the required data in the specified format at least 90 days prior to the deadline for release of ELCC results.
1 | Class distinctions/ definitions |  | NA
| Intermittent Resources |  | NA | A: Onshore wind, offshore wind, fixed solar, tracking solar, landfill gas, intermittent hydro
| Limited Duration Resources |  | NA | 6 hour energy storage resources, 10 hour ESR 6-hour generic limited duration resources, 10-hour generic limited duration resources. Linear derating allowed for ESR and limited duration resources. Resources may choice a duration class equal to or greater than: (MWh-inventory needed for other firm commitments such as black start)/(CIRs) | Two classes comprising 4-hr and 10-hr storage; units between 4-10 hrs can qualify for either class | Model multiple classes (e.g., by hour) up to X-hr, where X is the duration expected to retain 100% capacity value over the study window | 4 hour, 6 hour, and 10 hour energy storage resources Allow derating along a curve | Energy Limited resources, power limited resources | 2 hour and 4 hour energy storage resources Allow derating along a curve | 8 hour energy storage resources and generic limited duration resources | 4 hour energy storage resources and generic limited duration resources | 4, 6, 8 and 10 hour duration classes. Linear derating allowed. | 4, 6, 8 hour duration classes plus a duration class corresponding to 100% ELCC resources. Linear derating allowed.
| Combination Resources (Intermittent + Limited Duration) |  | NA | solar+6-hour ESR hybrids, solar+10-hour ESR, other gen+6-hour ESR, other gen+10-hour ESR, hydro with storage Resources may choice a duration class equal to or greater than: (MWh-inventory needed for other firm commitments such as black start)/(CIRs) | Solar+4-hour-battery | Hydro with 5-hour reservoir and hydro with 10-hour reservoir | solar+4-hour ESR hybrids, other gen+4-hour ESR, hydro with storage |  | 2 hour and 4 hour energy storage resources Allow derating along a curve | Solar+4-hour ESR hybrids, solar+6-hour ESR hybrids, solar+10-hour ESR, other gen+4-hour ESR, other gen+6-hour ESR, other gen+10-hour ESR, hydro with storage, other combinations of resource types that allow greater reliability than an individual resource.
1a | Which classes is ELCC applied to |  |  | A: All intermittent and limited duration
2 | Timing and Function of ELCC |  |  | A: PJM will compute a Forward ELCC (FELCC) values (in MW blocks) that will be indicative of the CIR value obtainable going forward for those in the queue. There may be different FELCC values depending on region in which the resource is constructed within PJM.; B: PJM will compute a Forward ELCC (FELCC) values (in MW or MWh blocks) that will be indicative of the CIR value obtainable going forward for those in the queue. There may be different FELCC values depending on region in which the resource is constructed within PJM.; C: PJM will compute Forward ELCC (FELCC) values in MW blocks or commercial operation year which are indicative of the Accredited UCAP value obtainable going forward for those in the queue. While in the queue, these values are subject to change, but those changes should not be substantial, unless PJM seeks input to change input concepts. There may be different FELCC values depending on region in which the resource is constructed within PJM. Example- a wind resource in NJ may not receive a similar value to that of a resource in Illinois.
2a | Timing of Class Assessment and Accreditation |  |  | Class ELCC% for the next 10 delivery years is updated each year, rounded to the nearest percentage-point band corresponding to approx. +/-250 MW error in accredited total ELCCMW vs estimated total ELCCMW. Rounding bands to be published ahead of time and revisited every four years for potential update. The final class ELCC% values for a delivery year will be released prior to the third IA in advance of the start of the delivery year. For any class ELCC% values used in the Queue, the most recent value of class ELCC% for the applicable delivery year (e.g., projected year in service) is used. A resource's final Unforced Capacity provided in given delivery year is based on the most recent unit-specific performance adjustment and class ELCC% value. | Quadrennial re-study w/ 4-yr or longer lookahead; accreditation upon clearing BRA does not change for delivery year; accreditation discounted (according to ELCC curve) if entering after BRA for delivery year | Define blocks of storage capacity with given ELCC values (e.g., 0.1-4 GW of 4-hr at 100%, 0.1-18 GW of 8-hr at 100%, etc); re-study when incremental storage additions exceed block | FELCC class accreditation for a unit is locked and becomes its Capacity Interconnection Right (CIR) value at the earlier of the following; meets credit requirements for BRA, or clears a BRA. The developer may meet the credit requirements of the BRA for the applicable delivery year well in advance of the actual running of the BRA to transfer/lockset the FELCC value to the CIR by posting credit to PJM after obtaining a signed Interconnection Agreement. | FELCC class accreditation for a unit is fixed and becomes its ClassELCC% value use for calculating Accredited UCAP at the earlier of the following; the execution of an Interconnction Service Agreement or fulfilling the credit requirement for the BRA (credit posted cannot be withdrawn at any point to maintain the Locked-in value prior to the execution of the ISA). If site must be restudied, the ELCC% lock-in would also need to be reset. In addition, a resource may elect to prove to PJM that it will be able to perform at a higher output/availability than the general resource class modeled in the FELCC. The resource may obtain a higher FELCC value if it produces evidence of why it is technically superior to the technology type in the general FELCC calculation. New - the ClassELCCMW allocated to a resource will not exceed the firm deliverability apportionment (CIR) that a resource maintains. Any excess ClassELCCMW are then made available to subsequent cohorts in the Queue. (this might be deleted if it does not bring consensus of stakeholers that would not have otherwise supported the package) In addition, in the event that a resource fails to offer all of their Accredited UCAP into a BRA/IA (or participate in an FRR plan) and lacks a valid waiver from PJM, the ClassELCCMW allocated to that resource will be lowered accordingly, except not lower than the portion of the firm deliverability apportionment (CIR) that corresponds to upgrades that were self-funded as part of the System Interconnection Agreement necessary for deliverability (that is, they no longer be allocated the ClassELCCMW corresponding to their "free" CIRs). The non-resource-funded ClassELCCMW value (corresponding to the "free" system deliverability) that had been allocated to the resource will be forfeit back to the overall ClassELCCMW pool for use by other resources in the queue under the FELCC approach. We are considering a negotiated position where the ClassELCCMW is locked for a 20-year period, with a reset at that is bound for another period . (example- must be no lower than 80% of the accredited ClassELCCMW%)
2b | Unit specific performance adjustment timing |  | For wind and solar: capability is based on output during 4-hour window of each summer day, a total of 368 hour (the "368 hour rule"). The 368-hour rule is applied prospectively for units in the Queue based on class average or (optionally) unit-specific analysis. Units can offer in an auction up to the highest of last 3 years' performance results (capped at CIRs). The final unit capability prior to a delivery year beginning is the average of the last 3 years' 368-hour results; this number is released prior to the 3d IA so that resources can buy back up any deficiencies. | A: Unit-specific performance adjustment for intermittent resources is performed for Planned resources (using 10 years of backcasts but no earlier than 2012) and actual resources (using actual data supplemented with backcasts for years prior to operation) reevaluated each year using data for the last 10 years (no earlier than 2012). Performance adjustments and backcasts for Planned resources are only produced as needed. The final performance adjustment values for a delivery year will be released prior to the third IA in advance of the start of the delivery year. For any capability values used in the Queue, the most recent available value for performance adjustment is used. A resource's final Unforced Capacity provided in given delivery year is based on the most recent unit-specific performance adjustment and class ELCC% value.; B: The unit will test/demonstrate capability to maintain CIRs for the peak hours associated with the peak FELCC hours utilized in the modeling of the applicable FELCC value. So, 10 years from now, if the peak in the ELCC model is at 5-8pm, a new unit taking on the CIR value associated with that model out will need to demonstrate capability at the 5-8pm hours each year to maintain CIRs. This means the testing hours will not change and the CIR testing will remain aligned with the original FELCC determination.; C: Test window hours for an intermittent resource unit will not change for that unit and will remain aligned with the original FELCC determination for that unit. Accredited UCAP for operating units will be based on the average of the last 7 years' perfromance results or backcast data.
2c | Functional application of ELCC |  |  | A: Resources cannot sell more in a given auction than their unit ELCCMW based on the most recent class ELCC% value and performance/backcast adjustment.; B: Resources cannot sell more in a given auction than their unit ELCCMW based on the most recent class ELCC% value and performance/backcast adjustment. **PJM will maintain an online version of the ELCC model, allowing entities to run the model for themselves. This online version will be updated with identical model information such that you could mirror PJM's actual results with the appropriate input.**
2d | ICAP
| Intermittent Resources |  | ICAP for wind and solar in practice is the 368 hour rule ICAP for other intermittent resources: capability of unit under site conditions coincident with last 15 years of PJM summer peaks. | A: ICAP for intermittent resources = status quo
| Limited Duration Resources |  | ICAP for limited duration resources: lesser of 10 hour rule or summer rating. | A: ICAP of limited duration resources = lesser of summer rating or new “X hour rule”, where “X” is the duration of the class of the resource.; B: Summer Rating
| Combination Resources |  | ICAP for combination resources (except hydro with storage): sum of their component ICAPs. ICAP for hydro with storage: summer rating | A: ICAP of combination resources (except hydro with storage) = status quo (lesser of the sum of component ICAPs or MFO) ICAP of hydro with storage = status quo (summer rating); B: Summer Rating
2e | UCAP
| Intermittent Resources |  | UCAP for wind and solar in practice is equal to ICAP | A: UCAP of Intermittent Resources = MFO*ClassELCC%*PerformanceAdjustment; B: UCAP will be based on FELCC results (i.e., the fixed ClassELCC% from the year a unit secures its initial FELCC value)
| Limited Duration Resources |  | UCAP for other intermittent resources and limited duration resources: ICAP*(1-EFORd) | A: UCAP of limited duration resources = ICAP*ClassELCC%*(1-EFORd); B: Lesser of summer rating or MWh * (ELCC per MWh). Resources with a UCAP equal to their summer rating are deemed "power Limited". Other limited duration resources are "energy limited".; C: UCAP of limited duration resources = (Lesser of MFO or X-hour rule derating)*ClassELCC%*(1-EFORd); D: UCAP = ICAP*Fixed ClassELCC%*(1-EFORd). PJM may published a FELCC ClassELCC% curve for these resources to alleviate any modeling/runtime issues.
| Combination Resources |  | UCAP for combination resources (except hydro with storage): sum of component UCAPs UCAP for hydro with storage: ICAP*(1-EFORd) | A: UCAP of combination resources other than hydro with storage = IntermittentNameplate*IntermittentClassELCC%*PerformanceAdjustment + ESRNameplate*HybridClassXESRResidualELCC%*(1-EFORd) Where “HybridClassXESRResidualELCC% = [ (HybridClassXTotalELCCMW – SUM(HybridClassXIntermittentNameplate*IntermittentClassELCC%)) ] all divided by SUM(HybridClassXESRNameplate) UCAP of hydro with storage = TBD; B: UCAP will be based on the sum of their component FELCCs (sum of ClassELCC%s). In addition, a resource may elect to prove to PJM that it will be able to perform at a higher output/availability than the general resource class modeled in the FELCC. The resource may obtain a higher FELCC to CIR value if it produces evidence of why it is technically superior to the technology type in the general FELCC calculation.
3 | Consideration of a changing ELCC (generic) |  | NA | Use average ELCC; allow ELCC to increase, not just decrease, due to changes in supply mix | Check-in annually to determine status of changing forward conditions--table of capacity values for different forward changing conditions (e.g., storage additions, change to supply mix) over look-ahead window | Define vintages of storage capacity with ELCC values (i.e., 0.1-4 GW of 4-hr at 100%, 4.1-6 GW of 4-hr at 90%, etc); units get ELCC vintage upon first clearing of BRA | A resource’s FELCC value becomes its initial CIR value as indicated in design component 2a, solution option D. | Transition phase: for each of the delivery years with an auction prior to filing of the 2026 Quadrennial Review (i.e., delivery years through 2029/30), a schedule of guaranteed minimum ClassELCC% values will be provided to each resource. Ths schedule will be provided to the resource upon first offering into an auction for a delivery year that is subject to the ELCC policy. Each class will have its schedule of guaranteed minimum ClassELCC% values developed using an estimate of the resource mix that is conservative for that class. If prior to the start of the delivery year, the guaranteed values of any resources that have a commitment for that delivery year is above the ClassELCC% value for that year, then the published ClassELCC% value for other resources in that class will be reduced in order to preserve total reliability. As part of the 2026 Quadrennial Review, PJM will review this approach to consider whether PJM could make the approach “permanent”, extend it to the next Quadrennial Review, or change the approach, depending on analysis of the overall impacts of the approach as implemented up until then. | A resource’s FELCC value becomes its initial Accredited UCAP value as indicated in design component 2a, solution option D. The initial FELCC value (i.e., the ClassELCC% value) at the time the project is first eligible to offer into a BRA is the ClassELCC% that resource uses subject to the retaining sufficient actual output during the performance window for that cohort (i.e., a fixed ClassELCC% approach). The FELCC value reflects the average/hybrid ELCC, not the fleet average ELCC.
4 | Technical considerations of ELCC (generic) |  | NA | The Class ELCC MW is determined by measuring the additional load that the Class resources can serve (while maintaining reliability) relative to the additional load that a perfect generating unit can serve (while maintaining reliability). This approach is described as the "Generation approach" in previous presentations. For resources expected to grow significantly: vendor forecast for resource mix going forward 10 years, including data that supports an assessment of the share per class that are likely to participate in the Capacity Market. For hybrid gen+storage resources and for generic limited duration resources: forecast deployment based on Queue metrics. For other resources: use current deployment levels. Scale up hourly profiles of existing and Planned intermittent class/units consistent with vendor resource mix forecast to develop forward ELCC cases. Energy Resources (i.e., those that do not participate in RPM) are *not* included in any classes, but do and do not contribute towards the hourly net risk shape. The ELCC model will include all available years of data on the uncertainty of Intermittent Resource output relative to load, beginning with 2012. The ELCC model does not include forced outages of limited duration and combination type resources. | Effective firm capacity ("generation-based ELCC") | Use UCAP * ELCC as equivalency metric between all resources | Forward-looking ELCC on expected changes over study look-ahead to changes in (1) storage additions, (2) supply mix & (3) load; include state policy considerations | Solar+battery combination resources are modeled and accredited according to separate modeling of their component classes that are then summed. | Solar+battery combination resources are modeled as a distinct class. The total class ELCC is allocated to each solar-battery unit according to [heuristic to be discussed]. | Option A with following exceptions: 1-Only resources with (or reasonably expected to have) a capacity commitment OR that are reflected in the Reliability Requirement are considered in the resource mix used to calculate ELCC. Energy Only Resources do NOT contribute towards new load shape. 2 - Limited duration resources deemed "power limited" are treasted as traditional generation in the ELCC calculations. | ELCC is deteremined for a MWh, along the lines of the PJM/EE study. Limited duration resources will have an ELCC at the lesser of their ELCC of their MWh and their MFO, and be categorized as "energy limited" or "power limited" accordingly. | As option A except: (1) Only resources with (or reasonably expected to have) a capacity commitment OR that are reflected in the Reliability Requirement are considered in the resource mix used to calculate ELCC. Energy Only Resources do NOT contribute towards new load shape. (2) Limited duration resources deemed "power limited" are treated as traditional generation in the ELCC calculations. ELCC per MWh shall be determined based on the load carrying value of dispatching the expected amount of energy-limited MWh so as to maximize reliability value. | Include frequency response in the ELCC model 1305.5MW
5 | Performance adjustment (category specific)
| Intermittent Resources |  | 368-hour rule | For Intermittent Resources: a unit is allocated a pro rata share of the total class ELCC based on average of output during the top X daily coincident peak windows for each of last 10 years where X (the number of coincident peak days) is the average number of days with significant LOLE in the ELCC analysis and the duration of the window is the average duration of a LOLE event from the ELCC analysis. More recent years are weighted heavier to account for expectation of slight degradation in output. The value for X and the duration of the window can be changed once every 4 years if needed. | A resource may elect to prove to PJM that it will be able to perform at a higher output/availability than the general resource class modeled in the FELCC. The resource may obtain a higher FELCC to CIR value if it produces evidence of why it is technically superior to the technology type in the general FELCC calculation. The method to maintain your CIR will not change once your accreditation and the peak hours for demonstrating capability are assigned. | The Performance Adjustment is based on the ratio of the unit's performance metric to the class average performance metric. The performance metric is the average of the actual or backcasted output of a resource during the 200CP “gross load” hours and the 200CP “putative net load” hours of the last 10 years, regardless of the year or day these hours fall in. “Gross load” is actual PJM load. “Putative net load” is the gross load minus the putative output of the Intermittent Resources that are expected to be deployed in the year that the ELCC analysis is actually run. | Average output during the 8 daily coincident peak hours of the last 10+ years (similar to the approach MISO takes) | The sum of each individual resources ELCC (prior to eFORd adjustment) must total to the ELCC of the entire intermittant/renewable fleet | Each cohort has a window of performance hours that is fixed. The FELCC ClassELCC% value is the expected average output in the performance window of a class average unit. A given unit in a class retains its original Accredited UCAP value if the highest of the last 3,5,or 7 years' values of average output in that performance window meets its existing ClassELCC% value. Otherwise, the Performance Adjustment value of the unit is reduced such that the Accredited UCAP is equal to the highest of the last 3,5, or 7 year's values of the average output of the unit in the window.
| Limited Duration Resources |  |  | A: (1-EFORd); B: Same as solution option B for Intermittent Resources; C: ICAP(1-EFORd)
| Combination Resources (Intermittent + Limited Duration) |  |  | Solar+battery hybrids: calculate performance adjustment for the component classes, then combine according to [heuristic to be determined] | Same as solution option B for Intermittent Resources | Solar+battery hybrids: solar performance adjustment (used in the formula in combination resource UCAP solution for Design Component 2e) is the identical performance adjustment for a standalone solar unit, but using submetered solar output. ESR performance adjustment is based on the applicable EFORd. Other gen+battery hybrids: other gen performance adjustment (used in the formula in combination resource UCAP solution for Design Component 2e) is the identical performance adjustment for the corresponding standalone gen unit, but using submetered gen output. ESR performance adjustment is based on the applicable EFORd. | Average output during the 20 coincident peak hours of the last 10+ years | For the intermittent portion: Each cohort has a window of performance hours that is fixed. The FELCC ClassELCC% value is the expected average output in the performance window of a class average unit. A given unit in a class retains its original Accredited UCAP value if the highest of the last 3 7 years' values of average output in that performance window meets its existing ClassELCC% value. Otherwise, the Performance Adjustment value of the unit is reduced such that the Accredited UCAP is equal to the highest of the last 3 7 year's values of the average output of the unit in the window. For the battery portion - must report outages. The outages will be taken into account in the EFORd (1-EFORd) is allocated only to battery portion, not intermittent.
6 | Simulated dispatch |  | Capacity value of all resources is currently determined with no consideration of unit dispatch or unit parameter | A: PJM will dispatch the resource in the FELCC simulation just as it would any other resource of the type to obtain a FELCC value for each applicable resource type. The method to maintain your CIR will not change once your accreditation and the peak hours for demonstrating capability are assigned.
| Intermittent Resources |  |  | A: Same as Option A for generic design component for Simulated Dispatch; B: Unaltered backcast and unaltered actual historical output is considered in the hourly profiles used for ELCC accreditation.; D: PJM will dispatch the resources in the FELCC simulation for reliability preservation, just as it would any other resource of the type.
| Limited Duration Resources |  |  | Assume reliability-preserving behavior of standalone ESR | Hour by hour dispatch such that the output of the resource is enough to serve load before calling DR. More capable (e.g., longer-duration) generation resources are dispatched before less capable (e.g., shorter-duration) generation resources. Charging is during hours with sufficient margin, including between daily peaks in winter. Limited duration resource output not to exceed CIRs for the applicable year. | Same as Option A for generic design component for Simulated Dispatch | Perfect Dispatch | Dispatched to maximize reliabiilty on each operating day. On days where DR is called, DR and storage dispatched in coordination. | Hour by hour dispatch such that a specific quantity of limited resources is utilized to continue serving and providing load-related control to the grid during and just after the first loss of load event. Even after first load loss, PJM dispatchers must maintain some new quantity of reserves to reduce the risk of further load curtailment (LOL) and to maintain balancing operations. This Limited-Duration Reliability Post DR bounds quantity should be considered in the ELCC model to be dispatched after the use of DR. The total quantity available for this purpose utilized in the model is as follows: Limited Duration Reliability Post DR = The PJM Forecast Peak Load * (PJM Primary Reserve Minimum Requirement percentage + PJM Secondary Reserve Requirement Minimum Requirement percentage + Regulating Reserve Minimum percentage requirement + Frequency Responsive Reserve Minimum Requirement percentage)). The quantity of limited resource being dispatched prior to DR will be known as Limited-Duration Pre-DR = (DR Emergency Qty minus Limited-Duration Reliability Post DR). If the projected installed ICAP capacity More capable (e.g., longer-duration) generation resources are dispatched before less capable (e.g., shorter-duration) generation resources. Charging is during hours with sufficient margin, including between daily peaks in winter. Limited Duration resources will be considered charged and providing regulation service (as they do today) prior to being discharged completed in the model. Limited duration resource output not to exceed CIRs for the applicable year. | Co-optimize DR and Storage resources
| Combination Resources (Intermittent + Limited Duration) |  |  | Generation Owners to provide a simulated dispatch consistent with the capability of the combination resource. PJM to validate. | Combination resources decomposed into their component classes, which then have simulated dispatched according to their class. | Same as Option A for generic design component for Simulated Dispatch | Modeled output from intermittent component is from submeter-based actual output or backcast Grid-charging is during the trough or other hours with sufficient margin. If no grid charging available, then on-site self-supply charging is during hours with sufficient margin. Hour by hour dispatch of ESR component such that: The output of the resource is enough to prevent a loss of load before calling DR. The combined output of the intermittent component and ESR component does not exceed the unit MFO. More capable (e.g., longer-duration) generation resources are dispatched before less capable (e.g., shorter-duration) generation resources. Limited duration generation resources are dispatched before DR is deployed (DR is deployed last). Combination resource output not to exceed CIRS in the applicable year. | Dispatched to maximize reliabiilty on each operating day. On days where DR is called, DR and storage dispatched in coordination. | For hydro with storage: The dispatch simulation for ROR Hydro with storage will be a reliability-preserving simulation with foresight that meets the physical constraints of such units on a plant basis. Operation of a hydro facility with storage is based on meeting the peak net load by reducing generation and ponding in the low load hours to have full storage available for the subsequent high load hours. Establish Min MW levels and Max MW levels that will be fixed for each month of the year. Model a daily budget based on a fixed number of daily MWhs for each month of the year, using: Monthly average hourly streamflow from 2012 to 2019 Model a certain number of MWhs of normal daily storage for moving MWhs from one hour to another. Normal daily storage shall be based on a fixed number of daily MWhs for each month of the year. Based on plant megawatt limits (Min and Max MW) and the MWh of storage, hydro plant storage will be represented in a 4 hour class, 6 hour class, or 10 hour class, with linear derating. Model an “exigent storage reserve” capability that can add incremental generation beyond the daily budget on days with extraordinarily high net load hours. Under exigent storage operations, hydro facilities will be able to maximize their ability to generate during extraordinarily high net load hours. Exigent storage reserves would be replenished from incoming streamflow net of outgoing generation. Exigent storage capability from an upstream hydro facility can be utilized by a downstream hydro facility by relying on cascading storage and flows. | PJM+AEP Energy Limited Duration | Co-optimize DR and Storage resources
7 | Reporting |  |  | A: PJM to publish on its website an annual report on ELCC analysis and results; B: PJM to have stakeholder meeting when it wants to change an input methodology. PJM publish detailed, annual paper on ELCC methodology and results
8
9
10
11
Parking Lot
CIR calculation value and deliverability value consistency (potentially out of scope) [NOTE: SEE ICAP DESIGN COMPONENT AND DISPATCH OF INTERMITTENT RESOURCES DESIGN COMPONENT]
Capacity performance obligations of an ELCC resource (Potentially out of scope)
Note: the principles behind these two parking lot items also bear on the status quo for Capacity market must offer and DA energy market must offer [NOTE: THE LATTER IS GENERALLY TIED TO ICAP AS WELL].
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Capacity Capability Senior Task Force
Effective Load Carrying Capability
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 | Class distinctions/ definitions | High level descriptions (and potentially formal definitions) for the different resource classes to be considered in ELCC analysis. Each class could get its own published ELCC value(s). It lays out which diverse resources are grouped together for reliability assessment purposes, and which are divided from one another. This design component includes whether derating is allowed for Energy Storage Resources and limited duration resources in order to join a class for which the unit's actual duration is shorter. Note: pumped hydro is included as a type of Energy Storage Resource, and not included as a type of dispatchable hydro resource. Dispatchable hydro refers to hydro with ponding (i.e., storage reservoirs), while intermittent hydro refers to hydro that lacks this feature (aka, run of river hydro).
1a | Which classes are ELCC applied to | Which classes are ELCC applied to and how to handle classes that are already not defined.
2 | Timing of ELCC | This group includes timing for ELCC accreditation values and performance adjustments relative to the use of capability values in an actual devliery year, in an auction, or in the Queue. This applies to Planned resources, existing resources, and uprates, which includes Capacity uprates due to additions of incremental energy storage inventory without changes to power capability of a plant.
2a | Timing of Class Assessment and Accreditation | Overall ELCC analysis for each class based on resource mix; accreditation could apply differently to different resources
2b | Unit specific performance adjustment timing | Timing of unit specific performance adjustment.
2c | Functional application of ELCC | What ELCC accreditation values *do* in terms of policy functionality.
2d | ICAP | Installed capacity as described in Manual 21. This is conceptually related to nameplate megawatts or Maximum Facility Output, although it can be significantly less than either of those especially for intermittent resources and limited duration resources.
2e | UCAP | Unforced Capacity as defined in the RAA. This is the commodity that is transacted and delivered (or self-supplied) in the capacity market/Reliability Pricing Model.
3 | Consideration of a changing ELCC (generic) | Class ELCC can go up or down from one delivery year to another as the resource mix and load shape change. All else equal, an increase in deployment of a given class (e.g., solar) decreases the ELCC of that class, both on average for the fleet as well as on the margin for any given unit. This design component includes solutions for how to account for this feature of ELCC results, especially the different values for average ELCC per MW vs. marginal ELCC and the potential for vintage or legacy treatment, in the various contexts in which capability is used, both for economics and for reliability assessments.
4 | Technical considerations of ELCC (generic) Development of projections; eg. Resource mix, load shape, state policies | Miscellaneous technical features of the ELCC model, including inputs to the model. This could include development of projections; eg. Resource mix, load shape, state policies. This could include how actual data for intermittent resources (or backcasts) are used to develop the class ELCC values.
5 | Performance adjustment (category specific) | A method to account for actual or backcasted performance of a specific resource relative to the ELCC results calculated in the model.
6 | Simulated dispatch | How the simulated dispatch of limited-duration resources (incl. ESR) is executed in the ELCC model. This design component could include considerations such as how such resources will schedule their resources given CP bonus and penalty incentives, general offer behavior, and variations in the above based on type of ownership.
7 | Reporting | Periodic (e.g., annual) reporting on ELCC study methodology and results
8 | Capacity performance obligations of an ELCC resource (Potentially out of scope) | TBD/parking lot
9 | Tariff versus Manual Language | Not a design component. Will be tracked in a separate document for stakeholder discussion.

## 2b. Option Details
Capacity Capability Senior Task Force
Effective Load Carrying Capability
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Capacity Capability Senior Task Force
Effective Load Carrying Capability
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A-PJM | B - AEP Energy | C - IMM | D | E
* | Implementation |  |  | Transition plan items: For any delivery year with a BRA run prior to May 31, 2023, all corresponding ELCC analysis will be developed using generic backcasts for wind and solar, with unit-specific backcasts available on an opt-in basis. The generic backcasts will be based on a small set of technology types and regions. These generic backcasts will be used for all resources that have less than 10 years of operating data, unless a member requests that PJM develop a unit-specific backcast and provides the required data in the specified format at least 90 days prior to the deadline for release of ELCC results. | Transition plan items: Limited duration resources to begin utilizi For ELCC analysis run prior to January 1, 2022, PJM will develop generic backcasts for wind and solar resources based on a small set of technology types and regions. These generic backcasts will be used for all resources that have less than 10 years of operating data, unless a member requests that PJM develop a unit-specific backcast and provides the required data in the specified format at least 90 days prior to the deadline for release of ELCC results.
1 | Class distinctions/ definitions
| Intermittent Resources |  |  | Onshore wind, offshore wind, fixed solar, tracking solar, landfill gas, intermittent hydro | Onshore and Offshore Wind, fixed and tracking Solar, Landfill gas, intermittent hydro, etc | Onshore wind, offshore wind, fixed solar, tracking solar, landfill gas, intermittent hydro
| Limited Duration Resources |  |  | Solution A (6 hour energy storage resources, 10 hour ESR 6-hour generic limited duration resources, 10-hour generic limited duration resources. Linear derating allowed for ESR and limited duration resources. Resources may be in any class equal to or longer than the ratio of their (MWh storage inventory capability) divided by (the lesser of MFO or CIRs) ) and Solution G (8 hour ESR and generic limited duration resources) and Solution H (4 hour ESR and generic limited duration resources) | 4-hour, 6-hour and 10-hour Energy Storage Resources 4-hour, 6-hour and 10-hour generic limited duration resources Future ELCC value set by a published curve showing expected values of 4,6, and 10-hour resources for ESR and limited duration resources. (aka, along a curve) This will allow resource of any duration to receive an FELCC value, e.g. 7hr. This will promote resources having greater capabilities. | Anything less than 24 hour resource is a Limited Duration Resource and should not be a capacity resource.
| Combination Resources (Intermittent + Limited Duration) |  |  | solar+storage hybrids, other gen+storage hybrids, hydro with storage solar+6-hour ESR hybrids, solar+10-hour ESR, other gen+6-hour ESR, other gen+10-hour ESR, hydro with storage | Solar+4-hour ESR hybrids, solar+6-hour ESR hybrids, solar+10-hour ESR, other gen+4-hour ESR, other gen+6-hour ESR, other gen+10-hour ESR, hydro with storage, other combinations of resource types that allow greater reliability than an individual resource. | Anything less than 24 hour resource is Limited Duration Resource Treat as intermittent
1a | Which classes is ELCC applied to |  |  | All intermittent and limited duration | All intermittent and limited-duration resources | Intermittent
2 | Timing and Function of ELCC |  |  | N/A | PJM will compute Forward ELCC (FELCC) values in MW blocks or commercial operation year which are indicative of the Accredited UCAP value obtainable going forward for those in the queue. While in the queue, these values are subject to change, but those changes should not be substantial, unless PJM seeks input to change input concepts. There may be different FELCC values depending on region in which the resource is constructed within PJM. Example- a wind resource in NJ may not receive a similar value to that of a resource in Illinois. | NA
2a | Timing of Class Assessment and Accreditation |  |  | Class ELCC% for the next 10 delivery years is updated each year, rounded to the nearest percentage-point band corresponding to approx. +/-250 MW error in accredited total ELCCMW vs estimated total ELCCMW. Rounding bands to be published ahead of time and revisited every four years for potential update. The final class ELCC% values for a delivery year will be released prior to the third IA in advance of the start of the delivery year. For any class ELCC% values used in the Queue, the most recent value of class ELCC% for the applicable delivery year (e.g., projected year in service) is used. A resource's final Unforced Capacity provided in given delivery year is based on the most recent unit-specific performance adjustment and class ELCC% value. | FELCC class accreditation for a unit is fixed and becomes its ClassELCC% value use for calculating Accredited UCAP at the earlier of the following; the execution of an Interconnction Service Agreement or fulfilling the credit requirement for the BRA (credit posted cannot be withdrawn at any point to maintain the Locked-in value prior to the execution of the ISA). If site must be restudied, the ELCC% lock-in would also need to be reset. In addition, a resource may elect to prove to PJM that it will be able to perform at a higher output/availability than the general resource class modeled in the FELCC. The resource may obtain a higher FELCC value if it produces evidence of why it is technically superior to the technology type in the general FELCC calculation. New - the ClassELCCMW allocated to a resource will not exceed the firm deliverability apportionment (CIR) that a resource maintains. Any excess ClassELCCMW are then made available to subsequent cohorts in the Queue. (this might be deleted if it does not bring consensus of stakeholers that would not have otherwise supported the package) In addition, in the event that a resource fails to offer all of their Accredited UCAP into a BRA/IA (or participate in an FRR plan) and lacks a valid waiver from PJM, the ClassELCCMW allocated to that resource will be lowered accordingly, except not lower than the portion of the firm deliverability apportionment (CIR) that corresponds to upgrades that were self-funded as part of the System Interconnection Agreement necessary for deliverability (that is, they no longer be allocated the ClassELCCMW corresponding to their "free" CIRs). The non-resource-funded ClassELCCMW value (corresponding to the "free" system deliverability) that had been allocated to the resource will be forfeit back to the overall ClassELCCMW pool for use by other resources in the queue under the FELCC approach. We are considering a negotiated position where the ClassELCCMW is locked for a 20-year period, with a reset at that is bound for another period . (example- must be no lower than 80% of the accredited ClassELCCMW%) | The final class ELCC% values for a delivery year will be released prior to the third IA in advance of the start of the delivery year. For any class ELCC% values used in the Queue, the most recent value of class ELCC% for the applicable delivery year (e.g., projected year in service) is used. A resource's final Unforced Capacity provided in given delivery year is based on the most recent unit-specific performance adjustment and class ELCC% value.
2b | Unit specific performance adjustment timing |  |  | Unit-specific performance adjustment for intermittent resources is performed for Planned resources (using 10 years of backcasts but no earlier than 2012) and actual resources (using actual data supplemented with backcasts for years prior to operation) reevaluated each year using data for the last 10 years (no earlier than 2012). Performance adjustments and backcasts for Planned resources are only produced as needed. The final performance adjustment values for a delivery year will be released prior to the third IA in advance of the start of the delivery year. For any capability values used in the Queue, the most recent available value for performance adjustment is used. A resource's final Unforced Capacity provided in given delivery year is based on the most recent unit-specific performance adjustment and class ELCC% value. | Test window hours for an intermittent resource unit will not change for that unit and will remain aligned with the original FELCC determination for that unit. Accredited UCAP for operating units will be based on the average of the last 7 years' perfromance results or backcast data. | The final performance ELCC values for a delivery year will be released prior to the third IA in advance of the start of the delivery year. For any capability values used in the Queue, the most recent available value for performance adjustment is used. A resource's final Unforced Capacity provided in given delivery year is based on the most recent unit-specific performance adjustment and class ELCC% value. |  |  | Low
2c | Functional application of ELCC |  |  | Resources cannot sell more in a given auction than their unit ELCCMW based on the most recent class ELCC% value and performance/backcast adjustment. | Resources cannot sell more in a given auction than their unit ELCCMW based on the most recent class ELCC% value and performance/backcast adjustment. **PJM will maintain an online version of the ELCC model, allowing entities to run the model for themselves. This online version will be updated with identical model information such that you could mirror PJM's actual results with the appropriate input.** | Resources cannot sell more in a given auction than their unit ELCC. |  |  | Low - Medium
2d | ICAP | [7 empty] | Low - High
| Intermittent Resources |  |  | ICAP for intermittent resources = status quo | ICAP for intermittent resources = status quo | Status quo |  |  | Medium
| Limited Duration Resources |  |  | ICAP of limited duration resources = lesser of summer rating or new “X hour rule”, where “X” is the duration of the class of the resource. | ICAP of limited duration resources = lesser of summer rating or new “X hour rule”, where “X” is the duration of the class of the resource. | Status quo |  |  | Medium - High
| Combination Resources |  |  | ICAP of combination resources (except hydro with storage) = status quo (lesser of the sum of component ICAPs or MFO) ICAP of hydro with storage = status quo (summer rating) | ICAP of combination resources (except hydro with storage) = status quo (lesser of the sum of component ICAPs or MFO) ICAP of hydro with storage = status quo (summer rating) | Status quo |  |  | High
2e | UCAP |  |  | 0
| Intermittent Resources |  |  | UCAP of Intermittent Resources = MFO*ClassELCC%*PerformanceAdjustment | UCAP will be based on FELCC results (i.e., the fixed ClassELCC% from the year a unit secures its initial FELCC value) | UCAP of Intermittent Resources = MFO*ClassELCC%*Performance Adjustment
| Limited Duration Resources |  |  | UCAP of limited duration resources = (Lesser of MFO or X-hour rule derating)*ClassELCC%*(1-EFORd) | UCAP = ICAP*Fixed ClassELCC%*(1-EFORd). PJM may published a FELCC ClassELCC% curve for these resources to alleviate any modeling/runtime issues. {{In addition, a resource may elect to prove to PJM that it will be able to perform at a higher output/availability than the general resource class modeled in the FELCC. The resource may obtain a higher FELCC to CIR value if it produces evidence of why it is technically superior to the technology type in the general FELCC calculation - PJM cannot do this in any implementation of ELCC}} | Status quo
| Combination Resources |  |  | UCAP of combination resources other than hydro with storage = IntermittentNameplate*IntermittentClassELCC%*PerformanceAdjustment + ESRNameplate*HybridClassXESRResidualELCC%*(1-EFORd) Where “HybridClassXESRResidualELCC% = [ (HybridClassXTotalELCCMW – SUM(HybridClassXIntermittentNameplate*IntermittentClassELCC%)) ] all divided by SUM(HybridClassXESRNameplate) UCAP of hydro with storage = TBD | UCAP will be based on the sum of their component FELCCs (sum of ClassELCC%s). In addition, a resource may elect to prove to PJM that it will be able to perform at a higher output/availability than the general resource class modeled in the FELCC. The resource may obtain a higher FELCC to CIR value if it produces evidence of why it is technically superior to the technology type in the general FELCC calculation. | Status quo
3 | Consideration of a changing ELCC (generic) |  |  | Use average ELCC; allow ELCC to increase, not just decrease, due to changes in supply mix | A resource’s FELCC value becomes its initial Accredited UCAP value as indicated in design component 2a, solution option D. The initial FELCC value (i.e., the ClassELCC% value) at the time the project is first eligible to offer into a BRA is the ClassELCC% that resource uses subject to the retaining sufficient actual output during the performance window for that cohort (i.e., a fixed ClassELCC% approach). The FELCC value reflects the average/hybrid ELCC, not the fleet average ELCC. | Each year use the latest ELCC marginal values to assign ELCC class values. Do not provide legacy/vintage treatment.
4 | Technical considerations of ELCC (generic) |  |  | The Class ELCC MW is determined by measuring the additional load that the Class resources can serve (while maintaining reliability) relative to the additional load that a perfect generating unit can serve (while maintaining reliability). This approach is described as the "Generation approach" in previous presentations. For resources expected to grow significantly: vendor forecast for resource mix going forward 10 years, including data that supports an assessment of the share per class that are likely to participate in the Capacity Market. For hybrid gen+storage resources and for generic limited duration resources: forecast deployment based on Queue metrics. For other resources: use current deployment levels. Scale up hourly profiles of existing and Planned intermittent class/units consistent with vendor resource mix forecast to develop forward ELCC cases. Energy Resources (i.e., those that do not participate in RPM) are *not* included in any classes, but do and do not contribute towards the hourly net risk shape. The ELCC model will include all available years of data on the uncertainty of Intermittent Resource output relative to load, beginning with 2012. The ELCC model does not include forced outages of limited duration and combination type resources. | Needs to be discussed with model details.
5 | Performance adjustment (category specific)
| Intermittent Resources |  |  | The Performance Adjustment is based on the ratio of the unit's performance metric to the class average performance metric. The performance metric is the average of the actual or backcasted output of a resource during the 200CP “gross load” hours and the 200CP “putative net load” hours of the last 10 years, regardless of the year or day these hours fall in. “Gross load” is actual PJM load. “Putative net load” is the gross load minus the putative output of the Intermittent Resources that are expected to be deployed in the year that the ELCC analysis is actually run. | Each cohort has a window of performance hours that is fixed. The FELCC ClassELCC% value is the expected average output in the performance window of a class average unit. A given unit in a class retains its original Accredited UCAP value if the highest of the last 3,5,or 7 years' values of average output in that performance window meets its existing ClassELCC% value. Otherwise, the Performance Adjustment value of the unit is reduced such that the Accredited UCAP is equal to the highest of the last 3,5, or 7 year's values of the average output of the unit in the window. | The Performance Adjustment is based on the ratio of the unit's performance metric to the class average performance metric. The performance metric is the average of the actual output of a resource during the 200 CP "gross load" hours of the last 5 years. For generators with Z years of actual data where 0 ≤ Z < 5, the performance metric will equal (Actual output during 200 CP "gross load" hours)/5 + Class average performance metric x (5 - Z) / 5
| Limited Duration Resources |  |  | (1-EFORd) | ICAP(1-EFORd) | NA
| Combination Resources (Intermittent + Limited Duration) |  |  | Solar+battery hybrids: solar performance adjustment (used in the formula in combination resource UCAP solution for Design Component 2e) is the identical performance adjustment for a standalone solar unit, but using submetered solar output. ESR performance adjustment is based on the applicable EFORd. Other gen+battery hybrids: other gen performance adjustment (used in the formula in combination resource UCAP solution for Design Component 2e) is the identical performance adjustment for the corresponding standalone gen unit, but using submetered gen output. ESR performance adjustment is based on the applicable EFORd. | For the intermittent portion: Each cohort has a window of performance hours that is fixed. The FELCC ClassELCC% value is the expected average output in the performance window of a class average unit. A given unit in a class retains its original Accredited UCAP value if the highest of the last 3 7 years' values of average output in that performance window meets its existing ClassELCC% value. Otherwise, the Performance Adjustment value of the unit is reduced such that the Accredited UCAP is equal to the highest of the last 3 7 year's values of the average output of the unit in the window. For the battery portion - must report outages. The outages will be taken into account in the EFORd (1-EFORd) is allocated only to battery portion, not intermittent. | Intermittent piece subject to performance adjustment rule for intermittent resources
6 | Simulated dispatch
| Intermittent Resources |  |  | Unaltered backcast and unaltered actual historical output is considered in the hourly profiles used for ELCC accreditation. | PJM will dispatch the resources in the FELCC simulation for reliability preservation, just as it would any other resource of the type. | Unaltered actual historical output is considered in the hourly profiles used for ELCC accreditation.
| Limited Duration Resources |  |  | Hour by hour dispatch such that the output of the resource is enough to prevent a loss of load before calling DR. More capable (e.g., longer-duration) generation resources are dispatched before less capable (e.g., shorter-duration) generation resources. Charging is during hours with sufficient margin, including between daily peaks in winter. Limited duration resource output not to exceed CIRs for the applicable year. | Hour by hour dispatch such that a specific quantity of limited resources is utilized to continue serving and providing load-related control to the grid during and just after the first loss of load event. Even after first load loss, PJM dispatchers must maintain some new quantity of reserves to reduce the risk of further load curtailment (LOL) and to maintain balancing operations. This Limited-Duration Reliability Post DR bounds quantity should be considered in the ELCC model to be dispatched after the use of DR. The total quantity available for this purpose utilized in the model is as follows: Limited Duration Reliability Post DR = The PJM Forecast Peak Load * (PJM Primary Reserve Minimum Requirement percentage + PJM Secondary Reserve Requirement Minimum Requirement percentage + Regulating Reserve Minimum percentage requirement + Frequency Responsive Reserve Minimum Requirement percentage)). The quantity of limited resource being dispatched prior to DR will be known as Limited-Duration Pre-DR = (DR Emergency Qty minus Limited-Duration Reliability Post DR). If the projected installed ICAP capacity More capable (e.g., longer-duration) generation resources are dispatched before less capable (e.g., shorter-duration) generation resources. Charging is during hours with sufficient margin, including between daily peaks in winter. Limited Duration resources will be considered charged and providing regulation service (as they do today) prior to being discharged completed in the model. Limited duration resource output not to exceed CIRs for the applicable year. | NA
| Combination Resources (Intermittent + Limited Duration) |  |  | For combinations of generation plus ESR:Modeled output from intermittent component is from submeter-based actual output or backcast Grid-charging is during the trough or other hours with sufficient margin. If no grid charging available, then on-site self-supply charging is during hours with sufficient margin. Hour by hour dispatch of ESR component such that: The output of the resource is enough to prevent a loss of load before calling DR. The combined output of the intermittent component and ESR component does not exceed the unit MFO. More capable (e.g., longer-duration) generation resources are dispatched before less capable (e.g., shorter-duration) generation resources. Limited duration generation resources are dispatched before DR is deployed (DR is deployed last). Combination resource output not to exceed CIRS in the applicable year. For hydro with storage: The dispatch simulation for ROR Hydro with storage will be a reliability-preserving simulation with foresight that meets the physical constraints of such units on a plant basis. Operation of a hydro facility with storage is based on meeting the peak net load by reducing generation and ponding in the low load hours to have full storage available for the subsequent high load hours. Establish Min MW levels and Max MW levels that will be fixed for each month of the year. Model a daily budget based on a fixed number of daily MWhs for each month of the year, using: Monthly average hourly streamflow from 2012 to 2019 Model a certain number of MWhs of normal daily storage for moving MWhs from one hour to another. Normal daily storage shall be based on a fixed number of daily MWhs for each month of the year. Based on plant megawatt limits (Min and Max MW) and the MWh of storage, hydro plant storage will be represented in a 4 hour class, 6 hour class, or 10 hour class, with linear derating. Model an “exigent storage reserve” capability that can add incremental generation beyond the daily budget on days with extraordinarily high net load hours. Under exigent storage operations, hydro facilities will be able to maximize their ability to generate during extraordinarily high net load hours. Exigent storage reserves would be replenished from incoming streamflow net of outgoing generation. Exigent storage capability from an upstream hydro facility can be utilized by a downstream hydro facility by relying on cascading storage and flows. | PJM+AEP Energy Limited Duration
7 | Reporting |  |  | PJM to publish on its website an annual report on ELCC analysis and results | PJM to have stakeholder meeting when it wants to change an input methodology. PJM publish detailed, annual paper on ELCC methodology and results | PJM to publish on its website an annual report on ELCC analysis and results
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Capacity Capability Senior Task Force
Effective Load Carrying Capability
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Capacity Capability Senior Task Force
Effective Load Carrying Capability
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description
CIR calculation value and deliverability value consistency (potentially out of scope)
Capacity performance obligations of an ELCC resource (Potentially out of scope)
Tariff versus Manual Language

## Revision History
Capacity Capability Senior Task Force
Effective Load Carrying Capability
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3