## RTEP issues
CSTF - RTEP/RPM Issues
as of 1/2/2013
# | Topic | Item(s) | Status | Status/Notes
1 | Qualifying Transmission Upgrade (QTU) participation in RPM | a) Review representation of Qualifying Transmission Upgrades (QTUs) in RPM | Complete | 10/15/12-Complete. It is important that the group consider QTU’s when adapting rules.
2 | Transmission project milestones | a) Examine the Transmission project milestone/certification process, used in RPM, to determine if the milestones/ requirements for backbone transmission projects included in the BRA and IA are stringent enough (Attachment DD 5.11.a) | Complete | 10/15/12- Complete. These items will be worked by the CSTF to the extent that they aren’t already covered by the Planning Committee and updated required by FERC Order 1000. Paul McGlynn to provide a status update at the November CSTF meeting
b) Refine definition of "backbone projects"
3 | Increase CETL Stability/ Transparency | a) Provide documentation explaining CETL assumptions | Discuss closing at January meeting | 11/19/12- Education and discussion at meeting explaining the CETL assumptions, planning parameters, & the details outlined in Manual 14B
|  | b) Provide CETL with & without any major questionable projects | Being worked at TEAC; update to be provided to CSTF in January | 11/19/12- Education and discussion at meeting regarding new RTEP scenario analysis that is being worked at the TEAC. Paul McGlynn to provide an update to the CSTF on those efforts in January 2013.
|  | c) Develop a method to model at risk generation in CETL/CETO | Being worked at TEAC; update to be provided to CSTF in January | 11/19/12- Education and discussion at meeting regarding new RTEP scenario analysis that is being worked at the TEAC. Paul McGlynn to provide an update to the CSTF on those efforts in January 2013.
|  | d) Explore ways to ensure that CETL is not limited by easily resolved constraints (per Brattle Review p. 117). | Being worked at TEAC; update to be provided to CSTF in January | 11/19/12- Education and discussion at meeting regarding new RTEP CETL forecasts that is being worked at the TEAC. Paul McGlynn to provide an update to the CSTF on those efforts in January 2013.
|  | e) Review schedule & timing of CETL posting & retirement announcements | Discuss at January meeting | 11/19/12- PJM and MA jointly propose that requests for exemption from offering into an upcoming BRA due to deactivation must be made 5 months prior to the February 1 posting of the BRA planning parameters (i.e. by the September 1 preceding the BRA).
|  | f) Determine if CETL or some import ratio can be used for RPM, separate from RTEP | Discuss at January meeting | 11/19/12- The group expressed that additional discussion is required for this item. The critical element in the discussion and potential solutions will be stability.
4 | Modeling Transmission in RPM | a) Review current definition of LDA to verify that they represent the appropriate level of granularity to send actionable market signals to alleviate reliability concerns | Being worked at TEAC; update to be provided to CSTF in January | 11/19/12- Education and discussion at meeting regarding new RTEP scenario analysis and CETL forecasts that are being worked at the TEAC. Paul McGlynn to provide an update to the CSTF on those efforts in January 2013.
|  | b) Determine which LDAs to model in auctions (can all LDA's be modeled? is there a more flexible ways to represent transmission in RPM auctions? include detailed reliability analysis of all at risk units?) | Being worked at TEAC; update to be provided to CSTF in January | 11/19/12- Education and discussion at meeting regarding new RTEP scenario analysis and CETL forecasts that are being worked at the TEAC. Paul McGlynn to provide an update to the CSTF on those efforts in January 2013.
|  | c) Review LDA approval process (can new LDA's be incorporated without FERC approval?) | Complete | 11/19/12- The group agreed that this item should be marked as complete and no additional work should be completed regarding this item. 10/15/12- Education and discussion at meeting; PJM had previously made straw-man solution proposal. PJM has withdrawn those proposals and indicated they will not pursue those solutions for a Dec. 1 filing.
|  | d) Review coordination of signals sent by RTEP and RPM (ex. RTEP triggers transmission upgrades that may fail to consider potential new entry of generation which may distort bidder behavior in RPM auction) | Discuss closing at January meeting | 10/15/12- Education and discussion at meeting
|  | e) Review timing coordination between RTEP and RPM | Discuss closing at January meeting | 10/15/12- Education and discussion at meeting

## DR issues
CSTF - 2012 Demand Response Issues
as of 12/2013
# | Item | Owner | Priority | Status/Notes
1 | Auditing of DR Contracts | Langbein | 6 | Education, discussion, and issue identification at 9/20 meeting
2 | DR Resource Testing | Langbein | 2 | Education, discussion, and issue identification at 9/20 meeting
3 | Interaction of Peak Load Contribution ("PLC") with end-user RPM cost assignment and DR Resource RPM revenue, and implication to DR resource auction participation | Langbein | 1 | Education, discussion, and issue identification at 11/9 meeting
4 | Process for DR Resources to change commitment to higher curtailment products in subsequent Delivery-Year auctions | Bastian | Complete | Currently possible, Bastian to provided education at 9/20 meeting
5 | Measurement and Verification of different PJM resources and products | Langbein | 3 | Education, discussion, and issue identification at 11/9 meeting
6 | DR Notification time During Non-Critical Summer Hours | Langbein | Complete | Education & discussion at 11/9 meeting; close this item and reconsider if penalty structures change
7 | Review assumptions used in DR Saturation studies | Planning Committee | Complete | MRC first read, September PC vote, October MRC voted down