## FB (hidden)
Stakeholder feedback - 05/09/2014
CONE | Table showing impact of each specific recommendation on the bottom line net CONE.
CONE | Rationale behind avoiding the full switch to CC.
CONE | Why the estimate of future revenues is different from one method than the other.
What cause anomalies in HWI and how avoided in BLS.
Firm transport in SWMAAC - is this currently a prevailing practice and are there any regulatory requirements?
| What does firm gas contract mean? Storage? Transport? Deal with marketer? | Firm gas transportation service.
Explain assumption behind dual-fuel and firm gas contract in SWMAAC.
Where do they see the transportation bottleneck that would require them to put this in the report?
What is the definition of what it takes to be a capacity resource with regard to fuel and other?
Are they assuming any additional market rules aside from what is in the Tariff with regard to fuel, i.e. what is in the background of assumptions?
Gas deliverability issues on slide 29 cured by the ft?
Would the Brattle recommendation be the same or should there be an allowance for gas fired generation that does not connect to the co-point line?
What is Brattle’s definition of a capacity resource when calculating CONE?
Consider cost of fuel firming and if it should be in the CONE calculation.
Is there a fuel inventory standard that plants need to meet?
| In terms of making the determination on firm transportation in SWMAAC, did the assumption come from Brattle or from the subcontractor? |  |  | Joint decision.
For CTs, you should have a backup fuel. Not seeing any CCs being built with dual-fuel capability, so CC's should be required to have firm transportation.
Question the idea of switching to the combined cycle plant. RPM should be designed around pure capacity resources, i.e. combustion turbine plant.
After tax WACC, does not capture all of the risk. Private capital should be considered. More evidence of input from lenders in future analysis.
Slide 20 - how is the 8% WACC derived from the data on this slide?
The fairness opinions are from 2011. Updated with a risk-free rate adjustment. Is that valid?
Is the use of fairness opinions even valid when setting a FERC filed rate?
The CT numbers may be light because of use of a 2X instead of X as the reference plant. Is the scaling issue indicative of what people would build?
The electrical interconnection costs seem low. Please reexamine.
Look at the split between FOM and VOM.
EAS | See discussion on how less liquid points are valued in terms of the basis differential.
Electricity price - how are they valuing the congestion on a going forward basis?
Gas price curve and electric price curve - what are they doing about the lack of liquidity as you get to 18 to 36 months out?
Contigency assumption - background on 50% increase.
Total ECP + OFE cost - why did those costs increase in this study versus the previous one?
Parent LDA net CONE and sub LDA net CONE - why is there a floor on the sub LDA net CONE?
On the CC and CT averaging, clarify that it is the average of the net CONEs.
Is the use of averaging contingent on the forward EAS offset?
With respect to the averaging of CC and CT, would like more info on the longevity of that approach?
How are they using the electricity forwards and how are the calculation congestion and marginal loss adders?
On CC and CT averaging, won't a simple average of CC and CT, that always includes one OTM resource, results in admin net CONE in excess of true net CONE and shouldn't we consider a weighted average to address that?
Property taxes - SWMAAC - Which MD counties were surveyed and were PILOTS considered?
For right shifting, is the proposal to right shift point A to 1 in 5 LOLE based on Brattle's model or actual BRA results?
The amount of generation should be designed to achieve a 1 in 10 standard all of the time. Has Brattle considered the interaction of the transmission planning process in proposing a curve that fails to achieve the 1 in 10 standard in a significant number of planning periods?
Looking for more information on page 9, that the current curve doesn't meet the 1 in 10 average and how does it compare to the Hobbs model.
Real versus nominal levelization - disagree with the Brattle proposal to transition to a real level approach because it could exclude developpers who might make more conservative financial assumptions.
Page 10 top - Suggests that 1 in 5 is about 1 point below the 1 in 10 which seems inconsistent with PJMs RRS study where it's about 2 points.
Same page - The VRR curve here is not the one used in the auctions; was the STRPT considered?
Is ISO-NE's curve drawn correctly? Doesn't appear to be crossing the 1 in 10 target reserve margin at the right place.
Convex curve differs from the current curve in two ways. At low prices extends further to the right, and the value is questioned in a world with 1 percent load growth. Why would we be down there in the first place? This might suggest net CONE is all wrong. Consider the down side of clearing such a large excess.
The curve is much steeper at very high prices which greatly strengthens the incentive to withhold.
Steeper curve to the left - thinks it may make sense because that is when you are short. Believe market power is well addressed through other mechanisms. We don't want it to be too steep, but don't believe the curve as shown is too steep.
Page 11 - "No effect on long term average of prices" - Report should be clear; this is an input assumption. That is my understanding.
Concerned with the number of instances where Brattle has indicated that costs are increasing in SWMAAC, which includes direct CONE estimates for CT and CC. This may deal with underlying data that is best addressed separately with Brattle.
Because Brattle only has three publicly traded proxy group members, IOUs should be added to the proxy group for WACC calculation.
Curve width proposal - please explain the situations in which the minimum width constraint would be binding.
PJM should consider retaining the backward looking EAS offsets. The historical inputs are more reliable, less subject to assumptions that are otherwise required for forward looking. Useful and used by developpers in evaluating projects.
Is the VRR curve broken? Does it need to be fixed? Summary of all of the instances of clearing every year, multiple zones. Summarized result compared to target.
The simulation model used to evaluate VRR curve shape bears very little resemblance to the actual dynamic process of new resource entry, retirements, and such in PJM.
Would help if PJM gave its best estimate of LOLE if we are at IRM.
Does the recent BRA experience (achieved reserve margin in excess of 20% over four BRA's) suggest the current market design should be changed?
Page 10 - will the report make clear that these are three year forward committed capacity years?
Page 3 - Outside of the scope was reliabilty standards which are taken as objectives which includes the 1 day in 10 years, but they have imposed as an objective through their simulation model that through their simulations outcomes must average .1 LOLE. What is the source for that? Shouldn't it be vetted with stakeholders.
"Economically optimal reserve margin" - What is it for PJM? Has Brattle evaluated it? If not, any reason to expect that it holds a different relationship to the 1 in 10 reserve margin than in their report to FERC?
Market power implications of a proposed VRR curve shape need to be evaluated and quantified.
What is the source of Brattle's EAS data for which it concludes that the current EAS offset is overstated in SWMAAC?
| If the VRR curve shape is in the scope of the process, stakeholders will need to receive the simulation model so they can test it. |  | Proprietary.
PJM should incourage Brattle to work around whatever is proprietary in the simulation model. Perhaps build three models: 1 RTO, 1 small LDA, ! high CETL LDA.
Difficult for stakeholders to evaluate parts of this without having access to the model.
Please explain how 25% of CETL was determined to be the appropriate minimum VRR curve width.
If Brattle has thoughts on why E&AS has been overstated, please share them.
Brattle says that the current VRR curve does not meet the 1-in-10 reliability objective on average. Please provide more detailed explanation of your modeling assumptions and results.
Please explain how the approved filing on Clearing of Limited DR / Annual Resources, which was intended to increase reliability, interacts with this proposal to systematically increase reliability requirements.
Brattle states that LDA size approximately scales with CETL. Please provide documentation of this assertion.
For the SWMAAC CC unit, if Brattle is recommending an FT subscription for the Dominion Cove Point pipeline (DCP), have the issues identified in ER12-513 regarding the suitability of DCP pipeline been resolved?

## FB with categorizations
Stakeholder feedback - 05/09/2014
Category | Comment/Question
CONE | Table showing impact of each specific recommendation on the bottom line net CONE.
CONE | Rationale behind avoiding the full switch to CC.
CONE | Why the estimate of future revenues is different from one method than the other.
CONE | What cause anomalies in HWI and how avoided in BLS.
CONE | Firm transport in SWMAAC - is this currently a prevailing practice and are there any regulatory requirements?
CONE | What does firm gas contract mean? Storage? Transport? Deal with marketer? | Firm gas transportation service.
CONE | Explain assumption behind dual-fuel and firm gas contract in SWMAAC.
CONE | Where do they see the transportation bottleneck that would require them to put this in the report?
CONE | What is the definition of what it takes to be a capacity resource with regard to fuel and other?
CONE | Are they assuming any additional market rules aside from what is in the Tariff with regard to fuel, i.e. what is in the background of assumptions?
CONE | Gas deliverability issues on slide 29 cured by the ft?
CONE | Would the Brattle recommendation be the same or should there be an allowance for gas fired generation that does not connect to the Dominion cove point line?
CONE | What is Brattle’s definition of a capacity resource when calculating CONE?
CONE | Consider cost of fuel firming and if it should be in the CONE calculation.
CONE | Is there a fuel inventory standard that plants need to meet?
CONE | In terms of making the determination on firm transportation in SWMAAC, did the assumption come from Brattle or from the subcontractor? |  |  | Joint decision.
CONE | For CTs, you should have a backup fuel. Not seeing any CCs being built with dual-fuel capability, so CC's should be required to have firm transportation.
CONE | Question the idea of switching to the combined cycle plant. RPM should be designed around pure capacity resources, i.e. combustion turbine plant.
CONE | After tax WACC, does not capture all of the risk. Private capital should be considered. More evidence of input from lenders in future analysis.
CONE | Slide 20 - how is the 8% WACC derived from the data on this slide?
CONE | The fairness opinions are from 2011. Updated with a risk-free rate adjustment. Is that valid?
CONE | Is the use of fairness opinions even valid when setting a FERC filed rate?
CONE | The CT numbers may be light because of use of a 2X instead of X as the reference plant. Is the scaling issue indicative of what people would build?
CONE | The electrical interconnection costs seem low. Please reexamine.
CONE | Look at the split between FOM and VOM.
EAS | See discussion on how less liquid points are valued in terms of the basis differential.
EAS | Electricity price - how are they valuing the congestion on a going forward basis?
EAS | Gas price curve and electric price curve - what are they doing about the lack of liquidity as you get to 18 to 36 months out?
EAS | Contigency assumption - background on 50% increase.
EAS | Total ECP + OFE cost - why did those costs increase in this study versus the previous one?
EAS | Parent LDA net CONE and sub LDA net CONE - why is there a floor on the sub LDA net CONE?
NET CONE | On the CC and CT averaging, clarify that it is the average of the net CONEs.
NET CONE | Is the use of averaging contingent on the forward EAS offset?
NET CONE | With respect to the averaging of CC and CT, would like more info on the longevity of that approach?
EAS | How are they using the electricity forwards and how are the calculation congestion and marginal loss adders?
NET CONE | On CC and CT averaging, won't a simple average of CC and CT, that always includes one OTM resource, results in admin net CONE in excess of true net CONE and shouldn't we consider a weighted average to address that?
GROS | Property taxes - SWMAAC - Which MD counties were surveyed and were PILOTS considered?
VRR | For right shifting, is the proposal to right shift point A to 1 in 5 LOLE based on Brattle's model or actual BRA results?
VRR | The amount of generation should be designed to achieve a 1 in 10 standard all of the time. Has Brattle considered the interaction of the transmission planning process in proposing a curve that fails to achieve the 1 in 10 standard in a significant number of planning periods?
VRR | Looking for more information on page 9, that the current curve doesn't meet the 1 in 10 average and how does it compare to the Hobbs model.
CONE | Real versus nominal levelization - disagree with the Brattle proposal to transition to a real level approach because it could exclude developpers who might make more conservative financial assumptions.
VRR | Page 10 top - Suggests that 1 in 5 is about 1 point below the 1 in 10 which seems inconsistent with PJMs RRS study where it's about 2 points.
VRR | Same page - The VRR curve here is not the one used in the auctions; was the STRPT considered?
VRR | Is ISO-NE's curve drawn correctly? Doesn't appear to be crossing the 1 in 10 target reserve margin at the right place.
VRR | Convex curve differs from the current curve in two ways. At low prices extends further to the right, and the value is questioned in a world with 1 percent load growth. Why would we be down there in the first place? This might suggest net CONE is all wrong. Consider the down side of clearing such a large excess.
VRR | The curve is much steeper at very high prices which greatly strengthens the incentive to withhold.
VRR | Steeper curve to the left - thinks it may make sense because that is when you are short. Believe market power is well addressed through other mechanisms. We don't want it to be too steep, but don't believe the curve as shown is too steep.
VRR | Page 11 - "No effect on long term average of prices" - Report should be clear; this is an input assumption. That is my understanding.
CONE | Concerned with the number of instances where Brattle has indicated that costs are increasing in SWMAAC, which includes direct CONE estimates for CT and CC. This may deal with underlying data that is best addressed separately with Brattle.
CONE | Because Brattle only has three publicly traded proxy group members, IOUs should be added to the proxy group for WACC calculation.
VRR | Curve width proposal - please explain the situations in which the minimum width constraint would be binding.
EAS | PJM should consider retaining the backward looking EAS offsets. The historical inputs are more reliable, less subject to assumptions that are otherwise required for forward looking. Useful and used by developpers in evaluating projects.
VRR | Is the VRR curve broken? Does it need to be fixed? Summary of all of the instances of clearing every year, multiple zones. Summarized result compared to target.
VRR | The simulation model used to evaluate VRR curve shape bears very little resemblance to the actual dynamic process of new resource entry, retirements, and such in PJM.
VRR | Would help if PJM gave its best estimate of LOLE if we are at IRM.
VRR | Does the recent BRA experience (achieved reserve margin in excess of 20% over four BRA's) suggest the current market design should be changed?
EAS | Page 10 - will the report make clear that these are three year forward committed capacity years?
VRR | Page 3 - Outside of the scope was reliabilty standards which are taken as objectives which includes the 1 day in 10 years, but they have imposed as an objective through their simulation model that through their simulations outcomes must average .1 LOLE. What is the source for that? Shouldn't it be vetted with stakeholders.
VRR | "Economically optimal reserve margin" - What is it for PJM? Has Brattle evaluated it? If not, any reason to expect that it holds a different relationship to the 1 in 10 reserve margin than in their report to FERC?
VRR | Market power implications of a proposed VRR curve shape need to be evaluated and quantified.
EAS | What is the source of Brattle's EAS data for which it concludes that the current EAS offset is overstated in SWMAAC?
VRR | If the VRR curve shape is in the scope of the process, stakeholders will need to receive the simulation model so they can test it. |  | Proprietary.
VRR | PJM should encourage Brattle to work around whatever is proprietary in the simulation model. Perhaps build three models: 1 RTO, 1 small LDA, ! high CETL LDA.
VRR | Difficult for stakeholders to evaluate parts of this without having access to the model.
VRR | Please explain how 25% of CETL was determined to be the appropriate minimum VRR curve width.
EAS | If Brattle has thoughts on why E&AS has been overstated, please share them.
VRR | Brattle says that the current VRR curve does not meet the 1-in-10 reliability objective on average. Please provide more detailed explanation of your modeling assumptions and results.
VRR | Please explain how the approved filing on Clearing of Limited DR / Annual Resources, which was intended to increase reliability, interacts with this proposal to systematically increase reliability requirements.
VRR | Brattle states that LDA size approximately scales with CETL. Please provide documentation of this assertion.
CONE | For the SWMAAC CC unit, if Brattle is recommending an FT subscription for the Dominion Cove Point pipeline (DCP), have the issues identified in ER12-513 regarding the suitability of DCP pipeline been resolved?

## Links to written feedback
Written feedback received prior to 5/9:
CES Feedback
Consumer Advocate Feedback
LS Power Feedback
NJBPU Feedback
PJMIIC Feedback
PPL EnergyPlus Feedback
PSEG Feedback
SMECO Feedback