July 29, 2014

Attachment A

Capacity Senior Task Force

Triennial Review of Reliability Pricing Model

MD PSC Matrix Solutions Package

Matrix Element					MD PSC Solutions Statement

Line 1 Gross CONE		CONE Area 2 (SWMAAC) Gross CONE proposed by PJM/Brattle

($148,400) may require adjustment to correct an overstatement caused by relying upon only higher cost labor markets to obtain Maryland labor rates and to reflect IMM presented evidence that CT equipment costs are overstated.  Potential downward adjustment is understood to be approximately 15 to 20%.

Line 2 Levelization Method	Reject level-nominal method.  Adopt level-real method.  Level-nominal is inconsistent with PJM proposed revenue offset calculations, is opposed by Brattle, not used by NYISO or ISO-NE and should be rejected for additional reasons stated in Brattle’s 2011 & 2013 Reports.  Rejection of level-nominal reduces Gross CONE by about 15% to $126,000.

Line 3 Reference Resource	Status Quo – Combustion Turbine (CT) GE Frame 7FA with SCR Technology 		and Dual Fuel capability

Line 4 Net E & AS Revenue	At present, pending additional data to be supplied by PJM, MD

Offset Methodology	PSC supports continuation of existing historical 3-year backward looking average method.  MD PSC may be willing to consider Brattle recommended forward looking method adopted by ISO-NE.

Line 5 VRR Curve Shape - 	Status Quo except that MD PSC is still studying the pros/cons of

System	moving Point “a” to quantity = IRM – 0.2%, price + greater (CONE or 1.5x Net CONE).

Line 6 VRR Curve 		Same as System Recommendation of MD PSC as stated in Line 5

Shape – Local		above.

Line 7 Index Used for		Bureau of Labor Statistics indices for wages, materials and turbine

CONE escalation	with weighting

Line 8 RTO-Wide Gross	Use Average of CONE Area.  MD PSC takes no position on

CONE			retention of CONE Area 5.

Line 9 Method for	Do not determine a Net CONE for each CONE Area, instead determine a

Calculating 	Net CONE for each zone using the Gross CONE of the CONE Area to  Net CONE	 which the zone is assigned minus the Net EAS for each zone

For Each 	using peak-period dispatch against the applicable zonal LMP.

CONE Area

Line 10 Method for 	Status Quo

Calculating

Net CONE

For RTO

Line 11 Method for	For Zonal or sub-zonal LDAs, use the Net CONE calculated for that Zone.

Calculating 	For LDAs that comprise multiple zones, use the average of the Net CONE

Net CONE 	determined for each of the applicable Zones.  Reject substitution of Parent

For each LDA		LDA Net CONE.