## Setup
Enter Stakeholder Committee Name in cell A2:
Effective Load Carrying Capability Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Capacity Market Enhancements - ELCC Accreditation Methodology

## 1. Interest Identification
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
Interest Identification
Instructions: List interests of all parties on this page.
1 | Ensure that system risk modeling and accreditation reflect appropriate levels of correlated outage risk
2 | Allow accreditation methodology to reflect verifiable improvements in resource performance
3 | Estimate accreditation of resources using a consistent non-discriminatory methodology
4 | To enhance the competitiveness of PJM markets
5 | To enhance the investability of PJM markets
6 | Develop a common understanding of what ELCC accreditation is intended to provide
7 | Align investment incentives with signals sent by ELCC accreditation
8 | Explore more immediate feedback mechanisms between ELCC accreditation and investment signals
9 | Reflect changes over time of underlying market circumstances in ELCC accreditation
10 | Enhance predictability of ELCC accreditation for market participants
11 | Seek the use of information to accredit resources that is not available to resource owners or that cannot be aggregated in a useful manner and provided to market participants
12 | Explore the use of performance and weather weightings to rely more directly on recent historical data
13 | Ensure the integrity of the capacity market product
14 | Ensure the method of ELCC calculation is transparent
15 | Ensure the time period of selection of weather and performance data reasonably reflects going forward risk
16 | Ensure the method is as unit specific as possible
17 | Ensure that the method addresses new entrants in a way not overly affected by past performance of existing units
18 | Ensure ELCC methods result in stable values for each auction in any given delivery year

## 2. Options Matrix- Design Comp.
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
OPTIONS MATRIX
# | Design Components1 | Priority | Status Quo | A | B | C | D | E | F | G
* | Implementation
1 | ELCC Accreditation Methodology - Overview |  | Capacity accreditation measures resources' marginal contribution to system resource adequacy (i.e. resource's expected performance during times of system reliability risk in the delivery year). Accreditation uses the same probabilistic analysis used in the Reserve Requirement Study (RRS), which simulates potential system conditions and reliability outcomes under a broad range of weather scenarios, load scenarios and resource performance, to measure the expected contribution to system reliability of different resource classes and resources given patterns of system loss-of-load risk.
ELCC Modeling Details
2 | Weather Scenarios |  | Weather scenarios based on historical weather patterns back to June 1, 1993. Weather scenarios are used in the model to construct hourly load scenarios using latest PJM Load Forecast Model, characterize historical resource performance as a function of temperature back to 2012 using a binning methodology, and capture the observed relationship that weather has on both load levels and resource availability in the simulated analysis. | Weighting approach to emphasize more recent weather data | Rolling average of weather data for a specific timeframe, with older data rolling off
3 | Performance Modeling of Resources (Overview) |  | Unit, class, and fleet performance for thermal and variable generation modeled as a function of temperature by resampling against historical availability back to 2012 using a binning methodology. Each day of historical performance within a temperature bin has equal probability of being drawn as any other day within the bin. Dispatch of DR and Limited Duration Resources simulated in model. | Weighting approach to emphasize more recent performance data to reflect investments that have been made | Understanding the impact of maintenance timing and impacts on ELCC | Change the lookback period (currently June 1, 2012) to a rolling 5-year lookback. (This would be analogous to the 5-year lookback option used under the EFORd method) | Weighting approach that puts greater emphasis or weight on more recent observations of performance within temperatures in the risk analysis and ELCC accreditation. The weighting is based on Exponential Smoothing using a defined alpha value (e.g. 0.1 or 0.25) to set how quickly older observations are de-weighted and newer observations are emphasized within temperature bins.
4 | Performance Modeling of Unlimited Resources |  | Historical weather and corresponding forced outages and ambient de-rates since June 1, 2012 used to characterize thermal outage rates as a function of weather using binning methodology. The amount (MW-weeks) of planned and maintenance outages per year based on historical data since June 1, 2012. Heuristic used to schedule planned and maintenance outages during periods of lower loads, except for small portion intentionally scheduled during high risk periods as observed since 2012. | Change the lookback period (currently June 1, 2012) to a rolling 5-year lookback. (This would be analogous to the 5-year lookback option used under the EFORd method)
5 | Performance Modeling of Unlimited Resources without full history ("Immature Unit") |  | For the period of history back to June 1, 2012 that is missing, the putative forced outage history and ambient de-rate history of the resource will be calculated as total MW on forced outage or an ambient de-rate from resources in the same ELCC Class that were in operation at the time divided by total installed capacity of such resources. | Generator owners must have the opportunity to make a case for a unit-specific ELCC value for new units, at the discretion of the resource owner, to PJM. (This could be in the form of using the “Administrative Review” proposal option from a few meetings ago as a fallback mechanism.)
5a | Planned Resources that have no performance history (brand new unlimited resources) |  |  | Use Class rating by technology type for initial rating until operating history is established | CT and CC single fuel resources with established performance histories, when switching to dual-fuel, should have their unit-specific performance history recognized so as not to unnecessarily derate a historically high performing unit.
6 | Maximum Modeled Output of Unlimited Resources |  | ICAP (capped at CIRs) at all times of the year
7 | Performance Modeling of Variable Resources |  | Historical weather and corresponding variable resource performance (actual and putative) since June 1, 2012 used to characterize performance as a function of weather based on a binning methodology. For any period of history that is missing back to June 1, 2012, the putative unavailability is derived from an hourly backcast, which uses geographical location and plant characteristics as inputs | Change the lookback period (currently June 1, 2012) to a rolling 5-year lookback. (This would be analogous to the 5-year lookback option used under the EFORd method)
8 | Maximum Modeled Output of Variable Resources |  | Effective Nameplate Capacity (equal to Maximum Facility Output for Variable Resources), but capped to levels assessed in PJM deliverability studies. In the summer, assessed deliverability and maximum output cannot exceed CIRs. In the winter, assessed deliverability levels vary during peak and non-peak hours based on resource type and geographic location and are driven by levels studied in winter / light load gen deliverability analyses.
9 | Performance Modeling of Intermittent Hydro |  | Annual draw of performance since 2012 as a function of closest matching seasonal peak loads | Unit - specific performance modelling for run of river hydro resources.
10 | Performance Modeling of Limited Duration Resources |  | Simulated dispatch in the model that depends on other system conditions (e.g. load, other resources’ performance, remaining storage) during the hour. In the simulated dispatch, less available resources are dispatched after the more available resources to maximize the system reliability benefit.
11 | Maximum Modeled Output of Limited Duration Resources |  | Effective Nameplate Capacity (equal to the sustained level of output that the unit can provide and maintain over the duration of its ELCC class, not to exceed CIRs) at all times of the year
12 | Reflection of Resource Investments in Accreditation |  | Demonstrated improvement or degradation in performance of resources captured as additional performance history is rolled into the ELCC analysis. The impact of new performance history on the Accredited UCAP will depend on the weather and performance of resources observed in that year, where years with more extreme weather or periods of significant outages and reliability risk will have a significantly greater impact on Accredited UCAP values going forward relative to years with milder weather or immaterial levels of outages and reliability risk.
13 | Performance Modeling of Demand Resources |  | Simulated dispatch in the model where DR is deployed during hours within its defined performance windows when total available Unlimited and Variable Resources is less than the load, and reduction capability is assumed to scale up and down with system load levels (currently under review at the MIC). | (solutions options under review at MIC)
14 | Load used in the model |  | PJM uses weather history from 1994… | Understand scaler better and adjust impact of 1994 peak value
ELCC Class Definitions
15 | ELCC Classes |  | Full list of ELCC Classes provided in RAA Schedule 9.2 (B). The list of defined ELCC Classes include: Nuclear, Coal, Gas CC, Gas CC Dual Fuel, Gas CT, Gas CT Dual Fuel, Diesel Utility, Steam, Other Unlimited, Fixed Solar, Tracking Solar, Onshore Wind, Offshore Wind, Intermittent Hydro, Intermittent LF, various Limited Duration Resource classes, etc. | Status Quo + Waste-to-Energy. “Muni/Wood Waste Class” shall mean an ELCC Class consisting of Unlimited Resources of the steam technology type and the primary fuel is municipal waste or wood waste from original design "Steam Class" shall mean an ELCC Class consisting of Unlimited Resources of the steam technology type and the primary fuel is not coal or nuclear or municipal waste from original design or wood waste from original design. | Status Quo + Add Co-Generation and Combined Heat and Power as a new ELCC Class | Status Quo + Add External Onshore Wind and External Tracking Solar as new ELCC Classes. | Status Quo + Allow for the creation of Hybrid Resource ELCC Classes that accredit resources as a combined unit instead of as a summation of the individual parts | Status Quo + Steam Waste-to-Energy Class + Oil CT Class Steam - Waste to Energy: This new class would consist of certain generators that currently fall under the broader “Steam” ELCC Class today that utilize steam technology with a primary fuel source of muni waste or wood waste. Oil CTs: This new class would consist of certain generators that currently fall in the “Other Unlimited Resource Class” today that utilize combustion turbine technology with a primary fuel source of oil / diesel
ELCC Accreditation and UCAP Calculations
16 | ELCC Class Rating Calculation |  | The probabilistic risk analysis is used to measure the amount of EUE reduction observed when an increment (100 MW) of capacity from the class under study is added to the model. That level of EUE reduction is then compared to the amount of EUE reduction observed in the model when an increment of perfect annual capacity is added instead. Example: 100 MW of incremental class capacity results in 40 MWh EUE reduction in the ELCC analysis. 100 MW of incremental perfect capacity results in 50 MWh of EUE reduction. The ELCC Class Rating would be set equal to 40 MWh / 50 MWh = 80%.
17 | ELCC Resource Performance Adjustment |  | Reflects each resources’ weighted average historically-observed performance, in those hours and weather conditions (temperature bins) in which the system experiences reliability risk, relative to class average historically-observed performance in those same hours and weather conditions back to 2012. Hours considered in the performance adjustment factors include both the hours that see loss-of-load risk in the model, as well as additional hours of observed performance during days within the temperature bins that have reliability risk. Temperature bins that experience more loss-of-load risk have greater weighting in the performance adjustment. Within each temperature bin, each day of historical performance has equal weighting.
18 | Accreditation UCAP Calculation |  | For resources that have an ELCC Class Rating determined, Accredited UCAP is calculated as follows: (a) Unlimited Resources: Resource ICAP * ELCC Class Rating * Resource Performance Adjustment (b) Variable & Limited Duration Resources: min{ENC * ELCC Class Rating * Resource Performance Adjustment, Resource ICAP (CIRs)} (c) Demand Resources: Resource ICAP * ELCC Class Rating For resources with no ELCC Class Rating, Accredited UCAP is based on a resource-specific ELCC analysis. | Status quo + Allow all resources to be accredited based on unit specific resource performance (i.e. allow resources the option not to use class rating)
BRA to IA Risk Management
19 | MW Quantity offered in BRA. Potential reforms that may provide greater certainty in ELCC accreditation and/or allow market participants to better manage potential changes in ELCC accreditation between the time of the BRA and the final ELCC values determined for a Delivery Year. |  | The ELCC accreditation of resources is determined prior to the BRA for a Delivery Year, and then updated values are determined prior to Incremental Auction(s), with final ELCC values determined ahead of the Third IA for a Delivery Year. Existing Generation Capacity Resources that do not qualify for a must offer exception must offer their full accredited UCAP in the RPM auctions. To the extent the final ELCC accredited value is below the BRA committed UCAP or amount previously cleared, resource owners may seek replacement capacity in the Incremental Auction(s) or bilaterally, or use any available non-committed UCAP from other resources in their portfolio, to avoid deficiency charges in the Delivery Year. | Maintain ability to offer in the BRA quantities that do not exceed a maximum value (similar to EFORd) | Resources that clear in the BRA are held to the BRA ELCC values for the Delivery Year, and only incremental megawatts that did not clear the BRA are held to incremental auction ELCC values. | Retain same set of weather scenarios in ELCC model for a specific DY, from BRA to IA for instance | Allow for ICAP changes to resources between BRA and 3rd IA, but lock in ELCC ratings and Accredited UCAP Factors of resources based on the BRA ELCC run. If there is a reduction in ICAP (e.g. Because of a capability testing result or a retirement) the resource would be subject to daily deficiency charges on any shortfall amount if unable to procure the replacement capacity. | Leave planning parameters the same, but base deficiency on EFORd changes | Status Quo (Update accreditation in IAs) plus: Differentiate between any ICAP and UCAP driven deficiencies on a resource. For UCAP deficiencies, lower the penalty rate to 100% of the clearing price to remove sellers’ exposure to deficiency penalties that exceed the auction revenues being paid for the shortfall MW. For ICAP deficiencies, retain the existing penalty rate based off 120% of the resources's clearing price.
Winter CIRs
20 | Allocation of Winter CIRs |  | Only allocated to wind resources | Expand allocation to other resources
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Packages - ELCC Classes
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
ELCC Classes Packages - 2027/2028 BRA (March filing)
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Status Quo | Package A (PJM) | Package B | Package C | Package D | Package E
ELCC Class Definitions
15 | ELCC Classes | Full list of ELCC Classes provided in RAA Schedule 9.2 (B). The list of defined ELCC Classes include: Nuclear, Coal, Gas CC, Gas CC Dual Fuel, Gas CT, Gas CT Dual Fuel, Diesel Utility, Steam, Other Unlimited, Fixed Solar, Tracking Solar, Onshore Wind, Offshore Wind, Intermittent Hydro, Intermittent LF, various Limited Duration Resource classes, etc. | Status Quo + Steam Waste-to-Energy Class + Oil CT Class Steam - Waste to Energy: This new class would consist of certain generators that currently fall under the broader “Steam” ELCC Class today that utilize steam technology with a primary fuel source of muni waste or wood waste. Oil CTs: This new class would consist of certain generators that currently fall in the “Other Unlimited Resource Class” today that utilize combustion turbine technology with a primary fuel source of oil / diesel
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3. Packages - BRA to IA Risk
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
BRA to IA Risk Mitigation Packages - 2027/2028 BRA (March filing)
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Status Quo | Package A (Vistra) | Package B (ODEC & PJM) | Package C (PJM) | Package D (Dayton Power & Light) | Package E
BRA to IA Risk Management
19 | Potential reforms that may provide greater certainty in ELCC accreditation and/or allow market participants to better manage potential changes in ELCC accreditation between the time of the BRA and the final ELCC values determined for a Delivery Year. | The ELCC accreditation of resources is determined prior to the BRA for a Delivery Year, and then updated values are determined prior to Incremental Auction(s), with final ELCC values determined ahead of the Third IA for a Delivery Year. Existing Generation Capacity Resources that do not qualify for a must offer exception must offer their full accredited UCAP in the RPM auctions. To the extent the final ELCC accredited value is below the BRA committed UCAP or amount previously cleared, resource owners may seek replacement capacity in the Incremental Auction(s) or bilaterally, or use any available non-committed UCAP from other resources in their portfolio, to avoid deficiency charges in the Delivery Year. | Leave planning parameters the same, but base deficiency on EFORd changes Status quo planning parameters for BRA and IA. Deficiency charge is capped at lessor of change in ELCC accreditation or EFORd change. Definciency charges would be calculated 1-ELCC change between the BRA and 3rd IA and the EFORd change. If the ELCC change is positive (increase in UCAP) deficiency charges would not apply and resource would offer excess UCAP on a 1-for-1 basis independent of EFORd changes. Examples: 1) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 70 and an EFORd UCAP of 75. Its deficiency would be 5. 2) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 75 and an EFORd UCAP of 70. Its deficiency would be 5. 3) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 80 and an EFORd UCAP of 80. Its deficiency would be 0. 4) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 85 and an EFORd UCAP of 75. Its deficiency would be 0 and resource would offer 5 MW into 3rd IA. 5) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 80 and an EFORd UCAP of 85. Its deficiency would be 0 and but it would not have additional MW to offer into the 3rd IA. | Allow for ICAP changes to resources between the BRA and 3rd IA (i.e. "auction cycle"), but lock in ELCC Ratings and Performance Factor Ratings based on the BRA values. If there is a reduction in the resource ICAP (e.g. because of a capability testing or a retirement), the resouce would be subject to daily deficiency charges on any shortfall amount if unable to procure replacement capacity. | Status Quo (Update accreditation in IAs) plus: Differentiate between any ICAP and UCAP driven deficiencies on a resource. For UCAP deficiencies, lower the penalty rate to 100% of the clearing price to remove sellers’ exposure to deficiency penalties that exceed the auction revenues being paid for the shortfall MW. For ICAP deficiencies, retain the existing penalty rate based off 120% of the resources's clearing price. | Suspend ELCC for five years
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3. Packages - Remaining DCs
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
ELCCSTF Packages - 2028/2029 BRA (September Filing)
PACKAGE/ PROPOSAL MATRIX
# | Design Components1 | Priority | Status Quo | Package A | Package B | Package C | Package D | E | F | G
* | Implementation
1 | ELCC Accreditation Methodology - Overview |  | Capacity accreditation measures resources' marginal contribution to system resource adequacy (i.e. resource's expected performance during times of system reliability risk in the delivery year). Accreditation uses the same probabilistic analysis used in the Reserve Requirement Study (RRS), which simulates potential system conditions and reliability outcomes under a broad range of weather scenarios, load scenarios and resource performance, to measure the expected contribution to system reliability of different resource classes and resources given patterns of system loss-of-load risk.
ELCC Modeling Details
2 | Weather Scenarios |  | Weather scenarios based on historical weather patterns back to June 1, 1993. Weather scenarios are used in the model to construct hourly load scenarios using latest PJM Load Forecast Model, characterize historical resource performance as a function of temperature back to 2012 using a binning methodology, and capture the observed relationship that weather has on both load levels and resource availability in the simulated analysis.
3 | Performance Modeling of Resources (Overview) |  | Unit, class, and fleet performance for thermal and variable generation modeled as a function of temperature by resampling against historical availability back to 2012 using a binning methodology. Each day of historical performance within a temperature bin has equal probability of being drawn as any other day within the bin. Dispatch of DR and Limited Duration Resources simulated in model.
4 | Performance Modeling of Unlimited Resources |  | Historical weather and corresponding forced outages and ambient de-rates since June 1, 2012 used to characterize thermal outage rates as a function of weather using binning methodology. The amount (MW-weeks) of planned and maintenance outages per year based on historical data since June 1, 2012. Heuristic used to schedule planned and maintenance outages during periods of lower loads, except for small portion intentionally scheduled during high risk periods as observed since 2012.
5 | Performance Modeling of Unlimited Resources without full history ("Immature Unit") |  | For the period of history back to June 1, 2012 that is missing, the putative forced outage history and ambient de-rate history of the resource will be calculated as total MW on forced outage or an ambient de-rate from resources in the same ELCC Class that were in operation at the time divided by total installed capacity of such resources.
5a | Planned Resources that have no performance history (brand new unlimited resources)
6 | Maximum Modeled Output of Unlimited Resources |  | ICAP (capped at CIRs) at all times of the year
7 | Performance Modeling of Variable Resources |  | Historical weather and corresponding variable resource performance (actual and putative) since June 1, 2012 used to characterize performance as a function of weather based on a binning methodology. For any period of history that is missing back to June 1, 2012, the putative unavailability is derived from an hourly backcast, which uses geographical location and plant characteristics as inputs
8 | Maximum Modeled Output of Variable Resources |  | Effective Nameplate Capacity (equal to Maximum Facility Output for Variable Resources), but capped to levels assessed in PJM deliverability studies. In the summer, assessed deliverability and maximum output cannot exceed CIRs. In the winter, assessed deliverability levels vary during peak and non-peak hours based on resource type and geographic location and are driven by levels studied in winter / light load gen deliverability analyses.
9 | Performance Modeling of Intermittent Hydro |  | Annual draw of performance since 2012 as a function of closest matching seasonal peak loads
10 | Performance Modeling of Limited Duration Resources |  | Simulated dispatch in the model that depends on other system conditions (e.g. load, other resources’ performance, remaining storage) during the hour. In the simulated dispatch, less available resources are dispatched after the more available resources to maximize the system reliability benefit.
11 | Maximum Modeled Output of Limited Duration Resources |  | Effective Nameplate Capacity (equal to the sustained level of output that the unit can provide and maintain over the duration of its ELCC class, not to exceed CIRs) at all times of the year
12 | Reflection of Resource Investments in Accreditation |  | Demonstrated improvement or degradation in performance of resources captured as additional performance history is rolled into the ELCC analysis. The impact of new performance history on the Accredited UCAP will depend on the weather and performance of resources observed in that year, where years with more extreme weather or periods of significant outages and reliability risk will have a significantly greater impact on Accredited UCAP values going forward relative to years with milder weather or immaterial levels of outages and reliability risk.
13 | Performance Modeling of Demand Resources |  | Simulated dispatch in the model where DR is deployed during hours within its defined performance windows when total available Unlimited and Variable Resources is less than the load, and reduction capability is assumed to scale up and down with system load levels (currently under review at the MIC). | (solutions options under review at MIC)
14 | Load used in the model |  | PJM uses weather history from 1994…
ELCC Class Definitions
15 | ELCC Classes |  | Full list of ELCC Classes provided in RAA Schedule 9.2 (B). The list of defined ELCC Classes include: Nuclear, Coal, Gas CC, Gas CC Dual Fuel, Gas CT, Gas CT Dual Fuel, Diesel Utility, Steam, Other Unlimited, Fixed Solar, Tracking Solar, Onshore Wind, Offshore Wind, Intermittent Hydro, Intermittent LF, various Limited Duration Resource classes, etc.
ELCC Accreditation and UCAP Calculations
16 | ELCC Class Rating Calculation |  | The probabilistic risk analysis is used to measure the amount of EUE reduction observed when an increment (100 MW) of capacity from the class under study is added to the model. That level of EUE reduction is then compared to the amount of EUE reduction observed in the model when an increment of perfect annual capacity is added instead. Example: 100 MW of incremental class capacity results in 40 MWh EUE reduction in the ELCC analysis. 100 MW of incremental perfect capacity results in 50 MWh of EUE reduction. The ELCC Class Rating would be set equal to 40 MWh / 50 MWh = 80%.
17 | ELCC Resource Performance Adjustment |  | Reflects each resources’ weighted average historically-observed performance, in those hours and weather conditions (temperature bins) in which the system experiences reliability risk, relative to class average historically-observed performance in those same hours and weather conditions back to 2012. Hours considered in the performance adjustment factors include both the hours that see loss-of-load risk in the model, as well as additional hours of observed performance during days within the temperature bins that have reliability risk. Temperature bins that experience more loss-of-load risk have greater weighting in the performance adjustment. Within each temperature bin, each day of historical performance has equal weighting.
18 | Accreditation UCAP Calculation |  | For resources that have an ELCC Class Rating determined, Accredited UCAP is calculated as follows: (a) Unlimited Resources: Resource ICAP * ELCC Class Rating * Resource Performance Adjustment (b) Variable & Limited Duration Resources: min{ENC * ELCC Class Rating * Resource Performance Adjustment, Resource ICAP (CIRs)} (c) Demand Resources: Resource ICAP * ELCC Class Rating For resources with no ELCC Class Rating, Accredited UCAP is based on a resource-specific ELCC analysis.
BRA to IA Risk Management
19 | Potential reforms that may provide greater certainty in ELCC accreditation and/or allow market participants to better manage potential changes in ELCC accreditation between the time of the BRA and the final ELCC values determined for a Delivery Year. |  | The ELCC accreditation of resources is determined prior to the BRA for a Delivery Year, and then updated values are determined prior to Incremental Auction(s), with final ELCC values determined ahead of the Third IA for a Delivery Year. Existing Generation Capacity Resources that do not qualify for a must offer exception must offer their full accredited UCAP in the RPM auctions. To the extent the final ELCC accredited value is below the BRA committed UCAP or amount previously cleared, resource owners may seek replacement capacity in the Incremental Auction(s) or bilaterally, or use any available non-committed UCAP from other resources in their portfolio, to avoid deficiency charges in the Delivery Year.
Winter CIRs
20 | Allocation of Winter CIRs |  | Only allocated to wind resources
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 3a. Package Details
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3