## Setup
Enter Stakeholder Committee Name in cell A2:
Effective Load Carrying Capability Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Capacity Market Enhancements - ELCC Accreditation Methodology

## 1. Interest Identification
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
Interest Identification
Instructions: List interests of all parties on this page.
1 | Ensure that system risk modeling and accreditation reflect appropriate levels of correlated outage risk
2 | Allow accreditation methodology to reflect verifiable improvements in resource performance
3 | Estimate accreditation of resources using a consistent non-discriminatory methodology
4 | To enhance the competitiveness of PJM markets
5 | To enhance the investability of PJM markets
6 | Develop a common understanding of what ELCC accreditation is intended to provide
7 | Align investment incentives with signals sent by ELCC accreditation
8 | Explore more immediate feedback mechanisms between ELCC accreditation and investment signals
9 | Reflect changes over time of underlying market circumstances in ELCC accreditation
10 | Enhance predictability of ELCC accreditation for market participants
11 | Seek the use of information to accredit resources that is not available to resource owners or that cannot be aggregated in a useful manner and provided to market participants
12 | Explore the use of performance and weather weightings to rely more directly on recent historical data
13 | Ensure the integrity of the capacity market product
14 | Ensure the method of ELCC calculation is transparent
15 | Ensure the time period of selection of weather and performance data reasonably reflects going forward risk
16 | Ensure the method is as unit specific as possible
17 | Ensure that the method addresses new entrants in a way not overly affected by past performance of existing units
18 | Ensure ELCC methods result in stable values for each auction in any given delivery year

## 2. Options Matrix- Design Comp.
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
OPTIONS MATRIX
# | Design Components1 | Priority | Status Quo | A | B | C | D | E | F | G
* | Implementation
1 | ELCC Accreditation Methodology - Overview |  | Capacity accreditation measures resources' marginal contribution to system resource adequacy (i.e. resource's expected performance during times of system reliability risk in the delivery year). Accreditation uses the same probabilistic analysis used in the Reserve Requirement Study (RRS), which simulates potential system conditions and reliability outcomes under a broad range of weather scenarios, load scenarios and resource performance, to measure the expected contribution to system reliability of different resource classes and resources given patterns of system loss-of-load risk. | Unit specific ELCC approach with resource performance measurements, for all resources, that are objective and reflect the past performance of the resource. | Status quo with: (1a) create a "winter hardened" accreditation asset class that would not be subject to the winter weather correlates in the ELCC model [starting asap, preferably 27/28] (1b) calculate the resource specific performance adjustment assuming the "winter hardened" class characteristics NOTE: this approach in 1b to calculating the resource specifc adjustment for resources that demonstrate they meet the "winter hardeining" requirements could be adopted without also creating new "winter hardened" accreditation classes, rather applying this value to the standard asset class (2) Incorporate higher winter capability of thermal resources and other generation starting from 27/28 BRA (3) giving greater weight to more recent performance data
ELCC Modeling Details
2 | Weather Scenarios |  | Weather scenarios based on historical weather patterns back to June 1, 1993. Weather scenarios are used in the model to construct hourly load scenarios using latest PJM Load Forecast Model, characterize historical resource performance as a function of temperature back to 2012 using a binning methodology, and capture the observed relationship that weather has on both load levels and resource availability in the simulated analysis. | Weighting approach to emphasize more recent weather data | Rolling average of weather data for a specific timeframe, with older data rolling off | Load: Status Quo Resource Performance: Map outages to same weather years as load model, but only a portion of the outage factor will be weather-year dependent. PJM will differentiate between Class-Based Outage Rate (“CBOR”) that is weather-dependent and the Resource Specific Outage Rate (“RSOR”) that is not weather-dependent. Class-Based Outage Rate ("CBOR"): Weather sensitive and will be mapped to all weather years used in the load model. THI Binning approach will only be applied to the weather sensitive outage factor. In lieu of temperature binning PJM can investigate whether practical to have a formulaic (continuous) approach to historical weather attributes to derive a class-based weather sensitive outage factor. Resource-Specific Outage Rate ("RSOR"): Is considered non-weather sensitive and will be the same value in all weather years and monte-carlo draws. Calculated at the class and individual resource level. At the time of the BRA market participant will select an average (monthly or annual) based on rolling history or prior delivery year. PJM will need to specify the appropriate GADs outage factors (e.g. FOR, EFOR, EFORd, etc.) to be submitted in pre-auction activities. Notes. The non-weather sensitive outage causes can be derived by proving that the outage cause is either unique in the class or is just as likely to occur in a randomly selected THI bin as the observed or target performance day. The non-weather sensitive outage factor represents the difference in the observed forced outage factors and the "Class-Based Weather Sensitive Outage Factor" calculated above. Because temperature changes daily and there will continue to be multiple observations within a THI bin the total outage factor/rate at unit and class-level will also have daily and in-bin variance. The latter will be used in the initial ELCC dispatch model to derive the IRM, LOLE, Portfolio EUE statistic. This aggregate or final outage factor will be used in the subsequent dispatch simulations to assess the class and or resource specific marginal ELCC. | Status quo, but including analysis of changes in relationship between weather and load across the entire historical weather period.
3 | Performance Modeling of Resources (Overview) |  | Unit, class, and fleet performance for thermal and variable generation modeled as a function of temperature by resampling against historical availability back to 2012 using a binning methodology. Each day of historical performance within a temperature bin has equal probability of being drawn as any other day within the bin. Dispatch of DR and Limited Duration Resources simulated in model. | Weighting approach to emphasize more recent performance data to reflect investments that have been made | Understanding the impact of maintenance timing and impacts on ELCC | Change the lookback period (currently June 1, 2012) to a rolling 5-year lookback. (This would be analogous to the 5-year lookback option used under the EFORd method) | Weighting approach that puts greater emphasis or weight on more recent observations of performance within temperatures in the risk analysis and ELCC accreditation. The weighting is based on Exponential Smoothing using a defined alpha value (e.g. 0.1 or 0.25) to set how quickly older observations are de-weighted and newer observations are emphasized within temperature bins. | Each resource will have two outage factors - CBOR and RSOR. These two outage factors/rates will be used to derive a final factor for use in the ELCC model. Only CBOR will be re-sampled for historical weather days not represented in performance history using the THI binning methodology. The Non-weather sensitive outage factor should either be based on an average value for the target month/year (or at owners discretion be sampled randomly based on historical days for the same month). To reduce the number of combinations and computational overhead, it may only be practical for the resource specific outage rate to be deterministic (average). Note. This approach is intended to minimize the effect of extreme weather years in oversampling poor outage factors which may have only been coincidental to a weather driver .A future alternative to re-sampling is developing a function based on multiple weather drivers that can be applied to each historical weather year to derive a weather sensitive outage factor by class (this may not be practical given data so maintaining PJM's re-sampling approach may be best available approach). | Remove Winter storm Elliott and the Polar Vortex from historical performance data to reflect PJM commitment decisions on performance and conservative operations approach going forward. | ELCC performance modelling will be based on a rolling ten calendar years of data. For the upcoming December BRA auction applicable to the 2027-28 delivery year, the ELCC performance modelling will be based on a rolling ten delivery years of data. The outage data for the ELCC performance modelling will be adjusted to remove all outages relating to fuel or fuel transportation unavailability for the Winter Storm Elliot event (i.e. four day period running from December 23rd to 26th) Unit winter capabilities shall be utilized for the winter ELCC modelling period. At which time PJM develops a winter CIR methodology, the units winter capabilities shall be limited to these winter CIR values.
4 | Performance Modeling of Unlimited Resources |  | Historical weather and corresponding forced outages and ambient de-rates since June 1, 2012 used to characterize thermal outage rates as a function of weather using binning methodology. The amount (MW-weeks) of planned and maintenance outages per year based on historical data since June 1, 2012. Heuristic used to schedule planned and maintenance outages during periods of lower loads, except for small portion intentionally scheduled during high risk periods as observed since 2012. | Change the lookback period (currently June 1, 2012) to a rolling 5-year lookback. (This would be analogous to the 5-year lookback option used under the EFORd method) | Class-Based Outage Rate ("CBOR"): limited to events/failures/derates that are not just as likely to occur in other seasons/weather conditions. Statistical analysis performed to identify signficance or insignificance of weather. To maintain robust dataset weather sensitive outage factors can continue to utilize 2012 - history. The weather sensitive outage factor will be a function of the unit class. Weather Sensitive outage data should be evaluated every 3-4 years to determine whether current operating/planning/infrasture investment have sufficiently mitigated or altered risk. F{Daily Weather} => Class-Based Outage Rate Ambient Derates/Uprates: can be rolled into the weather dependent outages to derive class-based aggregate weather sensitive outage factor. Instead of restricting ambient uprates at unit-level, the class coincident ambient uprate impact on class dispatch will be restricted proportionately as a function of class-based CIRs. Marginal ELCC will be capped at the deliverable quantity of resource (CIR). Resource-Specific Outage Rate ("RSOR"): Provided by Resource owner, but is not a direct input into the ELCC dispatch. Will only be based on recent rolling history (<= 5 years) . This outage rate can be stochastic or an average value observed over months or annually depending on resource owners preference and PJM's assessment of implementation difficulty. ELCC Model Outage Rate: This rate/factor is derived from the CBOR and RSOR and is the outage rate that is input into the ELCC model. It represents the following: CBOR + Max{0 , RSOR - CBOR} and is derived by day and monte-carlo draw for CBOR. PJM will post the "CBOR" by draw, calendar day, and weather year at the start of auction activities. The resultant or total outage rate/factor in each dispatch period will therefore be a function of equally likely monte carlo draws as well as the resource specific outage factor submitted by the resource owner. Planned Maintenance: Should be distributed to minimize LOLE since asset owners incentivized to schedule in less risky periods within ELCC paradigm. Under ELCC asset owners face material volumetric loss whereas in old paradigm, maintenance excusable during CP event and didn't directly affect RPM offer volume. Note. In perhaps a separate process, PJM should evaluate the degree to which operations rules regarding maintenance scheduling are concentrating risk in undesirable simulated periods. | Status quo, including analysis of relationship between weather and performance across the entire historical weather period. Performance affected by PJM actions during extreme weather should be removed from the analysis. | Status Quo with updates to reflect Winter ICAP during the winter months (November through April). In hours with no outages, resource will be available up to Winter ICAP. Winter ICAP will be used to calculate outage rates used in the ELCC model during the winter. Outages will be applied in the same manner as today. | Status quo with: (1a) create a "winter hardened" accreditation asset class that would not be subject to the winter weather correlates in the ELCC model [starting asap, preferably 27/28] (1b) calculate the resource specific performance adjustment assuming the "winter hardened" class characteristics NOTE: this approach (1b) to calculating the resource specifc adjustment for resources that demonstrate they meet the "winter hardeining" requirements could be adopted without also creating new "winter hardened" accreditation classes, rather applying this value to the standard asset class NOTE 2: failure to perform during 2 consecutive winter weather events (temp < 10 degF, results in exclusion from the class. conditions for reentry tbd]
5 | Performance Modeling of Unlimited Resources without full history ("Immature Unit") |  | For the period of history back to June 1, 2012 that is missing, the putative forced outage history and ambient de-rate history of the resource will be calculated as total MW on forced outage or an ambient de-rate from resources in the same ELCC Class that were in operation at the time divided by total installed capacity of such resources. | Generator owners must have the opportunity to make a case for a unit-specific ELCC value for new units, at the discretion of the resource owner, to PJM. (This could be in the form of using the “Administrative Review” proposal option from a few meetings ago as a fallback mechanism.) | Can select rolling history which would include weighting from class or 1-year history at owners discretion. During the 3rd incremental auction the units final non-weather sensitive outage factor will be utilized to derive hourly MW output in the ELCC model dispatch. | Proxy group of new resources over the most recent five year period with the same technology. | Status Quo with updates to reflect Winter ICAP during the winter months (November through April). In hours with no outages, resource will be available up to Winter ICAP. Winter ICAP will be used to calculate outage rates used in the ELCC model during the winter. Outages will be applied in the same manner as today.
5a | Planned Resources that have no performance history (brand new unlimited resources) |  |  | Use Class rating by technology type for initial rating until operating history is established | CT and CC single fuel resources with established performance histories, when switching to dual-fuel, should have their unit-specific performance history recognized so as not to unnecessarily derate a historically high performing unit. | For consistency with reference resource, new generator receives the class average weather sensitive outage factor and ELCC accreditation in first year of operation but able to write own history for non-weather sensitive outage factor only in subsequent years of operation. All resources are derated based on the class adjustment for weather sensitive outage factor as part of PJM's enhanced risk modeling initiative. | Proxy group of new resources over the most recent five year period with the same technology.
6 | Maximum Modeled Output of Unlimited Resources |  | ICAP (capped at CIRs) at all times of the year | Unlimited Resources: Initial ELCC dispatch to derive solved load, IRM, LOLE, initial portfolio EUE should allow for ambient uprates provided the overall class dispatch does not exceed the aggregate Class CIR level. This is appropriate since weather dependent resources also get the benefit of common weather conditions increasing aggregate unit-level capability. Resource Specific Dispatch to derive marginal ELCC should continue to be capped at CIR level unless and until transition CIR process opened (in practice) to greater range of resource technologies. | Status Quo, with the exception that ambient increases in winter capacity should be included in performance data. | During the winter period (November through April) resource capability will be based on Winter ICAP (see design component #20). During the summer period, Status Quo.
7 | Performance Modeling of Variable Resources |  | Historical weather and corresponding variable resource performance (actual and putative) since June 1, 2012 used to characterize performance as a function of weather based on a binning methodology. For any period of history that is missing back to June 1, 2012, the putative unavailability is derived from an hourly backcast, which uses geographical location and plant characteristics as inputs | Change the lookback period (currently June 1, 2012) to a rolling 5-year lookback. (This would be analogous to the 5-year lookback option used under the EFORd method) | Weather dependent resources actual and putative output levels should continue to align with weather dependent load model history. Non-weather dependent variation in output +/- observed over rolling 5-year look-back should be used to adjust performance for weather years with no history. | Status quo with the clarificaiton that any hour where a resource was dispatched down due to transmission or reliability reasons should not be reflected in the data.
8 | Maximum Modeled Output of Variable Resources |  | Effective Nameplate Capacity (equal to Maximum Facility Output for Variable Resources), but capped to levels assessed in PJM deliverability studies. In the summer, assessed deliverability and maximum output cannot exceed CIRs. In the winter, assessed deliverability levels vary during peak and non-peak hours based on resource type and geographic location and are driven by levels studied in winter / light load gen deliverability analyses. | CIRs based on MFOs assumed during ELCC analysis. Ambient and time of day adjusted, e.g. no solar at night. | Status Quo, capped at Winter ICAP during winter (see design component #21)
9 | Performance Modeling of Intermittent Hydro |  | Annual draw of performance since 2012 as a function of closest matching seasonal peak loads | Unit - specific performance modelling for run of river hydro resources. | Historical weather and corresponding variable resource performance (actual and putative) since June 1, 2012 used to characterize performance as a function of weather based on a binning method. For any period of history that is missing back to June 1, 2012, the putative unavailability is derived from an hourly backcast, which uses geographical location and plant characteristics as inputs
10 | Performance Modeling of Limited Duration Resources |  | Simulated dispatch in the model that depends on other system conditions (e.g. load, other resources’ performance, remaining storage) during the hour. In the simulated dispatch, less available resources are dispatched after the more available resources to maximize the system reliability benefit. | Probabilistic approach to availabilty based on potential responses to market signals for all hours. Not assumed to be available at max output for full duration when needed by PJM.
11 | Maximum Modeled Output of Limited Duration Resources |  | Effective Nameplate Capacity (equal to the sustained level of output that the unit can provide and maintain over the duration of its ELCC class, not to exceed CIRs) at all times of the year | Probabilistic approach to availabilty based on potential responses to market signals for all hours. Not assumed to be available at max output for full duration when needed by PJM. | During the winter period (November through April) resource capability will be based on Winter ICAP. (see design component #22) During the summer period, Status Quo.
12 | Reflection of Resource Investments in Accreditation |  | Demonstrated improvement or degradation in performance of resources captured as additional performance history is rolled into the ELCC analysis. The impact of new performance history on the Accredited UCAP will depend on the weather and performance of resources observed in that year, where years with more extreme weather or periods of significant outages and reliability risk will have a significantly greater impact on Accredited UCAP values going forward relative to years with milder weather or immaterial levels of outages and reliability risk. | CBOR: Evaluated periodically by independent consultant to identify whether PJM Operations/Planning/Market constructs/Infrastructure investment sufficiently mitigates correlated outage risk observed in historical periods. The weather sensitive Class Outage Factor will be held constant for the delivery year between the BRA and IA. In future PJM may investigate whether specific resource investments qualify would decouple resource from class, but for now the Weather Sensitive Class Outage Factor will be held constant for each RPM auction associated with the same delivery year. RSOR: input into ELCC model can be based on in-month samples from multi-year rolling history or single-year history. Since resource owner has control of a large component of the outage risk there shouldn't be an impediment to investment. The resource owner will be responsible for changes in the non-weather sensitive outage factor ("RSOR") between the BRA and Final Incremental Auction. | Demonstrated improvement or degradation in performance of resources captured as additional performance history is rolled into the ELCC analysis. Limit historical performance data to five years. | Reflect demonstrated winterization actions through the creation of a "winter hardened" accreditation class and resource specifc performance adjustment. The evidence to demonstrate winter hardening for class entry includes: - Dual-Fuel Capability (for gas units) - Winterization Audits or Inspection Reports - Cold Weather Procedures & Training Logs - OEM Cold Weather Design Specs & Guarantees (if available)
13 | Performance Modeling of Demand Resources |  | Simulated dispatch in the model where DR is deployed during hours within its defined performance windows when total available Unlimited and Variable Resources is less than the load, and reduction capability is assumed to scale up and down with system load levels (currently under review at the MIC). | (solutions options under review at MIC) | PJM should review whether historical market participations (Price/Quantity) supports finding that Demand Response is more available than 4- or more hour energy storage. Depending on findings, PJM may need to adjust the order in the ELCC modeling. | Performance based on actual reductions when called on by PJM during extreme weather and reliability risk hours.
14 | Load used in the model |  | PJM uses weather history from 1994… | Understand scaler better and adjust impact of 1994 peak value | PJM may need to investigate whether a different scaler is applicable to non-weather sensitive load versus weather-sensitive load. Flat loads are more scenario or point-of-view driven. Assuming they meet PJM's threshold for inclusion in the load forcast PJM should investigate whether Flat loads should add to load swing in the ELCC model. | Status quo for weather history but no assumption of constant relationship between weather and load.
15 | Weather Rotations |  | Weather days used to draw resource performance for weather rotations are not fully aligned with weather days in each load scenario. | Fully align the weather days used to draw resource performance with the weather days used for each load scenario and weather rotation in the ELCC/RRS model to better capture the relationship between weather, load, and resource performance.
ELCC Class Definitions
16 | ELCC Classes |  | Full list of ELCC Classes provided in RAA Schedule 9.2 (B). The list of defined ELCC Classes include: Nuclear, Coal, Gas CC, Gas CC Dual Fuel, Gas CT, Gas CT Dual Fuel, Diesel Utility, Steam, Other Unlimited, Fixed Solar, Tracking Solar, Onshore Wind, Offshore Wind, Intermittent Hydro, Intermittent LF, various Limited Duration Resource classes, etc. | Status Quo + Waste-to-Energy. “Muni/Wood Waste Class” shall mean an ELCC Class consisting of Unlimited Resources of the steam technology type and the primary fuel is municipal waste or wood waste from original design "Steam Class" shall mean an ELCC Class consisting of Unlimited Resources of the steam technology type and the primary fuel is not coal or nuclear or municipal waste from original design or wood waste from original design. | Status Quo + Add Co-Generation and Combined Heat and Power as a new ELCC Class | Status Quo + Add External Onshore Wind and External Tracking Solar as new ELCC Classes. | Status Quo + Steam Waste-to-Energy Class + Oil CT Class Steam - Waste to Energy: This new class would consist of certain generators that currently fall under the broader “Steam” ELCC Class today that utilize steam technology with a primary fuel source of muni waste or wood waste. Oil CTs: This new class would consist of certain generators that currently fall in the “Other Unlimited Resource Class” today that utilize combustion turbine technology with a primary fuel source of oil / diesel | Classes should align with other aspects of PJM's market design and can be determined at the time PJM determines class-based avoidable cost rates. Any mature resource that requests a unit-specific offer cap should be evaluated on a resource-specific ELCC basis. Note. In general classes are less relevant in this framework since they are not required to determine mature resources' marginal ELCC. In this framework the class is relevant primarily for the determination of the solved load, IRM, initial portfolio EUE and LOLE. Consistent with status quo Marginal ELCC accredition for class, PJM will add a common MW increment (e.g. 100 MW) to determine the reduction in portfolio EUE. Additional Notes. PJM may eventually need to investigate more complex reliability dispatch algorithm given storage charging/discharging can alter periods of risk. There may be unintended interaction between storage charging/discharge cycle as incremental MW added to model. | Accreditation calculations should be unit specific | Create a "weather hardened" accreditation asset class that is deemed independent from the winter weather correlates in the ELCC model; a "weather hardened" class would be developed for each major thermal class, i.e., CCGT, SCCT, Steam
ELCC Accreditation and UCAP Calculations
17 | ELCC Class Rating Calculation |  | The probabilistic risk analysis is used to measure the amount of EUE reduction observed when an increment (100 MW) of capacity from the class under study is added to the model. That level of EUE reduction is then compared to the amount of EUE reduction observed in the model when an increment of perfect annual capacity is added instead. Example: 100 MW of incremental class capacity results in 40 MWh EUE reduction in the ELCC analysis. 100 MW of incremental perfect capacity results in 50 MWh of EUE reduction. The ELCC Class Rating would be set equal to 40 MWh / 50 MWh = 80%. | New Resources: Class Marginal ELCC calculation should only be required for new resources. Alternative method may not be practical given reference resource for setting demand curve also uses a class ELCC. All other Resources: Resource-specific ELCC (resouce scaled to 100 MW) to evaluate the reduction in portfolio EUE compared to the perfect resource. Immature resources can use a hybrid of class and unit specific rolling history to determine the non-weather sensitive outage factor for use in the ELCC model. While the input outage factor may be a function of the class for immature resource, the resource will be dispatched to determine resource specific ELCC accreditation. | Unit specific ELCC | Status quo -- noting that members of the "weather hardened" class(es) are independent of the weather correlates in the model
18 | ELCC Resource Performance Adjustment |  | Reflects each resources’ weighted average historically-observed performance, in those hours and weather conditions (temperature bins) in which the system experiences reliability risk, relative to class average historically-observed performance in those same hours and weather conditions back to 2012. Hours considered in the performance adjustment factors include both the hours that see loss-of-load risk in the model, as well as additional hours of observed performance during days within the temperature bins that have reliability risk. Temperature bins that experience more loss-of-load risk have greater weighting in the performance adjustment. Within each temperature bin, each day of historical performance has equal weighting. | No longer required | Not needed since calculation is unit specific. | Calculate the resource specific performance adjustment assuming the "winter hardened" class characteristics . NOTE: this approach to calculating the resource specifc adjustment for resources that demonstrate they meet the "winter hardeining" requirements could be adopted without also creating new "winter hardened" accreditation classes, rather applying this value to the standard asset class
19 | Accreditation UCAP Calculation |  | For resources that have an ELCC Class Rating determined, Accredited UCAP is calculated as follows: (a) Unlimited Resources: Resource ICAP * ELCC Class Rating * Resource Performance Adjustment (b) Variable & Limited Duration Resources: min{ENC * ELCC Class Rating * Resource Performance Adjustment, Resource ICAP (CIRs)} (c) Demand Resources: Resource ICAP * ELCC Class Rating For resources with no ELCC Class Rating, Accredited UCAP is based on a resource-specific ELCC analysis. | Status quo + Allow all resources to be accredited based on unit specific resource performance (i.e. allow resources the option not to use class rating) | Unit specific accreditation for all resources | Unit specific ELCC
BRA to IA Risk Management
20 | MW Quantity offered in BRA. Potential reforms that may provide greater certainty in ELCC accreditation and/or allow market participants to better manage potential changes in ELCC accreditation between the time of the BRA and the final ELCC values determined for a Delivery Year. |  | The ELCC accreditation of resources is determined prior to the BRA for a Delivery Year, and then updated values are determined prior to Incremental Auction(s), with final ELCC values determined ahead of the Third IA for a Delivery Year. Existing Generation Capacity Resources that do not qualify for a must offer exception must offer their full accredited UCAP in the RPM auctions. To the extent the final ELCC accredited value is below the BRA committed UCAP or amount previously cleared, resource owners may seek replacement capacity in the Incremental Auction(s) or bilaterally, or use any available non-committed UCAP from other resources in their portfolio, to avoid deficiency charges in the Delivery Year. | Maintain ability to offer in the BRA quantities that do not exceed a maximum value (similar to EFORd) | Resources that clear in the BRA are held to the BRA ELCC values for the Delivery Year, and only incremental megawatts that did not clear the BRA are held to incremental auction ELCC values. | Retain same set of weather scenarios in ELCC model for a specific DY, from BRA to IA for instance | Allow for ICAP changes to resources between BRA and 3rd IA, but lock in ELCC ratings and Accredited UCAP Factors of resources based on the BRA ELCC run. If there is a reduction in ICAP (e.g. Because of a capability testing result or a retirement) the resource would be subject to daily deficiency charges on any shortfall amount if unable to procure the replacement capacity. | Leave planning parameters the same, but base deficiency on EFORd changes | Status Quo (Update accreditation in IAs) plus: Differentiate between any ICAP and UCAP driven deficiencies on a resource. For UCAP deficiencies, lower the penalty rate to 100% of the clearing price to remove sellers’ exposure to deficiency penalties that exceed the auction revenues being paid for the shortfall MW. For ICAP deficiencies, retain the existing penalty rate based off 120% of the resources's clearing price.
Defining Winter ICAP (for Reflecting Winter Capability in ELCC Modeling)
21 | Determination of Installed Capacity for Unlimited Resources |  | No defined Winter ICAP. Rated capability or rated ICAP is the net capability determined by adjusting the generator capability for generator the conditions coincident with the dates and times of the last 15 years PJM summer peaks (also known as summer conditions) and cannot exceed the capacity interconnection rights (CIRs). | Winter ICAP is determined by adjusting the generator capability for generator site conditions coincident with the dates and times of the last 15 years PJM winter peaks (also known as winter peak conditions), not to exceed studied winter deliverability and granted Winter CIRs. Status Quo for Summer ICAP.
22 | Determination of Installed Capacity for Variable Resources |  | No defined Winter ICAP. ICAP defined as equal the Effective Nameplate Capacity of the resource, not to exceed the greater of the CIRs of the resource, or the transitional system capability as limited by the transitional resource MW ceiling, awarded for the applicable time period. | Winter ICAP equals the Effective Nameplate Capacity of the resource, not to exceed studied winter deliverability and granted Winter CIRs. Status Quo for Summer ICAP.
23 | Determination of Installed Capacity for Limited Duration Resources |  | No defined Winter ICAP. ICAP shall equal the sustained level of output that the unit can provide and maintain over a continuous period, whereby the duration of that continuous period matches the characteristic duration of the corresponding ELCC Class, with consideration given to ambient conditions expected to exist at the time of PJM system peak load. | Winter ICAP equals the sustained level of output that the unit can provide and maintain over a continuous period, where the duration matches the ELCC Class, with consideration given to ambient conditions expected to exist at the time of the PJM Winter peak and cannot exceed exceed studied winter deliverability and granted Winter CIRs. Status Quo for Summer ICAP.
Winter CIRs (for Reflecting Winter Capability in ELCC Modeling)
24 | Allocation of Winter CIRs |  | Allocated to Intermittent Resources and Environmentally Limited Resources which seek to obtain additional CIRs related to the winter period for purposes of submitting sell offers as winter-period capacity. Requested Winter CIRs are studied and granted based on values submitted through a solicitation process ahead of each delivery year. | Expand allocation to other resources | Allocate to units based on marginal reliability contribution. The probability of being available at full output during reliability risk hours. | For purposes of ensuring deliverability of Winter ICAP to be represented in the calculation of Accredited UCAP, Winter CIRs for each delivery year granted to all Generation Capacity Resources based on assessed winter generator deliverability prescribed in Manual 14B. Given these winter generator deliverability test levels will be fully aligned between RTEP and interconnection studies for the 2029/30 delivery year and beyond (see Option Details), a transitional study will be needed assess winter deliverability for the 2028/29 delivery year. Status quo solicitation and study process is sunset.
Additional Requirements for Reflecting Winter Capability in ELCC Modeling
25 | Capability Testing and Verification Requirements |  | Unlimited Resources: Winter Net Capability Verification Test considering conditions described in Manual 21B. Variable Resources: N/A Limited Duration Resources: Winter Net Capability Verification Test as described in Manual 21B. | Unlimited Resources: Winter Net Capability Verification Test compared to committed Winter ICAP Variable Resources: Status Quo Limited Duration Resources: Status Quo
26 | Energy Must Offer Requirement |  | Based on ICAP equivalent of committed UCAP | Based on seasonal ICAP equivalent of committed UCAP, calculated using seasonal Accredited UCAP Factors
27 | Capacity Market Offer MW Terms |  | ICAP terms | UCAP terms
28 | Resource Accredited UCAP Factor |  | Accredited UCAP divided by Installed Capacity | Summer Accredited UCAP Factor = Accredited UCAP / Summer ICAP Winter Accredited UCAP Factor = Accredited UCAP / Winter ICAP
29 | Approach for Accredited UCAP > CIRs |  | Annual AUCAP and annual offer capped at annual CIRs, with additional incremental winter capability offered as winter-period capacity. | Allow annual AUCAP and annual offers to exceed annual CIRs. Sunset seasonal matching.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
24C | Note on existing winter generator deliverability study process, which is separate and distinct from the Status Quo Winter CIR process: RTEP and interconnection process will both study up to higher winter generator deliverability test levels for all resources beginning with 2024 RTEP cycle, with full alignment for the 2029/30 delivery year and beyond. - RTEP studies up to the new test levels beginning in 2029 winter RTEP model. - Interconnection studies up to the new test levels beginning with Transition Cycle 2 (2028 winter model).
24C | Transitional Study of Winter Capability for 2028/2029 A study process for the 2028/29 deliver year to “backfill” 2028 RTEP winter generator deliverability study with higher winter output : (1) Collect and confirm Winter ICAP ratings to be utilized in the study (2) Run the winter generator deliverability test (3) Determine winter deliverability and grant Winter CIRs for all generation using the following conditions: If a resource's Winter ICAP only contributes to flowgates with a post-study loading less than 100% or has less than a 5% DFAX contribution to an overloaded facility, the resource's Winter ICAP is fully deliverable and will be allocated Winter CIRs. Winter CIRs will be allocated, considering each resource's DFAX, the total additional winter MW above annual CIRs, and the remaining facility headroom. When multiple resources are contributing to an overloaded facility, this approach maximizes the amount of additional MW with minimum impact on the overloaded facility. This allocation approach is consistent with the approach for the summer transitional system capability study.

## 3. Packages - ELCC Classes
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
ELCC Classes Packages - 2027/2028 BRA (March filing)
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Status Quo | Package A (PJM) | Package B | Package C | Package D | Package E
ELCC Class Definitions
15 | ELCC Classes | Full list of ELCC Classes provided in RAA Schedule 9.2 (B). The list of defined ELCC Classes include: Nuclear, Coal, Gas CC, Gas CC Dual Fuel, Gas CT, Gas CT Dual Fuel, Diesel Utility, Steam, Other Unlimited, Fixed Solar, Tracking Solar, Onshore Wind, Offshore Wind, Intermittent Hydro, Intermittent LF, various Limited Duration Resource classes, etc. | Status Quo + Steam Waste-to-Energy Class + Oil CT Class Steam - Waste to Energy: This new class would consist of certain generators that currently fall under the broader “Steam” ELCC Class today that utilize steam technology with a primary fuel source of muni waste or wood waste. Oil CTs: This new class would consist of certain generators that currently fall in the “Other Unlimited Resource Class” today that utilize combustion turbine technology with a primary fuel source of oil / diesel
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3. Packages - BRA to IA Risk
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
BRA to IA Risk Mitigation Packages - 2027/2028 BRA (March filing)
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Status Quo | Package A (Vistra) | Package B (ODEC & PJM) | Package C (PJM) | Package D (Dayton Power & Light) | Package E
BRA to IA Risk Management
19 | Potential reforms that may provide greater certainty in ELCC accreditation and/or allow market participants to better manage potential changes in ELCC accreditation between the time of the BRA and the final ELCC values determined for a Delivery Year. | The ELCC accreditation of resources is determined prior to the BRA for a Delivery Year, and then updated values are determined prior to Incremental Auction(s), with final ELCC values determined ahead of the Third IA for a Delivery Year. Existing Generation Capacity Resources that do not qualify for a must offer exception must offer their full accredited UCAP in the RPM auctions. To the extent the final ELCC accredited value is below the BRA committed UCAP or amount previously cleared, resource owners may seek replacement capacity in the Incremental Auction(s) or bilaterally, or use any available non-committed UCAP from other resources in their portfolio, to avoid deficiency charges in the Delivery Year. | Leave planning parameters the same, but base deficiency on EFORd changes Status quo planning parameters for BRA and IA. Deficiency charge is capped at lessor of change in ELCC accreditation or EFORd change. Definciency charges would be calculated 1-ELCC change between the BRA and 3rd IA and the EFORd change. If the ELCC change is positive (increase in UCAP) deficiency charges would not apply and resource would offer excess UCAP on a 1-for-1 basis independent of EFORd changes. Examples: 1) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 70 and an EFORd UCAP of 75. Its deficiency would be 5. 2) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 75 and an EFORd UCAP of 70. Its deficiency would be 5. 3) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 80 and an EFORd UCAP of 80. Its deficiency would be 0. 4) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 85 and an EFORd UCAP of 75. Its deficiency would be 0 and resource would offer 5 MW into 3rd IA. 5) Resource has 100 MW ICAP, ELCC rating of 80 and an EFORd UCAP of 80 at the time of BRA. At the time of the 3rd IA resource now has an ELCC rating of 80 and an EFORd UCAP of 85. Its deficiency would be 0 and but it would not have additional MW to offer into the 3rd IA. | Allow for ICAP changes to resources between the BRA and 3rd IA (i.e. "auction cycle"), but lock in ELCC Ratings and Performance Factor Ratings based on the BRA values. If there is a reduction in the resource ICAP (e.g. because of a capability testing or a retirement), the resouce would be subject to daily deficiency charges on any shortfall amount if unable to procure replacement capacity. | Status Quo (Update accreditation in IAs) plus: Differentiate between any ICAP and UCAP driven deficiencies on a resource. For UCAP deficiencies, lower the penalty rate to 100% of the clearing price to remove sellers’ exposure to deficiency penalties that exceed the auction revenues being paid for the shortfall MW. For ICAP deficiencies, retain the existing penalty rate based off 120% of the resources's clearing price. | Suspend ELCC for five years
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3. Packages - Remaining DCs
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
ELCCSTF Packages - 2028/2029 BRA (September Filing)
PACKAGE/ PROPOSAL MATRIX
# | Design Components1 | Priority | Status Quo | Package A (Vistra) | Package B1 (MMU) | Package B2 (MMU) | Package C (PJM) | Package D (EKPC) | Package E (LS Power) | Package F (ODEC) | G
* | Implementation
1 | ELCC Accreditation Methodology - Overview |  | Capacity accreditation measures resources' marginal contribution to system resource adequacy (i.e. resource's expected performance during times of system reliability risk in the delivery year). Accreditation uses the same probabilistic analysis used in the Reserve Requirement Study (RRS), which simulates potential system conditions and reliability outcomes under a broad range of weather scenarios, load scenarios and resource performance, to measure the expected contribution to system reliability of different resource classes and resources given patterns of system loss-of-load risk. | Status Quo | Status Quo, with: (1) Remove Winter storm Elliott and the Polar Vortex I from historical performance data to reflect PJM commitment decisions on performance and conservative operations approach going forward. (2) Accreditation calculations should be unit specific (3) Incorporate higher winter capability of thermal resources and other generation starting from 27/28 BRA. | Same as Package B1 (MMU) | Status Quo, with: (1) Updated approach to weather rotations to improve the alignment of load and resource performance draws for each weather day across all weather rotations in ELCC/RRS analysis. (2) Incorporation of the incremental winter capability above summer capacity of thermal and other generation in the ELCC/RRS analysis and market rules. (3) Performance Weighting that applies a higher weight on more recent performance of resources within each temperature bin in the ELCC/RRS model to more quickly capture changes in fleet, class, and individual resource performance over time. | Status quo with: (1a) create a "winter hardened" accreditation asset class that would not be subject to the winter weather correlates in the ELCC model [starting asap, preferably 27/28] (1b) calculate the resource specific performance adjustment assuming the "winter hardened" class characteristics NOTE: this approach in 1b to calculating the resource specifc adjustment for resources that demonstrate they meet the "winter hardeining" requirements could be adopted without also creating new "winter hardened" accreditation classes, rather applying this value to the standard asset class (2) Incorporate higher winter capability of thermal resources and other generation starting from 27/28 BRA (3) giving greater weight to more recent performance data | Same as PJM Package C with the following addition: PJM to publish and maintain on the ELCC page of its website a comprehensive model description of the inputs, mechanics and assumptions used in the derivation of the ELCC values and the unit-specific adjustment values, along with comprehensive sourcing (with locations) of all inputs used. | Same as PJM Package C
ELCC Modeling Details
2 | Weather Scenarios |  | Weather scenarios based on historical weather patterns back to June 1, 1993. Weather scenarios are used in the model to construct hourly load scenarios using latest PJM Load Forecast Model, characterize historical resource performance as a function of temperature back to 2012 using a binning methodology, and capture the observed relationship that weather has on both load levels and resource availability in the simulated analysis. | Load: Status Quo Resource Performance: Map outages to same weather years as load model, but only a portion of the outage factor will be weather-year dependent. PJM will differentiate between Class-Based Outage Rate (“CBOR”) that is weather-dependent and the Resource Specific Outage Rate (“RSOR”) that is not weather-dependent. Class-Based Outage Rate ("CBOR"): Weather sensitive and will be mapped to all weather years used in the load model. THI Binning approach will only be applied to the weather sensitive outage factor. In lieu of temperature binning PJM can investigate whether practical to have a formulaic (continuous) approach to historical weather attributes to derive a class-based weather sensitive outage factor. Resource-Specific Outage Rate ("RSOR"): Is considered non-weather sensitive and will be the same value in all weather years and monte-carlo draws. Calculated at the class and individual resource level. At the time of the BRA market participant will select an average (monthly or annual) based on rolling history or prior delivery year. PJM will need to specify the appropriate GADs outage factors (e.g. FOR, EFOR, EFORd, etc.) to be submitted in pre-auction activities. Notes. The non-weather sensitive outage causes can be derived by proving that the outage cause is either unique in the class or is just as likely to occur in a randomly selected THI bin as the observed or target performance day. The non-weather sensitive outage factor represents the difference in the observed forced outage factors and the "Class-Based Weather Sensitive Outage Factor" calculated above. Because temperature changes daily and there will continue to be multiple observations within a THI bin the total outage factor/rate at unit and class-level will also have daily and in-bin variance. The latter will be used in the initial ELCC dispatch model to derive the IRM, LOLE, Portfolio EUE statistic. This aggregate or final outage factor will be used in the subsequent dispatch simulations to assess the class and or resource specific marginal ELCC. | Status quo, but including analysis of changes in relationship between weather and load across the entire historical weather period. | Same as Package B1 (MMU) | Status Quo | Status quo (Sames as PJM Package C) | Same as PJM Package C | Same as PJM Package C
3 | Performance Modeling of Resources (Overview) |  | Unit, class, and fleet performance for thermal and variable generation modeled as a function of temperature by resampling against historical availability back to 2012 using a binning methodology. Each day of historical performance within a temperature bin has equal probability of being drawn as any other day within the bin. Dispatch of DR and Limited Duration Resources simulated in model. | Each resource will have two outage factors - CBOR and RSOR. These two outage factors/rates will be used to derive a final factor for use in the ELCC model. Only CBOR will be re-sampled for historical weather days not represented in performance history using the THI binning methodology. The Non-weather sensitive outage factor should either be based on an average value for the target month/year (or at owners discretion be sampled randomly based on historical days for the same month). To reduce the number of combinations and computational overhead, it may only be practical for the resource specific outage rate to be deterministic (average). Note. This approach is intended to minimize the effect of extreme weather years in oversampling poor outage factors which may have only been coincidental to a weather driver .A future alternative to re-sampling is developing a function based on multiple weather drivers that can be applied to each historical weather year to derive a weather sensitive outage factor by class (this may not be practical given data so maintaining PJM's re-sampling approach may be best available approach). | Remove Winter storm Elliott and the Polar Vortex from historical performance data to reflect PJM commitment decisions on performance and conservative operations approach going forward. | Same as Package B1 (MMU) | Apply a higher weight to more recent observations of performance within each temperature bin in the ELCC/RRS analysis using exponential smoothing and an alpha value equal to 0.2. | PJM proposal (Same as PJM Package C) | Same as PJM Package C | Same as PJM Package C augmented such that the probability of a draw for PV1 and WSE is reduced by 33%.
4 | Performance Modeling of Unlimited Resources |  | Historical weather and corresponding forced outages and ambient de-rates since June 1, 2012 used to characterize thermal outage rates as a function of weather using binning methodology. The amount (MW-weeks) of planned and maintenance outages per year based on historical data since June 1, 2012. Heuristic used to schedule planned and maintenance outages during periods of lower loads, except for small portion intentionally scheduled during high risk periods as observed since 2012. | Class-Based Outage Rate ("CBOR"): limited to events/failures/derates that are not just as likely to occur in other seasons/weather conditions. Statistical analysis performed to identify signficance or insignificance of weather. To maintain robust dataset weather sensitive outage factors can continue to utilize 2012 - history. The weather sensitive outage factor will be a function of the unit class. Weather Sensitive outage data should be evaluated every 3-4 years to determine whether current operating/planning/infrasture investment have sufficiently mitigated or altered risk. F{Daily Weather} => Class-Based Outage Rate Ambient Derates/Uprates: can be rolled into the weather dependent outages to derive class-based aggregate weather sensitive outage factor. Instead of restricting ambient uprates at unit-level, the class coincident ambient uprate impact on class dispatch will be restricted proportionately as a function of class-based CIRs. Marginal ELCC will be capped at the deliverable quantity of resource (CIR). Resource-Specific Outage Rate ("RSOR"): Provided by Resource owner, but is not a direct input into the ELCC dispatch. Will only be based on recent rolling history (<= 5 years) . This outage rate can be stochastic or an average value observed over months or annually depending on resource owners preference and PJM's assessment of implementation difficulty. ELCC Model Outage Rate: This rate/factor is derived from the CBOR and RSOR and is the outage rate that is input into the ELCC model. It represents the following: CBOR + Max{0 , RSOR - CBOR} and is derived by day and monte-carlo draw for CBOR. PJM will post the "CBOR" by draw, calendar day, and weather year at the start of auction activities. The resultant or total outage rate/factor in each dispatch period will therefore be a function of equally likely monte carlo draws as well as the resource specific outage factor submitted by the resource owner. Planned Maintenance: Should be distributed to minimize LOLE since asset owners incentivized to schedule in less risky periods within ELCC paradigm. Under ELCC asset owners face material volumetric loss whereas in old paradigm, maintenance excusable during CP event and didn't directly affect RPM offer volume. Note. In perhaps a separate process, PJM should evaluate the degree to which operations rules regarding maintenance scheduling are concentrating risk in undesirable simulated periods. | Status quo, including analysis of relationship between weather and performance across the entire historical weather period. Performance affected by PJM actions during extreme weather should be removed from the analysis. Include winter capability (see Design components 24 - 29). | Same as Package B1 (MMU) | Status Quo, with outages and ambient derates accounting for Winter ICAP during the winter period | Status quo with: (1a) create a "winter hardened" accreditation asset class that would not be subject to the winter weather correlates in the ELCC model [starting asap, preferably 27/28] (1b) calculate the resource specific performance adjustment assuming the "winter hardened" class characteristics NOTE: this approach (1b) to calculating the resource specifc adjustment for resources that demonstrate they meet the "winter hardeining" requirements could be adopted without also creating new "winter hardened" accreditation classes, rather applying this value to the standard asset class NOTE 2: failure to perform during 2 consecutive winter weather events (temp < 10 degF, results in exclusion from the class. conditions for reentry tbd] | Same as PJM Package C | Same as PJM Package C
5 | Performance Modeling of Unlimited Resources without full history ("Immature Unit") |  | For the period of history back to June 1, 2012 that is missing, the putative forced outage history and ambient de-rate history of the resource will be calculated as total MW on forced outage or an ambient de-rate from resources in the same ELCC Class that were in operation at the time divided by total installed capacity of such resources. | Can select rolling history which would include weighting from class or 1-year history at owners discretion. During the 3rd incremental auction the units final non-weather sensitive outage factor will be utilized to derive hourly MW output in the ELCC model dispatch. | Proxy group of new resources over the most recent five year period with the same technology. | Same as Package B1 (MMU) | Status Quo | MMU proposal (Same as MMU Package B1 and B2) | Same as PJM Package C | Same as PJM Package C
5a | Planned Resources that have no performance history (brand new unlimited resources) |  |  | For consistency with reference resource, new generator receives the class average weather sensitive outage factor and ELCC accreditation in first year of operation but able to write own history for non-weather sensitive outage factor only in subsequent years of operation. All resources are derated based on the class adjustment for weather sensitive outage factor as part of PJM's enhanced risk modeling initiative. | Proxy group of new resources over the most recent five year period with the same technology. | Same as Package B1 (MMU) |  | MMU proposal |  | Same as PJM Package C
6 | Maximum Modeled Output of Unlimited Resources |  | ICAP (capped at CIRs) at all times of the year | Unlimited Resources: Initial ELCC dispatch to derive solved load, IRM, LOLE, initial portfolio EUE should allow for ambient uprates provided the overall class dispatch does not exceed the aggregate Class CIR level. This is appropriate since weather dependent resources also get the benefit of common weather conditions increasing aggregate unit-level capability. Resource Specific Dispatch to derive marginal ELCC should continue to be capped at CIR level unless and until transition CIR process opened (in practice) to greater range of resource technologies. | Status Quo, with the exception that ambient increases in winter capacity should be included in performance data (see design component #20). | Same as Package B1 (MMU) | During the winter period (November through April) resource capability will be based on Winter ICAP (see design component #20). During the summer period, Status Quo. | PJM proposal (Same as PJM Package C) | Same as PJM Package C | Same as PJM Package C
7 | Performance Modeling of Variable Resources |  | Historical weather and corresponding variable resource performance (actual and putative) since June 1, 2012 used to characterize performance as a function of weather based on a binning methodology. For any period of history that is missing back to June 1, 2012, the putative unavailability is derived from an hourly backcast, which uses geographical location and plant characteristics as inputs | Weather dependent resources actual and putative output levels should continue to align with weather dependent load model history. Non-weather dependent variation in output +/- observed over rolling 5-year look-back should be used to adjust performance for weather years with no history. | Status quo with the clarificaiton that any hour where a resource was dispatched down due to transmission or reliability reasons should not be reflected in the data. | Same as Package B1 (MMU) | Status Quo | MMU proposal (Same as MMU Package B1 and B2) | Same as PJM Package C | Same as PJM Package C
8 | Maximum Modeled Output of Variable Resources |  | Effective Nameplate Capacity (equal to Maximum Facility Output for Variable Resources), but capped to levels assessed in PJM deliverability studies. In the summer, assessed deliverability and maximum output cannot exceed CIRs. In the winter, assessed deliverability levels vary during peak and non-peak hours based on resource type and geographic location and are driven by levels studied in winter / light load gen deliverability analyses. | Status Quo: | CIRs based on MFOs assumed during ELCC analysis. Ambient and time of day adjusted, e.g. no solar at night. | Same as Package B1 (MMU) | Status Quo, capped at Winter ICAP during winter (see design component #21) | MMU proposal (Same as MMU Package B1 and B2) | Same as PJM Package C | Same as PJM Package C
9 | Performance Modeling of Intermittent Hydro |  | Annual draw of performance since 2012 as a function of closest matching seasonal peak loads | Status Quo: | Historical weather and corresponding actual variable resource performance since June 1, 2012 used to characterize annual performance as a function of weather. For any period of history that is missing from June 1, 1993 to June 1, 2012, the annual performace is derived from available data. | Same as Package B1 (MMU) | Status Quo | Status quo (Same as PJM Package C) | Same as PJM Package C | Same as PJM Package C
10 | Performance Modeling of Limited Duration Resources |  | Simulated dispatch in the model that depends on other system conditions (e.g. load, other resources’ performance, remaining storage) during the hour. In the simulated dispatch, less available resources are dispatched after the more available resources to maximize the system reliability benefit. | Status Quo: | Probabilistic approach to availabilty based on potential responses to market signals for all hours. Not assumed to be available at max output for full duration when needed by PJM. | Same as Package B1 (MMU) | Status Quo | Status quo (Same as PJM Package C) | Same as PJM Package C | Same as PJM Package C
11 | Maximum Modeled Output of Limited Duration Resources |  | Effective Nameplate Capacity (equal to the sustained level of output that the unit can provide and maintain over the duration of its ELCC class, not to exceed CIRs) at all times of the year | Status Quo: | Probabilistic approach to availabilty based on potential responses to market signals for all hours. Not assumed to be available at max output for full duration when needed by PJM. | Same as Package B1 (MMU) | Status Quo | Status quo (Same as PJM Package C) | Same as PJM Package C | Same as PJM Package C
12 | Reflection of Resource Investments in Accreditation |  | Demonstrated improvement or degradation in performance of resources captured as additional performance history is rolled into the ELCC analysis. The impact of new performance history on the Accredited UCAP will depend on the weather and performance of resources observed in that year, where years with more extreme weather or periods of significant outages and reliability risk will have a significantly greater impact on Accredited UCAP values going forward relative to years with milder weather or immaterial levels of outages and reliability risk. | CBOR: Evaluated periodically by independent consultant to identify whether PJM Operations/Planning/Market constructs/Infrastructure investment sufficiently mitigates correlated outage risk observed in historical periods. The weather sensitive Class Outage Factor will be held constant for the delivery year between the BRA and IA. In future PJM may investigate whether specific resource investments qualify would decouple resource from class, but for now the Weather Sensitive Class Outage Factor will be held constant for each RPM auction associated with the same delivery year. RSOR: input into ELCC model can be based on in-month samples from multi-year rolling history or single-year history. Since resource owner has control of a large component of the outage risk there shouldn't be an impediment to investment. The resource owner will be responsible for changes in the non-weather sensitive outage factor ("RSOR") between the BRA and Final Incremental Auction. | Demonstrated improvement or degradation in performance of resources captured as additional performance history is rolled into the ELCC analysis. Limit historical performance data to five years. | Same as Package B1 (MMU) | Reflect resource improvements or changes in performance as it happens, and quicker than Status Quo, utilizing performance weighting approach (see design component #3). Under status quo, all historical days in a temperature-performance bin are weighted equally when making Monte Carlo draws. By using a weighting approach, more recent historical days in a temperature-performance bin can receive a higher weight, making such days to be more likely to be drawn by the Monte Carlo (and therefore, older historical days in a bin, less likely to be drawn). This increases investment incentives given more recent observations of performance will now hold greater weight when determining the capacity value of resources and the capacity compensation they can receive going forward. | Reflect demonstrated winterization actions through the creation of a "winter hardened" accreditation class and resource specifc performance adjustment. The evidence to demonstrate winter hardening for class entry includes: - Dual-Fuel Capability (for gas units) - Winterization Audits or Inspection Reports - Cold Weather Procedures & Training Logs - OEM Cold Weather Design Specs & Guarantees (if available) | Same as PJM Package C | Same as PJM Package C
13 | Performance Modeling of Demand Resources |  | Simulated dispatch in the model where DR is deployed during hours within its defined performance windows when total available Unlimited and Variable Resources is less than the load, and reduction capability is assumed to scale up and down with system load levels (currently under review at the MIC). | PJM should review whether historical market participations (Price/Quantity) supports finding that Demand Response is more available than 4- or more hour energy storage. Depending on findings, PJM may need to adjust the order in the ELCC modeling. | Status Quo | Same as Package B1 (MMU) | Status Quo | Status quo (Same as PJM Package C and MMU Package B1 and B2) | Same as PJM Package C and MMU Package B1 and B2 | Same as PJM Package C
14 | Load used in the model |  | PJM uses weather history from 1994… | PJM may need to investigate whether a different scaler is applicable to non-weather sensitive load versus weather-sensitive load. Flat loads are more scenario or point-of-view driven. Assuming they meet PJM's threshold for inclusion in the load forcast PJM should investigate whether Flat loads should add to load swing in the ELCC model. | Status quo for weather history | Same as Package B1 (MMU) | Status Quo | Status quo (Same as PJM Package C and MMU Package B1 and B2) | Same as PJM Package C and MMU Package B1 and B2 | Same as PJM Package C
15 | Weather Rotations |  | Weather days used to draw resource performance for weather rotations are not fully aligned with weather days in each load scenario. |  | Status quo | Modify load forecast method to eliminate rotations. | Fully align the weather days used to draw resource performance with the weather days used for each load scenario and weather rotation in the ELCC/RRS model to better capture the relationship between weather, load, and resource performance. | Status Quo (Same as MMU Package B1) | Same as PJM Package C | Same as PJM Package C
ELCC Class Definitions
16 | ELCC Classes |  | Full list of ELCC Classes provided in RAA Schedule 9.2 (B). The list of defined ELCC Classes include: Nuclear, Coal, Gas CC, Gas CC Dual Fuel, Gas CT, Gas CT Dual Fuel, Diesel Utility, Steam, Other Unlimited, Fixed Solar, Tracking Solar, Onshore Wind, Offshore Wind, Intermittent Hydro, Intermittent LF, various Limited Duration Resource classes, etc. | Classes should align with other aspects of PJM's market design and can be determined at the time PJM determines class-based avoidable cost rates. Any mature resource that requests a unit-specific offer cap should be evaluated on a resource-specific ELCC basis. Note. In general classes are less relevant in this framework since they are not required to determine mature resources' marginal ELCC. In this framework the class is relevant primarily for the determination of the solved load, IRM, initial portfolio EUE and LOLE. Consistent with status quo Marginal ELCC accredition for class, PJM will add a common MW increment (e.g. 100 MW) to determine the reduction in portfolio EUE. Additional Notes. PJM may eventually need to investigate more complex reliability dispatch algorithm given storage charging/discharging can alter periods of risk. There may be unintended interaction between storage charging/discharge cycle as incremental MW added to model. | Accreditation calculations should be unit specific |  | Status Quo, with addition of Summer-Only DR class for which an annual equivalent ELCC rating is calculated. Note: This relates to design compent #29 which would sunset seasonal matching for single-seasonal resources to clear as annual capacity. | Create a "weather hardened" accreditation asset class that is deemed independent from the winter weather correlates in the ELCC model; a "weather hardened" class would be developed for each major thermal class, i.e., CCGT, SCCT, Steam
ELCC Accreditation and UCAP Calculations
17 | ELCC Class Rating Calculation |  | The probabilistic risk analysis is used to measure the amount of EUE reduction observed when an increment (100 MW) of capacity from the class under study is added to the model. That level of EUE reduction is then compared to the amount of EUE reduction observed in the model when an increment of perfect annual capacity is added instead. Example: 100 MW of incremental class capacity results in 40 MWh EUE reduction in the ELCC analysis. 100 MW of incremental perfect capacity results in 50 MWh of EUE reduction. The ELCC Class Rating would be set equal to 40 MWh / 50 MWh = 80%. | New Resources: Class Marginal ELCC calculation should only be required for new resources. Alternative method may not be practical given reference resource for setting demand curve also uses a class ELCC. All other Resources: Resource-specific ELCC (resouce scaled to 100 MW) to evaluate the reduction in portfolio EUE compared to the perfect resource. Immature resources can use a hybrid of class and unit specific rolling history to determine the non-weather sensitive outage factor for use in the ELCC model. While the input outage factor may be a function of the class for immature resource, the resource will be dispatched to determine resource specific ELCC accreditation. | Unit specific ELCC | Same as Package B1 (MMU) | Status Quo | Status quo -- noting that members of the "weather hardened" class(es) are independent of the weather correlates in the model | Same as PJM Package C | Same as PJM Package C
18 | ELCC Resource Performance Adjustment |  | Reflects each resources’ weighted average historically-observed performance, in those hours and weather conditions (temperature bins) in which the system experiences reliability risk, relative to class average historically-observed performance in those same hours and weather conditions back to 2012. Hours considered in the performance adjustment factors include both the hours that see loss-of-load risk in the model, as well as additional hours of observed performance during days within the temperature bins that have reliability risk. Temperature bins that experience more loss-of-load risk have greater weighting in the performance adjustment. Within each temperature bin, each day of historical performance has equal weighting. | No longer required | Not needed since calculation is unit specific. | Same as Package B1 (MMU) | Status Quo | Calculate the resource specific performance adjustment assuming the "winter hardened" class characteristics . NOTE: this approach to calculating the resource specifc adjustment for resources that demonstrate they meet the "winter hardeining" requirements could be adopted without also creating new "winter hardened" accreditation classes, rather applying this value to the standard asset class | Status Quo with this addition: Unit Specific Adjustment (USA) mechanism to include a new capacity operational test adjustment where: 1. Total possible USA adder or decrement per year is 1 percent 2. USA adder is split between seasons pro-rata to reflect the split of risk identified in ELCC model, but where no single season exceeds 0.75 percent of the total 1 percent possible 3. For every time a resource successfully completes the Capacity Operational Test called by PJM on the first time, the resource is credited with a pro-rata share of the possible seasonal USA adder (e.g if there are two tests, and winter is 0.75%, one successful test would credit 0.38% to the USA) 4. For every time a resource successfully completes the Capacity Operational Test called by PJM on after the second attempt, the resource receives no USA adder or decrement 5. For every time a resource fails to complete the Capacity Operational Test called by PJM on after the second attempt, the resource is decremented with a pro-rata share of the seasonal possible USA adder 6. USA adders and decrements roll off after 5-years, such that resources are incentivized to perform on every called Capacity Operational Test | Same as PJM Package C
19 | Accreditation UCAP Calculation |  | For resources that have an ELCC Class Rating determined, Accredited UCAP is calculated as follows: (a) Unlimited Resources: Resource ICAP * ELCC Class Rating * Resource Performance Adjustment (b) Variable & Limited Duration Resources: min{ENC * ELCC Class Rating * Resource Performance Adjustment, Resource ICAP (CIRs)} (c) Demand Resources: Resource ICAP * ELCC Class Rating For resources with no ELCC Class Rating, Accredited UCAP is based on a resource-specific ELCC analysis. |  | Unit specific ELCC | Same as Package B1 (MMU) | Status Quo | Status quo (Sames as PJM Package C) |  | Same as PJM Package C
BRA to IA Risk Management
20 | Potential reforms that may provide greater certainty in ELCC accreditation and/or allow market participants to better manage potential changes in ELCC accreditation between the time of the BRA and the final ELCC values determined for a Delivery Year. |  | The ELCC accreditation of resources is determined prior to the BRA for a Delivery Year, and then updated values are determined prior to Incremental Auction(s), with final ELCC values determined ahead of the Third IA for a Delivery Year. Existing Generation Capacity Resources that do not qualify for a must offer exception must offer their full accredited UCAP in the RPM auctions. To the extent the final ELCC accredited value is below the BRA committed UCAP or amount previously cleared, resource owners may seek replacement capacity in the Incremental Auction(s) or bilaterally, or use any available non-committed UCAP from other resources in their portfolio, to avoid deficiency charges in the Delivery Year.
Defining Winter ICAP (for Reflecting Winter Capability in ELCC Modeling)
21 | Determination of Installed Capacity for Unlimited Resources |  | No defined Winter ICAP. Rated capability or rated ICAP is the net capability determined by adjusting the generator capability for generator the conditions coincident with the dates and times of the last 15 years PJM summer peaks (also known as summer conditions) and cannot exceed the capacity interconnection rights (CIRs). |  | Summer: Status quo Winter: ICAP of unlimited resources is the tested or demonstrated capability of the unit, adjusted for winter deliverability starting from 27/28 BRA. | Same as Package B1 (MMU) | Winter ICAP is determined by adjusting the generator capability for generator site conditions coincident with the dates and times of the last 15 years PJM winter peaks (also known as winter peak conditions), not to exceed studied winter deliverability and granted Winter CIRs. Status Quo for Summer ICAP. | MMU proposal (Same as MMU Package B1 and B2) |  | Same as PJM Package C
22 | Determination of Installed Capacity for Variable Resources |  | No defined Winter ICAP. ICAP defined as equal the Effective Nameplate Capacity of the resource, not to exceed the greater of the CIRs of the resource, or the transitional system capability as limited by the transitional resource MW ceiling, awarded for the applicable time period. |  | Effective nameplate capacity capped at CIRs. | Same as Package B1 (MMU) | Winter ICAP equals the Effective Nameplate Capacity of the resource, not to exceed studied winter deliverability and granted Winter CIRs. Status Quo for Summer ICAP. | MMU proposal (Same as MMU Package B1 and B2) |  | Same as PJM Package C
23 | Determination of Installed Capacity for Limited Duration Resources |  | No defined Winter ICAP. ICAP shall equal the sustained level of output that the unit can provide and maintain over a continuous period, whereby the duration of that continuous period matches the characteristic duration of the corresponding ELCC Class, with consideration given to ambient conditions expected to exist at the time of PJM system peak load. |  | Same as PJM while respecting likely market based performance. | Same as Package B1 (MMU) | Status Quo | Status quo (Same as PJM Package C) |  | Same as PJM Package C
Winter CIRs
24 | Allocation of Winter CIRs |  | Allocated to Intermittent Resources and Environmentally Limited Resources which seek to obtain additional CIRs related to the winter period for purposes of submitting sell offers as winter-period capacity. Requested Winter CIRs are studied and granted based on values submitted through a solicitation process ahead of each delivery year. |  | Allocate to units based on marginal reliability contribution. The probability of being available at full output during reliability risk hours. | Same as Package B1 (MMU) | For purposes of ensuring deliverability of Winter ICAP to be represented in the calculation of Accredited UCAP, Winter CIRs for each delivery year granted to all Generation Capacity Resources based on assessed winter generator deliverability prescribed in Manual 14B. Given these winter generator deliverability test levels will be fully aligned between RTEP and interconnection studies for the 2029/30 delivery year and beyond (see Option Details), a transitional study will be needed assess winter deliverability for the 2028/29 delivery year. Status quo solicitation and study process is sunset. | PJM proposal (Same as PJM Package C) |  | Same as PJM Package C
Additional Requirements for Reflecting Winter Capability in ELCC Modeling
25 | Capability Testing and Verification Requirements |  | Unlimited Resources: Winter Net Capability Verification Test considering conditions described in Manual 21B. Variable Resources: N/A Limited Duration Resources: Winter Net Capability Verification Test as described in Manual 21B. |  | Strong random testing requirements. PJM decides on test date/time without advance notice. | Same as Package B1 (MMU) | Unlimited Resources: Winter Net Capability Verification Test compared to committed Winter ICAP Variable Resources: Status Quo Limited Duration Resources: Status Quo | PJM proposal (Same as PJM Package C) |  | Same as PJM Package C
26 | Energy Must Offer Requirement |  | Based on ICAP equivalent of committed UCAP |  | Based on seasonal ICAP equivalent of committed UCAP, calculated using seasonal Accredited UCAP Factors (Same as PJM Package C) | Same as Package B1 (MMU) | Based on seasonal ICAP equivalent of committed UCAP, calculated using seasonal Accredited UCAP Factors | PJM proposal (Same as PJM Package C and MMU Package B1 and B2) |  | Same as PJM Package C
27 | Capacity Market Offer MW Terms |  | ICAP terms |  | Participant offers in ICAP terms (summer and winter). PJM converts into UCAP terms. | Same as Package B1 (MMU) | UCAP terms | PJM proposal (Same as PJM Package C) |  | Same as PJM Package C
28 | Resource Accredited UCAP Factor |  | Accredited UCAP divided by Installed Capacity |  | Summer Accredited UCAP Factor = Accredited UCAP / Summer ICAP Winter Accredited UCAP Factor = Accredited UCAP / Winter ICAP (Same as PJM Package C) | Same as Package B1 (MMU) | Summer Accredited UCAP Factor = Accredited UCAP / Summer ICAP Winter Accredited UCAP Factor = Accredited UCAP / Winter ICAP | PJM proposal (Same as PJM Package C and MMU Package B1 and B2) |  | Same as PJM Package C
29 | Approach for Accredited UCAP > CIRs |  | Annual AUCAP and annual offer capped at annual CIRs, with additional incremental winter capability offered as winter-period capacity. |  | Performance obligation should be a function of seasonal AUCAP. Sunset seasonal matching. | Same as Package B1 (MMU) | Allow annual AUCAP and annual offers to exceed annual CIRs. Sunset seasonal matching. | MMU proposal (Same as MMU Package B1 and B2) |  | Same as PJM Package C
30 | Resource Capacity in PAI Expected Performance Calculation |  | Committed UCAP for generation resources Committed ICAP for demand resources |  |  |  | For generation resources, Status Quo (annual committed UCAP) For demand resources, Status Quo with ratio of [annual committed UCAP / annual owned UCAP] applied to registered annual and summer ICAP quantities: Annual DR ICAP Committed = [AnnualUCAPCommitted/AnnualUCAPOwned] × Registered Annual ICAP Summer-Only DR ICAP Committed = [AnnualUCAPCommitted/AnnualUCAPOwned] × Registered Summer-Only ICAP
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 3a. Package Details
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Effective Load Carrying Capability Senior Task Force
Capacity Market Enhancements - ELCC Accreditation Methodology
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3