## Setup
Enter Stakeholder Committee Name in cell A2:
Energy Price Formation Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Operating Demand Curve & Transmission Constraint Penalty Factors

## 1. Interest Identification
Energy Price Formation Senior Task Force
Operating Demand Curve & Transmission Constraint Penalty Factors
Interest Identification
Instructions: List interests of all parties on this page.
Trigger Conditions | 1 | Clear rules on when trigger is initiated and terminated.
| 14 | Transparency and predictability of the trigger. The market is aware of when it might happen and what will happen. But don't prevent operators from taking reliability actions
| 8 | Clarity for what circuit breaker rules are and what actions will be taken
| 10 | Avoid having ORDC trigger surprise the market
Goal of Circuit Breaker | 2 | Limit unnecessary risk to market participants and consumers
| 4 | Balance complexity of solution with the expected frequency of use
| 7 | Mitigate potential for enormous transfers of wealth that don't provide much incremental reliability
| 9 | Allow the opportunity for recovery of capital costs in the long run
| 12 | Keep the ability for PJM dispatch to exercise what they need to do
| 16 | Recognize natural Circuit Breaker that occurs when you run out of ability to create more reserves (extreme situation)
| 17 | Supporting public confidence in the markets
| 19 | Don't provide market participants incentives to make reliability issues worse
| 20 | Do not provide load and generation negative incentives to take unnecessary risks
Price Signal | 3 | Prices should incent real-time response and reflect reliability needs
| 5 | Consistent with competitive market design
| 6 | Ensure market power is effectively mitigated under whatever changes are developed
| 11 | Define the role of transmission constraint penalty factors and what they're intended to incent
| 13 | Correlelation between transmission constraint penalty factors and reserve deficiencies factors
| 15 | Ensuring costs are reflected in prices as best as possible and not through after the fact make whole payments
| 18 | Prices must remain consistent with reliability and operational needs

## 2. Options Matrix- Design C
Energy Price Formation Senior Task Force
Operating Demand Curve & Transmission Constraint Penalty Factors
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E | F | G | H
* | Implementation Timeline |  |  | A: 5/1/2022 10/1/2022
Circuit Breaker Trigger
1 | Type of Circuit Breaker |  |  | Event Based - Price Trigger | Event Based - Level of Cleared Reserves Trigger | Revenue Based Trigger | Revenue Based Trigger coupled with Event Based Trigger | Revenue Based Trigger and Event Based Trigger must both be met
1a | Number of Event Hours that trigger Circuit Breaker |  |  | 6 | 9 | 10 | 12 | 14 | 18
1b | Continuity of hours that triggers circuit breaker |  |  | Consecutive hours in an operating day | Non-consecutive hours across two days | Consecutive hours across two days | Multiple days in a 7 day period | Multiple days in a 30 day period | Nonconsecutive hours over multiple days | Non-consecutive hours/intervals within two consecutive operating days
1c | Operational Considerations |  |  | A: Inactionable price signals for an extended period of time (need to work with PJM to better define if/how system conditions could be used as a triggering mechanism); B: When PJM determines catastrophic force majeure; Will be triggered when key transmission system or gas infrastructure is unavailable or widespread cyber attack at MAD or RTO Wide (essentially excludes local issues); C: Any of the following: 1) Emergency Procedures Called DA: Max Gen Alert issued during rolling 24 hour period RT: Manual Load Dump/EEA3 for Actuve Subzone or RTO Wide (essentially excludes local issues) 2) Force Majeure for Circuit Breaker (shall include circumstances resulting in (i) all, or substantially all, of the Transmission System is unavailable, or (ii) all, or substantially all, of the interstate natural gas pipeline network, interstate rail, interstate highway or federal waterway transportation network serving the PJM Region is unavailable, or catastrophic cyber attack)
1d | PJM Discretion |  |  | A: PJM shall have discretion to invoke circuit breaker methodology if they are aware of conditions that warrant it's use; B: PJM Discretion to invoke the circuit breaker methodology if they are aware of conditions that warrant its use. In addition, PJM shall have discretion to not invoke the circuit breaker if doing so would have adverse effects on reliability.
1e | Market that can trigger Circuit Breaker |  |  | A: Real Time; B: Day-Ahead; C: Day-Ahead and Real Time
1f | Does Trigger initiation in Day-Ahead signal initiating in Real-Time? |  |  | A: Yes; B: No
1g | Event Based - Price Trigger Components
1ga | Type of Clearing Price that triggers Circuit Breaker |  |  | A: Energy Price (exclusive of Losses and Congestion); B: LMP (inclusive of Losses and Congestion); C: SRMCP
1gb | Location of Price |  |  | A: Any Location; B: Active Subzone SRMCP
1gc | Clearing Price Value that triggers Circuit Breaker |  |  | A: 12000; B: 8000; C: 10000
1h | Level of Cleared Reserves Based Circuit Breaker Components
1ha | Cleared Reserve MW Level to trigger Circuit Breaker |  |  | A: Less than Minimum Reserve Requirement
1hb | Reserve Product to trigger Circuit Breaker
1hc | Location of Reserves to trigger Circuit Breaker
1i | Revenue Based Circuit Breaker Components
1ia | Revenue Type Trigger |  |  | A: Aggregate Reserve Charge Billing; B: DA: Energy Market Costs: (Sum of Fixed Demand and Price Sensitive Demand and Exports) * DA LMP RT: Energy Market Costs (Sum of RT Load * RT LMP)
1ib | Revenue Value Trigger |  |  | $5 billion RTO; $5 Billion * (Locational Load MW /RTO Peak Load MW) for Active Subzone | $1 billion RTO; $1 Billion * (Locational Load MW /RTO Peak Load MW) | When net CONE is met for locational BRA reference resource | When X times net CONE is met for locational BRA reference resource (X to be defined) | Consider revenue with consideration of amount of collateral in place | $5 billion
1ic | Duration for observing charges to load |  |  | Two operating days | Multiple days in a 7 day period | Multiple days in a 30 day period | Current delivery year | DA and RT use rolling 24 hour period
1id | Locational Aspect |  |  | A: Transmission Zone; B: Active Subzone (ex/ MAD) or RTO; C: RTO
Circuit Breaker Termination
2 | Trigger for terminating circuit breaker |  |  | PJM's Forecasted System Conditions Do Not Result in Expected Shortage Pricing at $12,000/MWhr level | X consecutive hours of no triggering event | Start of the next delivery year | Status Quo for existing shortage event termination | Minimum Reserve Requirement Met | H consecutive hours for DA or I consecutive intervals for RT where RTO SRMCP < $2,000/MWh | 5 Consecutive Business Days where circuit breaker cap was not administered
Circuit Breaker Methodology
3 | Circuit Breaker Methodology |  |  | Cap price by setting Overall Price Cap | Cap price by reducing the penalty factors that impact the prices | Cap price by reducing ORDC penalty factors and limiting price stacking | Cap price by reducing ORDC penalty factors | Disable Reserve Requirements for X Products | Administratively cap Energy Component of LMP to $2,000; Reserve MCPs would follow status quo capping logic (30-min = 850; PR = 1275; SR = 1700) | Administratively cap Total LMP to $2000 If actively in Energy Deficit: - Energy Component will be set to $2000 and Loss and Congestion Components will be set to $0. If not actively in Energy Deficit: - if Energy Component >$2000, Energy Component will be set to $2000; no change to Loss Component; Congestion Components updated so Total LMP = $2000. -if Energy Component <$2000 and Total LMP > $2,000 then Congestion Component will be adjusted to make total LMP = $2000; no change to loss component Reserve MCPs would follow status quo capping logic (30-min = 850; PR = 1275; SR = 1700)
4 | Market Clearing Solutions in which Circuit Breaker is Initiated |  |  | A: Applied to both dispatch and pricing engines; B: Applied only to pricing run; C: Real Time LMP: SEP at reference bus Reserves: - Synchronized Reserve Clearing i. Synch Reserve Product - Primary Reserve Clearing i. Synch Reserve Product ii. Non-synch Reserve Product - Secondary Reserve Clearing (beyond 10 minutes point) i. Secondary Reserve Product Day-Ahead: Same as listed for RT
5 | Applicable Markets where Circuit Breaker is Implemented |  |  | A: Day-Ahead; B: Real Time; C: Both DA and RT; D: Neither; Post Process following Pricing Run
6 | Overall Price Cap Components
6a | Type of Clearing Price that is capped |  |  | A: SRMCP, NSRMCP, SecR MCP; B: Energy Component of LMP; C: Total LMP
6b | Price Cap Value |  |  | A: 2*Penalty Factor; B: 1700; C: 2000
7 | Penalty Factor Reduction Components
7a | Updated Penalty Factor Value |  |  | A: 566; B: All products except RTO Synchronized Reserve set to $0/MWh
8 | Stacking Methodology Components
8a | Stacking methodology of ORDC curves |  |  | A: Allow Product Stacking; do not allow Locational Stacking
Settlements
9 | Make Whole Credit Provisions |  |  | A: All resources running for PJM are made whole
10 | Make Whole Charge Allocation Provisions |  |  | A: Charges are allocated to load | Low
11 | FTR Settlements |  |  | A: Status Quo; No special rules to account for capping of Congestion Component
Operational Controls
12 | Additional operational controls for PJM |  |  | A: Cut Firm Exports when CB is in effect | Low - Medium
Low - High
Medium
Medium - High
High
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 3. Package Matrix- Organized
Energy Price Formation Senior Task Force
Operating Demand Curve & Transmission Constraint Penalty Factors
OPTIONS MATRIX
Packages
# | Design Components1 | Priority | Status Quo | A | B | C | D | E | F | G
* | Implementation Timeline |  |  | 2022-05-01 | 2022-05-01 | TBD | TBD | TBD | TBD | TBD
Circuit Breaker Trigger
1 | Type of Circuit Breaker |  |  | Event Based - Price Trigger | Event Based - Level of Cleared Reserves Trigger | Revenue Based | Revenue Based | Revenue Based Trigger and Event Based Trigger must both be met | Revenue Based Trigger and Event Based Trigger must both be met | Event Based Trigger
1a | Number of Event Hours that trigger Circuit Breaker |  |  | 6 | 9 for Initial Event; 3 for subsequent events | N/A | N/A | N/A | N/A | N/A
1b | Continuity of hours that triggers circuit breaker |  |  | (1) 6 Consecutive hours in one operating day or across two operating days OR (2) 6 Nonconsecutive hours in an operating day | Non-consecutive hours across one day | N/A | N/A | N/A | N/A | N/A
1c | Operational Considerations |  |  | Inactionable price signals for an extended period of time (need to work with PJM to better define if/how system conditions could be used as a triggering mechanism) | N/A | N/A | N/A | Any of the following: 1) Emergency Procedures Called DA: Max Gen Alert issued during rolling 24 hour period RT: Manual Load Dump/EEA3 for active subzone or RTO Wide (essentially excludes local issues) 2) Force Majeure for Circuit Breaker (shall include circumstances resulting in (i) all, or substantially all, of the Transmission System is unavailable, or (ii) all, or substantially all, of the interstate natural gas pipeline network, interstate rail, interstate highway or federal waterway transportation network serving the PJM Region is unavailable, or catastrophic cyber attack) | Any of the following: 1) Emergency Procedures Called DA: Max Gen Alert issued during rolling 24 hour period RT: Manual Load Dump/EEA3 for active subzone or RTO Wide (essentially excludes local issues) 2) Force Majeure for Circuit Breaker (shall include circumstances resulting in (i) all, or substantially all, of the Transmission System is unavailable, or (ii) all, or substantially all, of the interstate natural gas pipeline network, interstate rail, interstate highway or federal waterway transportation network serving the PJM Region is unavailable, or catastrophic cyber attack) | Any of the following: 1) Emergency Procedures Called DA: Max Gen Alert issued for entire rolling 24 hour period RT: Manual Load Dump/EEA3 for active subzone or RTO Wide for entire rolling 24 period (essentially excludes local issues) 2) Force Majeure for Circuit Breaker (shall include circumstances resulting in (i) all, or substantially all, of the Transmission System is unavailable, or (ii) all, or substantially all, of the interstate natural gas pipeline network, interstate rail, interstate highway or federal waterway transportation network serving the PJM Region is unavailable, or catastrophic cyber attack)
1d | PJM Discretion |  |  |  | PJM shall have discretion to invoke circuit breaker methodology if they are aware of conditions that warrant it's use | PJM Discretion to invoke the circuit breaker methodology if they are aware of conditions that warrant its use. In addition, PJM shall have discretion to not invoke the circuit breaker if doing so would have adverse effects on reliability. | PJM Discretion to invoke the circuit breaker methodology if they are aware of conditions that warrant its use. In addition, PJM shall have discretion to not invoke the circuit breaker if doing so would have adverse effects on reliability. | PJM Discretion to invoke the circuit breaker methodology if they are aware of conditions that warrant its use. In addition, PJM shall have discretion to not invoke the circuit breaker if doing so would have adverse effects on reliability. | PJM Discretion to invoke the circuit breaker methodology if they are aware of conditions that warrant its use. In addition, PJM shall have discretion to not invoke the circuit breaker if doing so would have adverse effects on reliability. | PJM shall have discretion to not invoke the circuit breaker if doing so would have adverse effects on reliability.
1e | Market that can trigger Circuit Breaker |  |  | Day-Ahead and Real Time | Day-Ahead and Real Time | Day-Ahead and Real Time | Day-Ahead and Real Time | Day-Ahead and Real Time | Day-Ahead and Real Time | Day-Ahead and Real Time
1f | Does Trigger initiation in Day-Ahead signal initiating in Real-Time? And Vice Versa |  |  | TBD | No | Yes | Yes | Yes | Yes | Yes
1g | Event Based - Price Trigger Components
1ga | Type of Clearing Price that triggers Circuit Breaker |  |  | LMP (inclusive of Losses and Congestion) | N/A | N/A | N/A | N/A | N/A | N/A
1gb | Location of Price |  |  | Any Location | N/A | N/A | N/A | N/A | N/A | N/A
1gc | Clearing Price Value that triggers Circuit Breaker |  |  | 12000 | N/A | N/A | N/A | N/A | N/A | N/A
1h | Level of Cleared Reserves Based Circuit Breaker Components
1ha | Cleared Reserve MW Level to trigger Circuit Breaker |  |  | N/A | Minimum Reserve Requirement | N/A | N/A | N/A | N/A | N/A
1hb | Reserve Product to trigger Circuit Breaker |  |  | N/A | TBD | N/A | N/A | N/A | N/A | N/A
1hc | Location of Reserves to trigger Circuit Breaker |  |  | N/A | TBD | N/A | N/A | N/A | N/A | N/A
1i | Revenue Based Circuit Breaker Components
1ia | Revenue Type Trigger |  |  | N/A | N/A | DA: Energy Market Costs: (Sum of Fixed Demand and Price Sensitive Demand and Exports) * DA LMP RT: Energy Market Costs (Sum of RT Load * RT LMP) | DA: Energy Market Costs: (Sum of Fixed Demand and Price Sensitive Demand and Exports) * DA LMP RT: Energy Market Costs (Sum of RT Load * RT LMP) | DA: Energy Market Costs: (Sum of Fixed Demand and Price Sensitive Demand and Exports) * DA LMP RT: Energy Market Costs (Sum of RT Load * RT LMP) | Average Total LMP | N/A
1ib | Revenue Value Trigger |  |  | N/A | N/A | $5 billion RTO; $5 Billion * (Locational Load MW /RTO Peak Load MW) for Active Subzone | $5 billion RTO; $5 Billion * (Locational Load MW /RTO Peak Load MW) for Active Subzone | $5 billion RTO; $5 Billion * (Locational Load MW /RTO Peak Load MW) for Active Subzone | Average Total LMP >= $2,000/MWh | N/A
1ic | Duration for observing charges to load |  |  | N/A | N/A | DA and RT use rolling 24 hour period | DA and RT use rolling 24 hour period | DA and RT use rolling 24 hour period | DA and RT use rolling 24 hour period | N/A
1id | Locational Aspect |  |  |  |  | RTO and Active Subzone | RTO and Active Subzone | RTO and Active Subzone | RTO and Active Subzone | N/A
Circuit Breaker Termination
2 | Trigger for terminating circuit breaker |  |  | PJM's Forecasted System Conditions Do Not Result in Expected Shortage Pricing at $12,000/MWhr level | Minimum Reserve Requirement Met | 5 Consecutive Business Days where circuit breaker cap was not administered | 5 Consecutive Business Days where circuit breaker cap was not administered | 5 Consecutive Business Days where circuit breaker cap was not administered | 5 Consecutive Business Days where circuit breaker cap was not administered | 5 Consecutive Business Days where circuit breaker cap was not administered
Circuit Breaker Methodology
3 | Circuit Breaker Methodology |  |  | Cap price by setting Overall Price Cap | Cap price by reducing ORDC penalty factors and limiting price stacking | Administratively cap Energy Component of LMP to $2000; Reserve MCPs would follow status quo capping logic (30-min = 850; PR = 1275; SR = 1700) | Administratively cap Total LMP to $2000 If actively in Energy Deficit: - Energy Component will be set to $2000 and Loss and Congestion Components will be set to $0. If not actively in Energy Deficit: - if Energy Component >$2000, Energy Component will be set to $2000; no change to Loss Component; Congestion Components updated so Total LMP = $2000. -if Energy Component <$2000 and Total LMP > $2,000 then Congestion Component will be adjusted to make total LMP = $2000; no change to loss component Reserve MCPs would follow status quo capping logic (30-min = 850; PR = 1275; SR = 1700) | Administratively cap Total LMP to $2000 If actively in Energy Deficit: - Energy Component will be set to $2000 and Loss and Congestion Components will be set to $0. If not actively in Energy Deficit: - if Energy Component >$2000, Energy Component will be set to $2000; no change to Loss Component; Congestion Components updated so Total LMP = $2000. -if Energy Component <$2000 and Total LMP > $2,000 then Congestion Component will be adjusted to make total LMP = $2000; no change to loss component Reserve MCPs would follow status quo capping logic (30-min = 850; PR = 1275; SR = 1700) | Administratively cap Total LMP to $2000 If actively in Energy Deficit: - Energy Component will be set to $2000 and Loss and Congestion Components will be set to $0. If not actively in Energy Deficit: - if Energy Component >$2000, Energy Component will be set to $2000; no change to Loss Component; Congestion Components updated so Total LMP = $2000. -if Energy Component <$2000 and Total LMP > $2,000 then Congestion Component will be adjusted to make total LMP = $2000; no change to loss component Reserve MCPs would follow status quo capping logic (30-min = 850; PR = 1275; SR = 1700) | Administratively cap Total LMP to $2000 If actively in Energy Deficit: - Energy Component will be set to $2000 and Loss and Congestion Components will be set to $0. If not actively in Energy Deficit: - if Energy Component >$2000, Energy Component will be set to $2000; no change to Loss Component; Congestion Components updated so Total LMP = $2000. -if Energy Component <$2000 and Total LMP > $2,000 then Congestion Component will be adjusted to make total LMP = $2000; no change to loss component Reserve MCPs would follow status quo capping logic (30-min = 850; PR = 1275; SR = 1700)
4 | Market Clearing Solutions in which Circuit Breaker is Initiated |  |  | Applied to both dispatch and pricing run | Applied to both dispatch and pricing run | Neither; Post Process following Pricing Run | Neither; Post Process following Pricing Run | Neither; Post Process following Pricing Run | Neither; Post Process following Pricing Run | Neither; Post Process following Pricing Run
5 | Applicable Markets where Circuit Breaker is Implemented |  |  | Both DA and RT | Both DA and RT | Both DA and RT | Both DA and RT | Both DA and RT | Both DA and RT | Both DA and RT
6 | Overall Price Cap Components
6a | Type of Clearing Price that is capped |  |  | Reserve MCPs | N/A | Energy Component of LMP | Total LMP | Total LMP | Total LMP | Total LMP
6b | Price Cap Value |  |  | 2*Penalty Factor | N/A | 2000 | 2000 | 2000 | 2000 | 2000
7 | Penalty Factor Reduction Components
7a | Updated Penalty Factor Value |  |  | N/A | 566 | N/A | N/A | N/A | N/A | N/A
8 | Stacking Methodology Components
8a | Stacking methodology of ORDC curves |  |  | N/A | Allow Product Stacking; do not allow Locational Stacking | N/A | N/A | N/A | N/A | N/A
Settlements
9 | Make Whole Credit Provisions |  | All resources running for PJM are made whole | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo
10 | Make Whole Charge Allocation Provisions |  | Charges are allocated to load | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Status Quo | Low
11 | FTR Settlements |  |  |  |  | Status Quo; No special rules to account for capping of Congestion Component | Status Quo; No special rules to account for capping of Congestion Component | Status Quo; No special rules to account for capping of Congestion Component | Status Quo; No special rules to account for capping of Congestion Component | Status Quo; No special rules to account for capping of Congestion Component
Operational Controls
12 | Additional operational controls for PJM |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Low - High
Medium
Medium - High
High
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Energy Price Formation Senior Task Force
Operating Demand Curve & Transmission Constraint Penalty Factors
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 | Number of Event Hours that trigger Circuit Breaker | Hours used for DA, Associated number of 5 minute intervals used for RT (ex:/ if 9 hour threshold, need 108 (9*12) intervals to trigger)
2 |  | <enter detailed description of this component>
3 |  | <enter detailed description of this component>
4 |  | <enter detailed description of this component>
5 |  | <enter detailed description of this component>

## 2b. Option Details
Energy Price Formation Senior Task Force
Operating Demand Curve & Transmission Constraint Penalty Factors
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3a. Package Details
Energy Price Formation Senior Task Force
Operating Demand Curve & Transmission Constraint Penalty Factors
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Energy Price Formation Senior Task Force
Operating Demand Curve & Transmission Constraint Penalty Factors
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Energy Price Formation Senior Task Force
Operating Demand Curve & Transmission Constraint Penalty Factors
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3