{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Instructions","Event","Sheet1"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Instructions","index":0,"n_rows":41,"n_cols":13,"rows_kept":41,"cut":false,"hidden":false,"merged":[[2,0,2,4],[3,0,3,4]]}
[null,"Disclaimer"]
["This is a simulation and interactive tool for memebers to use to understand their units performance "]
["“Transmitting information to PJM member companies, partners, the electric industry, and the public is an important function of PJM. This interactive tool exists only to provide a simulation for educational and discussion purposes.  The information provided in this simulation is for informational, educational, and discussion purposes only.  It is expressly understood that the PJM Open Access Transmission Tariff (“OATT”), Amended and Restated Operating Agreement of PJM Interconnection, L.L.C. (“OA”), Reliability Assurance Agreement among Load Serving Entities in the PJM Region (“RAA”), Transmission Owners Agreement (“TOA”), PJM Joint Operating Agreements (“JOA”), PJM schedules, service agreements, and manuals as amended may contain or result in different calculations and results than those contained herein. "]
["PJM expressly disclaims any obligation or any warranty of any kind, whether express or implied, as to any information, results, or other matters whatsoever arising from the information provided herein or the information resulting from this interactive tool.  In no event shall PJM be liable for any damages of any kind, including, but not limited to, direct, indirect, general, special, incidental or consequential damages arising out of any use of this interactive tool, simulation, or the information contained herein.”"]
[null,"Instructions"]
["Step 1:","Enter in all unit information to set up template"]
[null,"All green colored cells need to entered by the user"]
[null,"**Data should be entered at 2 second granularity for the most accuracte calculation"]
[]
[null,"Unit Information:","Enter Unit Information here:"]
[null,"Unit Name:","Enter Resource Name","Will be used to help PJM staff troubleshoot if data discrepancy is found"]
[null,"MarketID:","Enter Units Makets Gateway ID","Will be used to help PJM staff troubleshoot if data discrepancy is found"]
[null,"Frequency:","Low"]
[null,"Regulation","Yes/No if unit is on for regulation","Used to determine expected MW of PFR response"]
[null,"Eco Max:","Enter Unit's ECOMAX","Used in expected MW calculation "]
[null,"Eco Min:","Enter Unit's ECOMIN","Used in expected MW calculation "]
[null,"Zone","Enter Unit's Control Zone ","Used for tracking purposes"]
[null,"Fuel Type","Enter Unit's Fuel Type ","Used for tracking purposes"]
[null,"Governor Settings","Enter Governor Data here:"]
[null,"Droop (%):","Enter unit's droop setting","Enter as a percent"]
[null,"Deadband (Hz):","Enter unit's deadband setting","Enter as a decmial (field is in Hz)"]
[null,"Plot Times","Enter Start Date/Time of Event here:"]
[null,"Event Start:","Enter event start time (T0) ","Will be used to calculated expected response and align frequency "]
[null,"Plot Start:","2017-11-20T16:11:15"]
[null,"Plot End:","2017-11-20T16:16:15"]
[null,"Interval(seconds):","Enter Data sampling interval (2, 10, etc)","Used to set up data sampling table.  2sec samples are preferred if available"]
[]
[]
["Step 2:","Enter in unit telemetry data for the set timestamps start in cell E43"]
[null,"All green colored cells need to entered by the user"]
[]
["Time \n","Frequency\n(Hz)","Unit Output\n(MW)","Eco Max\n(MW)","Eco Min\n(MW)","PFR Capacity\n(MW)","Expected Response \n(MW)","Expected Response Graph\n(Net MW)","Basepoint\n(MW)",null,null,"Output Timestamp","Unit Output\n(MW)"]
["Time Stamp","Enter Frequency Data","Enter Unit Output Data (MW)","calculated field\n5% buffer on entered EcoMax for PFR calculation ","calculated field\n5% buffer on entered EcoMin for PFR calculation ","calculated field\n PFR capability on unit","calculated field\nExpected Response based on Droop equation","calculated field\ntotal unit output expected based on droop equation","Enter Unit Basepoint (ECOBP) Data ",null,null,"Time Stamp","Enter Unit Output Data (MW)"]
[]
[]
["Step 3:","Review Results "]
[]
[null,"Actual Response =",0,"MW"]
[null,"Expected Response =",2.3727573492588148,"MW"]
[null,"Performance=",0,"MW"," Performance will be calculated based on Actual and Expected Response"]
[null,null,"Fail",null,"Pass/Fail assessment based on 50% performance score"]

{"sheet":"Event","index":1,"n_rows":343,"n_cols":20,"rows_kept":343,"cut":false,"hidden":false,"merged":[[4,5,4,6],[71,0,71,1],[82,0,82,1]]}
["Unit Information:","Enter Unit Information here:"]
["Unit Name:","Resource123"]
["MarketID:",123]
["Frequency:",{"$f":"IF(AVERAGE(IF(ISNUMBER(F83:F99),F83:F99))<60,\"Low\",IF(AVERAGE(IF(ISNUMBER(F83:F99),F83:F99))>60,\"High\",\"Error\"))","v":"Low"}]
["Regulation","Yes","No/Yes",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"X Axis"]
["Eco Max:",800,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Stop",{"$f":"MAX(IF(ISNUMBER(E43:E193),E43:E193))","v":43059.677951388607}]
["Eco Min:",380,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Y Axis"]
["Zone","MidAtl"]
["Fuel Type","Coal"]
["Governor Settings","Enter Governor Data here:","Example Data",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"MAX ",{"$f":"ROUND(MAX(MAX(IF(ISNUMBER(G43:G193),G43:G193)),MAX(IF(ISNUMBER(L43:L193),L43:L193)))+3,0)","v":606}]
["Droop (%):",0.05,0.05,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"MIN",{"$f":"ROUND(MIN(MIN(IF(ISNUMBER(G43:G193),G43:G193)),MIN(IF(ISNUMBER(L43:L193),L43:L193)))-3,0)","v":597}]
["Deadband (Hz):",3.5999999999999997E-2,3.5999999999999997E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"PointA"]
["Plot Times","Enter Start Date/Time of Event here:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"43 + (MATCH(R13,$E$43:$E$193) - 1)","v":73},{"$f":"B14","v":"2017-11-20T16:12:15"},{"$f":"S10","v":606}]
["Event Start:","2017-11-20T16:12:15",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"B14","v":"2017-11-20T16:12:15"},{"$f":"S11","v":597}]
["Plot Start:",{"$f":"B14-TIME(0,1,0)","v":"2017-11-20T16:11:15"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Point B"]
["Plot End:",{"$f":"B14+TIME(0,4,0)","v":"2017-11-20T16:16:15"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"43 + (MATCH(R16,$E$43:$E$193) - 1)","v":91},{"$f":"B14+TIME(0,0,36)","v":"2017-11-20T16:12:51"},{"$f":"S10","v":606}]
["Interval(seconds):",2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"B14+TIME(0,0,36)","v":"2017-11-20T16:12:51"},{"$f":"S11","v":597}]
[]
["Unit Response (in MW)","Actual Resp.","Expected Resp."]
["Point A =",0,0]
["Point B =",{"$f":"B85","v":0},{"$f":"A85","v":2.3710407239818689}]
[]
["Unit Output (in MW)","Actual Resp.","Expected Resp."]
["Point A =",{"$f":"B73","v":600},{"$f":"A73","v":600}]
["Point B =",{"$f":"B84","v":600},{"$f":"A84","v":602.37104072398188}]
[]
["Actual Response =",{"$f":"$B$85-$B$32","v":0},"MW"]
["Expected Response =",{"$f":"IF($L$43=0,\"Off-line\",IF($B$5= \"Yes\", \"Regulation\",IF(OR((A73>=$H$43),($I$43>=A73)),\"No Capacity\",$A$85-$B$32)))","v":"Regulation"},"MW"]
["Performance=",{"$f":"IFERROR(MIN(MAX((1-(B28-B27)/B28),0),1),B28)","v":"Regulation"},"MW"]
[null,{"$f":"IFERROR(IF(B29>=0.5,\"Pass\",\"Fail\"),\"\")","v":"Pass"}]
[]
["Ramp Rate ",{"$f":"($G$73-$G$43)*0.53","v":0}]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,{"$f":"INDEX(D43:D193,MATCH(TRUE,INDEX(D43:D193<>0,),0))","v":1.5128205128200705},{"$f":"VLOOKUP(K41,$D$43:$G$193,4,TRUE)","v":600},null,null,null,null,{"$f":"B14-TIME(0,10,0)","v":"2017-11-20T16:02:15"}]
[null,null,null,null,"Time \n","Frequency\n(Hz)","Unit Output\n(MW)","Eco Max\n(MW)","Eco Min\n(MW)","PFR Capacity\n(MW)","Expected Response \n(MW)","Expected Response Graph\n(Net MW)","Basepoint\n(MW)",null,null,"Output Timestamp","Unit Output\n(MW)","Regulation","Unit Ramp before Event\n (MW/min)"]
[null,null,null,{"$f":"K43","v":0},{"$f":"B15","v":43059.674479166664},60.006300000000003,600,{"$f":"B6-(B6*0.05)","v":760},{"$f":"B7 + (B6*0.05)","v":420},{"$f":"IF($B$4=\"low\",H43-G43,IF($B$4=\"high\",G43-I43,\"error\"))","v":160},{"$f":"IF(F43<(60-$B$12),((-1)*H43*((F43-60+$B$12)/(60*$B$11-$B$12))),IF(F43>(60+$B$12),((-1)*H43*((F43-60-$B$12)/(60*$B$11-$B$12))),0))","v":0},{"$f":"IF(G43<1,0,IF(K43=0,(G43+K43),($L$41+K43)))","v":600},null,null,null,{"$f":"Q41","v":43059.668229166666},400,{"$f":"B5","v":"Yes"},{"$f":"Q43","v":400},"MW-10min before"]
[null,null,null,{"$f":"K44","v":0},{"$f":"IF(E43+TIME(0,0,$B$17) > $B$16,NA(),E43+TIME(0,0,$B$17))","v":43059.674502314811},60.0062,600,{"$f":"IF(ISERROR(E44),NA(),H43)","v":760},{"$f":"IF(ISERROR(E44),NA(),I43)","v":420},{"$f":"IF($B$4=\"low\",H44-G44,IF($B$4=\"high\",G44-I44,\"error\"))","v":160},{"$f":"IF(ISERROR(E44),NA(),IF(F44<(60-$B$12),((-1)*H44*((F44-60+$B$12)/(60*$B$11-$B$12))),IF(F44>(60+$B$12),((-1)*H44*((F44-60-$B$12)/(60*$B$11-$B$12))),0)))","v":0},{"$f":"IF(ISERROR(E44),NA(),IF(G44<1,0,IF(K44=0,(G44+K44),($L$41+K44))))","v":600},null,null,null,{"$f":"P43+TIME(0,0,2)","v":43059.668252314812},400,null,{"$f":"Q343","v":400},"MW- 0min before"]
[null,null,null,0,{"$f":"IF(E44+TIME(0,0,$B$17) > $B$16,NA(),E44+TIME(0,0,$B$17))","v":43059.674525462957},60.006100000000004,600,{"$f":"IF(ISERROR(E45),NA(),H44)","v":760},{"$f":"IF(ISERROR(E45),NA(),I44)","v":420},160,{"$f":"IF(ISERROR(E45),NA(),IF(F45<(60-$B$12),((-1)*H45*((F45-60+$B$12)/(60*$B$11-$B$12))),IF(F45>(60+$B$12),((-1)*H45*((F45-60-$B$12)/(60*$B$11-$B$12))),0)))","v":0},{"$f":"IF(ISERROR(E45),NA(),IF(G45<1,0,IF(K45=0,(G45+K45),($L$41+K45))))","v":600},null,null,null,{"$f":"P44+TIME(0,0,2)","v":43059.668275462958},400,null,{"$f":"(S44-S43)/10","v":0},"MW/min"]
[null,null,null,0,43059.674548611103,60.006,600,760,420,160,0,600,null,null,null,43059.668298611105,400]
[null,null,null,0,43059.674571759249,60.005899999999997,600,760,420,160,0,600,null,null,null,43059.668321759251,400]
[null,null,null,0,43059.674594907396,60.005800000000001,600,760,420,160,0,600,null,null,null,43059.668344907397,400]
[null,null,null,0,43059.674618055542,60.005699999999997,600,760,420,160,0,600,null,null,null,43059.668368055543,400]
[null,null,null,0,43059.674641203688,60.005699999999997,600,760,420,160,0,600,null,null,null,43059.66839120369,400]
[null,null,null,0,43059.674664351835,60.005299999999998,600,760,420,160,0,600,null,null,null,43059.668414351836,400]
[null,null,null,0,43059.674687499981,60.004800000000003,600,760,420,160,0,600,null,null,null,43059.668437499982,400]
[null,null,null,0,43059.674710648127,60.004199999999997,600,760,420,160,0,600,null,null,null,43059.668460648129,400]
[null,null,null,0,43059.674733796273,60.003700000000002,600,760,420,160,0,600,null,null,null,43059.668483796275,400]
[null,null,null,0,43059.67475694442,60.003100000000003,600,760,420,160,0,600,null,null,null,43059.668506944421,400]
[null,null,null,0,43059.674780092566,60.003500000000003,600,760,420,160,0,600,null,null,null,43059.668530092567,400]
[null,null,null,0,43059.674803240712,60.004600000000003,600,760,420,160,0,600,null,null,null,43059.668553240714,400]
[null,null,null,0,43059.674826388858,60.005800000000001,600,760,420,160,0,600,null,null,null,43059.66857638886,400]
[null,null,null,0,43059.674849537005,60.006999999999998,600,760,420,160,0,600,null,null,null,43059.668599537006,400]
[null,null,null,0,43059.674872685151,60.008200000000002,600,760,420,160,0,600,null,null,null,43059.668622685153,400]
[null,null,null,0,43059.674895833297,60.008400000000002,600,760,420,160,0,600,null,null,null,43059.668645833299,400]
[null,null,null,0,43059.674918981444,60.007399999999997,600,760,420,160,0,600,null,null,null,43059.668668981445,400]
[null,null,null,0,43059.67494212959,60.006500000000003,600,760,420,160,0,600,null,null,null,43059.668692129591,400]
[null,null,null,0,43059.674965277736,60.005600000000001,600,760,420,160,0,600,null,null,null,43059.668715277738,400]
[null,null,null,0,43059.674988425882,60.0047,600,760,420,160,0,600,null,null,null,43059.668738425884,400]
[null,null,null,0,43059.675011574029,60.004600000000003,600,760,420,160,0,600,null,null,null,43059.66876157403,400]
[null,null,null,0,43059.675034722175,60.005299999999998,600,760,420,160,0,600,null,null,null,43059.668784722176,400]
[null,null,null,0,43059.675057870321,60.006100000000004,600,760,420,160,0,600,null,null,null,43059.668807870323,400]
[null,null,null,0,43059.675081018468,60.006799999999998,600,760,420,160,0,600,null,null,null,43059.668831018469,400]
[null,null,null,0,43059.675104166614,60.0075,600,{"$f":"IF(ISERROR(E70),NA(),H69)","v":760},420,160,0,600,null,null,null,43059.668854166615,400]
["Expected","Actual",null,0,43059.67512731476,60.006700000000002,600,760,420,160,0,600,null,null,null,43059.668877314762,400]
["Point A",null,null,0,43059.675150462906,60.004300000000001,600,760,420,160,0,600,null,null,null,43059.668900462908,400]
[{"$f":"AVERAGE(INDIRECT(\"L\"&$A$75&\":L\"&$A$76))","v":600},{"$f":"AVERAGE(INDIRECT(\"G\"&$A$75&\":G\"&$A$76))","v":600},"MW output",0,43059.675173611053,60.001899999999999,600,760,420,160,0,600,null,null,null,43059.668923611054,400]
[{"$f":"AVERAGE(INDIRECT(\"K\"&$A$75&\":K\"&$A$76))","v":0},{"$f":"AVERAGE(INDIRECT(\"K\"&$A$75&\":K\"&$A$76))","v":0},"PFR expected",0,43059.675196759199,59.999600000000001,600,760,420,160,0,600,null,null,null,43059.6689467592,400]
[{"$f":"43 + (MATCH(B75,$E$43:$E$193) - 1)","v":66},{"$f":"R13-TIME(0,0,14)","v":"2017-11-20T16:12:01"},null,0,43059.675219907345,59.997199999999999,600,760,420,160,0,600,null,null,null,43059.668969907347,400]
[{"$f":"Q13","v":73},{"$f":"R13","v":"2017-11-20T16:12:15"},null,0,43059.675243055492,59.991799999999998,600,760,420,160,0,600,null,null,null,43059.668993055493,400]
[null,null,null,0,43059.675266203638,59.983400000000003,600,760,420,160,0,600,null,null,null,43059.669016203639,400]
[null,null,null,0,43059.675289351784,59.974899999999998,600,760,420,160,0,600,null,null,null,43059.669039351786,400]
[null,null,null,0,43059.67531249993,59.966500000000003,600,760,420,160,0,600,null,null,null,43059.669062499932,400]
[null,null,null,1.5128205128200705,43059.675335648077,59.958100000000002,600,760,420,160,1.5128205128200705,601.5128205128201,null,null,null,43059.669085648078,400]
[null,null,null,2.5384615384623492,43059.675358796223,59.954099999999997,600,760,420,160,2.5384615384623492,602.53846153846234,null,null,null,43059.669108796224,400]
[null,null,null,2.4102564102566091,43059.675381944369,59.954599999999999,600,760,420,160,2.4102564102566091,602.41025641025658,null,null,null,43059.669131944371,400]
["Point B",null,null,2.3076923076927458,43059.675405092516,59.954999999999998,600,760,420,160,2.3076923076927458,602.30769230769272,null,null,null,43059.669155092517,400]
[{"$f":"AVERAGE(INDIRECT(\"L\"&$A$86&\":L\"&$A$87))","v":602.37104072398188},{"$f":"AVERAGE(INDIRECT(\"G\"&$A$86&\":G\"&$A$87))","v":600},"MW output",2.1794871794870052,43059.675428240662,59.955500000000001,600,760,420,160,2.1794871794870052,602.17948717948696,null,null,null,43059.669178240663,400]
[{"$f":"AVERAGE(INDIRECT(\"K\"&$A$86&\":K\"&$A$87))","v":2.3710407239818689},{"$f":"AVERAGE(INDIRECT(\"G\"&$A$86&\":G\"&$A$87))-B73","v":0},"PFR expected",2.0769230769231419,43059.675451388808,59.9559,600,760,420,160,2.0769230769231419,602.07692307692309,null,null,null,43059.66920138881,400]
[{"$f":"43 + (MATCH(B86,$E$43:$E$193) - 1)","v":83},{"$f":"R16-TIME(0,0,16)","v":"2017-11-20T16:12:35"},null,2.1025641025631967,43059.675474536954,59.955800000000004,600,760,420,160,2.1025641025631967,602.10256410256318,null,null,null,43059.669224536956,400]
[{"$f":"43 + (MATCH(B87,$E$43:$E$193) - 1)","v":99},{"$f":"R16+TIME(0,0,16)","v":"2017-11-20T16:13:07"},null,2.3333333333328006,43059.675497685101,59.954900000000002,600,760,420,160,2.3333333333328006,602.3333333333328,null,null,null,43059.669247685102,400]
[null,null,null,2.5384615384623492,43059.675520833247,59.954099999999997,600,760,420,160,2.5384615384623492,602.53846153846234,null,null,null,43059.669270833248,400]
[null,null,null,2.7435897435900767,43059.675543981393,59.953299999999999,600,760,420,160,2.7435897435900767,602.74358974359006,null,null,null,43059.669293981395,400]
[null,null,null,2.9487179487178037,43059.67556712954,59.952500000000001,600,760,420,160,2.9487179487178037,602.94871794871779,null,null,null,43059.669317129541,400]
[null,null,null,2.9487179487178037,43059.675590277686,59.952500000000001,600,760,420,160,2.9487179487178037,602.94871794871779,null,null,null,43059.669340277687,400]
[null,null,null,2.7435897435900767,43059.675613425832,59.953299999999999,600,760,420,160,2.7435897435900767,602.74358974359006,null,null,null,43059.669363425834,400]
[null,null,null,2.5384615384623492,43059.675636573978,59.954099999999997,600,760,420,160,2.5384615384623492,602.53846153846234,null,null,null,43059.66938657398,400]
[null,null,null,2.3333333333328006,43059.675659722125,59.954900000000002,600,760,420,160,2.3333333333328006,602.3333333333328,null,null,null,43059.669409722126,400]
[null,null,null,2.1025641025631967,43059.675682870271,59.955800000000004,600,760,420,160,2.1025641025631967,602.10256410256318,null,null,null,43059.669432870272,400]
[null,null,null,2.0256410256412103,43059.675706018417,59.956099999999999,600,760,420,160,2.0256410256412103,602.02564102564122,null,null,null,43059.669456018419,400]
[null,null,null,2.0769230769231419,43059.675729166564,59.9559,600,760,420,160,2.0769230769231419,602.07692307692309,null,null,null,43059.669479166565,400]
[null,null,null,2.1282051282050736,43059.67575231471,59.9557,600,760,420,160,2.1282051282050736,602.12820512820508,null,null,null,43059.669502314711,400]
[null,null,null,2.1794871794870052,43059.675775462856,59.955500000000001,600,760,420,160,2.1794871794870052,602.17948717948696,null,null,null,43059.669525462858,400]
[null,null,null,2.2307692307689373,43059.675798611002,59.955300000000001,600,760,420,160,2.2307692307689373,602.23076923076894,null,null,null,43059.669548611004,400]
[null,null,null,2.2307692307689373,43059.675821759149,59.955300000000001,600,760,420,160,2.2307692307689373,602.23076923076894,null,null,null,43059.66957175915,400]
[null,null,null,2.1794871794870052,43059.675844907295,59.955500000000001,600,760,420,160,2.1794871794870052,602.17948717948696,null,null,null,43059.669594907296,400]
[null,null,null,2.1282051282050736,43059.675868055441,59.9557,600,760,420,160,2.1282051282050736,602.12820512820508,null,null,null,43059.669618055443,400]
[null,null,null,2.0769230769231419,43059.675891203588,59.9559,600,760,420,160,2.0769230769231419,602.07692307692309,null,null,null,43059.669641203589,400]
[null,null,null,2.0256410256412103,43059.675914351734,59.956099999999999,600,760,420,160,2.0256410256412103,602.02564102564122,null,null,null,43059.669664351735,400]
[null,null,null,2.1025641025631967,43059.67593749988,59.955800000000004,600,760,420,160,2.1025641025631967,602.10256410256318,null,null,null,43059.669687499882,400]
[null,null,null,2.2820512820508689,43059.675960648026,59.955100000000002,600,760,420,160,2.2820512820508689,602.28205128205082,null,null,null,43059.669710648028,400]
[null,null,null,{"$f":"K108","v":2.4871794871785959},43059.675983796173,59.954300000000003,600,760,420,{"$f":"IF($B$4=\"low\",H108-G108,IF($B$4=\"high\",G108-I108,\"error\"))","v":160},2.4871794871785959,602.48717948717865,null,null,null,43059.669733796174,400]
[null,null,null,2.6666666666662677,{"$f":"IF(E108+TIME(0,0,$B$17) > $B$16,NA(),E108+TIME(0,0,$B$17))","v":43059.676006944319},59.953600000000002,600,{"$f":"IF(ISERROR(E109),NA(),H108)","v":760},{"$f":"IF(ISERROR(E109),NA(),I108)","v":420},160,{"$f":"IF(ISERROR(E109),NA(),IF(F109<(60-$B$12),((-1)*H109*((F109-60+$B$12)/(60*$B$11-$B$12))),IF(F109>(60+$B$12),((-1)*H109*((F109-60-$B$12)/(60*$B$11-$B$12))),0)))","v":2.6666666666662677},{"$f":"IF(ISERROR(E109),NA(),IF(G109<1,0,IF(K109=0,(G109+K109),($L$41+K109))))","v":602.66666666666629},null,null,null,{"$f":"P108+TIME(0,0,2)","v":43059.66975694432},400]
[null,null,null,2.8461538461539404,43059.676030092465,59.9529,600,760,420,160,2.8461538461539404,602.84615384615392,null,null,null,43059.669780092467,400]
[null,null,null,2.9487179487178037,43059.676053240612,59.952500000000001,600,760,420,160,2.9487179487178037,602.94871794871779,null,null,null,43059.669803240613,400]
[null,null,null,2.9743589743596806,43059.676076388758,59.952399999999997,600,760,420,160,2.9743589743596806,602.97435897435969,null,null,null,43059.669826388759,400]
[null,null,null,2.9999999999997358,43059.676099536904,59.952300000000001,600,760,420,160,2.9999999999997358,602.99999999999977,null,null,null,43059.669849536906,400]
[null,null,null,3.0256410256416122,43059.67612268505,59.952199999999998,600,760,420,160,3.0256410256416122,603.02564102564156,null,null,null,43059.669872685052,400]
[null,null,null,3.051282051281667,43059.676145833197,59.952100000000002,600,760,420,160,3.051282051281667,603.05128205128165,null,null,null,43059.669895833198,400]
[null,null,null,2.9743589743596806,43059.676168981343,59.952399999999997,600,760,420,160,2.9743589743596806,602.97435897435969,null,null,null,43059.669918981344,400]
[null,null,null,2.7948717948720083,43059.676192129489,59.953099999999999,600,760,420,160,2.7948717948720083,602.79487179487205,null,null,null,43059.669942129491,400]
[null,null,null,2.5897435897442813,43059.676215277635,59.953899999999997,600,760,420,160,2.5897435897442813,602.58974358974433,null,null,null,43059.669965277637,400]
[null,null,null,2.4102564102566091,43059.676238425782,59.954599999999999,600,760,420,160,2.4102564102566091,602.41025641025658,null,null,null,43059.669988425783,400]
[null,null,null,2.2307692307689373,43059.676261573928,59.955300000000001,600,760,420,160,2.2307692307689373,602.23076923076894,null,null,null,43059.67001157393,400]
[null,null,null,2.1025641025631967,43059.676284722074,59.955800000000004,600,760,420,160,2.1025641025631967,602.10256410256318,null,null,null,43059.670034722076,400]
[null,null,null,2.0256410256412103,43059.676307870221,59.956099999999999,600,760,420,160,2.0256410256412103,602.02564102564122,null,null,null,43059.670057870222,400]
[null,null,null,1.9487179487174013,43059.676331018367,59.956400000000002,600,760,420,160,1.9487179487174013,601.94871794871744,null,null,null,43059.670081018368,400]
[null,null,null,1.8717948717954147,43059.676354166513,59.956699999999998,600,760,420,160,1.8717948717954147,601.87179487179537,null,null,null,43059.670104166515,400]
[null,null,null,1.8205128205134828,43059.676377314659,59.956899999999997,600,760,420,160,1.8205128205134828,601.8205128205135,null,null,null,43059.670127314661,400]
[null,null,null,1.7692307692315512,43059.676400462806,59.957099999999997,600,760,420,160,1.7692307692315512,601.76923076923151,null,null,null,43059.670150462807,400]
[null,null,null,1.7435897435896741,43059.676423610952,59.9572,600,760,420,160,1.7435897435896741,601.74358974358972,null,null,null,43059.670173610953,400]
[null,null,null,1.7179487179496193,43059.676446759098,59.957299999999996,600,760,420,160,1.7179487179496193,601.71794871794964,null,null,null,43059.6701967591,400]
[null,null,null,1.6923076923077427,43059.676469907245,59.9574,600,760,420,160,1.6923076923077427,601.69230769230774,null,null,null,43059.670219907246,400]
[null,null,null,1.6666666666658656,43059.676493055391,59.957500000000003,600,760,420,160,1.6666666666658656,601.66666666666583,null,null,null,43059.670243055392,400]
[null,null,null,1.6410256410258106,43059.676516203537,59.957599999999999,600,760,420,160,1.6410256410258106,601.64102564102586,null,null,null,43059.670266203539,400]
[null,null,null,1.615384615383934,43059.676539351683,59.957700000000003,600,760,420,160,1.615384615383934,601.61538461538396,null,null,null,43059.670289351685,400]
[null,null,null,1.5897435897438792,43059.67656249983,59.957799999999999,600,760,420,160,1.5897435897438792,601.58974358974388,null,null,null,43059.670312499831,400]
[null,null,null,1.5641025641020021,43059.676585647976,59.957900000000002,600,760,420,160,1.5641025641020021,601.56410256410197,null,null,null,43059.670335647977,400]
[null,null,null,1.5384615384619471,43059.676608796122,59.957999999999998,600,760,420,160,1.5384615384619471,601.538461538462,null,null,null,43059.670358796124,400]
[null,null,null,1.5128205128200705,43059.676631944269,59.958100000000002,600,760,420,160,1.5128205128200705,601.5128205128201,null,null,null,43059.67038194427,400]
[null,null,null,1.4615384615381386,43059.676655092415,59.958300000000001,600,760,420,160,1.4615384615381386,601.46153846153811,null,null,null,43059.670405092416,400]
[null,null,null,1.410256410256207,43059.676678240561,59.958500000000001,600,760,420,160,1.410256410256207,601.41025641025624,null,null,null,43059.670428240563,400]
[null,null,null,1.384615384616152,43059.676701388707,59.958599999999997,600,760,420,160,1.384615384616152,601.38461538461615,null,null,null,43059.670451388709,400]
[null,null,null,1.3333333333342201,43059.676724536854,59.958799999999997,600,760,420,160,1.3333333333342201,601.33333333333417,null,null,null,43059.670474536855,400]
[null,null,null,1.1538461538465481,43059.676747685,59.959499999999998,600,760,420,160,1.1538461538465481,601.15384615384653,null,null,null,43059.670497685001,400]
[null,null,null,0.8461538461531356,43059.676770833146,59.960700000000003,600,760,420,160,0.8461538461531356,600.84615384615313,null,null,null,43059.670520833148,400]
[null,null,null,0.53846153846154499,43059.676793981293,59.9619,600,760,420,160,0.53846153846154499,600.53846153846155,null,null,null,43059.670543981294,400]
[null,null,null,0.2307692307699544,43059.676817129439,59.963099999999997,600,760,420,160,0.2307692307699544,600.23076923076997,null,null,null,43059.67056712944,400]
[null,null,null,0,43059.676840277585,59.964300000000001,600,760,420,160,0,600,null,null,null,43059.670590277587,400]
[null,null,null,0,43059.676863425731,59.965400000000002,600,760,420,160,0,600,null,null,null,43059.670613425733,400]
[null,null,null,0,43059.676886573878,59.966500000000003,600,760,420,160,0,600,null,null,null,43059.670636573879,400]
[null,null,null,0,43059.676909722024,59.967599999999997,600,760,420,160,0,600,null,null,null,43059.670659722025,400]
[null,null,null,0,43059.67693287017,59.968699999999998,600,760,420,160,0,600,null,null,null,43059.670682870172,400]
[null,null,null,0,43059.676956018317,59.969799999999999,600,760,420,160,0,600,null,null,null,43059.670706018318,400]
[null,null,null,0,43059.676979166463,59.970500000000001,600,760,420,160,0,600,null,null,null,43059.670729166464,400]
[null,null,null,0,43059.677002314609,59.970799999999997,600,760,420,160,0,600,null,null,null,43059.670752314611,400]
[null,null,null,0,43059.677025462755,59.970999999999997,600,760,420,160,0,600,null,null,null,43059.670775462757,400]
[null,null,null,0,43059.677048610902,59.971299999999999,600,760,420,160,0,600,null,null,null,43059.670798610903,400]
[null,null,null,0,43059.677071759048,59.971600000000002,600,760,420,160,0,600,null,null,null,43059.670821759049,400]
[null,null,null,0,43059.677094907194,60.020600000000002,600,760,420,160,0,600,null,null,null,43059.670844907196,400]
[null,null,null,0,43059.677118055341,60.022500000000001,600,760,420,160,0,600,null,null,null,43059.670868055342,400]
[null,null,null,0,43059.677141203487,60.021000000000001,600,760,420,160,0,600,null,null,null,43059.670891203488,400]
[null,null,null,0,43059.677164351633,60.021500000000003,600,760,420,160,0,600,null,null,null,43059.670914351635,400]
[null,null,null,0,43059.677187499779,60.019500000000001,600,760,420,160,0,600,null,null,null,43059.670937499781,400]
[null,null,null,0,43059.677210647926,60.018500000000003,600,760,420,160,0,600,null,null,null,43059.670960647927,400]
[null,null,null,0,43059.677233796072,60.018999999999998,600,760,420,160,0,600,null,null,null,43059.670983796073,400]
[null,null,null,0,43059.677256944218,60.017499999999998,600,760,420,160,0,600,null,null,null,43059.67100694422,400]
[null,null,null,0,43059.677280092365,60.017499999999998,600,760,420,160,0,600,null,null,null,43059.671030092366,400]
[null,null,null,0,43059.677303240511,60.0169,600,760,420,160,0,600,null,null,null,43059.671053240512,400]
[null,null,null,0,43059.677326388657,60.015500000000003,600,760,420,160,0,600,null,null,null,43059.671076388659,400]
[null,null,null,0,43059.677349536803,60.016500000000001,600,760,420,160,0,600,null,null,null,43059.671099536805,400]
[null,null,null,0,43059.67737268495,60.016100000000002,600,760,420,160,0,600,null,null,null,43059.671122684951,400]
[null,null,null,0,43059.677395833096,60.019599999999997,600,760,420,160,0,600,null,null,null,43059.671145833097,400]
[null,null,null,0,43059.677418981242,60.021999999999998,600,760,420,160,0,600,null,null,null,43059.671168981244,400]
[null,null,null,0,43059.677442129389,60.022500000000001,600,760,420,160,0,600,null,null,null,43059.67119212939,400]
[null,null,null,{"$f":"K172","v":0},43059.677465277535,60.023000000000003,600,760,420,{"$f":"IF($B$4=\"low\",H172-G172,IF($B$4=\"high\",G172-I172,\"error\"))","v":160},0,600,null,null,null,43059.671215277536,400]
[null,null,null,0,{"$f":"IF(E172+TIME(0,0,$B$17) > $B$16,NA(),E172+TIME(0,0,$B$17))","v":43059.677488425681},60.024000000000001,600,{"$f":"IF(ISERROR(E173),NA(),H172)","v":760},{"$f":"IF(ISERROR(E173),NA(),I172)","v":420},160,{"$f":"IF(ISERROR(E173),NA(),IF(F173<(60-$B$12),((-1)*H173*((F173-60+$B$12)/(60*$B$11-$B$12))),IF(F173>(60+$B$12),((-1)*H173*((F173-60-$B$12)/(60*$B$11-$B$12))),0)))","v":0},{"$f":"IF(ISERROR(E173),NA(),IF(G173<1,0,IF(K173=0,(G173+K173),($L$41+K173))))","v":600},null,null,null,{"$f":"P172+TIME(0,0,2)","v":43059.671238425683},400]
[null,null,null,0,43059.677511573827,60.023000000000003,600,760,420,160,0,600,null,null,null,43059.671261573829,400]
[null,null,null,0,43059.677534721974,60.023000000000003,600,760,420,160,0,600,null,null,null,43059.671284721975,400]
[null,null,null,0,43059.67755787012,60.023499999999999,600,760,420,160,0,600,null,null,null,43059.671307870121,400]
[null,null,null,0,43059.677581018266,60.025100000000002,600,760,420,160,0,600,null,null,null,43059.671331018268,400]
[null,null,null,0,43059.677604166412,60.0276,600,760,420,160,0,600,null,null,null,43059.671354166414,400]
[null,null,null,0,43059.677627314559,60.030099999999997,600,760,420,160,0,600,null,null,null,43059.67137731456,400]
[null,null,null,0,43059.677650462705,60.033000000000001,600,760,420,160,0,600,null,null,null,43059.671400462707,400]
[null,null,null,0,43059.677673610851,60.033999999999999,600,760,420,160,0,600,null,null,null,43059.671423610853,400]
[null,null,null,0,43059.677696758998,60.033499999999997,600,760,420,160,0,600,null,null,null,43059.671446758999,400]
[null,null,null,0,43059.677719907144,60.032499999999999,600,760,420,160,0,600,null,null,null,43059.671469907145,400]
[null,null,null,0,43059.67774305529,60.030999999999999,600,760,420,160,0,600,null,null,null,43059.671493055292,400]
[null,null,null,0,43059.677766203436,60.03,600,760,420,160,0,600,null,null,null,43059.671516203438,400]
[null,null,null,0,43059.677789351583,60.03,600,760,420,160,0,600,null,null,null,43059.671539351584,400]
[null,null,null,0,43059.677812499729,60.03,600,760,420,160,0,600,null,null,null,43059.67156249973,400]
[null,null,null,0,43059.677835647875,60.03,600,760,420,160,0,600,null,null,null,43059.671585647877,400]
[null,null,null,0,43059.677858796022,60.030999999999999,600,760,420,160,0,600,null,null,null,43059.671608796023,400]
[null,null,null,0,43059.677881944168,60.03,600,760,420,160,0,600,null,null,null,43059.671631944169,400]
[null,null,null,0,43059.677905092314,60.030500000000004,600,760,420,160,0,600,null,null,null,43059.671655092316,400]
[null,null,null,0,43059.67792824046,60.030500000000004,600,760,420,160,0,600,null,null,null,43059.671678240462,400]
[null,null,null,0,43059.677951388607,60.030900000000003,600,760,420,160,0,600,null,null,null,43059.671701388608,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671724536754,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671747684901,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671770833047,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671793981193,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67181712934,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671840277486,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671863425632,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671886573778,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671909721925,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671932870071,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671956018217,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.671979166364,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67200231451,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672025462656,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672048610802,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672071758949,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672094907095,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672118055241,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672141203388,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672164351534,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67218749968,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672210647826,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672233795973,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672256944119,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672280092265,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672303240412,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672326388558,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672349536704,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67237268485,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672395832997,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672418981143,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672442129289,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672465277436,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672488425582,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672511573728,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672534721874,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672557870021,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672581018167,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672604166313,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67262731446,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672650462606,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672673610752,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672696758898,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"P236+TIME(0,0,2)","v":43059.672719907045},400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672743055191,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672766203337,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672789351484,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67281249963,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672835647776,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672858795922,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672881944069,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672905092215,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672928240361,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672951388507,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.672974536654,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.6729976848,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673020832946,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673043981093,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673067129239,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673090277385,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673113425531,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673136573678,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673159721824,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67318286997,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673206018117,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673229166263,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673252314409,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673275462555,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673298610702,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673321758848,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673344906994,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673368055141,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673391203287,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673414351433,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673437499579,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673460647726,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673483795872,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673506944018,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673530092165,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673553240311,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673576388457,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673599536603,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67362268475,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673645832896,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673668981042,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673692129189,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673715277335,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673738425481,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673761573627,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673784721774,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67380786992,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673831018066,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673854166213,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673877314359,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673900462505,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673923610651,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673946758798,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.673969906944,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67399305509,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674016203237,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674039351383,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674062499529,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674085647675,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674108795822,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674131943968,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674155092114,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674178240261,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"P300+TIME(0,0,2)","v":43059.674201388407},400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674224536553,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674247684699,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674270832846,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674293980992,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674317129138,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674340277285,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674363425431,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674386573577,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674409721723,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67443286987,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674456018016,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674479166162,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674502314308,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674525462455,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674548610601,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674571758747,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674594906894,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67461805504,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674641203186,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674664351332,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674687499479,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674710647625,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674733795771,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674756943918,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674780092064,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67480324021,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674826388356,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674849536503,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674872684649,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674895832795,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674918980942,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674942129088,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.674965277234,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.67498842538,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.675011573527,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.675034721673,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.675057869819,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.675081017966,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.675104166112,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.675127314258,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.675150462404,400]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,43059.675173610551,400]

{"sheet":"Sheet1","index":2,"n_rows":30,"n_cols":8,"rows_kept":30,"cut":false,"hidden":false,"merged":[]}
[{"$f":"Event!B15","v":"2017-11-20T16:11:15"},null,null,null,{"$f":"_xll.PIAdvCalcDat(Sheet1!$A$5,Sheet1!$A$1,Sheet1!$A$2,Sheet1!$A$3,\"average (time-weighted)\",\"time-weighted\",0,1,65,\"\")","v":"2017-11-20T16:11:15"},60.00318937523808,null,60.00318937523808]
[{"$f":"Event!B16","v":"2017-11-20T16:16:15"},null,null,null,"2017-11-20T16:11:25",60.001479609607316,null,60.001479609607316]
["10s",null,null,null,"2017-11-20T16:11:35",60.001450185693784,null,60.001450185693784]
[null,null,null,null,"2017-11-20T16:11:45",60.004699698965034,null,60.004699698965034]
["ca_rt_fq/pjmc:freq-agc freq:hz",null,null,null,"2017-11-20T16:11:55",60.001077634923561,null,60.001077634923561]
[null,null,null,null,"2017-11-20T16:12:05",60.000360088131245,null,60.000360088131245]
[null,null,null,null,"2017-11-20T16:12:15",59.981847788695269,null,59.981847788695269]
[null,null,null,null,"2017-11-20T16:12:25",59.949321056699283,null,59.949321056699283]
[null,null,null,null,"2017-11-20T16:12:35",59.952584597631152,null,59.952584597631152]
[null,null,null,null,"2017-11-20T16:12:45",59.948891440858326,null,59.948891440858326]
[null,null,null,null,"2017-11-20T16:12:55",59.951685047620344,null,59.951685047620344]
[null,null,null,null,"2017-11-20T16:13:05",59.951523416527074,null,59.951523416527074]
[null,null,null,null,"2017-11-20T16:13:15",59.950000861739078,null,59.950000861739078]
[null,null,null,null,"2017-11-20T16:13:25",59.946982251847352,null,59.946982251847352]
[null,null,null,null,"2017-11-20T16:13:35",59.948472087375947,null,59.948472087375947]
[null,null,null,null,"2017-11-20T16:13:45",59.950491508126888,null,59.950491508126888]
[null,null,null,null,"2017-11-20T16:13:55",59.952664328807906,null,59.952664328807906]
[null,null,null,null,"2017-11-20T16:14:05",59.952805532870471,null,59.952805532870471]
[null,null,null,null,"2017-11-20T16:14:15",59.953990755144922,null,59.953990755144922]
[null,null,null,null,"2017-11-20T16:14:25",59.955677019189125,null,59.955677019189125]
[null,null,null,null,"2017-11-20T16:14:35",59.960839741909581,null,59.960839741909581]
[null,null,null,null,"2017-11-20T16:14:45",59.96545306075577,null,59.96545306075577]
[null,null,null,null,"2017-11-20T16:14:55",59.9662278372301,null,59.9662278372301]
[null,null,null,null,"2017-11-20T16:15:05",59.973548302326961,null,59.973548302326961]
[null,null,null,null,"2017-11-20T16:15:15",59.980357982231681,null,59.980357982231681]
[null,null,null,null,"2017-11-20T16:15:25",59.984331604417719,null,59.984331604417719]
[null,null,null,null,"2017-11-20T16:15:35",59.990952861492914,null,59.990952861492914]
[null,null,null,null,"2017-11-20T16:15:45",59.994392579084703,null,59.994392579084703]
[null,null,null,null,"2017-11-20T16:15:55",59.994386206469684,null,59.994386206469684]
[null,null,null,null,"2017-11-20T16:16:05",60.000028868958985,null,60.000028868958985]