## Sheet1
evaluated_at_ept | forecast_datetime_ending_ept | forecast_load_mw | wind_forecast_mwh | solar_forecast_mwh | Net-Load |  | % Uncertainty Values
2025-09-17 11:50 | 2025-09-17 12:00 | 96673 | 113.569 | 6219.583 | 90339.848 |  | Load | Wind | Solar
2025-09-17 11:50 | 2025-09-17 12:10 | 97111 | 117.95 | 6239.239 | 90753.811 | 10-Min Unc | 0.4% | 1.9% | 3.1%
2025-09-17 11:50 | 2025-09-17 12:30 | 98023 | 127.832 | 6247.358 | 91647.81 | 30-Min Unc | 0.6% | 2.7% | 4%
10-Min Ramp | 413.963
10-Min Uncertainty | 584.1015 | 388.444 | 2.241 | 193.4164
10-Min RUR Req Total | 998.0645
30-Min Ramp | 893.999
30-Min Uncertainty | 841.4838 | 588.138 | 3.4515 | 249.8943
30-Min MSSC | 1788
30-Min Total | 3523.4828
30-Min Req Online Portion | 1735.4828
Data Sources:
Load forecast: | https://dataminer2.pjm.com/feed/very_short_load_frcst/definition
Wind forecast: | https://dataminer2.pjm.com/feed/five_min_wind_power_forecast/definition
Solar forecast: | https://dataminer2.pjm.com/feed/five_min_solar_power_forecast/definition
% Uncertainty values: | https://www.pjm.com/-/media/DotCom/committees-groups/task-forces/rcstf/2025/20250917/20250917-item-05---real-time-reserve-requirements.pdf
Note: the uncertainty values are based on a PJM analysis of net-load forecast uncertainty from Delivery 2024/2025 as outlined in the referenced presentation from Sept. 17, 2025