## Sheet1
Cost Range for a 100MWac Solar PV Facility
Item | Cost Low ($/Watt dc) | Average | Cost High ($/Watt dc) | Cost Low (for 100 MWac) | Cost High (for 100 MWac) | Notes
Inverters/Power Stations | 0.05175 | 0.0575 | 0.06325 |  |  | Goes up to 8-9 cents if BESS is on project.
DC Collection System Option 1 | 0.02875 | 0.043125 | 0.0575 |  |  | includes pricing for BLA
DC Collection System Option 2 | 0.0055 | 0.0065 | 0.0075
AC Collection System Install | 0.016387 | 0.022425 | 0.028462 |  |  | 15% of electrical installation cost
AC Collection Material | 0.006555 | 0.00897 | 0.011385 |  |  | 6% of electrical installation cost
LV Side of Substation | 0.0080097 | 0.010215 | 0.01242 | 800975 | 1242000
Lo-Side Breaker | 0.00036225 | 0.00041113 | 0.00046 | 36225 | 46000
Structural Steel/Foundations | 0.0031625 | 0.0041687 | 0.005175 | 316250 | 517500
Control Building | 0.0020125 | 0.0020987 | 0.002185 | 201250 | 218500
PT/CTs | 0.000805 | 0.0012075 | 0.00161 | 80500 | 161000
Relay Panels | 0.000805 | 0.0012075 | 0.00161 | 80500 | 161000
Telecom | 0.0008625 | 0.0011212 | 0.00138 | 86250 | 138000
Cap Bank | 0.0009775 | 0.0016387 | 0.0023 | 97750 | 230000
GSU | 0.011 | 0.014125 | 0.01725 | 1100000 | 1725000
Fencing Labor & Materials | 0.009775 | 0.017388 | 0.025 |  |  | zoning requirements can drastically change cost of fencing. Screening, type, height, etc.
Civil Labor | 0.04025 | 0.080125 | 0.12
Electrical Labor | 0.10925 | 0.1495 | 0.18975
Mechanical Labor | 0.046 | 0.092 | 0.138 |  |  | Largely depends on subsurface conditions identified in geotech. Rock, corrosion, karst, frost heave, etc.
Substation Electrical | 0.010925 | 0.015463 | 0.02 | 1092500 | 1725000
Substation Civil | 0.005175 | 0.011212 | 0.01725 | 517500 | 1725000
Balance of Plant** | 0.53763 | 0.59381 | 0.65 |  |  | assume remaining cost is ~55% of project.
Total Cost | 0.89594 | 1.1342 | 1.3725
*Costs reflect a 100MWdc Solar PV facility
**Balance of Plant includes: modules, racking, SCADA, engineering, general conditions, permits, contingency, sales tax, and subcontractor bonding.