## AMP
AMP
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
10 |  | AMPOR 138 KV BUS | AMPOR | 138 KV | TARIFF | DUMMY TARIFF FACILITY | GSU | Reliability & Markets
7 |  | Gen Lead East Wooster-Ampor Road | EWOOSTER | 138 KV | EWO-AMP1 | EWOOSTER-AMPOR | GSU | Reliability & Markets

## COMED
COMED
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 |  | 214 HOFF-21401 21401_1 | 214 HOFF | 138 KV | 21401_1 | 214 HOFF-21401 21401_1 | Reliability & Markets | Reliability Non-BES
1 |  | 214 HOFF-21404 21404_1 | 214 HOFF | 138 KV | 21404_1 | 214 HOFF-21404 21404_1 | Reliability & Markets | Reliability Non-BES
1 |  | 21401-220 S SC 21401-3 | 21401 | 138 KV | 21401-3 | 21401-220 S SC 21401-3 | Reliability & Markets | Reliability Non-BES
1 |  | 21401-253 SCHA 21401_2 | 21401 | 138 KV | 21401_2 | 21401-253 SCHA 21401_2 | Reliability & Markets | Reliability Non-BES
1 |  | 21404-220 S SC 21404-3 | 21404 | 138 KV | 21404-3 | 21404-220 S SC 21404-3 | Reliability & Markets | Reliability Non-BES
1 |  | 21404-253 SCHA 21404_2 | 21404 | 138 KV | 21404_2 | 21404-253 SCHA 21404_2 | Reliability & Markets | Reliability Non-BES
1 |  | E535-214 HOFF 21403 | E535 | 138 KV | 21403 | E535-214 HOFF 21403 | Reliability & Markets | Reliability Non-BES
1 |  | E535-214 HOFF 21408 | E535 | 138 KV | 21408 | E535-214 HOFF 21408 | Reliability & Markets | Reliability Non-BES

## EKPC
EKPC
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 |  | CEMETERD-CEMETERY CEM-CEME | CEMETERD | 69 KV | CEM-CEME | CEMETERD-CEMETERY CEM-CEME | Reliability & Markets | Status Only
2 |  | FOX_HOLL TR1 XFORMER | FOX_HOLL | 161 KV | TR1 | FOX_HOLL TR1 XFORMER | Reliability & Markets | Reliability Non-BES
7 |  | BAKER_L2-BAKER_LN TIE | BAKER_L2 | 138 KV | BAK-BAKE | BAKER_L2-BAKER_LN TIE | Reliability & Markets | Reliability Non-BES
7 |  | BEATTYVL (LGEE) - BTTYVEKP (EKPC) TIE | BTTYVEKP | 69 KV | TARIFF | DUMMY TARIFF FACILITY | Reliability & Markets | Reliability Non-BES
7 |  | BEATTYVL (LGEE) - BTYVLJCT (EKPC) TIE | BTYVLJCT | 161 KV | TARIFF | DUMMY TARIFF FACILITY | Reliability & Markets | Reliability Non-BES
7 |  | BEKAERT-WSHELBY2 BEK-WSHE | BEKAERT | 69 KV | BEK-WSHE | BEKAERT-WSHELBY2 BEK-WSHE | Reliability & Markets | Reliability Non-BES
7 |  | BLUE_LCK (LGEE) - CEDAR_IT (EKPC) TIE | BLUE_LCK | 161 KV | CED-BLUE | BLUE_LCK-CEDAR_IT TIE | Reliability & Markets | Not monitored, no status
7 |  | BONNIEVL-BONVL_LG TIE | BONNIEVL | 138 KV | BON-BONN | BONNIEVL-BONVL_LG TIE | Reliability & Markets | Reliability Non-BES
7 |  | BOONESBO (LGEE) - BOONST (EKPC) TIE | BOONESBO | 138 KV | BO1-BOON | BOONESBO-BOONST TIE | Reliability & Markets | Reliability Non-BES
7 |  | CLAYLICK-CLAYLJCT CLA-CLAY | CLAYLICK | 69 KV | CLA-CLAY | CLAYLICK-CLAYLJCT CLA-CLAY | Reliability & Markets | Status Only
7 |  | LAURELCO (EKPC) - HOPWEL2 (LGEE) | HOPEWEL2 | 69 KV | LAU-HOPE | HOPEWEL2-LAURELCO TIE | Reliability & Markets | Reliability Non-BES
7 |  | NELSON_C-NELSON_T TIE | NELSON_C | 138 KV | NEL-NELS | NELSON_C-NELSON_T TIE | Reliability & Markets | Reliability Non-BES
7 |  | N_LND104 (LGEE) - N_LONDON (EKPC) TIE | N_LNDN55 | 69 KV | TARIFF | DUMMY TARIFF FACILITY | Reliability & Markets | Reliability Non-BES
7 |  | PARISTAP-PARIS_SU TIE | PARISTAP | 138 KV | PAR-PARI | PARISTAP-PARIS_SU TIE | Reliability & Markets | Reliability Non-BES
7 |  | PITTSBUR (LGEE) - PITTS_EK (EKPC) TIE | PITTS_EK | 161 KV | TARIFF | DUMMY TARIFF FACILITY | Reliability & Markets | Reliability Non-BES
7 |  | SUMMER (TVA) - SUMSHADE (EKPC) TIE 69KV LINE | SUMMER | 69 KV | SUM-SUM1 | LINE 69 KV SUM-SUM1 TIE | Reliability & Markets | Reliability Non-BES
7 |  | TAYLORCO-TAYLOR_C TIE | TAYLORCO | 161 KV | TAY-TAYC | TAYLORCO-TAYLOR_C TIE | Reliability & Markets | Reliability Non-BES
7 |  | WAYNCTVA (TVA) - WYNCO_EK (EKPC) TIE | WYNCO_EK | 161 KV | TARIFF | DUMMY TARIFF FACILITY | Reliability & Markets | Reliability Non-BES
7 |  | WEBSTER2 (DEOK) - WEBSTER3 (EKPC) TIE | WEBSTER2 | 138 KV | WEB-WEB2 | WEBSTER2-WEBSTER3 TIE | Reliability & Markets | Reliability Non-BES
7 |  | BULLITCO-CEDAR_LG BUL-CEDL | BULLITCO | 161 KV | BUL-CEDL | BULLITCO-CEDAR_LG BUL-CEDL | External Reliability | Reliability & Markets

## PPL
PPL
Equip
Code | ID | Facility Identification by Transmission Provider | B1 | B2 | B3 | B3 TEXT | Current Status | Requested Change to:
1 |  | ASHFIEPL-EPALMTAP ASH-EPT1 | ASHFIEPL | 69 KV | ASH-EPT1 | ASHFIEPL-EPALMTAP ASH-EPT1 | Reliability & Markets | Status only
1 |  | ASHFIEPL-LANSFORD ASH-LAND | ASHFIEPL | 69 KV | ASH-LAND | ASHFIEPL-LANSFORD ASH-LAND | Reliability & Markets | Status only
1 |  | EPALMTAP-SSLATING EPT-SSL1 | EPALMTAP | 69 KV | EPT-SSL1 | EPALMTAP-SSLATING EPT-SSL1 | Reliability & Markets | Status only
1 |  | HAUTO-PENN_SP HAU-PEN1 | HAUTO | 69 KV | HAU-PEN1 | HAUTO-PENN_SP HAU-PEN1 | Reliability & Markets | Status only
1 |  | LANSFORD-PENN_SP LAN-PENN | LANSFORD | 69 KV | LAN-PENN | LANSFORD-PENN_SP LAN-PENN | Reliability & Markets | Status only
1 |  | SIEGFRIE-TREICHLE SIE-TRE1 | SIEGFRIE | 69 KV | SIE-TRE1 | SIEGFRIE-TREICHLE SIE-TRE1 | Reliability & Markets | Status only
1 |  | SSLATING-TREICHLE SSL-TRE1 | SSLATING | 69 KV | SSL-TRE1 | SSLATING-TREICHLE SSL-TRE1 | Reliability & Markets | Status only
1 |  | ASHFIEPL-EPALMTAP ASH-EPT2 | ASHFIEPL | 69 KV | ASH-EPT2 | ASHFIEPL-EPALMTAP ASH-EPT2 | Reliability & Markets | Status only
1 |  | ASHFIEPL-PENN_SP ASH-PENN | ASHFIEPL | 69 KV | ASH-PENN | ASHFIEPL-PENN_SP ASH-PENN | Reliability & Markets | Status only
1 |  | EPALMTAP-SSLATING EPT-SSL2 | EPALMTAP | 69 KV | EPT-SSL2 | EPALMTAP-SSLATING EPT-SSL2 | Reliability & Markets | Status only
1 |  | HAUTO-PENN_SP HAU-PEN2 | HAUTO | 69 KV | HAU-PEN2 | HAUTO-PENN_SP HAU-PEN2 | Reliability & Markets | Status only
1 |  | SIEGFRIE-TREICHLE SIE-TRE2 | SIEGFRIE | 69 KV | SIE-TRE2 | SIEGFRIE-TREICHLE SIE-TRE2 | Reliability & Markets | Status only
1 |  | SSLATING-TREICHLE SSL-TRE2 | SSLATING | 69 KV | SSL-TRE2 | SSLATING-TREICHLE SSL-TRE2 | Reliability & Markets | Status only
1 |  | BOWMANSM-SCOTTPL BOW-SCO2 | BOWMANSM | 69 KV | BOW-SCO2 | BOWMANSM-SCOTTPL BOW-SCO2 | Status Only | Reliability & Markets
1 |  | SCOTTPL-WBERWICK SCO-WBER | SCOTTPL | 69 KV | SCO-WBER | SCOTTPL-WBERWICK SCO-WBER | Status Only | Reliability & Markets
1 |  | COPPERST-RUTHFORD COP-RUT | COPPERST | 69 KV | COP-RUT | COPPERST-RUTHFORD COP-RUT | Not monitored, no status | Reliability & Markets
1 |  | HARRISBU-LAWNTON HAR-LAW1 | HARRISBU | 69 KV | HAR-LAW1 | HARRISBU-LAWNTON HAR-LAW1 | Not monitored, no status | Reliability & Markets
1 |  | LAWNTON-RUTHFORD LAW-RUT | LAWNTON | 69 KV | LAW-RUT | LAWNTON-RUTHFORD LAW-RUT | Not monitored, no status | Reliability & Markets
1 |  | COPPERST-LAWNTON COP-LAW | COPPERST | 69 KV | COP-LAW | COPPERST-LAWNTON COP-LAW | Not monitored, no status | Reliability & Markets
1 |  | HARRISBU-LAWNTON HAR-LAW2 | HARRISBU | 69 KV | HAR-LAW2 | HARRISBU-LAWNTON HAR-LAW2 | Not monitored, no status | Reliability & Markets
1 |  | CUMB PL-WCARLTAP CUM-WCT1 | CUMB PL | 69 KV | CUM-WCT1 | CUMB PL-WCARLTAP CUM-WCT1 | Not monitored, no status | Reliability & Markets
1 |  | CUMB PL-WCARLTAP CUM-WCT2 | CUMB PL | 69 KV | CUM-WCT2 | CUMB PL-WCARLTAP CUM-WCT2 | Not monitored, no status | Reliability & Markets
1 |  | AMPPARK1-NHARRISB AMP-NHA1 | AMPPARK1 | 69 KV | AMP-NHA1 | AMPPARK1-NHARRISB AMP-NHA1 | Not monitored, no status | Reliability & Markets
1 |  | AMPPARK1-OBRLINPL AP1-OBE | AMPPARK1 | 69 KV | AP1-OBE | AMPPARK1-OBRLINPL AP1-OBE | Not monitored, no status | Reliability & Markets
1 |  | AMPPARK2-OBRLINPL AP2-OBE | AMPPARK2 | 69 KV | AP2-OBE | AMPPARK2-OBRLINPL AP2-OBE | Not monitored, no status | Reliability & Markets
1 |  | AMPPARK2-SWATARA AP2-SWA | AMPPARK2 | 69 KV | AP2-SWA | AMPPARK2-SWATARA AP2-SWA | Not monitored, no status | Reliability & Markets
1 |  | HARRISBU-NHARRISB HAR-NHA1 | HARRISBU | 69 KV | HAR-NHA1 | HARRISBU-NHARRISB HAR-NHA1 | Not monitored, no status | Reliability & Markets
1 |  | HUMMELST-SWATARA HUM1-SWA | HUMMELST | 69 KV | HUM1-SWA | HUMMELST-SWATARA HUM1-SWA | Not monitored, no status | Reliability & Markets
1 |  | AMPPARK1-NHARRISB AMP-NHA2 | AMPPARK1 | 69 KV | AMP-NHA2 | AMPPARK1-NHARRISB AMP-NHA2 | Not monitored, no status | Reliability & Markets
1 |  | AMPPARK1-OBRLINPL AP1-OBE2 | AMPPARK1 | 69 KV | AP1-OBE2 | AMPPARK1-OBRLINPL AP1-OBE2 | Not monitored, no status | Reliability & Markets
1 |  | AMPPARK2-EBENEZR AP2-EBE | AMPPARK2 | 69 KV | AP2-EBE | AMPPARK2-EBENEZR AP2-EBE | Not monitored, no status | Reliability & Markets
1 |  | AMPPARK2-OBRLINPL AP2-OBE2 | AMPPARK2 | 69 KV | AP2-OBE2 | AMPPARK2-OBRLINPL AP2-OBE2 | Not monitored, no status | Reliability & Markets
1 |  | EBENEZR-HUMMELST EBE-HUM2 | EBENEZR | 69 KV | EBE-HUM2 | EBENEZR-HUMMELST EBE-HUM2 | Not monitored, no status | Reliability & Markets
1 |  | HARRISBU-NHARRISB HAR-NHA2 | HARRISBU | 69 KV | HAR-NHA2 | HARRISBU-NHARRISB HAR-NHA2 | Not monitored, no status | Reliability & Markets
1 |  | BENVENUE-GREENPAR BEN-GRE1 | BENVENUE | 69 KV | BEN-GRE1 | BENVENUE-GREENPAR BEN-GRE1 | Not monitored, no status | Reliability & Markets
1 |  | BENVENUE-JUNIATA BEN-JUN1 | BENVENUE | 69 KV | BEN-JUN1 | BENVENUE-JUNIATA BEN-JUN1 | Not monitored, no status | Reliability & Markets
1 |  | GREENPAR-SHERMAND GRE-SHE1 | GREENPAR | 69 KV | GRE-SHE1 | GREENPAR-SHERMAND GRE-SHE1 | Not monitored, no status | Reliability & Markets
1 |  | SHERMAND-WCARLTAP SHE-WCA1 | SHERMAND | 69 KV | SHE-WCA1 | SHERMAND-WCARLTAP SHE-WCA1 | Not monitored, no status | Reliability & Markets
1 |  | BENVENUE-GREENPAR BEN-GRE2 | BENVENUE | 69 KV | BEN-GRE2 | BENVENUE-GREENPAR BEN-GRE2 | Not monitored, no status | Reliability & Markets
1 |  | BENVENUE-JUNIATA BEN-JUN2 | BENVENUE | 69 KV | BEN-JUN2 | BENVENUE-JUNIATA BEN-JUN2 | Not monitored, no status | Reliability & Markets
1 |  | GREENPAR-SHERMAND GRE-SHE2 | GREENPAR | 69 KV | GRE-SHE2 | GREENPAR-SHERMAND GRE-SHE2 | Not monitored, no status | Reliability & Markets
1 |  | SHERMAND-WCARLTAP SHE-WCAR | SHERMAND | 69 KV | SHE-WCAR | SHERMAND-WCARLTAP SHE-WCAR | Not monitored, no status | Reliability & Markets
2 |  | BERKS TRAN3 XFORMER | BERKS | 230 KV | TRAN3 | BERKS TRAN3 XFORMER | Status Only | Reliability & Markets
2 | 1 | Berks #1 230/69 kV | BERKS | 230 KV | 1 | BERKS 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Berks #2 230/69 kV | BERKS | 230 KV | 2 | BERKS 2 XFORMER | Status Only | Reliability & Markets
2 | 1 | Buxmont #1 230/69 kV | BUXMONT | 230 KV | 1 | BUXMONT 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Buxmont #2 230/69 kV | BUXMONT | 230 KV | 2 | BUXMONT 2 XFORMER | Status Only | Reliability & Markets
2 | 1 | Clinton #1 230/69 kV | CLINTON | 230 KV | 1 | CLINTON 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Clinton #2 230/69 kV | CLINTON | 230 KV | 2 | CLINTON 2 XFORMER | Status Only | Reliability & Markets
2 | 1 | Columbia #1 230/69 kV | COLU PL | 230 KV | 1 | COLU PL 1 XFORMER | Status Only | Reliability & Markets
2 | 1 | Columbia #2 230/69 kV | COLU PL | 230 KV | 2 | COLU PL 2 XFORMER | Status Only | Reliability & Markets
2 | 1 | Copperstone T1 230/69KV Transformer | COPPERST | 230 KV | T1 | COPPERST T1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Copperstone T2 230/69KV Transformer | COPPERST | 230 KV | T2 | COPPERST T2 XFORMER | Status Only | Reliability & Markets
2 | 1 | Dauphin #1 230/69 kV | DAUPHIN | 230 KV | 1 | DAUPHIN 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Dauphin #2 230/69 kV | DAUPHIN | 230 KV | 2 | DAUPHIN 2 XFORMER | Status Only | Reliability & Markets
2 | 1 | East Palmerton #1 230/69 kV | EPALMERT | 230 KV | 1 | EPALMERT 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | East Palmerton #2 230/69 kV | EPALMERT | 230 KV | 2 | EPALMERT 2 XFORMER | Status Only | Reliability & Markets
2 | 1 | Eldred #1 230/69 kV | ELDRED | 230 KV | 1 | ELDRED 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Eldred #2 230/69 kV | ELDRED | 230 KV | 2 | ELDRED 2 XFORMER | Status Only | Reliability & Markets
2 | 1 | Hosensack #1 230/69 kV | HOSENSAC | 230 KV | 1 | HOSENSAC 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Hosensack #2 230/69 kV | HOSENSAC | 230 KV | 2 | HOSENSAC 2 XFORMER | Status Only | Reliability & Markets
2 | 4 | Hosensack #4 230/69 kV | HOSENSAC | 230 KV | 4 | HOSENSAC 4 XFORMER | Status Only | Reliability & Markets
2 | 1 | Hummelstown #1 230/69 kV | HUMMELST | 230 KV | 1 | HUMMELST 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Hummelstown #2 230/69 kV | HUMMELST | 230 KV | 2 | HUMMELST 2 XFORMER | Status Only | Reliability & Markets
2 | 3 | Hummelstown #3 230/69 kV | HUMMELST | 230 KV | 3 | HUMMELST 3 XFORMER | Status Only | Reliability & Markets
2 |  | JUNIATA 3 XFORMER | JUNIATA | 230 KV | 3 | JUNIATA 3 XFORMER | Status Only | Reliability & Markets
2 |  | JUNIATA 4 XFORMER | JUNIATA | 230 KV | 4 | JUNIATA 4 XFORMER | Status Only | Reliability & Markets
2 | 1 | Jenkins #1 230/69 kV | JENKINS | 230 KV | 1 | JENKINS 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Jenkins #2 230/69 kV | JENKINS | 230 KV | 2 | JENKINS 2 XFORMER | Status Only | Reliability & Markets
2 | 4 | Jenkins #4 230/69 kV | JENKINS | 230 KV | 4 | JENKINS 4 XFORMER | Status Only | Reliability & Markets
2 | 1 | LAUSCHTO T1 XFORMER | LAUSCHTO | 230 KV | T1 | LAUSCHTO T1 XFORMER | Status Only | Reliability & Markets
2 | 2 | LAUSCHTO T2 XFORMER | LAUSCHTO | 230 KV | T2 | LAUSCHTO T2 XFORMER | Status Only | Reliability & Markets
2 |  | PALOOKA 1 XFORMER | PALOOKA | 230 KV | 1 | PALOOKA 1 XFORMER | Status Only | Reliability & Markets
2 |  | PALOOKA 2 XFORMER | PALOOKA | 230 KV | 2 | PALOOKA 2 XFORMER | Status Only | Reliability & Markets
2 | 1 | PAUPACK T1 XFORMER | PAUPACK | 230 KV | T1 | PAUPACK T1 XFORMER | Status Only | Reliability & Markets
2 | 2 | PAUPACK T2 XFORMER | PAUPACK | 230 KV | T2 | PAUPACK T2 XFORMER | Status Only | Reliability & Markets
2 | 1 | POCONO 1 XFORMER | POCONO | 230 KV | 1 | POCONO 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | POCONO 2 XFORMER | POCONO | 230 KV | 2 | POCONO 2 XFORMER | Status Only | Reliability & Markets
2 | 1 | SUMMITPL T1_XFMR XFORMER | SUMMITPL | 230 KV | T1_XFMR | SUMMITPL T1_XFMR XFORMER | Status Only | Reliability & Markets
2 | 2 | SUMMITPL T2_XFMR XFORMER | SUMMITPL | 230 KV | T2_XFMR | SUMMITPL T2_XFMR XFORMER | Status Only | Reliability & Markets
2 | 3 | South Akron #3 230/69 kV | SAKRON | 230 KV | 3 | SAKRON 3 XFORMER | Status Only | Reliability & Markets
2 | 4 | South Akron #4 230/69 kV | SAKRON | 230 KV | 4 | SAKRON 4 XFORMER | Status Only | Reliability & Markets
2 | 5 | South Akron #5 230/69 kV | SAKRON | 230 KV | 5 | SAKRON 5 XFORMER | Status Only | Reliability & Markets
2 | 6 | South Akron #6 230/138 kV | SAKRON | 230 KV | 6 | SAKRON 6 XFORMER | Reliability BES | Reliability & Markets
2 | 7 | South Akron #7 230/138 kV | SAKRON | 230 KV | 7 | SAKRON 7 XFORMER | Reliability BES | Reliability & Markets
2 | 3 | South Manheim #3 230/69 kV | SMANHEIM | 230 KV | 3 | SMANHEIM 3 XFORMER | Status Only | Reliability & Markets
2 | 4 | South Manheim #4 230/69 kV | SMANHEIM | 230 KV | 4 | SMANHEIM 4 XFORMER | Status Only | Reliability & Markets
2 | 1 | Springfield T1 230/69KV Transformer | SPRNGFLD | 230 KV | TX1 | SPRNGFLD TX1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Springfield T2 230/69KV Transformer | SPRNGFLD | 230 KV | T2 | SPRNGFLD T2 XFORMER | Status Only | Reliability & Markets
2 | 1 | Stanton T1 230/69KV Transformer | STANTON | 230 KV | 1 | STANTON 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | Stanton T2 230/69KV Transformer | STANTON | 230 KV | 2 | STANTON 2 XFORMER | Status Only | Reliability & Markets
2 | 3 | Stanton T3 230/69KV Transformer | STANTON | 230 KV | 3 | STANTON 3 XFORMER | Status Only | Reliability & Markets
2 | 4 | Stanton T4 230/69KV Transformer | STANTON | 230 KV | 4 | STANTON 4 XFORMER | Status Only | Reliability & Markets
2 | 1 | WILLGROV T1 XFORMER | WILLGROV | 230 KV | T1 | WILLGROV T1 XFORMER | Status Only | Reliability & Markets
2 | 2 | WILLGROV T2 XFORMER | WILLGROV | 230 KV | T2 | WILLGROV T2 XFORMER | Status Only | Reliability & Markets
2 |  | WSHORE TRAN1 XFORMER | WSHORE | 230 KV | TRAN1 | WSHORE TRAN1 XFORMER | Status Only | Reliability & Markets
2 |  | WSHORE TRAN2 XFORMER | WSHORE | 230 KV | TRAN2 | WSHORE TRAN2 XFORMER | Status Only | Reliability & Markets
2 |  | WSHORE TRAN3 XFORMER | WSHORE | 230 KV | TRAN3 | WSHORE TRAN3 XFORMER | Status Only | Reliability & Markets
2 | 1 | Wescosville #1 138/69 kV | WESCOSVI | 138 KV | 1 | WESCOSVI 1 XFORMER | Status Only | Reliability & Markets
2 | 1 | Wescosville #4 138/69 kV | WESCOSVI | 138 KV | 4 | WESCOSVI 4 XFORMER | Status Only | Reliability & Markets
2 | 1 | West Hempfield #1 230/69 kV | WHEMPFIE | 230 KV | 1 | WHEMPFIE 1 XFORMER | Status Only | Reliability & Markets
2 | 2 | West Hempfield #2 230/69 kV | WHEMPFIE | 230 KV | 2 | WHEMPFIE 2 XFORMER | Status Only | Reliability & Markets
2 | 3 | West Hempfield #3 230/138 kV | WHEMPFIE | 230 KV | 3 | WHEMPFIE 3 XFORMER | Reliability BES | Reliability & Markets
2 | 4 | West Hempfield #4 230/138 kV | WHEMPFIE | 230 KV | 4 | WHEMPFIE 4 XFORMER | Reliability BES | Reliability & Markets
4 |  | FACEROCK 695_SD SER DEV | FACEROCK | 69 KV | 695_SD | FACEROCK 695_SD SER DEV | Not monitored, no status | Reliability & Markets
4 |  | FACEROCK 696_SD SER DEV | FACEROCK | 69 KV | 696_SD | FACEROCK 696_SD SER DEV | Not monitored, no status | Reliability & Markets
4 |  | FACEROCK 697_SD SER DEV | FACEROCK | 69 KV | 697_SD | FACEROCK 697_SD SER DEV | Not monitored, no status | Reliability & Markets
4 |  | SUSQUEHA YARDSPAN SER DEV | SUSQUEHA | 230 KV | YARDSPAN | SUSQUEHA YARDSPAN SER DEV | Not monitored, no status | Reliability & Markets
8 |  | Sunbury-Hummels Station 500kV | HUMMEL | 500 KV | HUMM-SUN | HUMMEL-SUNBURY HUMM-SUN | GSU | Reliability & Markets