## Cable Ratings
PSE&G Actively Cooled Cable Ratings (Post 881)
PJM B3 Text | SOL with cooling in service |  |  | SOL with cooling out of service
Circuit With Actively Cooled Cable Ratings | Normal (TERM NL) | Emergency (TERM LT/ST) | Load Dump (TERM LD) | Normal (MVA) (TERM CND1 NL) | Emergency (MVA) (TERM CND1 LT/ST) | Load Dump (MVA) (TERM CND1 LD) | Temp
ECRRF-FOUNDRY B-1328 | See TERM | See TERM | See TERM | 236 | 381 | 400 | ALL Temp
ECRRF-ESSEX C-1355 | See TERM | See TERM | See TERM | 231 | 393 | 413 | ALL Temp
FEDERALS-NEWARK G-1359 | See TERM | See TERM | See TERM | 218 | 354 | 372 | ALL Temp
ESSEX-NEWARK H-1308 | See TERM | See TERM | See TERM | 194 | 356 | 374 | ALL Temp
ATHENIA-FAIRLAWN I-1361 | See TERM | See TERM | See TERM | 151 | 295 | 310 | ALL Temp
ATHENIA-KULLERRD J-1362 | See TERM | See TERM | See TERM | 189 | 353 | 371 | ALL Temp
BAYWAY - FEDSQUARE K-1311 | See TERM | See TERM | See TERM | 268 | 407 | 423 | ALL Temp
FOUNDRY-NEWARK K-1337 | See TERM | See TERM | See TERM | 209 | 359 | 377 | ALL Temp
FAIRLAWN-KULLERRD L-1364 | See TERM | See TERM | See TERM | 238 | 447 | 469 | ALL Temp
BERGEN-FAIRLAWN M-1339 | See TERM | See TERM | See TERM | 210 | 343 | 360 | ALL Temp
DOREMUSP-NEWARK N-1366 | See TERM | See TERM | See TERM | 267 | 468 | 491 | ALL Temp
BAYWAY-DOREMUSP Q-1369 | See TERM | See TERM | See TERM | 244 | 380 | 399 | ALL Temp
BERGEN-ERUTHERF R-1344 | See TERM | See TERM | See TERM | 250 | 414 | 430 | ALL Temp
ATHENIA-ERUTHERF S-1345 | See TERM | See TERM | See TERM | 249 | 400 | 420 | ALL Temp
ATHENIA-BERGEN A-2332 | See TERM | See TERM | See TERM | 283 | 556 | 584 | ALL Temp
CUTHBERT-GLOUCEST C-2308 | See TERM | See TERM | See TERM | 221 | 627 | 658 | ALL Temp
BERGEN-SADDLEBR C-2334 | See TERM | See TERM | See TERM | 273 | 536 | 563 | ALL Temp
CUTHBERT-GLOUCEST D-2282 | See TERM | See TERM | See TERM | 383 | 624 | 655 | ALL Temp
HAWTHORN-WALDWICK E-2257 | See TERM | See TERM | See TERM | 484 | 697 | 732 | ALL Temp
HILLSDAL-WALDWICK F-2258 | See TERM | See TERM | See TERM | 472 | 686 | 720 | ALL Temp
ATHENIA-SADDLEBR F-2337 | See TERM | See TERM | See TERM | 391 | 630 | 662 | ALL Temp
MAYWOOD-SADDLEBR G-2259 | See TERM | See TERM | See TERM | 329 | 531 | 558 | ALL Temp
ALDENE-SPRINGRD G-2285 | See TERM | See TERM | See TERM | 415 | 635 | 667 | ALL Temp
HUDSON-SWATERFR H-2313 | See TERM | See TERM | See TERM | 412 | 794 | 834 | ALL Temp
HOBOKEN-NEWP PS I-2340 | See TERM | See TERM | See TERM | 350 | 534 | 561 | ALL Temp
MAYWOOD-NEWMILFR J-2236 | See TERM | See TERM | See TERM | 432 | 792 | 832 | ALL Temp
MCCARTER-STANLEYT J-2315 | See TERM | See TERM | See TERM | 346 | 514 | 540 | ALL Temp
ESSEX-MCCARTER K-2211 | See TERM | See TERM | See TERM | 312 | 536 | 563 | ALL Temp
BERGEN-LEONIA K-2289 | See TERM | See TERM | See TERM | 309 | 486 | 510 | ALL Temp
NEWP PS-SWATERFR L-2264 | See TERM | See TERM | See TERM | 339 | 607 | 637 | ALL Temp
HINCHMAN-JACK PS M-2239 | See TERM | See TERM | See TERM | 302 | 498 | 523 | ALL Temp
HAWTHORN-HINCHMAN N-2266 | See TERM | See TERM | See TERM | 335 | 592 | 622 | ALL Temp
SPRINGRD-WORANGE N-2292 | See TERM | See TERM | See TERM | 439 | 788 | 827 | ALL Temp
FAIRLAWN-WALDWICK O-2267 | See TERM | See TERM | See TERM | 396 | 604 | 628 | ALL Temp
BERGENFI-NEWMILFR O-2293 | See TERM | See TERM | See TERM | 388 | 573 | 602 | ALL Temp
ALDENE-STANLEYT O-2320 | See TERM | See TERM | See TERM | 329 | 594 | 624 | ALL Temp
HUDSON-SWATERFR P-2268 | See TERM | See TERM | See TERM | 420 | 731 | 768 | ALL Temp
BERGENFI-LEONIA P-2294 | See TERM | See TERM | See TERM | 388 | 573 | 602 | ALL Temp
ATHENIA-SADDLEBR Q-2217 | See TERM | See TERM | See TERM | 436 | 669 | 702 | ALL Temp
NEWP PS-SWATERFR Q-2269 | See TERM | See TERM | See TERM | 334 | 573 | 602 | ALL Temp
49STREET-HOBOKEN R-2270 | See TERM | See TERM | See TERM | 265 | 398 | 414 | ALL Temp
HOBOKEN-NEWP PS T-2220 | See TERM | See TERM | See TERM | 353 | 548 | 575 | ALL Temp
BERGEN-LEONIA T-2272 | See TERM | See TERM | See TERM | 311 | 557 | 585 | ALL Temp
CAMDEN-CUTHBERT U-2299 | See TERM | See TERM | See TERM | 398 | 709 | 744 | ALL Temp
HILLSDAL-NEWMILFR V-2222 | See TERM | See TERM | See TERM | 473 | 666 | 699 | ALL Temp
49STREET-HOBOKEN Y-2225-4 | See TERM | See TERM | See TERM | 279 | 398 | 414 | ALL Temp
CAMDEN-GLOUCEST Y-2304 | See TERM | See TERM | See TERM | 221 | 627 | 658 | ALL Temp
CAMDEN-CUTHBERT Z-2305 | See TERM | See TERM | See TERM | 345 | 670 | 704 | ALL Temp
FARRAGUT-MARION FAR-MAR | See TERM | See TERM | See TERM | 461 | 655 | 688 | ALL Temp
BAYONNE-MARION D-3404 | See TERM | See TERM | See TERM | 436 | 1083 | 1137 | ALL Temp
SMAWA-WALDWICK J-3410 TIE | See TERM | See TERM | See TERM | 672 | 1043 | 1095 | ALL Temp
SMAWA-WALDWICK K-3411 TIE | See TERM | See TERM | See TERM | 675 | 1041 | 1093 | ALL Temp
BAYONNE-MARION L-3438 | See TERM | See TERM | See TERM | 561 | 886 | 930 | ALL Temp
BAYWAY-NORTHAV U-3473 | See TERM | See TERM | See TERM | 467 | 1014 | 1065 | ALL Temp