## Sheet1
LMP Bus Model Update - September 13, 2017
Buses Added
Pnode ID | Tx Zone | Substation | Voltage | Equipment
1552844661 | AEP | CHLHWPJM | 6.9 KV | UN1
1552844663 | AEP | CHLHWPJM | 6.9 KV | UN2
1552844659 | AEP | CHLHWPJM | 6.9 KV | UN3
1552830718 | AEP | HARRISCS | 138 KV | T2
1552830085 | AEP | KANKAKEE | 138 KV | T1
1552831317 | AEP | RISNGSUN | 138 KV | NCEC
1552844658 | AEP | SNTETPJM | 13.2 KV | UN1
1552844657 | AEP | SNTETPJM | 13.2 KV | UN2
1552830481 | AEP | STANVILL | 138 KV | T1
1552830482 | AEP | STANVILL | 138 KV | T2
1552831316 | AEP | STONPLSW | 138 KV | STONE
1552844188 | APS | HALFWAY | 34 KV | HAGRSTWN
1552834069 | ATSI | 02COLLIN | 138 KV | T2
1552834231 | DEOK | 08NRCHMD | 69 KV | BK2
1552834343 | DEOK | COVNGTN | 69 KV | BK2
1552832744 | DOM | EVERETTS | 35 KV | TX1_NCE
1552832755 | DOM | HORNERTN | 34 KV | TX3A
1552845035 | DOM | OLDCHRCH | 20 KV | MECHVLSP
1552845094 | DOM | PENDLETN | 115 KV | OCEANASP
1552832688 | DOM | POLANDRD | 34.5 KV | TX1
1552832689 | DOM | POLANDRD | 34.5 KV | TX3
1552832115 | DOM | RIDGROAD | 13 KV | TX4
1552832798 | DOM | SCOTLAND | 13 KV | TX2_NCE
1552832797 | DOM | SCOTLAND | 13 KV | TX2H_NCE
1552832016 | DOM | SHERTFOR | 230 KV | TX1_NCE
1552832815 | DOM | TARRIVER | 13 KV | TX3_NCE
1552832691 | DOM | WHEELER | 230 KV | DP1
1552826949 | DPL | STOCKTON | 69 KV | LOADT1
1552826948 | DPL | STOCKTON | 69 KV | LOADT2
1552845261 | DUQU | WILSON | 23 KV | WILSONBT
1552843674 | JC | GLENGARD | 34 KV | CLINTON
1552825943 | ME | BIRDBORO | 23 KV | AUX1
1552825942 | ME | BIRDBORO | 23 KV | AUX2
1552843818 | ME | BIRDBORO | 23 KV | CT1
1552824893 | PE | LOCK | 34 KV | T1
1552824812 | PE | PRINTZ | 18 KV | SSLOAD1
1552824811 | PE | PRINTZ | 18 KV | SSLOAD2
1552826342 | PEP | PALMERS | 69 KV | LD4
1552826354 | PEP | QUINCEOR | 69 KV | LD5
1552826355 | PEP | QUINCEOR | 69 KV | LD6
1552826376 | PEP | TAKOMA | 69 KV | 69128_LD
1552826375 | PEP | TAKOMA | 69 KV | 69130_LD
1552843913 | PN | FAIRVWEC | 21 KV | S1
1552826235 | PN | FAIRVWEC | 25 KV | AUX1
1552826233 | PN | FAIRVWEC | 25 KV | AUX2
1552843916 | PN | FAIRVWEC | 25 KV | CT-1A
1552843915 | PN | FAIRVWEC | 25 KV | CT-1B
1552826093 | PN | LEWISRN | 230 KV | TR6
1552826231 | PN | PTGENRGY | 115 KV | LOAD
1552843198 | PS | CINNAMIN | 230 KV | PENSA3SP
1552824203 | PS | DEANS | 230 KV | LOAD
1552843045 | PS | DOREMUSP | 138 KV | HILLSDSP
1552824269 | PS | KEARNY | 230 KV | 1TRH
1552824271 | PS | KEARNY | 230 KV | 2TRH
1552843227 | PS | LAWRENCE | 69 KV | PENTONBT
1552843228 | PS | LAWRENCE | 69 KV | PENTONSP
1552843105 | PS | LINDEN | 26 KV | RAHWAYNG
1552824399 | PS | WALDWICK | 230 KV | T40
Busses Deleted
Pnode ID | Tx Zone | Substation | Voltage | Equipment
32410509 | AEP | ALLENIM | 13 KV | T1
32410705 | AEP | BRACKENS | 69 KV | T1
1292906719 | AEP | CONSTELL | 138 KV | SS1
1292906720 | AEP | CONSTELL | 138 KV | SS2
32418409 | AEP | ELIMA | 13 KV | SYNCHRON
1379257344 | AEP | FREMONTC | 69 KV | LD2
1379268311 | AEP | GUNNROAD | 34.5 KV | INVEN2WF
1379257901 | AEP | GUNNROAD | 34.5 KV | SS1
1379257902 | AEP | GUNNROAD | 34.5 KV | SS2
1388603706 | AEP | HARDIN | 34.5 KV | SS1
1388603707 | AEP | HARDIN | 34.5 KV | SS2
32411693 | AEP | JACKSON | 69 KV | LEECITY
32412361 | AEP | RIDGEWAY | 138 KV | T2B
32412861 | AEP | TOWER117 | 69 KV | MOUNTNEB
5021605 | APS | WILLIAM | 138 KV | T1
1292915718 | COMED | ROCK GEN | 18 KV | GEN1
1305120312 | COMED | ROCK GEN | 18 KV | SS LD
34886973 | CPL | CGSOPR | 230 KV | 2301
34886525 | DOM | EDENTON | 13 KV | TX2
34886527 | DOM | ELIZBETH | 35 KV | TX1
34886529 | DOM | ELIZBETH | 35 KV | TX2
34886589 | DOM | PANTEGO | 115 KV | TX1
34886603 | DOM | ROBERSNV | 115 KV | TX1
34886629 | DOM | TARBORO | 115 KV | TOWN-DP
34886631 | DOM | TARBORO4 | 230 KV | TX1
38367917 | DOM | TARBORO5 | 115 KV | TX1
34886637 | DOM | VAUGHNDP | 115 KV | TX1
71856693 | PN | CENTRALC | 34.5 KV | SHAFERWF
50484 | PS | MERCER | 13 KV | UNIT03
Changed From: |  |  |  |  | Changed To:
Pnode ID | Tx Zone | Substation | Voltage | Equipment | Pnode ID | Tx Zone | Substation | Voltage | Equipment
1348254323 | AEP | AVIATION | 138 KV | T1 | 1552830329 | AEP | AVIATION | 138 KV | T2
1379257895 | AEP | BERRYWOD | 69 KV | LNCLNCSP | 1552831294 | AEP | BERRYWOD | 138 KV | TR1
1379268312 | AEP | GUNNROAD | 34.5 KV | INVEN1WF | 1552844889 | AEP | GUNNROAD | 34.5 KV | SCIOTO
1388614222 | AEP | HARDIN | 34.5 KV | INVEN1WF | 1552844885 | AEP | HARDIN | 34.5 KV | HARDIN1
1388614223 | AEP | HARDIN | 34.5 KV | INVEN2WF | 1552844887 | AEP | HARDIN | 34.5 KV | HARDIN2
1369000719 | AEP | NUTTALL | 138 KV | T2 | 1552829839 | AEP | NUTTALL | 69 KV | NEBO
32412359 | AEP | RIDGEWAY | 138 KV | T2A | 1552829610 | AEP | RIDGEWAY | 138 KV | T2
32414543 | ATSI | 02CLLNWD | 69 KV | A | 1552834085 | ATSI | 02LAKERD | 69 KV | COLLINWD
93353991 | COMED | 135 ELMH | 15 KV | SVC_100 | 1552844292 | COMED | 135 ELMH | 138 KV | SVC_100
93353993 | COMED | 135 ELMH | 15 KV | SVC_200 | 1552844290 | COMED | 135 ELMH | 138 KV | SVC_200
41935479 | COMED | 979 MEND | 138 KV | MENDOTWF | 1552844480 | COMED | 979 MEND | 34.5 KV | MENDOTWF
83734415 | COMED | 981 CRES | 138 KV | CRIDG2WF | 1552844481 | COMED | 981 CRES | 34.5 KV | CRIDG2WF
40243745 | COMED | 981 CRES | 138 KV | CRIDGEWF | 1552844482 | COMED | 981 CRES | 34.5 KV | CRIDGEWF
61482305 | COMED | 981 CRES | 138 KV | PROVIDWF | 1552844483 | COMED | 981 CRES | 34.5 KV | PROVIDWF
44460873 | DOM | ELIZRIV | 230 KV | GT1 | 1552845077 | DOM | ELIZRIV | 13.8 KV | GT1
44460875 | DOM | ELIZRIV | 230 KV | GT2 | 1552845078 | DOM | ELIZRIV | 13.8 KV | GT2
44460877 | DOM | ELIZRIV | 230 KV | GT3 | 1552845076 | DOM | ELIZRIV | 13.8 KV | GT3
34887799 | DOM | HALLBRAN | 115 KV | G1 | 1552844999 | DOM | HALLBRAN | 13.8 KV | G1
1107283589 | DOM | NRTHALEX | 230 KV | LOAD1 | 1552832981 | DOM | NRTHALEX | 36.5 KV | LOAD3
34887825 | DOM | POLYESTR | 230 KV | G1 | 1552845038 | DOM | POLYESTR | 13.8 KV | G1
34887943 | DOM | ROSEMARY | 230 KV | NUG | 1552845186 | DOM | ROSEMARY | 13.8 KV | NUG
1379258986 | DOM | VINTHILL | 230 KV | DPLOAD | 1552832690 | DOM | VINTHLDP | 230 KV | DPLOAD
1132287215 | DUQU | WILSON | 138 KV | T1 | 1552833129 | DUQU | WILSON | 23 KV | T1
1132287216 | DUQU | WILSON | 138 KV | T2 | 1552833132 | DUQU | WILSON | 23 KV | T2
1132287217 | DUQU | WILSON | 138 KV | T3 | 1552833131 | DUQU | WILSON | 23 KV | T3
48658 | PS | JACK PS | 230 KV | T-1 | 1552824265 | PS | JACK PS | 230 KV | T-10
48659 | PS | JACK PS | 230 KV | T-2 | 1552824264 | PS | JACK PS | 230 KV | T-20
41935353 | PS | JACK PS | 230 KV | T-3 | 1552824266 | PS | JACK PS | 230 KV | T-30
41935355 | PS | JACK PS | 230 KV | T-4 | 1552824267 | PS | JACK PS | 230 KV | T-40
1165466670 | PS | KINGSLAN | 69 KV | LOAD1 | 1552824276 | PS | KINGSLAN | 69 KV | LOADT3
Aggregates Added
Pnode ID | Name
1379245881 | LAUSCHTO