## Sheet1
LMP Bus Model Update - December 12, 2018
Buses Added
Pnode ID | Tx Zone | Substation | Voltage | Equipment
2155501915 | AEP | BROOKSDE | 138 KV | T2
2155502064 | AEP | BYLLESBY | 13 KV | BYLLSBBS
32410983 | AEP | CORWIN | 138 KV | T1
32410985 | AEP | CORWIN | 138 KV | T2
2155501907 | AEP | HICKORYC | 138 KV | T2
2155501908 | AEP | HICKORYC | 138 KV | T7
2155501909 | AEP | HODGIN | 69 KV | T2
2155501906 | AEP | LACEYBRA | 138 KV | T1
2155501904 | AEP | MOCCASIN | 69 KV | T1
2155501905 | AEP | MOCCASIN | 69 KV | T2
2155501901 | AEP | MTUNION | 69 KV | LONESTAR
2155501900 | AEP | MTUNION | 69 KV | T1
2155501899 | AEP | MTUNION | 69 KV | T2
2155501922 | AEP | NEWBERY | 138 KV | PROTEC1
2155501898 | AEP | QUINWOOD | 69 KV | T3
2155501911 | AEP | SBENDAEP | 138 KV | T6
2155501912 | AEP | SBENDAEP | 34 KV | T5
2155501913 | AEP | SILVERLK | 138 KV | T2
2155501914 | AEP | SILVERLK | 138 KV | T3
2155501902 | AEP | TRINTY | 69 KV | T1
2155501903 | AEP | TRINTY | 69 KV | WHEATLND
2155501893 | AEP | WASHING2 | 46 KV | T6
2155501920 | AEP | ZANESVIL | 69 KV | MTSTERLG
2155501934 | ATSI | BASF_CAT | 69 KV | BASFCAT
2155501935 | ATSI | BASF_LE | 69 KV | BASFLE
2155501938 | ATSI | CNR_TAP | 138 KV | TR1
2155501942 | ATSI | ELYRIA_H | 69 KV | ELY_H_LD
2155501933 | ATSI | ELYRIAF2 | 69 KV | ELYF2_LD
2155501939 | ATSI | FIRSTSL2 | 138 KV | SHELBYLD
2155501940 | ATSI | REDMAN | 69 KV | TR1
2155501941 | ATSI | REDMAN | 69 KV | TR2
2155501936 | ATSI | SHEWANGO | 69 KV | ELYF1_LD
2155501937 | ATSI | SHEWANGO | 69 KV | SHEW_LD
2155501846 | BC | MEADOWBC | 13.8 KV | 110-1LD
2155501847 | BC | MEADOWBC | 13.8 KV | 110-2LD
2155501860 | COMED | 101 ITAS | 138 KV | TR77 34
2155501861 | COMED | 101 ITAS | 138 KV | TR78 34
2155501865 | COMED | 268 ARLI | 12 KV | E6821
2155501867 | COMED | 268 ARLI | 12 KV | E686
2155502061 | COMED | 948 BRIG | 34.5 KV | BRSTLKWF
2155501877 | COMED | 951 AURO | 13.5 KV | AR5
2155501878 | COMED | 951 AURO | 13.5 KV | AR6
2155501875 | COMED | 951 AURO | 4 KV | AR2
2155501876 | COMED | 951 AURO | 4 KV | AR3
2155502063 | COMED | 977 GREE | 34.5 KV | GRVRU1WF
2155502062 | COMED | 977 GREE | 34.5 KV | GRVRU2WF
2155501944 | DEOK | 08FARFAX | 69 KV | BK4
2155501945 | DEOK | 08IVYDL1 | 69 KV | BTM
2155501946 | DEOK | 08OLIVE | 69 KV | BK2
2155501947 | DEOK | 08VERONA | 69 KV | LD2
2155501949 | DEOK | DONALDSN | 138 KV | BK3
2155501948 | DEOK | DONALDSN | 138 KV | BK4
2155501950 | DEOK | MCGUFFEY | 69 KV | BTM1
2155501951 | DEOK | MCGUFFEY | 69 KV | BTM2
2155501929 | DOM | BETHELDP | 115 KV | TX2
2155501926 | DOM | PAMPLIN | 24 KV | TX4
2155501927 | DOM | RIDGROAD | 13.8 KV | TX5
2155502065 | DOM | SPOTSLV | 34.5 KV | SPOTS2SP
2155501857 | DPL | BEAGLIN | 69 KV | T1LOAD
2155501858 | DPL | BEAGLIN | 69 KV | T2LOAD
2155502053 | JC | MORRISPA | 35 KV | FRANKLSP
2155501849 | ME | MOUN ME | 115 KV | MOB10LD
2155501824 | PE | ROLL PE | 138 KV | AIRGAS
2155502055 | PEP | RITCHIE | 69 KV | ROLLINSP
2155501845 | PL | ENOLATP | 69 KV | T1LOAD
2155501844 | PL | ENOLATP | 69 KV | T2LOAD
2155501840 | PL | HAMPDEN | 69 KV | HAMPLOAD
2155501842 | PL | MECHANIC | 69 KV | T1LOAD
2155501841 | PL | MECHANIC | 69 KV | T2LOAD
2155501826 | PL | MILTON | 69 KV | CLI1LOAD
2155501827 | PL | MILTON | 69 KV | LEW1LOAD
2155501828 | PL | MILTON | 69 KV | LEW2LOAD
2155501825 | PL | MILTON | 69 KV | MILVLOAD
2155501837 | PL | MT ALLEN | 69 KV | T1LOAD
2155501836 | PL | MT ALLEN | 69 KV | T2LOAD
2155501832 | PL | ROSSMOYN | 69 KV | T1LOAD
2155501833 | PL | ROSSMOYN | 69 KV | T2LOAD
2155501834 | PL | SHEELYLN | 69 KV | CUST1_LD
2155501835 | PL | SHEELYLN | 69 KV | CUST2_LD
2155501843 | PL | SOMECH | 69 KV | T1LOAD
2155501831 | PL | SPORTING | 69 KV | TR1LOAD
2155501830 | PL | SPORTING | 69 KV | TR2LOAD
2155501839 | PL | WERTZVIL | 69 KV | T1LOAD
2155501838 | PL | WERTZVIL | 69 KV | T2LOAD
2155501853 | PN | MACNEW_T | 115 KV | MACNEW_T
2155502054 | PN | OXBOW | 230 KV | OXBOWGT
2155501816 | PS | CARLSTAD | 69 KV | 69-1
2155501818 | PS | CARLSTAD | 69 KV | 69-2
2155501804 | PS | DEVILSBR | 230 KV | T1LD
2155501803 | PS | DEVILSBR | 230 KV | T2LD
2155501820 | PS | GRENVIL | 69 KV | T1
2155501819 | PS | GRENVIL | 69 KV | T2
2155501821 | PS | GRENVIL | 69 KV | T3
2155501822 | PS | HOPEWEL1 | 230 KV | 220-1LD
2155501823 | PS | HOPEWEL1 | 230 KV | 220-2LD
2155501805 | PS | KINGSLAN | 230 KV | 220-1LD
2155502047 | PS | LEVITTOW | 230 KV | CIRCDRSP
2155501811 | PS | NJTMEADO | 230 KV | EASTTEMP
2155501812 | PS | NJTMEADO | 230 KV | WESTTEMP
2155502048 | PS | PLAINSBU | 138 KV | SCHALKSP
Buses Deleted
Pnode ID | Tx Zone | Substation | Voltage | Equipment
1338430633 | AE | QUINTON | 69 KV | QUIN_SLR
32410643 | AEP | BETSYLAY | 138 KV | T2
1666103450 | AEP | BOOTJACK | 138 KV | T1
1666103449 | AEP | BOOTJACK | 138 KV | T2
1439644391 | AEP | BULLITST | 138 KV | T3
1388601932 | AEP | CAPITOLH | 138 KV | T4
40243789 | AEP | CLINCHRI | 15.5 KV | CR3
40243811 | AEP | GLENLYN | 13.8 KV | GL5
40243809 | AEP | GLENLYN | 15.5 KV | GL6
32411399 | AEP | GMTRUCK | 138 KV | T1
32411401 | AEP | GMTRUCK | 138 KV | T2
5021727 | AEP | GORSUCH | 138 KV | AMP OHIO
1084383644 | AEP | SKINFORK | 138 KV | T-1
5021327 | APS | LAKELYNN | 138 KV | SS LOAD
5021329 | APS | LAKELYNN | 138 KV | T72
78711729 | APS | SPRINGDA | 138 KV | HS LD1
78711731 | APS | SPRINGDA | 138 KV | HS LD2
98370311 | ATSI | ASHTABUL | 138 KV | 500_AT
98370157 | ATSI | IRA | 138 KV | TR1
123901533 | ATSI | LAKESHOR | 12 KV | EMD
123901531 | ATSI | LAKESHOR | 18 KV | LS18
49177 | BC | BETHSTL | 34 KV | LD1
65732047 | BC | CHESTNUT | 13 KV | 110-1LD
65732049 | BC | CHESTNUT | 13 KV | 110-2LD
50680 | BC | PERRYMAN | 13 KV | CT 2
50684 | BC | RIVERSID | 13 KV | GEN 04
32407265 | COMED | 18 WILL | 18 KV | ATR31 04
32407267 | COMED | 18 WILL | 18 KV | ATR32 04
32417587 | COMED | 18 WILL | 18 KV | WC-3
1248985240 | DOM | FREEDOM1 | 69 KV | SSLOAD
34885879 | DOM | HUNTMNDP | 35 KV | TX1
1348264104 | DPL | CHURCH | 69 KV | SUNFISH
50919 | DPL | NORTHST | 12 KV | G1
50918 | DPL | NORTHST | 12 KV | G2
1305130240 | JC | COLUMBJC | 35 KV | CDAM HYD
1318130991 | ME | GERMANTO | 115 KV | YRK MBL
10700793 | ME | NBOYERTO | 69 KV | ROLLINGH
51520087 | PE | MOSER | 35 KV | LF1
2041945654 | PL | SPORTING | 69 KV | CUMB1 LD
2041945650 | PL | SPORTING | 69 KV | CUMB2 LD
2041945657 | PL | SPORTING | 69 KV | WSHO1 LD
2041945648 | PL | SPORTING | 69 KV | WSHO2 LD
1775808130 | PL | WILLGROV | 69 KV | MECH1LD
1775808131 | PL | WILLGROV | 69 KV | MECH2LD
1775808132 | PL | WILLGROV | 69 KV | WSHO1LD
1775808129 | PL | WILLGROV | 69 KV | WSHO2LD
1048057 | PN | ARNOLDRE | 25 KV | GREENMT
48689 | PS | MARION | 138 KV | 13KV A
48690 | PS | MARION | 138 KV | 13KV B
74008583 | PS | MARION | 138 KV | LOAD1
74008585 | PS | MARION | 138 KV | LOAD2
48683 | PS | MEADOWRD | 138 KV | T-1
48684 | PS | MEADOWRD | 138 KV | T-2
1268557429 | PS | NEWMILFR | 230 KV | T10
1268557427 | PS | NEWMILFR | 230 KV | T20
1268557428 | PS | NEWMILFR | 230 KV | T30
1268557430 | PS | NEWMILFR | 230 KV | T40
48711 | PS | NORTHAV | 138 KV | T-1
48712 | PS | NORTHAV | 138 KV | T-2
48721 | PS | PVSC | 138 KV | T-1
48722 | PS | PVSC | 138 KV | T-2
Changed From: |  |  |  |  | Changed To:
Pnode ID | Tx Zone | Substation | Voltage | Equipment | Pnode ID | Tx Zone | Substation | Voltage | Equipment
71856511 | AEP | CENTALUM | 138 KV | LD3 | 2155501923 | AEP | CONSTELM | 138 KV | 1-3
71856513 | AEP | CENTALUM | 138 KV | LD4 | 2155501924 | AEP | CONSTELM | 138 KV | 2-4
1084382729 | AEP | CORWIN | 138 KV | XF1 | 2155501917 | AEP | CORWIN | 138 KV | GM1
1084382730 | AEP | CORWIN | 138 KV | XF2 | 2155501916 | AEP | CORWIN | 138 KV | GM2
32412949 | AEP | WASHING2 | 46 KV | T1 | 2155501897 | AEP | WASHING2 | 46 KV | T4
32412951 | AEP | WASHING2 | 46 KV | T2 | 2155501895 | AEP | WASHING2 | 46 KV | T5
32412953 | AEP | WASHING2 | 46 KV | T3 | 2155501896 | AEP | WASHING2 | 46 KV | T7
32407533 | COMED | 268 ARLI | 138 KV | TR71 12 | 2155501866 | COMED | 268 ARLI | 12 KV | E6810
32407535 | COMED | 268 ARLI | 138 KV | TR72 12 | 2155501864 | COMED | 268 ARLI | 12 KV | E6814
32407537 | COMED | 268 ARLI | 138 KV | TR73 12 | 2155501863 | COMED | 268 ARLI | 12 KV | E6815
32407539 | COMED | 268 ARLI | 138 KV | TR74 12 | 2155501862 | COMED | 268 ARLI | 12 KV | E682
74008663 | DOM | FIVEWORK | 115 KV | HEC | 2155501928 | DOM | FIVEFRKS | 115 KV | HEC
2041990886 | DOM | SPOTSLV | 500 KV | SPOTSLSP | 2155502066 | DOM | SPOTSLV | 34.5 KV | SPOTSLSP
38367783 | DPL | KEENEY | 138 KV | T2 | 2155501856 | DPL | KEENEY | 138 KV | T2_LD
1292902379 | ME | CMBG LEE | 69 KV | BRKLY LD | 2155501851 | ME | BERKLYFE | 69 KV | BRKLY_LD
1292902382 | ME | LEESPORT | 69 KV | RYL G LD | 2155501850 | ME | ROYAL_G | 69 KV | RYL_G_LD
93353955 | PS | BRUNSWIC | 138 KV | BRUNSWSP | 2155502042 | PS | BRUNSWIC | 230 KV | BRUNSWSP
119118175 | PS | MARION | 138 KV | MARIONSP | 2155502043 | PS | MARION | 345 KV | MARIONSP
1132280314 | PS | MARIONDR | 230 KV | LOADT-1 | 2155501806 | PS | MARIONDR | 230 KV | T-10
1132280315 | PS | MARIONDR | 230 KV | LOADT-2 | 2155501807 | PS | MARIONDR | 230 KV | T-20
106856867 | PS | MEADOWRD | 138 KV | SILVLKSP | 2155502045 | PS | MEADOWRD | 230 KV | SILVLKSP
1067168135 | PS | MEADOWRD | 138 KV | SUMMITSP | 2155502044 | PS | MEADOWRD | 230 KV | SUMMITSP
48933921 | PS | NEWARK | 26 KV | LD1 | 2155501809 | PS | NEWARK | 26 KV | LD1_LD
48933923 | PS | NEWARK | 26 KV | LD2 | 2155501810 | PS | NEWARK | 26 KV | LD2_LD
48933925 | PS | NEWARK | 26 KV | LD3 | 2155501808 | PS | NEWARK | 26 KV | LD3_LD
106856875 | PS | NORTHAV | 138 KV | NORTHASP | 2155502046 | PS | NORTHAV | 345 KV | NORTHASP
1218900473 | PS | WOODBRID | 230 KV | T10LD | 2155501815 | PS | WOODBRID | 230 KV | T1LD
1305116393 | PS | WOODBRID | 230 KV | T20 | 2155501814 | PS | WOODBRID | 230 KV | T2LD
1305116392 | PS | WOODBRID | 230 KV | T30 | 2155501813 | PS | WOODBRID | 230 KV | T3LD
Aggregates Deleted
Pnode ID | Name
210014 | DOVER 1
210015 | DOVER 2
63642627 | GLEN LYN 5-6
8668485 | GORSUCH
The changes below will be effective on December 1, 2018 as part of the OVEC Integration:
Buses Added
Pnode ID | Tx Zone | Substation | Voltage | Equipment
1552845534 | OVEC | CLIFTYCR | 15.5 KV | CC1
1552845528 | OVEC | CLIFTYCR | 15.5 KV | CC2
1552845537 | OVEC | CLIFTYCR | 15.5 KV | CC3
1552845529 | OVEC | CLIFTYCR | 15.5 KV | CC4
1552845540 | OVEC | CLIFTYCR | 15.5 KV | CC5
1552845531 | OVEC | CLIFTYCR | 15.5 KV | CC6
32416277 | OVEC | DOEX530 | 345 KV | LOAD
1552845545 | OVEC | KYGERCRE | 15.5 KV | KY1
1552845546 | OVEC | KYGERCRE | 15.5 KV | KY2
1552845544 | OVEC | KYGERCRE | 15.5 KV | KY3
1552845547 | OVEC | KYGERCRE | 15.5 KV | KY4
1552845548 | OVEC | KYGERCRE | 15.5 KV | KY5
Buses Deleted
Pnode ID | Tx Zone | Substation | Voltage | Equipment
1338431134 | OVEC | CLFTYAEP | 345 KV | UN1
1338431131 | OVEC | CLFTYAEP | 345 KV | UN2
1338431132 | OVEC | CLFTYAEP | 345 KV | UN3
1338431133 | OVEC | CLFTYAEP | 345 KV | UN4
1338431136 | OVEC | CLFTYAEP | 345 KV | UN5
1338431135 | OVEC | CLFTYAEP | 345 KV | UN6
1338431128 | OVEC | KYGERAEP | 345 KV | UN1
1338431127 | OVEC | KYGERAEP | 345 KV | UN2
1338431126 | OVEC | KYGERAEP | 345 KV | UN3
1338431129 | OVEC | KYGERAEP | 345 KV | UN4
1338431130 | OVEC | KYGERAEP | 345 KV | UN5
Aggregates Added
Pnode ID | Name
1896850181 | CLIFTY CREEK 1
1896850199 | CLIFTY CREEK 2
1896850200 | CLIFTY CREEK 3
1896850214 | CLIFTY CREEK 4
1896850215 | CLIFTY CREEK 5
1896850230 | CLIFTY CREEK 6
1896884556 | KYGER CREEK 1
1896884557 | KYGER CREEK 2
1896884558 | KYGER CREEK 3
1896884559 | KYGER CREEK 4
1896884560 | KYGER CREEK 5
21839454 | OVEC (PRE-PJM)
Interface Deleted
Pnode ID | Name
34509945 | OVEC
RESIDUAL_METERED_EDC Added
Pnode ID | Name
1709726615 | OVEC_RESID_AGG
ENERGY TRANSMISSION ZONE Added
Pnode ID | Name
1709725933 | OVEC

## Checking Pnodes
New PnodeIDs | Deleted PnodeIDs | Matches? | Pnodes in previous day, but not in check day |  |  |  | Matches? | Pnodes in check day, but not in previous day
2155501915 | 1338430633 | #N/A | AGGREGATE | 63642627 | GLEN | LYN | 2155501861 | LOAD | 2155501861 | 101
2155502064 | 32410643 | #N/A | AGGREGATE | 8668485 | GORSUCH |  | 2155501860 | LOAD | 2155501860 | 101
32410983 | 1666103450 | 1775808132 | LOAD | 1775808132 | WILLGROV |  | 2155501862 | LOAD | 2155501862 | 268
32410985 | 1666103449 | 1305130240 | GEN | 1305130240 | COLUMBJC |  | 2155501865 | LOAD | 2155501865 | 268
2155501907 | 1439644391 | 38367783 | LOAD | 38367783 | KEENEY |  | 2155501866 | LOAD | 2155501866 | 268
2155501908 | 1388601932 | 1775808130 | LOAD | 1775808130 | WILLGROV |  | 2155501867 | LOAD | 2155501867 | 268
2155501909 | 40243789 | 1775808131 | LOAD | 1775808131 | WILLGROV |  | 2155501864 | LOAD | 2155501864 | 268
2155501906 | 40243811 | 1775808129 | LOAD | 1775808129 | WILLGROV |  | 2155501863 | LOAD | 2155501863 | 268
2155501904 | 40243809 | 1268557429 | LOAD | 1268557429 | NEWMILFR |  | 2155502061 | GEN | 2155502061 | 948
2155501905 | 32411399 | 1268557430 | LOAD | 1268557430 | NEWMILFR |  | 2155501878 | LOAD | 2155501878 | 951
2155501901 | 32411401 | 1292902382 | LOAD | 1292902382 | LEESPORT |  | 2155501877 | LOAD | 2155501877 | 951
2155501900 | 5021727 | 1248985240 | LOAD | 1248985240 | FREEDOM1 |  | 2155501875 | LOAD | 2155501875 | 951
2155501899 | 1084383644 | 2041990886 | GEN | 2041990886 | SPOTSLV |  | 2155501876 | LOAD | 2155501876 | 951
2155501922 | 5021327 | 1268557427 | LOAD | 1268557427 | NEWMILFR |  | 2155502063 | GEN | 2155502063 | 977
2155501898 | 5021329 | 1268557428 | LOAD | 1268557428 | NEWMILFR |  | 2155502062 | GEN | 2155502062 | 977
2155501911 | 78711729 | 98370157 | LOAD | 98370157 | IRA |  | 2155501944 | LOAD | 2155501944 | 08FARFAX
2155501912 | 78711731 | 1292902379 | LOAD | 1292902379 | CMBG | LEE | 2155501945 | LOAD | 2155501945 | 08IVYDL1
2155501913 | 98370311 | 65732049 | LOAD | 65732049 | CHESTNUT |  | 2155501946 | LOAD | 2155501946 | 08OLIVE
2155501914 | 98370157 | 65732047 | LOAD | 65732047 | CHESTNUT |  | 2155501947 | LOAD | 2155501947 | 08VERONA
2155501902 | 123901533 | 1048057 | GEN | 1048057 | ARNOLDRE |  | 2155501934 | LOAD | 2155501934 | BASF_CAT
2155501903 | 123901531 | 10700793 | GEN | 10700793 | NBOYERTO |  | 2155501935 | LOAD | 2155501935 | BASF_LE
2155501893 | 49177 | 49177 | LOAD | 49177 | BETHSTL |  | 2155501858 | LOAD | 2155501858 | BEAGLIN
2155501920 | 65732047 | 74008585 | LOAD | 74008585 | MARION |  | 2155501857 | LOAD | 2155501857 | BEAGLIN
2155501934 | 65732049 | 74008583 | LOAD | 74008583 | MARION |  | 2155501851 | LOAD | 2155501851 | BERKLYFE
2155501935 | 50680 | 50684 | GEN | 50684 | RIVERSID |  | 2155501929 | LOAD | 2155501929 | BETHELDP
2155501938 | 50684 | 50680 | GEN | 50680 | PERRYMAN |  | 2155501915 | LOAD | 2155501915 | BROOKSDE
2155501942 | 32407265 | 50918 | GEN | 50918 | NORTHST |  | 2155502042 | GEN | 2155502042 | BRUNSWIC
2155501933 | 32407267 | 1084382729 | LOAD | 1084382729 | CORWIN |  | 2155502064 | GEN | 2155502064 | BYLLESBY
2155501939 | 32417587 | 1338430633 | GEN | 1338430633 | QUINTON |  | 2155501816 | LOAD | 2155501816 | CARLSTAD
2155501940 | 1248985240 | 1084382730 | LOAD | 1084382730 | CORWIN |  | 2155501818 | LOAD | 2155501818 | CARLSTAD
2155501941 | 34885879 | 50919 | GEN | 50919 | NORTHST |  | 2155501938 | LOAD | 2155501938 | CNR_TAP | ME
2155501936 | 1348264104 | 2041945650 | LOAD | 2041945650 | SPORTING |  | 2155501924 | LOAD | 2155501924 | CONSTELM
2155501937 | 50919 | 2041945657 | LOAD | 2041945657 | SPORTING |  | 2155501923 | LOAD | 2155501923 | CONSTELM
2155501846 | 50918 | 2041945654 | LOAD | 2041945654 | SPORTING |  | 32410983 | LOAD | 32410983 | CORWIN
2155501847 | 1305130240 | 48711 | LOAD | 48711 | NORTHAV |  | 2155501916 | LOAD | 2155501916 | CORWIN
2155501860 | 1318130991 | 48684 | LOAD | 48684 | MEADOWRD |  | 32410985 | LOAD | 32410985 | CORWIN
2155501861 | 10700793 | 48683 | LOAD | 48683 | MEADOWRD |  | 2155501917 | LOAD | 2155501917 | CORWIN
2155501865 | 51520087 | 48690 | LOAD | 48690 | MARION |  | 2155501803 | LOAD | 2155501803 | DEVILSBR | ALLEN
2155501867 | 2041945654 | 2041945648 | LOAD | 2041945648 | SPORTING |  | 2155501804 | LOAD | 2155501804 | DEVILSBR
2155502061 | 2041945650 | 48721 | LOAD | 48721 | PVSC |  | 2155501948 | LOAD | 2155501948 | DONALDSN | ALLEN
2155501877 | 2041945657 | 48689 | LOAD | 48689 | MARION |  | 2155501949 | LOAD | 2155501949 | DONALDSN
2155501878 | 2041945648 | 48712 | LOAD | 48712 | NORTHAV |  | 2155501942 | LOAD | 2155501942 | ELYRIA_H
2155501875 | 1775808130 | 48722 | LOAD | 48722 | PVSC |  | 2155501933 | LOAD | 2155501933 | ELYRIAF2
2155501876 | 1775808131 | 119118175 | GEN | 119118175 | MARION |  | 2155501844 | LOAD | 2155501844 | ENOLATP
2155502063 | 1775808132 | 106856875 | GEN | 106856875 | NORTHAV |  | 2155501845 | LOAD | 2155501845 | ENOLATP
2155502062 | 1775808129 | 106856867 | GEN | 106856867 | MEADOWRD |  | 2155501939 | LOAD | 2155501939 | FIRSTSL2
2155501944 | 1048057 | 1348264104 | GEN | 1348264104 | CHURCH |  | 2155501928 | LOAD | 2155501928 | FIVEFRKS
2155501945 | 48689 | 93353955 | GEN | 93353955 | BRUNSWIC |  | 2155501820 | LOAD | 2155501820 | GRENVIL
2155501946 | 48690 | 1067168135 | GEN | 1067168135 | MEADOWRD |  | 2155501819 | LOAD | 2155501819 | GRENVIL
2155501947 | 74008583 | 123901533 | GEN | 123901533 | LAKESHOR |  | 2155501821 | LOAD | 2155501821 | GRENVIL
2155501949 | 74008585 | 123901531 | GEN | 123901531 | LAKESHOR |  | 2155501840 | LOAD | 2155501840 | HAMPDEN
2155501948 | 48683 | 1318130991 | LOAD | 1318130991 | GERMANTO |  | 2155501907 | LOAD | 2155501907 | HICKORYC
2155501950 | 48684 | 1132280314 | LOAD | 1132280314 | MARIONDR |  | 2155501908 | LOAD | 2155501908 | HICKORYC
2155501951 | 1268557429 | 1132280315 | LOAD | 1132280315 | MARIONDR |  | 2155501909 | LOAD | 2155501909 | HODGIN
2155501929 | 1268557427 | 5021329 | LOAD | 5021329 | LAKELYNN |  | 2155501822 | LOAD | 2155501822 | HOPEWEL1
2155501926 | 1268557428 | 5021327 | LOAD | 5021327 | LAKELYNN |  | 2155501823 | LOAD | 2155501823 | HOPEWEL1
2155501927 | 1268557430 | 71856513 | LOAD | 71856513 | CENTALUM |  | 2155501856 | LOAD | 2155501856 | KEENEY
2155502065 | 48711 | 71856511 | LOAD | 71856511 | CENTALUM |  | 2155501805 | LOAD | 2155501805 | KINGSLAN
2155501857 | 48712 | 78711729 | LOAD | 78711729 | SPRINGDA |  | 2155501906 | LOAD | 2155501906 | LACEYBRA
2155501858 | 48721 | 78711731 | LOAD | 78711731 | SPRINGDA |  | 2155502047 | GEN | 2155502047 | LEVITTOW
2155502053 | 48722 | 98370311 | LOAD | 98370311 | ASHTABUL |  | 2155501853 | LOAD | 2155501853 | MACNEW_T
2155501849 | 71856511 | 1305116393 | LOAD | 1305116393 | WOODBRID |  | 2155502043 | GEN | 2155502043 | MARION
2155501824 | 71856513 | 1305116392 | LOAD | 1305116392 | WOODBRID |  | 2155501807 | LOAD | 2155501807 | MARIONDR
2155502055 | 1084382729 | 1218900473 | LOAD | 1218900473 | WOODBRID |  | 2155501806 | LOAD | 2155501806 | MARIONDR
2155501845 | 1084382730 | 48933921 | LOAD | 48933921 | NEWARK |  | 2155501950 | LOAD | 2155501950 | MCGUFFEY
2155501844 | 32412949 | 48933923 | LOAD | 48933923 | NEWARK |  | 2155501951 | LOAD | 2155501951 | MCGUFFEY
2155501840 | 32412951 | 48933925 | LOAD | 48933925 | NEWARK |  | 2155501846 | LOAD | 2155501846 | MEADOWBC
2155501842 | 32412953 | 51520087 | GEN | 51520087 | MOSER |  | 2155501847 | LOAD | 2155501847 | MEADOWBC
2155501841 | 32407533 | 74008663 | LOAD | 74008663 | FIVEWORK |  | 2155502045 | GEN | 2155502045 | MEADOWRD
2155501826 | 32407535 | 32407267 | LOAD | 32407267 | 18 | WILL | 2155502044 | GEN | 2155502044 | MEADOWRD
2155501827 | 32407537 | 32407265 | LOAD | 32407265 | 18 | WILL | 2155501842 | LOAD | 2155501842 | MECHANIC
2155501828 | 32407539 | 34885879 | LOAD | 34885879 | HUNTMNDP |  | 2155501841 | LOAD | 2155501841 | MECHANIC
2155501825 | 74008663 | 32407533 | LOAD | 32407533 | 268 | ARLI | 2155501828 | LOAD | 2155501828 | MILTON
2155501837 | 2041990886 | 32407539 | LOAD | 32407539 | 268 | ARLI | 2155501827 | LOAD | 2155501827 | MILTON
2155501836 | 38367783 | 32407535 | LOAD | 32407535 | 268 | ARLI | 2155501826 | LOAD | 2155501826 | MILTON
2155501832 | 1292902379 | 32407537 | LOAD | 32407537 | 268 | ARLI | 2155501825 | LOAD | 2155501825 | MILTON
2155501833 | 1292902382 | 1666103449 | LOAD | 1666103449 | BOOTJACK |  | 2155501905 | LOAD | 2155501905 | MOCCASIN
2155501834 | 93353955 | 1666103450 | LOAD | 1666103450 | BOOTJACK |  | 2155501904 | LOAD | 2155501904 | MOCCASIN
2155501835 | 119118175 | 32417587 | GEN | 32417587 | 18 | WILL | 2155502053 | GEN | 2155502053 | MORRISPA
2155501843 | 1132280314 | 5021727 | GEN | 5021727 | GORSUCH |  | 2155501849 | LOAD | 2155501849 | MOUN
2155501831 | 1132280315 | 1084383644 | LOAD | 1084383644 | SKINFORK |  | 2155501836 | LOAD | 2155501836 | MT
2155501830 | 106856867 | 1388601932 | LOAD | 1388601932 | CAPITOLH |  | 2155501837 | LOAD | 2155501837 | MT
2155501839 | 1067168135 | 1439644391 | LOAD | 1439644391 | BULLITST |  | 2155501901 | LOAD | 2155501901 | MTUNION
2155501838 | 48933921 | 32410643 | LOAD | 32410643 | BETSYLAY |  | 2155501900 | LOAD | 2155501900 | MTUNION | PE
2155501853 | 48933923 | 40243811 | GEN | 40243811 | GLENLYN |  | 2155501899 | LOAD | 2155501899 | MTUNION
2155502054 | 48933925 | 40243809 | GEN | 40243809 | GLENLYN |  | 2155501810 | LOAD | 2155501810 | NEWARK
2155501816 | 106856875 | 40243789 | GEN | 40243789 | CLINCHRI |  | 2155501808 | LOAD | 2155501808 | NEWARK
2155501818 | 1218900473 | 32412951 | LOAD | 32412951 | WASHING2 |  | 2155501809 | LOAD | 2155501809 | NEWARK
2155501804 | 1305116393 | 32412949 | LOAD | 32412949 | WASHING2 |  | 2155501922 | LOAD | 2155501922 | NEWBERY
2155501803 | 1305116392 | 32412953 | LOAD | 32412953 | WASHING2 |  | 2155501811 | LOAD | 2155501811 | NJTMEADO
2155501820 |  | 32411399 | LOAD | 32411399 | GMTRUCK |  | 2155501812 | LOAD | 2155501812 | NJTMEADO
2155501819 |  | 32411401 | LOAD | 32411401 | GMTRUCK |  | 2155502046 | GEN | 2155502046 | NORTHAV
2155501821 | [6 empty] | 2155502054 | GEN | 2155502054 | OXBOW
2155501822 | [6 empty] | 2155501926 | LOAD | 2155501926 | PAMPLIN
2155501823 | [6 empty] | 2155502048 | GEN | 2155502048 | PLAINSBU
2155501805 | [6 empty] | 2155501898 | LOAD | 2155501898 | QUINWOOD | ARLI
2155502047 | [6 empty] | 2155501940 | LOAD | 2155501940 | REDMAN | ITAS
2155501811 | [6 empty] | 2155501941 | LOAD | 2155501941 | REDMAN | AURO
2155501812 | [6 empty] | 2155501927 | LOAD | 2155501927 | RIDGROAD
2155502048 | [6 empty] | 2155502055 | GEN | 2155502055 | RITCHIE
2155501923 | [6 empty] | 2155501824 | LOAD | 2155501824 | ROLL | ARLI
2155501924 | [6 empty] | 2155501833 | LOAD | 2155501833 | ROSSMOYN | AURO
2155501917 | [6 empty] | 2155501832 | LOAD | 2155501832 | ROSSMOYN | GREE
2155501916 | [6 empty] | 2155501850 | LOAD | 2155501850 | ROYAL_G | AURO
2155501897 | [6 empty] | 2155501912 | LOAD | 2155501912 | SBENDAEP | ITAS
2155501895 | [6 empty] | 2155501911 | LOAD | 2155501911 | SBENDAEP
2155501896 | [6 empty] | 2155501834 | LOAD | 2155501834 | SHEELYLN | ARLI
2155501866 | [6 empty] | 2155501835 | LOAD | 2155501835 | SHEELYLN
2155501864 | [6 empty] | 2155501936 | LOAD | 2155501936 | SHEWANGO | AURO
2155501863 | [6 empty] | 2155501937 | LOAD | 2155501937 | SHEWANGO
2155501862 | [6 empty] | 2155501913 | LOAD | 2155501913 | SILVERLK
2155501928 | [6 empty] | 2155501914 | LOAD | 2155501914 | SILVERLK
2155502066 | [6 empty] | 2155501843 | LOAD | 2155501843 | SOMECH | ARLI
2155501856 | [6 empty] | 2155501831 | LOAD | 2155501831 | SPORTING | GREE
2155501851 | [6 empty] | 2155501830 | LOAD | 2155501830 | SPORTING | BRIG
2155501850 | [6 empty] | 2155502065 | GEN | 2155502065 | SPOTSLV | ARLI
2155502042 | [6 empty] | 2155502066 | GEN | 2155502066 | SPOTSLV | ARLI
2155502043 | [6 empty] | 2155501903 | LOAD | 2155501903 | TRINTY
2155501806 | [6 empty] | 2155501902 | LOAD | 2155501902 | TRINTY
2155501807 | [6 empty] | 2155501893 | LOAD | 2155501893 | WASHING2
2155502045 | [6 empty] | 2155501896 | LOAD | 2155501896 | WASHING2
2155502044 | [6 empty] | 2155501897 | LOAD | 2155501897 | WASHING2
2155501809 | [6 empty] | 2155501895 | LOAD | 2155501895 | WASHING2
2155501810 | [6 empty] | 2155501839 | LOAD | 2155501839 | WERTZVIL
2155501808 | [6 empty] | 2155501838 | LOAD | 2155501838 | WERTZVIL
2155502046 | [6 empty] | 2155501813 | LOAD | 2155501813 | WOODBRID
2155501815 | [6 empty] | 2155501815 | LOAD | 2155501815 | WOODBRID
2155501814 | [6 empty] | 2155501814 | LOAD | 2155501814 | WOODBRID
2155501813 | [6 empty] | 2155501920 | LOAD | 2155501920 | ZANESVIL