## Sheet1
LMP Bus Model Update - December 13, 2023
Buses Added
Pnode ID | Tx Zone | Substation | Voltage | Equipment
2156114562 | AECO | BURL_TAP | 69 KV | BUR_LOAD
2156114549 | AEP | AMHERST | 138 KV | MOBILE
2156114530 | AEP | ANGUIN | 138 KV | LIBERTY1
2156114750 | AEP | ANGUIN | 138 KV | LIBERTY2
2156114623 | AEP | ANGUIN | 138 KV | LIBERTY3
2156114534 | AEP | ANGUIN | 138 KV | NBY6
2156114673 | AEP | ANGUIN | 138 KV | NBY7
2156114551 | AEP | ANGUIN | 138 KV | ROCKHO_E
2156114552 | AEP | ANGUIN | 138 KV | ROCKHO_F
2156114634 | AEP | APPLEGRO | 138 KV | SKIDAP10
2156114773 | AEP | BADGRAEP | 138 KV | GONDORT1
2156114625 | AEP | BADGRAEP | 138 KV | GONDORT2
2156114596 | AEP | BADGRAEP | 138 KV | GONDORT3
2156114622 | AEP | BADGRAEP | 138 KV | GONDORT4
2156114550 | AEP | BEACON | 345 KV | DARBY1
2156114768 | AEP | BEACON | 345 KV | DARBY2
2156114667 | AEP | BEACON | 345 KV | DARBY3
2156114563 | AEP | BOXWOOD | 138 KV | T2
2156114749 | AEP | COSGRAY | 345 KV | CMH0911
2156114627 | AEP | COSGRAY | 345 KV | CMH0912
2156114631 | AEP | CREEKWLK | 34.5 KV | AUX
2156114679 | AEP | CREEKWLK | 34.5 KV | CRKWLKSP
2156114680 | AEP | CYPRUS | 138 KV | CHILLYWC
2156114747 | AEP | CYPRUS | 138 KV | CHILLYWD
2156114599 | AEP | GARRETKP | 138 KV | T2
2156114719 | AEP | GREENCHA | 138 KV | T4
2156114741 | AEP | GREENCHA | 138 KV | T5
2156114613 | AEP | GREENCHA | 138 KV | T7
2156114583 | AEP | GREENCHA | 138 KV | T8
2156114727 | AEP | GREENCHA | 138 KV | T9
2156114763 | AEP | INNOVATI | 138 KV | MORDOR1
2156114571 | AEP | INNOVATI | 138 KV | MORDOR2
2156114660 | AEP | MACYOP | 138 KV | TR1
2156114785 | AEP | MACYOP | 138 KV | TR2
2156114717 | AEP | MINK | 138 KV | T1
2156114564 | AEP | MINK | 138 KV | T2
2156114748 | AEP | MOUNTPER | 138 KV | T1
2156114567 | AEP | ORAORA | 34.5 KV | ORAORASP
2156114597 | AEP | SNAGFORK | 138 KV | BIGSANDY
2156114559 | APS | BUFFALOM | 34.5 KV | FOXGLOSP
2156114621 | APS | CONNELSV | 25 KV | DUNBARSP
2156114554 | APS | DOUBLETO | 34.5 KV | GUNBARSP
2156114601 | APS | LONGCREE | 34.5 KV | BARTONSP
2156114565 | APS | MCCONNEL | 34.5 KV | BLAIV1SP
2156114730 | APS | SAGE | 230 KV | 1TR
2156114655 | APS | SAGE | 230 KV | 2TR
2156114629 | APS | SMIT APS | 25 KV | SMIFRASP
2156114540 | ATSI | ADAMSRID | 69 KV | T1LD
2156114766 | ATSI | CALLERY | 69 KV | T1LD
2156114705 | ATSI | CONC_MET | 69 KV | T1LD
2156114543 | ATSI | DAVISBES | 345 KV | TR1A
2156114784 | ATSI | DURALINE | 69 KV | DURALINE
2156114654 | ATSI | ELY | 69 KV | LOAD1
2156114598 | ATSI | ELY | 69 KV | LOAD2
2156114732 | ATSI | EVANSCTY | 69 KV | T1LD
2156114580 | ATSI | HILLS | 69 KV | LOAD1
2156114585 | ATSI | KLINE2 | 69 KV | T1LD
2156114674 | ATSI | MARS | 69 KV | T1LD
2156114576 | ATSI | MARS | 69 KV | T2LD
2156114535 | ATSI | PPPINE | 69 KV | WEXFORD
2156114778 | ATSI | W_RCHFLD | 69 KV | LOAD1
2156114589 | BGE | CLAREST | 34.5 KV | 110-1LD
2156114531 | BGE | CLAREST | 34.5 KV | 110-2LD
2156114532 | BGE | CLAREST | 34.5 KV | 110-3LD
2156114541 | COMED | 135 ELMH | 138 KV | TR76_12
2156114697 | COMED | 135 ELMH | 138 KV | TR78_12
2156114560 | COMED | 149 WILM | 138 KV | TR73_12
2156114681 | DAY | CASSTOWN | 69 KV | CASSTOWN
2156114595 | DAY | CIL_ISOT | 69 KV | CIL_ISOT
2156114728 | DAY | FAYETTE2 | 138 KV | 13844
2156114616 | DAY | FAYETTE2 | 138 KV | 13845
2156114759 | DAY | FRANKLI5 | 138 KV | HONDA1
2156114617 | DAY | FRANKLI5 | 138 KV | HONDA2
2156114761 | DAY | GREENFIE | 34.5 KV | FAYETTSP
2156114582 | DAY | JACKSONC | 69 KV | JACKMUNI
2156114637 | DAY | KISER | 34.5 KV | CLEARVSP
2156114644 | DAY | KTH | 69 KV | KTH
2156114672 | DAY | PANTHER2 | 69 KV | BK-1
2156114677 | DAY | PANTHER2 | 69 KV | BK-2
2156114780 | DAY | PANTHER2 | 69 KV | BK-3
2156114612 | DAY | ST_PARIS | 69 KV | BK-2
2156114658 | DEOK | 08WHITWR | 69 KV | LD3
2156114656 | DEOK | KENNEL | 69 KV | XFMR1
2156114652 | DEOK | LITTON | 69 KV | XFMR1
2156114762 | DEOK | LITTON | 69 KV | XFMR2
2156114539 | DOM | ALTAIR | 230 KV | LD1_W74
2156114774 | DOM | ALTAIR | 230 KV | LD2_Y74
2156114666 | DOM | CANNONBR | 36.5 KV | TX3LOAD
2156114783 | DOM | CANNONBR | 36.5 KV | TX5LOAD
2156114545 | DOM | CEMETRY | 13 KV | LD1
2156114735 | DOM | EASTERS | 230 KV | LD1_V37
2156114682 | DOM | EASTERS | 230 KV | LD2_W37
2156114767 | DOM | EASTERS | 230 KV | LD3_Y37
2156114538 | DOM | EASTERS | 230 KV | LD4_U37
2156114618 | DOM | EASTERS | 230 KV | LD5_Z37
2156114707 | DOM | FIRETOWR | 230 KV | LD1
2156114691 | DOM | GODWINDP | 230 KV | 172LD
2156114626 | DOM | GODWINDP | 230 KV | 197LD
2156114570 | DOM | LINCOLNP | 34 KV | TX5_LOAD
2156114708 | DOM | NIT | 34.5 KV | LD1
2156114770 | DOM | NIT | 34.5 KV | LD2
2156114782 | DOM | SANDLOT | 36.5 KV | TX3LOAD
2156114702 | DOM | SANDLOT | 36.5 KV | TX4LOAD
2156114710 | DOM | SANDLOT | 36.5 KV | TX5LOAD
2156114591 | DOM | SANDLOT | 36.5 KV | TX6LOAD
2156114670 | DOM | TECHPARK | 34.5 KV | TX1_LOAD
2156114624 | DOM | TECHPARK | 34.5 KV | TX2_LOAD
2156114646 | DOM | TECHPARK | 34.5 KV | TX3_LOAD
2156114746 | DOM | TECHPARK | 34.5 KV | TX4_LOAD
2156114587 | DOM | TECHPARK | 34.5 KV | TX5_LOAD
2156114771 | DOM | THUNDERB | 230 KV | LD1
2156114675 | DOM | THUNDERB | 230 KV | LD2
2156114714 | DOM | TRAPROCK | 230 KV | LD1_W44
2156114664 | DOM | TRAPROCK | 230 KV | LD2_Y44
2156114706 | DOM | WELNGTDP | 230 KV | TX1LD
2156114743 | DOM | WHTMARDP | 36.5 KV | WINTB_SP
2156114687 | DPL | TEMPLEVI | 34.5 KV | WAYPSTSP
2156114678 | DUQ | PINECRK | 23 KV | ALL2_HYD
2156114754 | JCPL | OYSTERCR | 230 KV | T11LD
2156114690 | PECO | MASTER | 230 KV | T6
2156114557 | PECO | PLANEBRO | 230 KV | GREENFI1
2156114593 | PECO | PLANEBRO | 230 KV | GREENFI2
2156114775 | PECO | WOODBOUR | 35 KV | KBU7
2156114776 | PENELEC | CLAYSBUR | 23 KV | BEARROSP
2156114753 | PENELEC | EDINBORO | 34.5 KV | CRAWF1SP
2156114544 | PENELEC | EDINBORO | 34.5 KV | CRAWF2SP
2156114577 | PENELEC | HIGHPNT | 25 KV | LISTONSP
2156114529 | PEPCO | PALMERS | 69 KV | SPECT_SP
2156114630 | PPL | BENTON | 69 KV | BENT1_LD
2156114676 | PPL | DERRY | 69 KV | DERRY_LD
2156114547 | PPL | DEVONSHI | 69 KV | DEVO1_LD
2156114692 | PPL | DEVONSHI | 69 KV | DEVO2_LD
2156114651 | PPL | EPALMERT | 69 KV | LIGA1_LD
2156114653 | PPL | LINGLEST | 69 KV | LING1_LD
2156114604 | PPL | LINGLEST | 69 KV | LING2_LD
2156114752 | PPL | PAXTON | 69 KV | PAXT3_LD
2156114628 | PPL | PAXTON | 69 KV | PAXT4_LD
2156114606 | PPL | PROGRES2 | 69 KV | PROG1_LD
2156114738 | PPL | PROGRES2 | 69 KV | PROG2_LD
2156114546 | PPL | ROHRSBUR | 69 KV | ROHR1_LD
2156114592 | PPL | ROHRSBUR | 69 KV | ROHRSBSP
2156114572 | PPL | SAKRON | 69 KV | BERK2_LD
2156114533 | PPL | SAKRON | 69 KV | EARL_LD
2156114786 | PPL | SAKRON | 69 KV | LAUS2_LD
2156114647 | PPL | SAKRON | 69 KV | SMAN3_LD
2156114603 | PPL | SAKRON | 69 KV | T2_LD
2156114669 | PPL | USGYPSU2 | 69 KV | USGYP_LD
2156114610 | PPL | WINDSOR | 69 KV | WIND1_LD
2156114640 | PPL | WINDSOR | 69 KV | WIND2_LD
2156114704 | PSEG | ECHELON | 230 KV | T-10LD
2156114661 | PSEG | ECHELON | 230 KV | T-20LD
2156114769 | PSEG | HOWEAVE | 69 KV | T1LD
2156114574 | PSEG | HOWEAVE | 69 KV | T2LD
2156114649 | PSEG | RANCOCAS | 230 KV | T-10LD
2156114584 | PSEG | RANCOCAS | 230 KV | T-20LD
2156114663 | PSEG | WASHAVE | 230 KV | T-10LD
2156114636 | PSEG | WASHAVE | 230 KV | T-20LD
Buses Deleted
Pnode ID | Tx Zone | Substation | Voltage | Equipment
10700733 | AECO | CAPEMAY | 69 KV | LOAD1
2156111259 | AECO | CAPEMAY | 69 KV | MU
1775827194 | AECO | MANTUA | 69 KV | BRDGPKFC
2156113398 | AECO | MONSANTO | 69 KV | BUR_LOAD
38367747 | AECO | STRATFOR | 69 KV | T3
2156112502 | AECO | STRATFOR | 69 KV | T4
32411335 | AEP | GAHANNA | 138 KV | T1
32411337 | AEP | GAHANNA | 138 KV | T2
1183223784 | AEP | HADLEY | 69 KV | THOMAS
2156108975 | AEP | HESSOP | 69 KV | CITYSTC1
2156108976 | AEP | HESSOP | 69 KV | CITYSTC2
1439644685 | AEP | NEWCARLI | 138 KV | T2
2156108997 | AEP | PROVIDSW | 69 KV | BANNOCK
5021131 | APS | CLAYSVIL | 138 KV | T61
40243343 | DAY | 09STAUNT | 69 KV | 6657
40243557 | DAY | JACKMUNI | 69 KV | LOAD1
40243559 | DAY | JACKMUNI | 69 KV | LOAD2
34886721 | DOM | CUNNGHDP | 115 KV | TX1
112586187 | DPL | VIENNA | 69 KV | VIENNASP
61482195 | JCPL | VERNON | 115 KV | SUGARLFD
61482197 | JCPL | VERNON | 115 KV | SUGARLFJ
2156113329 | METED | JACK ME | 69 KV | BAIR_SP
49485 | METED | TMI | 230 KV | LD2
2156109304 | PENELEC | ROXBURY | 23 KV | 1TX LOAD
135389783 | PPL | SAKRON | 69 KV | WARWICSP
50419 | PSEG | ESSEX | 13 KV | UNIT09
48934133 | PSEG | NEWARBAY | 13 KV | CT1
48934135 | PSEG | NEWARBAY | 13 KV | CT2
50455 | PSEG | NEWARBAY | 13 KV | GEN123
48934137 | PSEG | NEWARBAY | 13 KV | ST
Changed From: |  |  |  |  | Changed To:
Pnode ID | Tx Zone | Substation | Voltage | Equipment | Pnode ID | Tx Zone | Substation | Voltage | Equipment
5021132 | APS | CONNELSV | 138 KV | T1 | 2156114711 | APS | CONNELSV | 25 KV | T1LD
5021527 | APS | SMIT APS | 138 KV | T1 | 2156114561 | APS | SMIT APS | 25 KV | UNE2_LD
5021528 | APS | SMIT APS | 138 KV | T2 | 2156114579 | APS | SMIT APS | 25 KV | T2_LD
32415179 | ATSI | PPPINE | 69 KV | A | 2156114633 | ATSI | PPPINE | 69 KV | WARRENDA
1348257145 | ATSI | WOODFORD | 69 KV | LOAD | 2156114787 | ATSI | LORACORR | 69 KV | LOAD
32408763 | COMED | J390 | 138 KV | TR77 34 | 2156114718 | COMED | J390 | 138 KV | TR767734
32408765 | COMED | J390 | 138 KV | TR78 34 | 2156114581 | COMED | J390 | 138 KV | TR787934
1107283202 | DOM | CANNONBR | 35 KV | LOAD | 2156114721 | DOM | CANNONBR | 35 KV | TX2LOAD
41935435 | DUQ | PINECRK | 138 KV | T1 | 2156114777 | DUQ | PINECRK | 23 KV | T1_LOAD
41935437 | DUQ | PINECRK | 138 KV | T2 | 2156114568 | DUQ | PINECRK | 23 KV | T2_LOAD
41935439 | DUQ | PINECRK | 138 KV | T3 | 2156114712 | DUQ | PINECRK | 23 KV | T3_LOAD
49516 | PENELEC | CLAYSBUR | 115 KV | NO.1T | 2156114609 | PENELEC | CLAYSBUR | 23 KV | T1_LD
49543 | PENELEC | EDINBORO | 115 KV | 1 TX | 2156114781 | PENELEC | EDINBORO | 34.5 KV | T1_LD
49544 | PENELEC | EDINBORO | 115 KV | 2 TX | 2156114744 | PENELEC | EDINBORO | 34.5 KV | T2_LD
1368997773 | PENELEC | HIGHPNT | 115 KV | T2 | 2156114662 | PENELEC | HIGHPNT | 25 KV | T2LD
5020994 | PEPCO | 12THST | 69 KV | LOAD T1 | 2156114720 | PEPCO | 12THST | 13.8 KV | T1_LOAD
5020995 | PEPCO | 12THST | 69 KV | LOAD T2 | 2156114659 | PEPCO | 12THST | 13.8 KV | T2_LOAD
5020996 | PEPCO | 12THST | 69 KV | LOAD T3 | 2156114739 | PEPCO | 12THST | 13.8 KV | T3_LOAD
5020997 | PEPCO | 12THST | 69 KV | LOAD T4 | 2156114734 | PEPCO | 12THST | 13.8 KV | T4_LOAD
5021008 | PEPCO | FTSLOCUM | 69 KV | LOAD T1 | 2156114688 | PEPCO | FTSLOCUM | 13.8 KV | T1_LOAD
5021009 | PEPCO | FTSLOCUM | 69 KV | LOAD T2 | 2156114760 | PEPCO | FTSLOCUM | 13.8 KV | T2_LOAD
5021010 | PEPCO | FTSLOCUM | 69 KV | LOAD T3 | 2156114715 | PEPCO | FTSLOCUM | 13.8 KV | T3_LOAD
5021011 | PEPCO | FTSLOCUM | 69 KV | LOAD T4 | 2156114709 | PEPCO | FTSLOCUM | 13.8 KV | T4_LOAD
1084379204 | PPL | COPPERST | 69 KV | DAUPHIN1 | 2156114566 | PPL | COLONIAP | 69 KV | COPA1_LD
1084379205 | PPL | COPPERST | 69 KV | DAUPHIN2 | 2156114668 | PPL | COLONIAP | 69 KV | COPA2_LD
49081 | PPL | DAUPHIN | 69 KV | BUS_1 | 2156114684 | PPL | DAUPHIN | 69 KV | CAPA1_LD
49082 | PPL | DAUPHIN | 69 KV | BUS_3 | 2156114648 | PPL | DAUPHIN | 69 KV | CAPA2_LD
49089 | PPL | ENGLESID | 69 KV | BUS_1 | 2156114765 | PPL | ENGLESID | 69 KV | TR1_LD
49090 | PPL | ENGLESID | 69 KV | BUS_3 | 2156114665 | PPL | ENGLESID | 69 KV | TR2_LD
49083 | PPL | EPALMERT | 69 KV | BUS_1 | 2156114650 | PPL | EPALMERT | 69 KV | ACAH1_LD
49084 | PPL | EPALMERT | 69 KV | BUS_3 | 2156114642 | PPL | EPALMERT | 69 KV | ACAH2_LD
2155501825 | PPL | MILTON | 69 KV | MILVLOAD | 2156114683 | PPL | MILLVIL2 | 69 KV | MVIL2_LD
49143 | PPL | SAKRON | 69 KV | BUS1 | 2156114548 | PPL | SAKRON | 69 KV | T1_LD
49144 | PPL | SAKRON | 69 KV | BUS3 | 2156114729 | PPL | SAKRON | 69 KV | BERK1_LD
49145 | PPL | SAKRON | 69 KV | BUS4 | 2156114686 | PPL | SAKRON | 69 KV | LAUS1_LD
44460861 | PPL | SAKRON | 69 KV | HONEYBRK | 2156114569 | PPL | LAUSCHTO | 69 KV | HONEYBRK
2156109531 | PPL | SCOTTPL | 69 KV | BENT LD | 2156114528 | PPL | BENTON | 69 KV | BEFO_LD
2156109530 | PPL | SCOTTPL | 69 KV | BOMI LD | 2156114685 | PPL | BOWMANSM | 69 KV | W610_LD
Aggregates Added
Pnode ID | Name
Aggregates Deleted
Pnode ID | Name
93173 | NEWARK BAY