## 27-30 Long Term Auction
Description | Transmission Owner | Projected In-Service Date | Round Modeled
Install a second 500/230 kV transformer at Possum Point substation and replace bus work and associated equipment as needed. | Dominion | 11/30/2026 | 1
Reconductor 230kV Line #2172 from Brambleton to Evergreen Mills along with upgrading the line leads at Brambleton to achieve a summer emergency rating of 1574 MVA. | Dominion | 2/26/2027 | 1
Install second TMI 500/230kV Transformer with additional 500 and 230 bus expansions | ME | 6/1/2027 | 1
Reconductor two (2) 230 kV circuits from Conastone to Northwest #2 | BGE | 12/31/2026 | 1
Rebuild ComEd’s section of 345 kV double circuit in IL from St. John to Crete (5 miles) with twin bundled 1277 ACAR conductor. | ComEd | 12/1/2026 | 1
Rebuild 12.7 miles of 345 kV double circuit extending from Crete to E. Frankfort with twin bundled 1277 ACAR conductor. | ComEd | 6/1/2026 | 1
Install a 2nd 500-230 kV 1440MVA transformer at Mars substation | Dominion | 5/20/2027 | 1
Note: See the Project Status & Cost Allocation page in the Planning section of the PJM website for a complete list of all planned upgrades including up-to-date projections of in-service dates