## Planning Parameters
2028/2029 RPM Base Residual Auction Planning Parameters |  |  | 2026-03-20
| RTO | Notes:
Installed Reserve Margin (IRM) | 20% | endorsed at the February 19, 2026 MRC meeting. See:https://www.pjm.com/-/media/DotCom/committees-groups/committees/mrc/2026/20260219/20260219-item-01---1-2028-2029-bra-fpr--irm---presentation.pdf
Pool-Wide Accredited UCAP Factor | 78.34% | endorsed at the February 19, 2026 MRC meeting.
Reference Resource AUCAP Factor | 79%
Forecast Pool Requirement (FPR) | 0.9401 | endorsed at the February 19, 2026 MRC meeting.
Preliminary Forecast Peak Load | 165953.5 | 2026 Load Report with adjustments for load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK | DOM | JCPL
CETO | NA | -187 | 5903 | 6131 | 6481 | 2712 | 1654 | 3888 | 3910 | 3534 | 1267 | 4568 | 1187 | 2785 | 2800 | 7758 | 3628
CETL | NA | 1318 | 6904 | 5862 | 8873 | 4656 | 2005 | 5770 | 11803 | 5430 | 1586 | 5658 | 5312 | 4432 | 5934 | 5992 | 5312
Reliability Requirement | 156012.9 | 54479.4 | 31225.9 | 13327 | 10851.1 | 5230.7 | 2683.9 | 6488.6 | 12544.3 | 5212 | 22817.2 | 6991.2 | 10155 | 3792.1 | 5661.1 | 30015.5 | 6258.2
Total Peak Load of FRR Entities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 156012.9 | 54479.4 | 31225.9 | 13327 | 10851.1 | 5230.7 | 2683.9 | 6488.6 | 12544.3 | 5212 | 22817.2 | 6991.2 | 10155 | 3792.1 | 5661.1 | 30015.5 | 6258.2
Gross CONE, $/MW-Day (UCAP Price) | 776.14 | 756.66 | 756.03 | 769.9 | 756.03 | 756.03 | 756.03 | 769.9 | 745.62 | 745.62 | 860.07 | 769.9 | 749.09 | 745.62 | 745.62 | 745.62 | 756.03
E&AS Value, $/MW-Day (UCAP Price) | 450.4481 | 327.0215 | 214.2715 | 450.1515 | 158.6835 | 158.6835 | 334.2785 | 368.8101 | 436.4051 | 436.4051 | 283.1899 | 490.2152 | 265.3165 | 469.1646 | 445.6076 | 574.5443 | 163.9114
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day
Point (b) UCAP Price, $/MW-Day
Point (c) UCAP Price, $/MW-Day
Point (d) UCAP Price, $/MW-Day
Point (a) UCAP Level, MW
Point (b) UCAP Level, MW
Point (c) UCAP Level, MW
Point (d) UCAP Level, MW
Nominated PRD Value, MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day
Point (b1) UCAP Price, $/MW-Day
Point (prd1) UCAP Price, $/MW-Day
Point (prd2) UCAP Price, $/MW-Day
Point (c) UCAP Price, $/MW-Day
Point (a1) UCAP Level, MW
Point (b1) UCAP Level, MW
Point (prd1) UCAP Level, MW
Point (prd2) UCAP Level, MW
Point (c) UCAP Level, MW
Pre-Auction Credit Rate, $/MW | 59438.77 | 78409.02 | 98870.92 | 58354.1 | 109015.73 | 109015.73 | 76969.65 | 73198.9 | 56431.73 | 56431.73 | 105280.62 | 51042.48 | 88288.67 | 50453.12 | 54752.26 | 31221.31 | 108061.65
Participant-Funded ICTRs Awarded*
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 100% | 85.8% | 66.6% | NA | NA | NA | NA | NA | NA | NA | 23% | NA | NA | NA | 91.2% | NA
* - Participant Funded ICTRs will be updated on final Planning Parameters posting after the completion of the 28/29 BRA
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO (Capacity Emergency Transfer Objective) | CETL (Capacity Emergency Transfer Limit) | CETL to CETO Ratio % | 2025 Zonal W/N Coincident Peak Loads | LA Adder** | Preliminary Zonal Peak Load Forecast minus LA Adder | Base Zonal FRR Scaling Factor | Preliminary Zonal Peak Load Forecast | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast minus FRR Load | LDA/Zone
RTO | NA | NA | NA | 153870 | 16252 | 149701.5 | NA | 165953.5 | 0 | 165953.5 | RTO
AE | 2221 | >2,554.2 | >115% | 2315 | 0 | 2320 | 1.0022 | 2320 | 0 | 2320 | AE
AEP | 3833 | >4,408.0 | >115% | 22985 | 4748 | 22249 | 0.96798 | 26997 | 0 | 26997 | AEP
APS | 1601 | >1,841.2 | >115% | 8600 | 319 | 8513 | 0.98988 | 8832 | 0 | 8832 | APS
ATSI | 3910 | >11803 | >115% | 12390 | 299 | 12112 | 0.97756 | 12411 | 0 | 12411 | ATSI
ATSI-CLEVELAND | 3534 | 5430 | 153.7% | NA | 0 | 4046 | NA | 4046 | 0 | 4046 | ATSI-CLEVELAND
BGE | 4568 | 5658 | 123.9% | 6320 | 43 | 6117 | 0.96788 | 6160 | 0 | 6160 | BGE
COMED | 1267 | 1586 | 125.2% | 19090 | 1663 | 18478 | 0.96794 | 20141 | 0 | 20141 | COMED
DAYTON | 2785 | 4432 | 159.1% | 3150 | 277 | 3134 | 0.99492 | 3411 | 0 | 3411 | DAYTON
DEOK | 2800 | 5934 | 211.9% | 5070 | 0 | 5087 | 1.0034 | 5087 | 0 | 5087 | DEOK
DLCO | 1828 | >2,102.2 | >115% | 2610 | 0 | 2586 | 0.9908 | 2586 | 0 | 2586 | DLCO
DOM | 7758 | 5992 | 77.24% | 22700 | 6956 | 21067 | 0.92806 | 28023 | 0 | 28023 | DOM
DPL | 1476 | >1,697.4 | >115% | 3770 | 0 | 3748 | 0.99416 | 3748 | 0 | 3748 | DPL
DPL SOUTH | 1654 | 2005 | 121.2% | NA | 0 | 2331.3 | NA | 2331.3 | 0 | 2331.3 | DPL SOUTH
EKPC | 959 | >1,102.9 | >115% | 2010 | 0 | 2421.5 | 1.2047 | 2421.5 | 0 | 2421.5 | EKPC
JCPL | 3628 | 5312 | 146.4% | 5760 | 0 | 5674 | 0.98507 | 5674 | 0 | 5674 | JCPL
METED | 1481 | >1,703.2 | >115% | 2940 | 0 | 2916 | 0.99184 | 2916 | 0 | 2916 | METED
OVEC | NA | NA | NA | 60 | 0 | 60 | 1 | 60 | 0 | 60 | OVEC
PECO | 3016 | >3,468.4 | >115% | 8120 | 281 | 7984 | 0.98325 | 8265 | 0 | 8265 | PECO
PENLC | 232 | >266.8 | >115% | 2770 | 0 | 2664 | 0.96173 | 2664 | 0 | 2664 | PENLC
PEPCO | 3888 | 5770 | 148.4% | 5830 | 0 | 5758 | 0.98765 | 5758 | 0 | 5758 | PEPCO
PL (incl. UGI) | 1187 | 5312 | 447.5% | 7220 | 1274 | 7074 | 0.97978 | 8348 | 0 | 8348 | PL (incl. UGI)
PS | 6481 | 8873 | 136.9% | 9770 | 392 | 9363 | 0.95834 | 9755 | 0 | 9755 | PS
PS NORTH | 2712 | 4656 | 171.7% | NA | 0 | 4721.4 | NA | 4721.4 | 0 | 4721.4 | PS NORTH
RECO | NA | NA | NA | 390 | 0 | 376 | 0.9641 | 376 | 0 | 376 | RECO
EMAAC | 5903 | 6904 | 117% |  |  |  |  | 30138 | 0 |  | EMAAC
SWMAAC | 6131 | 5862 | 95.61% |  |  |  |  | 11918 | 0 |  | SWMAAC
Western MAAC | -6515 | * | * |  |  |  |  | 13928 | 0 |  | Western MAAC
MAAC | -187 | 1318 | * |  |  |  |  | 55984 | 0 |  | MAAC
Western PJM | 6197 | *** | >115%*** |  |  |  |  | 81946.5 | 0 |  | Western PJM
* LDA has adequate internal resources to meet the reliability criterion.
** LA Adder represents Load Adjustments in auction DY for each zone. See M19 Attachment B.
*** Analysis assumes sufficient resources outside the LDA under study
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation |  | Limiting Facility
MAAC | Discreet Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
EMAAC | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Elroy - Hosensack 500 kV for the loss of Alburtis - Branchburg 500 kV
SWMAAC | Discrete Voltage |  | Voltage collapse for the loss of Brighton - Conastone 500 kV line (5011)
PS | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Laurel Ave - Livingston 230 kV for the loss of Roseland - West Orange 230 kV Roseland _Wilpipe 230 kV for the loss of Rosland - Cedar Grove 230 kV
PSNORTH | Discrete Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Laurel Ave - Livingston 230 kV for the loss of Roseland - West Orange 230 kV Roseland _Wilpipe 230 kV for the loss of Rosland - Cedar Grove 230 k
DPLSOUTH | Discrete Thermal |  | Loudoun - Morrisville 500 kV line for the loss of Brister - Ox 500 kV line Cool Springs - Miford 230 kV for the loss of Milford - Indian River 230 kV line
PEPCO | Mean/Discrete Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
ATSI | Mean Thermal |  | No limiting facility found
ATSI-CLEVELAND | Mean/Discrete Voltage |  | Low voltage at Lake Ave, Avon and Beaver 345 kV substations for the loss of Beaver - AC2-103 Tap (to Davis -Besse) 345 kV line
COMED | Discrete Thermal |  | Goodings Grove - Lockport 345 kV line for the loss of Lockport - Kendall County Ec 345kv
BGE | Discrete Voltage |  | Voltage collapse for the loss of Brighton - Conastone 500 kV line (5011)
PL | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
DAYTON | Mean/Discrete Thermal |  | Knollwood - Overlook 138 kV for the loss of Greene - Overlook - Monument 138 kV S.W. Lima - West Moulton 138 kV for the loss of Gristmill - S.W. Lima 345 kV
DEOK | Mean/Discrete Thermal |  | Pierce 345/138 kV transformer #18 for the loss of Pierce - Foster 345 kV line Sporn - Kyger Creek 345 kV line for the loss of Hanging /Rock - Don Marquis 765 kV line and Marquis 765/345 kV transformer #1
DOM | Mean Thermal |  | Doubs - Goose Creek 500 kV for the loss of Meadow Brook - Loudoun 500 kV Twin Creek - Edwards Ferry 230 kV for the loss of Doubs - Goose Creek 500 kV
JCPL | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Cookstown - Lumberton 230 kV for the loss of Larrabee - Smithburg 230 kV Middlesex - Lake Nelson (I) 230 kV for the loss of Larrabee - Smithburg 230 kV
3/20/2026 - Initial posting - please note that resources with Reliability Must Run requirements are included in the Planning Parameters modeling.

## Net CONE
RPM CONE and E&AS Values for 2028/2029 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / Pool-Wide Average Accredited UCAP Factor
Reference Resource Accredited UCAP Factor | [6 empty] | 79%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC, OVEC
CONE Area 4: MetEd, Penelec, PPL
CONE Area 5: ComEd
Zone/LDA | 2028/2029 BRA CONE: Levelized Revenue Requirement, $/MW-Year * | Escalation | 2028/2029 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Forward Net E&AS Revenue Offset, $/MW-Year, ICAP | Forward Net E&AS Revenue Offset, $/MW-Year, UCAP | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | LDA Modeled with VRR Curve
CONE Area 1 | 218000 | 1 | 218000 | 756.03
AE |  |  |  | 756.03 | 49275 | 62373.4177 | 462.2603 | 585.14
DPL |  |  |  | 756.03 | 96389.2 | 122011.6456 | 333.1803 | 421.75 | DPL SOUTH
JCPL |  |  |  | 756.03 | 47263.85 | 59827.6582 | 467.7703 | 592.11 | JCPL
PE |  |  |  | 756.03 | 76368.95 | 96669.557 | 388.0303 | 491.18
PSEG |  |  |  | 756.03 | 45756.4 | 57919.4937 | 471.9003 | 597.34 | PS, PSEG NORTH
RECO |  |  |  | 756.03 | 53932.4 | 68268.8608 | 449.5003 | 568.99
EMAAC |  |  |  | 756.03 | 61785.1925 | 78209.1044 | 427.9858 | 541.75 | EMAAC
CONE Area 2 | 222000 | 1 | 222000 | 769.9
BGE |  |  |  | 769.9 | 141353.55 | 178928.5443 | 220.9492 | 279.68 | BGE
PEPCO |  |  |  | 769.9 | 106346.4 | 134615.6962 | 316.8592 | 401.09 | PEPCO
SWMAAC |  |  |  | 769.9 | 129801.1905 | 164305.3044 | 252.5995 | 319.75 | SWMAAC
CONE Area 4 | 216000 | 1 | 216000 | 749.09
METED |  |  |  | 749.09 | 89414.05 | 113182.3418 | 346.8108 | 439
PENELEC |  |  |  | 749.09 | 136396.85 | 172654.2405 | 218.0908 | 276.06
PPL |  |  |  | 749.09 | 76504 | 96840.5063 | 382.1808 | 483.77 | PPL
MAAC |  |  |  | 756.66 | 94296.655 | 119362.8544 | 333.4338 | 422.07 | MAAC
CONE Area 3 | 215000 | 1 | 215000 | 745.62
AEP |  |  |  | 745.62 | 131980.35 | 167063.7342 | 227.4511 | 287.91
APS |  |  |  | 745.62 | 144810.1 | 183303.9241 | 192.3011 | 243.42
ATSI |  |  |  | 745.62 | 125837.4 | 159287.8481 | 244.2811 | 309.22 | ATSI, ATSI CLEVELAND
DAYTON |  |  |  | 745.62 | 135283.6 | 171245.0633 | 218.4011 | 276.46 | DAYTON
DEOK |  |  |  | 745.62 | 128490.95 | 162646.7722 | 237.0111 | 300.01 | DEOK
DLCO |  |  |  | 745.62 | 104003.1 | 131649.4937 | 304.1011 | 384.94
DOM |  |  |  | 745.62 | 165669.85 | 209708.6709 | 135.1511 | 171.08 | DOM
EKPC |  |  |  | 745.62 | 142174.8 | 179968.1013 | 199.5211 | 252.56
OVEC |  |  |  | 745.62 | 120490.15 | 152519.1772 | 258.9311 | 327.76
CONE Area 5 | 248000 | NA | 248000 | 860.07
COMED |  |  |  | 860.07 | 81657.8 | 103364.3038 | 455.7321 | 576.88 | COMED
RTO | 223800 |  | 223800 | 776.14 | 129886.71 | 164413.557 | 257.2967 | 325.69 | RTO
CONE Area 5 29/30, 30/31, and 30/32 includes asset life factor of 1.025, 1.054, and 1.088 respectively.
* The 2028/2029 BRA CONE values are based on PJM’s filing (Docket No. ER26-455) which was FERC approved on January 21, 2026.