## Planning Parameters
2029/2030 RPM Base Residual Auction Planning Parameters |  |  | 2026-09-01
| RTO | Notes:
Installed Reserve Margin (IRM) | 20.4% | endorsed at the August 19, 2026 MRC meeting. See:https://www.pjm.com/-/media/DotCom/committees-groups/committees/mc/2026/20260819/20260819-item-05---2029-2030-bra-irm-fpr---presentation.pdf
Pool-Wide Accredited UCAP Factor | 76.68% | endorsed at the August 19, 2026 MRC meeting.
Reference Resource AUCAP Factor | 76%
Forecast Pool Requirement (FPR) | 0.9232 | endorsed at the August 19, 2026 MRC meeting.
Preliminary Forecast Peak Load | 171915.5 | 2026 Load Report with adjustments for load served outside PJM.
Price Cap ($/MW-ICAP) | 256.75 | Established in ER26-1556
Price Floor ($/MW-ICAP) | 138.25 | Established in ER26-1556
Locational Deliverability Area
| RTO | PJM WEST | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK | DOM | JCPL
CETO | NA | 8306 | -1524 | 5666 | 6132 | 6464 | 2668 | 1622 | 3869 | 3837 | 3552 | 696 | 4571 | 1767 | 2797 | 2809 | 8087 | 3390
CETL | NA | 8718 | 1107 | 7347 | 8010 | 9151 | 4954 | 1947 | 5441 | 11148 | 5276 | 500 | 7247 | 4967 | 4797 | 5584 | 5717 | 4807
Reliability Requirement | 158712.4 | 81275.6 | 53743.3 | 30741.7 | 13160.5 | 10815.3 | 5201.8 | 2638.7 | 6344.2 | 12379.7 | 5217.2 | 22663 | 6963.6 | 10691.3 | 3808.3 | 5509.5 | 30742.5 | 6049.7
Total Peak Load of FRR Entities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 158712.4 | 81275.6 | 53743.3 | 30741.7 | 13160.5 | 10815.3 | 5201.8 | 2638.7 | 6344.2 | 12379.7 | 5217.2 | 22663 | 6963.6 | 10691.3 | 3808.3 | 5509.5 | 30742.5 | 6049.7
Gross CONE, $/MW-Day (UCAP Price) | 840.34 | 817.3 | 809.97 | 809.8 | 821.28 | 809.8 | 809.8 | 809.8 | 821.28 | 798.26 | 798.26 | 969.59 | 821.28 | 802.78 | 798.26 | 798.26 | 798.26 | 809.8
E&AS Value, $/MW-Day (UCAP Price) | 495.8868 | 511.0058 | 343.1842 | 228.5645 | 601.4728 | 166.3026 | 166.3026 | 346.6579 | 490.5789 | 490.8026 | 490.8026 | 297.1579 | 656.0921 | 285.1974 | 531.5132 | 519.4605 | 764.6184 | 169.2632
Variable Resource Requirement Curve*:
Point (a) UCAP Price, $/MW-Day | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83 | 337.83
Point (b) UCAP Price, $/MW-Day | 297.24 | 278.32 | 337.04 | 181.91 | 246.69 | 181.91 | 181.91 | 335.64 | 288.27 | 274.95 | 274.95 | 181.91 | 226.2 | 181.91 | 259.68 | 264.2 | 172.27 | 181.91
Point (c) UCAP Price, $/MW-Day | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91 | 181.91
Point (d) UCAP Price, $/MW-Day | 181.91 | 181.91 | 181.91 |  | 181.91 |  |  | 181.91 | 181.91 | 181.91 | 181.91 |  | 181.91 |  | 181.91 | 181.91 | 181.91
Point (a) UCAP Level, MW | 160551.3 | 82060.2 | 54546.3 | 31356.1 | 13236.3 | 11056.5 | 5317.8 | 2677.9 | 6412.1 | 12494.6 | 5265.7 | 23250.4 | 6982.2 | 10874.5 | 3836.7 | 5553.7 | 30465 | 6184
Point (b) UCAP Level, MW | 161093.1 | 82494.7 | 54549.4 | 31923.8 | 13357.9 | 11244.7 | 5408.3 | 2678.3 | 6439.4 | 12565.4 | 5295.5 | 23606.9 | 7068.1 | 11086 | 3865.4 | 5592.1 | 31203.6 | 6289.5
Point (c) UCAP Level, MW | 163864.2 | 83761.6 | 55662.6 | 32586.2 | 13513.4 | 11464.2 | 5513.9 | 2732.7 | 6544.7 | 12753.9 | 5374.9 | 24022.8 | 7129.4 | 11332.8 | 3916.7 | 5669.3 | 31126.2 | 6412.7
Point (d) UCAP Level, MW | 168235.1 | 86152.1 | 56967.9 |  | 13950.1 |  |  | 2797 | 6724.9 | 13122.5 | 5530.2 |  | 7381.4 |  | 4036.8 | 5840.1 | 32587.1
Nominated PRD Value, MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day
Point (b1) UCAP Price, $/MW-Day
Point (prd1) UCAP Price, $/MW-Day
Point (b2) UCAP Price, $/MW-Day
Point (c) UCAP Price, $/MW-Day
Point (d) UCAP Price, $/MW-Day
Point (a1) UCAP Level, MW
Point (b1) UCAP Level, MW
Point (prd1) UCAP Level, MW
Point (b2) UCAP Level, MW
Point (c) UCAP Level, MW
Point (d) UCAP Level, MW
Pre-Auction Credit Rate, $/MW | 62862.7 | 55898.69 | 85188.41 | 106075.48 | 40114.82 | 117438.27 | 117438.27 | 84523.43 | 60352.94 | 56110.97 | 56110.97 | 122718.86 | 30146.79 | 94458.83 | 48681.3 | 50880.9 | 7300 | 116897.97
Participant-Funded ICTRs Awarded**
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 91.9% | 99.9% | 82.9% | 46.6% | NA | NA | 32.2% | NA | NA | NA | >100% | NA | NA | NA | NA | 92.4% | NA
* - The points on the VRR Curves for the RTO and LDAs are subject to adjustment pending FERC acceptance of PJM’s IRAS filing in Docket No. ER26-3515. Updated VRR Curves would be posted 30 days prior to the conduct of the 29/30 BRA in accordance with PJM’s IRAS proposal.
** - Participant Funded ICTRs will be updated on final Planning Parameters posting after the completion of the 29/30 BRA
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone*** | CETO (Capacity Emergency Transfer Objective) | CETL (Capacity Emergency Transfer Limit) | CETL to CETO Ratio % | 2024 Zonal W/N Coincident Peak Loads | LA Adder** | Preliminary Zonal Peak Load Forecast minus LA Adder | Base Zonal FRR Scaling Factor | Preliminary Zonal Peak Load Forecast | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast minus FRR Load | LDA/Zone
RTO | NA | NA | NA | 153870 | 22300 | 149615.5 | NA | 171915.5 | 0 | 171915.5 | RTO
AE | 2207 | >2,538.1 | >115% | 2315 | 0 | 2312 | 0.9987 | 2312 | 0 | 2312 | AE
AEP | 5429 | >6,243.4 | >115% | 22985 | 6311 | 22322 | 0.97116 | 28633 | 0 | 28633 | AEP
APS | 1650 | >1,897.5 | >115% | 8600 | 590 | 8529 | 0.99174 | 9119 | 0 | 9119 | APS
ATSI | 3837 | 11148 | 290.5% | 12390 | 431 | 12098 | 0.97643 | 12529 | 0 | 12529 | ATSI
ATSI-CLEVELAND | 3552 | 5276 | 148.5% | NA | 0 | 4084.5 | NA | 4084.5 | 0 | 4084.5 | ATSI-CLEVELAND
BGE | 4571 | 7247 | 158.5% | 6320 | 110 | 6089 | 0.96345 | 6199 | 0 | 6199 | BGE
COMED | 696 | 500 | 71.84% | 19090 | 3128 | 18355 | 0.9615 | 21483 | 0 | 21483 | COMED
DAYTON | 2797 | 4797 | 171.5% | 3150 | 411 | 3128 | 0.99302 | 3539 | 0 | 3539 | DAYTON
DEOK | 2809 | 5584 | 198.8% | 5070 | 0 | 5108 | 1.0075 | 5108 | 0 | 5108 | DEOK
DLCO | 1830 | >2,104.5 | >115% | 2610 | 0 | 2586 | 0.9908 | 2586 | 0 | 2586 | DLCO
DOM | 8087 | 5717 | 70.69% | 22700 | 8213 | 21120 | 0.9304 | 29333 | 0 | 29333 | DOM
DPL | 1444 | >1,660.6 | >115% | 3770 | 0 | 3739 | 0.99178 | 3739 | 0 | 3739 | DPL
DPL SOUTH | 1622 | 1947 | 120% | NA | 0 | 2325.7 | NA | 2325.7 | 0 | 2325.7 | DPL SOUTH
EKPC | 939 | >1,079.9 | >115% | 2010 | 0 | 2428.5 | 1.2082 | 2428.5 | 0 | 2428.5 | EKPC
JCPL | 3390 | 4807 | 141.8% | 5760 | 1 | 5657 | 0.98212 | 5658 | 0 | 5658 | JCPL
METED | 1550 | >1,782.5 | >115% | 2940 | 10 | 2930 | 0.9966 | 2940 | 0 | 2940 | METED
OVEC | NA | NA | NA | 60 | 0 | 60 | 1 | 60 | 0 | 60 | OVEC
PECO | 3167 | >3,642.1 | >115% | 8120 | 517 | 7949 | 0.97894 | 8466 | 0 | 8466 | PECO
PENLC | 292 | >335.8 | >115% | 2770 | 0 | 2657 | 0.95921 | 2657 | 0 | 2657 | PENLC
PEPCO | 3869 | 5441 | 140.6% | 5830 | 0 | 5765 | 0.98885 | 5765 | 0 | 5765 | PEPCO
PL (incl. UGI) | 1767 | 4967 | 281.1% | 7220 | 1876 | 7081 | 0.98075 | 8957 | 0 | 8957 | PL (incl. UGI)
PS | 6464 | 9151 | 141.6% | 9770 | 702 | 9330 | 0.95496 | 10032 | 0 | 10032 | PS
PS NORTH | 2668 | 4954 | 185.7% | NA | 0 | 4855.5 | NA | 4855.5 | 0 | 4855.5 | PS NORTH
RECO | NA | NA | NA | 390 | 0 | 372 | 0.95385 | 372 | 0 | 372 | RECO
EMAAC | 5666 | 7347 | 129.7% |  |  |  |  | 30579 | 0 |  | EMAAC
SWMAAC | 6132 | 8010 | 130.6% |  |  |  |  | 11964 | 0 |  | SWMAAC
Western MAAC | -7207 | * | * |  |  |  |  | 14554 | 0 |  | Western MAAC
MAAC | -1524 | 1107 | * |  |  |  |  | 57097 | 0 |  | MAAC
PJM WEST | 8306 | 8718 | 105% |  |  |  |  | 85485.5 | 0 |  | PJM WEST
* LDA has adequate internal resources to meet the reliability criterion.
** LA Adder represents Load Adjustments in auction DY for each zone. See M19 Attachment B.
*** Analysis assumes sufficient resources outside the LDA under study for AEP and PJM WEST
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation |  | Limiting Facility
PJM WEST | Mean Thermal |  | Keystone - Cabot 500 kV for the loss of South Bend - Yukon 500 kV Bramah - Gracetone 500 kV for the loss of Peach Bottom - Graceton 500 kV
MAAC | Discreet Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
EMAAC | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Meadow Brook - Loudoun 500 kV line Peachbottom - Cooper 500 kV for the loss of Keeney - RockSpring 500 kV line
SWMAAC | Discrete Voltage |  | Voltage drop on Rice 500 kV bus for the loss of Rice - Hunterstown 500 kV
PS | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Meadow Brook - Loudoun 500 kV line Laurel Ave - Livingston 230 kV for the loss of Roseland - West Orange 230 kV Roseland _Wilpipe 230 kV for the loss of Rosland - Cedar Grove 230 kV
PSNORTH | Discrete Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Meadow Brook - Loudoun 500 kV line Laurel Ave - Livingston 230 kV for the loss of Roseland - West Orange 230 kV Roseland _Wilpipe 230 kV for the loss of Rosland - Cedar Grove 230 kV
DPLSOUTH | Discrete Thermal |  | Milford to Bennett 230 kV for the loss of Milford to Indian River 230 kV line
PEPCO | Mean/Discrete Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Meadow Brook - Loudoun 500 kV line Brandon Shore- Solley ckt 42 230kv line for the loss of West.CHAPEL - Brandon Shore ckt 43 230 kv
ATSI | Mean Thermal |  | No limiting facility found
ATSI-CLEVELAND | Mean/Discrete Voltage |  | Bentley to Crestwood Tap 138 kV line for the loss of single 138 kV bus Crestwood TP1
COMED | Discrete Thermal |  | Goodings Grove - Lockport 345 kv line for the loss of Lockport - Kendall 345 kv line Electric Junction- ESS W407- Lombard 345kv line in base case
BGE | Discrete Voltage |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
PL | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Susquahanna 500/230 kV transformer #21 for the loss of the Shickshinny - Lackawanna 500 kV
DAYTON | Mean/Discrete Thermal |  | S.W. Lima - West Moulton 138 kV for the loss of Gristmill - S.W. Lima 345 kV
DEOK | Mean/Discrete Thermal |  | Pierce to Foster 345 kV line for the loss of Tanner Creek to Miami Fort 345 kV line
DOM | Mean Thermal |  | Doubs - Goose Creek 500 kV for the loss of Meadow Brook - Loudoun 500 kV Twin Creek - Edwards Ferry 230 kV for the loss of Doubs - Goose Creek 500 kV
JCPL | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Meadow Brook - Loudoun 500 kV line Smithburg 500/230 kV transformer #4 for the loss of East Windsor - Smithburg 230 kV (E2005)
Notes:
8/31/2026 - Initial posting - please note that resources with Reliability Must Run requirements are included in the Planning Parameters modeling.
9/1/2026 - PJM WEST CONE calculation updated to exclude DOM LDA

## Net CONE
RPM CONE and E&AS Values for 2029/2030 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / Pool-Wide Average Accredited UCAP Factor
Reference Resource Accredited UCAP Factor | [6 empty] | 76%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC, OVEC
CONE Area 4: MetEd, Penelec, PPL
CONE Area 5: ComEd
Zone/LDA | 2028/2029 BRA CONE: Levelized Revenue Requirement, $/MW-Year * | Escalation | 2029/2030 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Forward Net E&AS Revenue Offset, $/MW-Year, ICAP | Forward Net E&AS Revenue Offset, $/MW-Year, UCAP | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | LDA Modeled with VRR Curve
CONE Area 1 | 218000 | 1.0304 | 224637.882 | 809.8
AE |  |  |  | 809.8 | 48818.75 | 64235.1974 | 481.6963 | 633.81
DPL |  |  |  | 809.8 | 96162.9 | 126530.1316 | 351.9863 | 463.14 | DPL SOUTH
JCPL |  |  |  | 809.8 | 46953.6 | 61781.0526 | 486.8063 | 640.53 | JCPL
PE |  |  |  | 809.8 | 79237.85 | 104260.3289 | 398.3563 | 524.15
PSEG |  |  |  | 809.8 | 46132.35 | 60700.4605 | 489.0563 | 643.5 | PS, PSEG NORTH
RECO |  |  |  | 809.8 | 54877.75 | 72207.5658 | 465.0963 | 611.97
EMAAC |  |  |  | 809.8 | 63403.785 | 83426.0329 | 441.7373 | 581.23 | EMAAC
CONE Area 2 | 222000 | 1.0262 | 227824.17 | 821.28
BGE |  |  |  | 821.28 | 181999.95 | 239473.6184 | 125.5458 | 165.19 | BGE
PEPCO |  |  |  | 821.28 | 136086.6 | 179061.3158 | 251.3358 | 330.71 | PEPCO
SWMAAC |  |  |  | 821.28 | 166848.5445 | 219537.5586 | 167.0565 | 219.81 | SWMAAC
CONE Area 4 | 216000 | 1.031 | 222691.464 | 802.78
METED |  |  |  | 802.78 | 92950.9 | 122303.8158 | 355.4536 | 467.7
PENELEC |  |  |  | 802.78 | 139674.55 | 183782.3026 | 227.4436 | 299.27
PPL |  |  |  | 802.78 | 79113.75 | 104097.0395 | 393.3636 | 517.58 | PPL
MAAC |  |  |  | 809.97 | 95199.3 | 125262.2368 | 354.7572 | 466.79 | MAAC
CONE Area 3 | 215000 | 1.0299 | 221437.315 | 798.26
AEP |  |  |  | 798.26 | 140433.75 | 184781.25 | 221.9276 | 292.01
APS |  |  |  | 798.26 | 158176.4 | 208126.8421 | 173.3176 | 228.05
ATSI |  |  |  | 798.26 | 136148.65 | 179142.9605 | 233.6676 | 307.46 | ATSI, ATSI CLEVELAND
DAYTON |  |  |  | 798.26 | 147441.75 | 194002.3026 | 202.7276 | 266.75 | DAYTON
DEOK |  |  |  | 798.26 | 144098.35 | 189603.0921 | 211.8876 | 278.8 | DEOK
DLCO |  |  |  | 798.26 | 111040.3 | 146105.6579 | 302.4576 | 397.97
DOM |  |  |  | 798.26 | 212105.15 | 279085.7237 | 25.5676 | 33.64 | DOM
EKPC |  |  |  | 798.26 | 134090.05 | 176434.2763 | 239.3076 | 314.88
OVEC |  |  |  | 798.26 | 128943.55 | 169662.5658 | 253.4076 | 333.43
CONE Area 5 | 248000 | 1.0581 | 268963.631 | 969.59
COMED |  |  |  | 969.59 | 82431.6 | 108462.6316 | 511.0467 | 672.43 | COMED
PJM WEST |  |  |  | 817.3 | 141753.006 | 186517.1132 | 232.7836 | 306.29 | PJM WEST
RTO | 223800 |  | 233110.8924 | 840.34 | 137559.01 | 180998.6974 | 261.786 | 344.46 | RTO
CONE Area 5 29/30, 30/31, and 30/32 includes asset life factor of 1.025, 1.054, and 1.088 respectively.
* The 2028/2029 BRA CONE values are based on PJM’s filing (Docket No. ER26-455) which was FERC approved on January 21, 2026.

## Key Transmission Upgrades
New Key Transmission Upgrades included for 2029/2030 model
UpgradeId | Description | Transmission Owner
b3919.1 | Reconfigure Maliszewski 765 kV station from 2 breakers to a 6 breaker ring bus. Install a new 765/345 kV transformer. Establish new 345 kV breaker yard with 3 string breaker and a half to include a line exit to Hyatt and a line exit to Corridor. Loop the existing Hyatt - West Millersport 345 kV line into the new established 345 kV yard at the Maliszewski station. | AEP
b3919.2 | Establish a 0.18 mile double circuit 345 kV line extension to cut the existing Hyatt – West Millersport 345 kV line in and out of Corridor station. | AEP
b3919.3 | Install three new 345 kV breakers at Corridor station in order to accommodate the cut in of the Hyatt- West Millersport 345 kV line. | AEP
b3919.6 | Rebuild 4.4-miles of the existing Marysville - Hyatt 345 kV double circuit line where it extends into Marysville station. | AEP
b3780.13 | Batavia Road to Riverside 230 kV reconductor New rating: 1941 MVA SN / 2181 MVA SE | BGE
b3780.4 | Peach Bottom to Graceton (BGE) – transmission work New rating: 4503 MVA SN/ 5022 MVA SE | BGE
b3780.5 | Build Solley Road substation + Statcom. New STATCOM rating: 350 MVAR Add 4x 230 kV breakers bays. | BGE
b3780.6 | Build Granite substation + Statcom. New STATCOM rating: 350 MVAR Add 4x 230 kV breaker bays. | BGE
b3780.8 | Graceton 500 kV expansion Add 3x 500 kV breaker bays, 2x 500/230 kV auto transformer, 1x 500 kV caps. New transformer rating: 1559 MVA SN / 1940 MVA SE New capacitor rating: 250 MVAR | BGE
b3780.9 | Graceton to Batavia Road 230 kV double circuit pole line New rating: 1331 MVA SN/ 1594 MVA SE | BGE
b3737.50 | Bring the Peach Bottom-Delta York 500 ‘5034’ kV line “in and out” of Bramah substation by partially demolishing the 5034 line to construct a new Peach Bottom-Bramah-Delta York 500 kV line, with 0.87 miles of cut-in and cut-out lines. | PECO
b3780.1 | Peach Bottom North upgrades – substation work Add 3x 500 kV breakers to form a breaker-and-a-half bay. | PECO
b3780.14 | Reconfigure Cooper transmission feeds by establishing new Cooper-North Delta 230 kV line and rerouting existing transmissions lines by Cooper. | PECO
b3780.15 | Cut in 5012 Peach Bottom-Conastone 500 kV line into North Delta 500/230 kV substation by rebuilding 5012 between new terminal at Peach Bottom South and North Delta on single circuit structures and terminating at North Delta. | PECO
b3780.2 | Peach Bottom to Graceton (PECO) – New 500 kV transmission line New rating: 4503 MVA SN/ 5022 MVA SE | PECO
b3800.35 | Rebuild 5012 (existing Peach Bottom-Conastone) (new North Delta-Graceton PECO) 500 kV line on single circuit structures within existing ROW and cut into North Delta 500 kV and Gracetone 500 kV stations. | PECO
b3780.11 | Brighton Statcom and capacitor New STATCOM rating: 350 MVAR New capacitor rating: 350 MVAR | PEPCO
b2743.1 | Tap the Vinco - Hunterstown 500 kV line & create new Rice 500 kV & 230 kV stations. Install two 500/230 kV transformers, operated together. | Transource
b3737.47 | Build New North Delta 500 kV substation (four bay breaker and half configuration ) - the substation will include 12 - 500kV breakers and one 500/230 kV transformer, will allow the termination of six - 500 kV lines | Transource
b3780.16 | Terminate new Cooper-North Delta 230 kV line (Transource Scope) at North Delta 230 kV. | Transource
b3780.17 | Cut in 5012 Peach Bottom-Conastone 500 kV line into North Delta 500/230 kV substation by rebuilding 5012 between new terminal at Peach Bottom South and North Delta on single circuit structures and terminating at North Delta (Transource Scope). | Transource
b3800.49 | North Delta 500 kV termination for the Calpine generator (Calpine/Transource work). | Transource
Key Transmission Upgrades included for 2028/2029 model but not included for 2029/2030 model
Upgrade ID | Description | Transmission Owner
b3737.30 | Add third Smithburg 500/230 kV transformer. | JCPL