MSRS Report Format Documentation

Reactive Services Credits

Version 9

Revision History

| date | Revision | Description |
| --- | --- | --- |
| 10/01/2007 | 1 | Initial Distribution |
| 5/5/2008 | 2 | Added new Offset for Reg High < LMP Desired column |
| 5/30/2008 | 3 | Updated calculation for MWh Reduced |
| 8/1/2008 | 4 | Updated XML Column Name for Offer at RT MWh column from OFFER_DA_MWH to OFFER_RT_MWH |
| 1/22/2016 | 5 | Updated Data Type of columns Offer at DA MWh ($/MWh) and Offer at RT MWh ($/MWh) from NUMBER(22,2) to NUMBER(22,6); Updated Summary of Changes and Special Logic to reflect this change in precision. |
| 4/1/2018 | 6 | Updated GMT/EPT hour ending with GMT/EPT interval ending, Updated references to MWh to MW where applicable, added section for 5 minute settlements to supporting calculations |
| 10/27/2023 | 7 | Added column Secondary Reserve Adjustment MW; Updated Summary of Changes and Special Logic to include details on Secondary Reserve Adjustment MW Updated Supporting Calculation for MW Reduced to include Secondary Reserve Adjustment MW |
| 2/13/2024 | 8 | Additional details added to Supported Billing Line Items section regarding counterparty data visibility |
| 11/20/2025 | 9 | Updated Supporting Calculation for MW Reduced to floor RT Generation at 0 for Hybrid Resources and ESR model participants, effective 3/31/2025. |

# Report

MSRS Report Name: Reactive Services Credits

Report short name for User Interface: Reactive Services Credits

Download File Name Abbreviation: RSvcCr

Data Granularity:  Sub-hourly

Frequency: Updated daily

Range Displayed on Report:  Start Date through End Date

# Supported Billing Line Items

In order to support reconciliation of the transferred Billing Line Item amount, the “To” Company of a Billing Line Item Transfer may view supporting MSRS report details pertaining to the counterparty for the period spanning the approved Billing Line Item Transfer.

- Reactive Services Credit (2378)

# Report Content Summary

This report displays the customer account’s sub-hourly reactive services credit for each generation unit that they own or jointly own.  For each interval in the report, all units that have a DA Scheduled MWh or RT Generation MW value and have a Reactive Services Generator Credit or a Reactive Services Lost Opportunity Cost Credit will be displayed on the report.

The credits in this report do not reflect the customer account’s share of jointly owned units. All owners will see the full credit assigned to the unit.

# Summary of Changes and Special Logic

For each unit, for each interval, only the reactive services generator credit or the reactive services lost opportunity cost credit will appear.  Both credits can not occur for the same unit for the same hour.  Similarly, either MW Raised or MW Reduced will be populated.

Regulation MW Adjustment represents the amount the generator adjusted its output due to regulation signals.  Synchronized Reserve MW adjustment represents the total amount the resource reduced its output due to Synchronized Reserve assigned to the unit.  Secondary Reserve MW adjustment represents the total amount the resource reduced its output due to Secondary Reserve assigned to the unit.  Offset for Reg High less than LMP desired represents the amount the unit had to reduce to fall within its regulation band.  MW raised represents the amount by which the unit was asked to increase its output for Reactive Services.

Effective for trade dates 9/1/2015 forward, the data type for columns Offer at DA MWh ($/MWh) and Offer at RT MWh ($/MWh) will be NUMBER(22,6).  Prior to trade dates 9/1/2015, the data type for both columns will be NUMBER(22,2).

Effective for trade dates 10/1/2022 forward, the Sec Reserve MW Adj column will contain values on this report. Prior to trade dates 10/1/2022, this column will be null.

# Report Columns

The following columns will appear in the body of the report:

| Online and CSV Column Name | XML Column Name | Column Number | Data Type |
| --- | --- | --- | --- |
| Customer ID | CUSTOMER_ID | 4000.01 | INTEGER |
| Customer Code | CUSTOMER_CODE | 4000.02 | VARCHAR2(6) |
| EPT Interval Ending | EPT_ INTERVAL_ENDING | 4001.40 | VARCHAR2(40) mm/dd/yyyy HH24 format (Displays first interval of the day as hour 0 minute 05 and last interval of the day as hour 24 minute 00) |
| GMT Interval Ending | GMT_ INTERVAL_ENDING | 4001.41 | VARCHAR2(40) mm/dd/yyyy HH24:MM format Displays first interval of the day in relation to EPT interval as hour 04 minute 05 or hour 05 minute 05 (EDT/EST depending) and last interval of the day as hour 04 minute 00 of the next day or hour 05 minute 00 of the next day (EDT/EST depending) |
| Unit ID | UNIT_ID | 4000.63 | NUMBER(8,0) |
| Unit Name | UNIT_NAME | 4000.64 | VARCHAR2(60) |
| Unit Ownership Share | UNIT_OWNERSHIP_SHARE | 3000.80 | NUMBER |
| Schedule ID | SCHEDULE_ID | 4000.65 | NUMBER |
| DA Scheduled MW | DA_SCHEDULED_MW | 3000.32 | NUMBER(8,1) |
| Offer at DA MW ($/MWh) | OFFER_DA_MW | 3000.92 | NUMBER(22,6) |
| DA Generator LMP ($/MWh) | DA_GENERATOR_LMP | 3000.24 | NUMBER(12,6) |
| RT Generation (MW) | RT_GENERATION | 3000.33 | NUMBER(11,3) |
| Offer at RT MW ($/MWh) | OFFER_RT_MW | 3000.93 | NUMBER(22,6) |
| RT Generator LMP ($/MWh) | RT_GENERATOR_LMP | 3000.25 | NUMBER(12,6) |
| RT LMP Desired MW | RT_LMP_DESIRED_MW | 3000.34 | NUMBER(22,3) |
| Reg MW Adj | REG_MW_ADJ | 3000.94 | NUMBER(22,3) |
| Synch Reserve MW Adj | SYNCHRES_MW_ADJ | 3000.95 | NUMBER(22,3) |
| Sec Reserve MW Adj | SECRES_MW_ADJ | 3000.90 | NUMBER(22,3) |
| Offset for Reg High < LMP Desired (MW) | OFFSET_REG_HIGH_LT_LMP_DESIRED | 3000.99 | NUMBER(22,3) |
| MW Raised | MW_RAISED | 2378.15 | NUMBER(22,3) |
| MW Reduced | MW_REDUCED | 3000.96 | NUMBER(22,3) |
| Reactive Services Generator Credit ($) | REACTIVE_SVC_CR | 2378.16 | NUMBER(22,2) |
| Reactive Services Lost Opportunity Cost Credit ($) | REACTIVE_SVC_LOC_CREDIT | 2378.17 | NUMBER(22,2) |
| Version | VERSION | 4000.07 | VARCHAR2(12) |

# CSV Report Example

See Excel file titled “Reactive Services Credits CSV Format.csv”

# XML Report Example

See XML file titled “Reactive Services Credits XML Format.xml”

# Supporting Calculations

MWh Raised (2378.15) = MAX(RT Generation (3000.33) - RT LMP Desired MWh (3000.34) - Reg MWh Adj (3000.94), 0)

Reactive Services Generator Credit (2378.16) = MWh Raised (2378.15) * (Offer at RT MWh (3000.93) - RT Generator LMP (3000.25))

If the unit is a CT or Diesel unit and is scheduled for PJM Day-ahead and not called on in Real-time, then:

MWh Reduced (3000.96) = 0

Reactive Services Lost Opportunity Cost Credit (2378.17) = max ((RT Generator LMP (3000.25) - DA Generator LMP (3000.24)) * DA Scheduled MWh (3000.32), (RT Generator LMP (3000.25) - Offer at DA MWh (3000.92)) * DA Scheduled MWh (3000.32)), 0)

Else:

MWh Reduced (3000.96) = RT LMP Desired MWh(3000.34) - RT  Generation (3000.33) - Reg MWh Adj (3000.94) - Synch Reserve MWh Adj (3000.95) - Offset for Reg High < LMP Desired (3000.99)

Reactive Services Lost Opportunity Cost Credit (2378.17) = MWh Reduced (3000.96) * (max(Offer at RT MWh (3000.93) - RT Generator LMP (3000.25), 0)

Calculations for 5 Minute Settlements:

MW Raised (2378.15) = MAX((RT Generation - RT LMP Desired MW - Reg MW Adj), 0)

(2378.15) = MAX(((3000.33) - (3000.34) - (3000.94)), 0)

Reactive Services Generator Credit = [MW Raised * (Offer at RT MW - RT Generator LMP)] / 12

(2378.16) = [(2378.15) * ((3000.93) - (3000.25))] / 12

If the unit is a CT or Diesel unit and is scheduled for PJM Day-ahead and not called on in Real-time, then:

MW Reduced (3000.96) = 0

Reactive Services Lost Opportunity Cost Credit = max ((RT Generator LMP - DA Generator LMP) * DA Scheduled MW, (RT Generator LMP - Offer at DA MW) * DA Scheduled MW), 0)

(2378.17) = max (((3000.25) - (3000.24)) * (3000.32), ((3000.25) - (3000.92)) * (3000.32)), 0)

Else:

MW Reduced = RT LMP Desired MW - RT  Generation - Reg MW Adj  - Synch Reserve MW Adj - Sec Reserve MW Adj – (Offset for Reg High < LMP Desired), where RT Generation is floored at zero for Hybrid Resources and ESR Model Participants.

(3000.96) = (3000.34) - (3000.33) - (3000.94) - (3000.95) - (3000.90) - (3000.99)

Reactive Services Lost Opportunity Cost Credit = [MW Reduced * (max(Offer at RT MW - RT Generator LMP), 0)] / 12

(2378.17) = [(3000.96) * (max((3000.93) - (3000.25)), 0)] / 12