	
[image: image3]  
	MSRS Report Format Documentation



	
[image: image5.png]



	
[image: image2]


MSRS Report Format Documentation

Energy Uplift Generator Tracking Ramp Limited Desired
Version 1
Revision History

	Date
	Revision
	Description

	4/29/2026
	1
	Initial Distribution


1 Report

MSRS Report Name: Energy Uplift Generator Tracking Ramp Limited Desired
Report short name for User Interface:  Energy Uplift Generator Tracking Ramp Limited Desired
Download File Name Abbreviation:  GenTRLD
Data Granularity: Sub-Hourly
Frequency: Updated Daily
Range Displayed on Report: Start Date through End Date
2 Supported Billing Line Items

· This report does not specifically support any Billing Line Items.

3 Report Content Summary

This report displays the customer account’s energy uplift generator Tracking Ramp Limited Desired (TRLD) MW details for each generation unit that they own or jointly own.  The details in this report do not reflect the customer account’s share of jointly owned units.  All owners will see the full values associated with the unit.
4 Summary of Changes and Special Cases

The Ramp MW that appears on this report can be calculated as the Sum (Applicable Segment Ramp Rate * Applicable Segment Ramp Duration) in the 5-min interval. Refer to the Unit Tracking Ramp Details report for data to support this calculation.
Ramp MW = Sum (Ramp Rate * Ramp Duration) for the 5-min interval where Ramp Type = TRLD

Adjusted Ramp MW = Sum (Ramp Rate * Ramp Duration) for the 5-min interval where Ramp Type = Adjusted TRLD

5 Report Columns

The following columns will appear in the body of the report:

	Online and CSV Column Name
	XML Column Name
	Column Number
	Data Type

	Customer ID
	CUSTOMER_ID
	4000.01
	INTEGER

	Customer Code
	CUSTOMER_CODE
	4000.02
	VARCHAR2(6)

	Date
	DATE
	4000.04
	DATE (MM/DD/YYYY in online and CSV formats, YYYY-MM-DD in XML format)

	EPT Interval Ending
	EPT_INTERVAL_ENDING
	4001.40
	VARCHAR2(40) mm/dd/yyyy HH24:MM format (Displays first interval of the day as hour 0 minute 05 and last interval of the day as hour 24 minute 00)

	GMT Interval Ending
	GMT_INTERVAL_ENDING
	4001.41
	VARCHAR2(40)

mm/dd/yyyy HH24:MM format

Displays first interval of the day in relation to EPT interval as hour 04 minute 05 or hour 05 minute 05 (EDT/EST depending) and last interval of the day as hour 04 minute 00 of the next day or hour 05 minute 00 of the next day (EDT/EST depending)

	Unit ID
	UNIT_ID
	4000.63
	NUMBER(15,0)

	Unit Name
	UNIT_NAME
	4000.64
	VARCHAR2(75)

	RT Schedule ID
	RT_SCHED_ID
	3002.19
	NUMBER

	DA Scheduled MWh
	DA_SCHD_MWH
	3000.32
	NUMBER

	RT Generation MWh
	RT_GEN_MWH
	3000.33
	NUMBER

	Committed Min MW
	COMMITTED_MIN
	3002.17
	NUMBER

	Committed Max MW
	COMMITTED_MAX
	3002.18
	NUMBER

	RT Min MW
	RT_MIN
	3002.22
	NUMBER

	RT Max MW
	RT_MAX
	3002.23
	NUMBER

	Manual Dispatch Indicator
	MANUAL_DISPATCH_IND
	3004.30
	VARCHAR2(1)
See possible values below

	TRLD Min MW
	TRLD_MIN_MW
	3004.31
	NUMBER

	TRLD Max MW 
	TRLD_MAX_MW
	3004.32
	NUMBER

	Dispatch Signal MW
	DISPATCH_SIGNAL_MW
	3002.40
	NUMBER

	Ramp Limited Desired MW
	RAMP_LIMITED_DESIRED_MW
	3002.41
	NUMBER

	Dispatch LMP Desired MW
	DISPATCH_LMP_DESIRED_MW
	3002.42
	NUMBER

	Dispatch Run LMP ($/MWh)
	DISPATCH_RUN_LMP
	3004.33
	NUMBER

	Zonal Dispatch Rate ($/MWh)
	ZONAL_DISPATCH_RATE
	3004.34
	NUMBER

	Ramp MW
	RAMP_MW
	3004.35
	NUMBER

	Previous Power TRLD MW
	PREV_POWER_TRLD_MW
	3004.36
	NUMBER

	Power TRLD MW
	POWER_TRLD_MW
	3004.37
	NUMBER

	Energy TRLD MWh
	ENERGY_TRLD_MWH
	3004.38
	NUMBER

	Use Actual Energy TRLD Indicator
	USE_ACTUAL_ENERGY_TRLD_IND
	3004.39
	VARCHAR2(1)

See possible values below

	Regulation Assignment MW
	REG_ASSIGNMENT
	3004.40
	NUMBER

	Regulation Min MW 
	REG_MIN_MW
	3004.41
	NUMBER

	Regulation Max MW 
	REG_MAX_MW
	3004.42
	NUMBER

	Regulation Ramp Share MW
	REG_RAMP_SHARE_MW
	3004.43
	NUMBER

	Synch Reserve Assignment MW
	SR_ASSIGNMENT_MW
	3004.44
	NUMBER

	Synch Reserve Max MW

	SR_MAX_MW
	3004.45
	NUMBER

	Sec Reserve Assignment MW 

	SECR_ASSIGNMENT_MW
	3004.46
	NUMBER

	Sec Reserve Max MW 
	SECR_MAX_MW
	3004.47
	NUMBER

	Stability Limit Indicator
	STABILITY_LIMIT_IND
	3004.48
	VARCHAR2(1)

See possible values below

	Adjusted TRLD Min MW
	ADJ_TRLD_MIN
	3004.49
	NUMBER

	Adjusted TRLD Max MW
	ADJ_TRLD_MAX
	3004.50
	NUMBER

	Adjusted Ramp MW
	ADJ_RAMP_MW
	3004.51
	NUMBER

	Adjusted Previous Power TRLD MW
	ADJ_PREV_POWER_TRLD_MW
	3004.52
	NUMBER

	Adjusted Power TRLD MW
	ADJ_POWER_TRLD_MW
	3004.53
	NUMBER

	Adjusted Energy TRLD MWh
	ADJ_ENERGY_TRLD_MWH
	3004.54
	NUMBER

	Version
	VERSION
	4000.07
	VARCHAR2(12)


Possible values for Indicator rows: Y or N
6 CSV Report Example

See Excel file titled “Energy Uplift Generator TRLD CSV Format.csv”

7 XML Report Example

See XML file titled “Energy Uplift Generator TRLD XML Format.xml”

8 Supporting Calculations
“TRLD MW” is referred to as “TRLD MW” in the calculations.
TRLD Calculations:

If Zonal Dispatch Rate (3004.34) > 0 then:

· Zonal dispatch rates are sent via PJM EMS to replace RT SCED individual unit dispatch instructions when operating under PJM manual dispatch conditions. Dispatch LMP Desired MW is calculated using Zonal Dispatch Rate In lieu of Dispatch Run LMP

If Stability Limit Indicator (3004.48) = ‘Y’ then:

TRLD Max MW (3004.32) = Stability Limit Value

If Dispatch LMP Desired MW (3002.42) > Previous Power TRLD MW (3004.36) then:

Ramp MW (3004.35) > 0

Else if Dispatch LMP Desired MW (3002.42) < Previous Power TRLD MW (3004.36) then:

Ramp MW (3004.35) < 0

Else if Dispatch LMP Desired MW (3002.42) = Previous Power TRLD MW (3004.36) then:

Ramp MW (3004.35) = 0

For T0 Interval (The 5-min interval unit’s TRLD calculation begins):

If unit is called on for a time in future, then:

Previous Power TRLD MW = MAX (MIN (Dispatch LMP Desired MW, Dispatch Signal MW), RT Min MW)

(3004.36) = MAX(MIN((3002.42), (3002,40), (3002.22))

Else if unit is called on in real-time, then:

Previous Power TRLD MW  = MAX (MIN (Dispatch LMP Desired MW, Dispatch Signal MW), RT Min MW)

(3004.36) = MAX(MIN((3002.42), (3002,40), (3002.22))

Else 

Previous Power TRLD MW = 0

(3004.36) = 0

For all subsequent intervals:

Previous Power TRLD MW (3004.36) = Power TRLD MW (3004.37) from previous 5-min interval

Power TRLD MW = Previous Power TRLD MW + Ramp MW

(3004.37) = (3004.36) + (3004.35) 

If the 5-min interval has only one ramp segment,

· Energy TRLD MWh (3004.38) = ( (Average of Previous Power TRLD MW and Power TRLD MW) * Ramp Duration /5) + (Power TRLD MW) * (1 – (Ramp duration /5)))
Else if the ramp within 5-min interval spans more than one ramp segment, then,
    This calculation repeats for each segment ramp applied within the 5-min interval as below:

If ramp segment is the first segment within the 5-min interval, then:

Segment Begin TRLD MW = Previous TRLD MW

Else 

Segment Begin TRLD MW = (Segment Begin MW + Segment Ramp MW) from the previous segment
Segment End TRLD MW = Segment Begin MW + Segment Ramp MW

Energy TRLD MWh (3004.38) = (Sum (Ramp Duration * Average (Segment Begin TRLD MW + Segment End TRLD MW)) + (Power TRLD MW * (1 – (Total Ramp Duration across segments / 5)))
For Segmented Ramp MW and Ramp Duration details, refer to Unit Tracking Ramp Details Report

If Use Actual Energy TRLD Indicator = ‘Y’, then:

Power TRLD MW (3004.37) = 0

Energy TRLD MWh (3004.38) = Unit’s RT Generation MWh (3000.33)

Adjusted TRLD Calculations:

For T0 Interval (The 5-min interval unit’s TRLD calculation begins):
Adjusted Previous Power TRLD MW = Previous Power TRLD MW (3004.52)

For all subsequent intervals:

Adjusted Previous Power TRLD MW (3004.52) = Adjusted Power TRLD MW (3004.53) from previous 5-min interval

Adjusted Power TRLD MW = Adjusted Previous Power TRLD MW + Adjusted Ramp MW

(3004.53) = (3004.52) + (3004.51) 

If the 5-min interval has only one ramp segment,

· Adjusted Energy TRLD MWh (3004.54) = ( (Average of Adjusted Previous Power TRLD MW and Adjusted Power TRLD MW ) * Ramp Duration /5) + (Adjusted Power TRLD MW) * (1 – (Ramp duration /5)))
· (3004.54) = (((3004.52) + (3004.53)) / 2 * (Ramp Duration / 5)) + ((3004.53) * (1 – (Ramp Duration /5)))

Else if the ramp within 5-min interval spans more than one ramp segment, then:
    This calculation repeats for each segment ramp applied within the 5-min interval as below:

If ramp segment is the first segment within the 5-min interval, then:

Segment Adjusted Begin TRLD MW = Adjusted Previous TRLD MW

Else 

Segment Adjusted Begin TRLD MW = (Segment Adjusted Begin MW + Segment Adjusted Ramp MW) from the previous segment

Segment Adjusted End TRLD MW = Segment Adjusted Begin MW + Segment Adjusted Ramp MW

Adjusted Energy TRLD MWh (3004.548) = (Sum (Ramp Duration * Average (Segment Adjusted Begin TRLD MW + Segment Adjusted End TRLD MW)) + (Adjusted Power TRLD MW * (1 – (Total Ramp Duration across segments / 5)))

For ramp segment Adjusted Ramp MW and Ramp Duration details, refer to Unit Tracking Ramp Details Report

If Manual Dispatch Indicator (3004.30) = ‘Y’ then:


Adjusted TRLD Min MW (3004.49) = applicable override Eco Min MW by PJM Dispatch that reflects the lower limit from the manual dispatch instructions


Adjusted TRLD Max MW (3004.50) = applicable override Eco Max MW by PJM Dispatch that reflects the upper limit from the manual dispatch instructions

If Regulation Assignment MW (3004.40) > 0 then:

Adjusted TRLD Min MW = Regulation Min MW + Regulation Assignment MW 

(3004.49) = (3004.41) + (3004.40)


Adjusted TRLD Max MW = Regulation Max - Regulation Assignment MW 

(3004.50) = (3004.42) - (3004.40)

If Synch Reserve Assignment MW (3004.44) > 0 then:


Adjusted TRLD Max MW = Sync Reserve Max MW - Synch Reserve Assignment MW 


(3004.50) = (3004.45) - (3004.44)

If Sec Reserve Assignment MW (3004.46) > 0 then:


Adjusted TRLD Max MW = Sec Reserve Max MW - Sec Reserve Assignment MW 
(3004.50) = (3004.47) - (3004.46)

If Stability Limit Indicator (3004.48) = ‘Y’ then:

Adjusted TRLD Max MW (3004.50) = Stability Limit Value

If Use Actual Energy TRLD Indicator = ‘Y’, then:

Adjusted Power TRLD MW (3004.53) = 0

Adjusted Energy TRLD MWh (3004.54) = Unit’s RT Generation MWh (3000.33)
PJM ©2026














 Page 1 of 4
PJM ©2026





 Page 4 of 4


[image: image1][image: image3][image: image4.png]TSRS

ftt



