## Sheet1
ELCC Class | Effective Nameplate (MW) | Installed Capacity (MW)
Onshore Wind | 11486 | 2293
Offshore Wind | Small Sample Size | Small Sample Size
Solar Fixed Panel | 1844 | 832
Solar Tracking Panel | 11566 | 7152
Landfill Gas Intermittent | 167 | 118
Hydro Intermittent | 736 | 519
4-hr Storage, 6-hr Storage, 8-hr Storage, 10-hr Storage | 5609 | 5609
Solar-Storage Hybrid | Small Sample Size | Small Sample Size
DR | Not Applicable | 7934
Nuclear | Not Applicable | 32147
Coal | Not Applicable | 36044
Gas CC (Single and Dual Fuel) | Not Applicable | 56719
Gas CT | Not Applicable | 11122
Gas CT Dual Fuel | Not Applicable | 13117
Diesel | Not Applicable | 333
Steam | Not Applicable | 9851
Hydro with Non-Pumped Storage | 2034 | 1969
Other Thermal | Not Applicable | 3151