## Sheet1
ELCC Class | Effective Nameplate (MW) | Installed Capacity (MW)
Onshore Wind | 12981 | 3580
Offshore Wind | Small Sample Size | Small Sample Size
Fixed-Tilt Solar | 1789 | 879
Tracking Solar | 14740 | 9602
Intermittent Landfill Gas | 145 | 100
Intermittent Hydropower | 721 | 515
4-hr Storage, 6-hr Storage, 8-hr Storage, 10-hr Storage | 5654 | 5654
Solar-Storage Hybrid | Small Sample Size | Small Sample Size
Demand Resource | Not Applicable | 7864
Nuclear | Not Applicable | 32316
Coal | Not Applicable | 35629
Gas Combined Cycle (Single and Dual Fuel) | Not Applicable | 57514
Gas Combustion Turbine | Not Applicable | 10953
Gas Combustion Turbine Dual Fuel | Not Applicable | 12945
Diesel Utility | Not Applicable | 332
Steam | Not Applicable | 9983
Hydro with Non-Pumped Storage | 2056 | 1987
Other Unlimited Resource | Not Applicable | 3291