## Sheet1
ELCC Class | Effective Nameplate (MW) | Installed Capacity (MW)
Onshore Wind | 11650 | 3549
Offshore Wind | Small Sample Size | Small Sample Size
Solar Fixed Panel | 2367 | 1189
Solar Tracking Panel | 13321 | 8713
Landfill Gas Intermittent | 167 | 118
Hydro Intermittent | 736 | 519
4-hr Storage, 6-hr Storage, 8-hr Storage, 10-hr Storage | 5834 | 5834
Solar-Storage Hybrid | Small Sample Size | Small Sample Size
DR | Not Applicable | 8184
Nuclear | Not Applicable | 32144
Coal | Not Applicable | 35779
Gas CC (Single and Dual Fuel) | Not Applicable | 57664
Gas CT | Not Applicable | 11030
Gas CT Dual Fuel | Not Applicable | 13158
Diesel | Not Applicable | 329
Steam | Not Applicable | 10004
Hydro with Non-Pumped Storage | 2034 | 1969
Other Thermal | Not Applicable | 3041