## Sheet1
ELCC Class | Effective Nameplate (MW) | Installed Capacity (MW)
Onshore Wind | 13137 | 4061
Offshore Wind | Small Sample Size | Small Sample Size
Fixed-Tilt Solar | 3483 | 1916
Tracking Solar | 20691 | 13530
Intermittent Landfill Gas | 146 | 101
Intermittent Hydropower | 721 | 515
4-hr Storage, 6-hr Storage, 8-hr Storage, 10-hr Storage | 6836 | 6836
Solar-Storage Hybrid | Small Sample Size | Small Sample Size
Demand Resource | Not Applicable | 8396
Nuclear | Not Applicable | 32316
Coal | Not Applicable | 31906
Gas Combined Cycle (Single and Dual Fuel) | Not Applicable | 57719
Gas Combustion Turbine | Not Applicable | 10382
Gas Combustion Turbine Dual Fuel | Not Applicable | 12808
Diesel Utility | Not Applicable | 331
Steam | Not Applicable | 9282
Waste to Energy Steam | Not Applicable | 720
Oil-Fired Combustion Turbine | Not Applicable | 2851
Hydro with Non-Pumped Storage | 2057 | 1987
Other Unlimited Resource | Not Applicable | 447