## Sheet1
ELCC Class | Effective Nameplate (MW) | Installed Capacity (MW)
Onshore Wind | 14609 | 3599
Offshore Wind | Small Sample Size | Small Sample Size
Fixed-Tilt Solar | 3136 | 1585
Tracking Solar | 24664 | 14900
Intermittent Landfill Gas | 144 | 100
Intermittent Hydropower | 820 | 545
4-hr Storage, 6-hr Storage, 8-hr Storage, 10-hr Storage | 7144 | 7144
Solar-Storage Hybrid | Small Sample Size | Small Sample Size
Demand Resource | Not Applicable | 8711
Nuclear | Not Applicable | 32220
Coal | Not Applicable | 31304
Gas Combined Cycle (Single and Dual Fuel) | Not Applicable | 59922
Gas Combustion Turbine | Not Applicable | 11378
Gas Combustion Turbine Dual Fuel | Not Applicable | 14205
Diesel Utility | Not Applicable | 328
Steam | Not Applicable | 10284
Waste to Energy Steam | Not Applicable | 739
Oil-Fired Combustion Turbine | Not Applicable | 2887
Hydro with Non-Pumped Storage | 2015 | 1945
Other Unlimited Resource | Not Applicable | 442