## Notes
2022 Multi-Driver Proposal Window 1
Revision History:
| Revised Posting Date: | 2022-07-11
| Original Posting Date: | 2022-06-07
| Version of this file: | 2
| V2: | There has been an update to the PROMOD event file posted for the 2022 Multi Driver Window 1. The updated event includes the following changes: • A rating correction on the Powertown-Towerline 138 kV tie line from ComEd to Ameren • One Contingency definition update as per updated file
| V1: | Window Open

## Eligible Congestion Drivers
2022 Multi-Driver Proposal Window 1 Eligible Energy Market Congestion Drivers* (update posted 07-11-2022) |  |  |  | 2022 Multi-Driver Window 1 Case (Annual Congestion $million) |  | 2022 Multi-Driver Window 1 Case (Hours Binding)
FG# | Constraint | FROM AREA | TO AREA | 2027 Simulated Year | 2030 Simulated Year | 2027 Simulated Year | 2030 Simulated Year | Line is Conductor Limited? | Comment | Potential Upgrades
MDW1-ME-01 | Dumont to Stillwell 345 kV | AEP | NIPSCO | 14.7899 | 13.8129 | 662 | 625 | no | M2M
MDW1-ME-02 | Olive to University Park North 345 kV | AEP | CE | 1.2614 | 5.3226 | 64 | 179 | no | M2M
MDW1-ME-03,MDW1-ME-04 | E Frankfort to Crete to St John 345 kV | CE | NIPSCO | 1.1295 | 2.5997 | 61 | 116 | yes | M2M
*These congestion drivers are also posted as reliability violations.