# PJM RTEP – 2022 Multi-Driver Proposal Window 1

PROBLEM STATEMENT & REQUIREMENTS

## Document Scope: 2027 Summer Reliability Analysis, 2027 Winter Reliability Analysis and 2027 Market Efficiency Congestion, with withdrawn queue project AB2-096 removed and recently signed ISA queue project AB1-089 included.

NOTE: PJM identified an overlap in flowgates from 2021 Proposal Window 2 and this 2022 Multi-Driver Proposal Window 1. If a proposing entity wishes to submit a modification to their proposal submitted in the 2021 Proposal Window 2, a new proposal must be submitted through the 2022 Multi-Driver Proposal Window 1. Unless communicated to PJM that an entity wishes to withdraw its proposal from consideration, PJM will evaluate them as potential solutions to the needs posted in this window and will apply the existing deposits. A proposing entity must communicate to PJM if it wishes to withdraw a proposal to avoid future billing.  See Section 2.1.1 of PJM Manual 14B for additional details on the multi driver approach.

Due to the nature of the reliability and market efficiency concerns being investigated and the location of impacted facilities, PJM will be coordinating with MISO throughout this proposal window.

# 2022 Multi-Driver Proposal Window 1

### Purpose of Proposal Window

PJM seeks technical solutions, also called proposals, to resolve potential reliability criteria violations and market efficiency congestion drivers on facilities identified below in accordance with all applicable planning criteria (PJM, NERC, SERC, RFC, and Local Transmission Owner criteria) and market efficiency criteria.

#### Criterion Applied by PJM for this Proposal Window

- 2027 Summer Generator Deliverability and Common Mode Reliability Analysis

- 2027 Winter Generator Deliverability and Common Mode Reliability Analysis

- 2027 Market Efficiency Simulated Annual Congestion Analysis

### Terminology for Proposal Windows

Through the analyses listed above, PJM has compiled a list of criteria violations and eligible congestion drivers. The violations, eligible congestion drivers and the impacted facilities are identified by a table of flowgates. Descriptions of the column headings are provided below. Different analyses often use different column headings.

#### Typical thermal analysis column headings:

| Column Heading | Title | Description |
| --- | --- | --- |
| FG # | Flowgate Number | A sequential numbering of the identified potential violations |
| Fr Bus | From Bus Number | PSSE model bus number corresponding to one end of line identified as a potential violation |
| Fr Name | From Bus Name | PSSE model bus name corresponding to one end of line identified as a potential violation |
| To Bus | To Bus Number | PSSE model bus number corresponding to other end of line identified as a potential violation |
| To Name | To Bus Name | PSSE model bus name corresponding to other end of line identified as a potential violation |
| Monitored Facility | Monitored Facility | The circuit on which a potential violation is occurring |
| Base Rate (MVA) | Base Rate (MVA) | Normal Facility Rating (Rate A) |
| % Overload | Percentage Overload | Percentage above corresponding Facility Rating |
| CKT | Circuit ID | Circuit number of identified potential violation |
| KVs | Kilovolt level (A/B) | Kilovolt level of both sides of potential violation, if A does not equal B, potential violation is a transformer |
| Areas | Area Numbers (A/B) | Area numbers of both ends of potential violation (A=From Bus Area Number, B=To Bus Area Number) If A does not equal B, potential violation is a tie line |
| Rating | Facility Rating | Applicable thermal rating (MVA) of facility |
| DC Ld(%) | Direct Current Loading percentage | Percentage above Facility Rating determined from DC testing |
| AC Ld(%) | Alternating Current Loading percentage | Percentage above Facility Rating determined from AC testing |
| Cont Type | Contingency Type | Contingency categorization (e.g., Single, Bus, Line_FB, Tower) |
| Cont Name | Contingency Name | Contingency name as identified in associated contingency file or embedded in the spreadsheet |
| Contingency | Contingency | Contingency description |
| Violation Date | Violation Date | Date on which violation is expected to occur |
| Analysis Case | Analysis Case | Case title to use in replicating analysis |

#### Typical voltage analysis column headings:

| Column Heading | Title | Description |
| --- | --- | --- |
| FG # | Flowgate Number | A sequential numbering of the identified potential violations |
| Bus # | Bus Number | PSSE model bus number corresponding to bus identified as a potential violation |
| KVs | Kilovolt level | Kilovolt level of bus identified as potential violation |
| Area | Area Number | Area number of bus identified as potential violation |
| ContVolt | Contingency Voltage (P.U.) | Per Unit Voltage at identified bus after contingency is applied |
| BaseVolt | Basecase Voltage (P.U.) | Per Unit Voltage at identified bus before contingency is applied |
| Low Limit | Low Voltage Limit(P.U.) | Threshold of Per Unit Low voltage, if ContVolt is under this limit, a potential violation is identified |
| Upper Limit | High Voltage Limit(P.U.) | Threshold of Per Unit High voltage, if ContVolt is over this limit, a potential violation is identified |
| Cont Type | Contingency Type | Contingency categorization (e.g., Single, Bus, Line_FB, Tower) |
| Vdrop (%) | Voltage drop | The percentage that the voltage has dropped as a result of the contingency |
| Contingency | Contingency | Contingency name as identified in associated contingency file |
| Contingency 1 | First Contingency | N-1 (first) contingency identified |
| Contingency 2 | Second Contingency | N-1-1 (second) contingency identified in N-1-1 analysis |

For market efficiency proposal windows, PJM provides a list of eligible congestion drivers for the relevant study years that were identified through the simulation analysis. The following column headings are generally representative of the data fields that will be used to identify the specific facility among other factors of the output of this analysis. Additional information may be provided upon request by PJM.

Typical market efficiency column headings:

| Column Headings | Title | Description |
| --- | --- | --- |
| Facility name | Facility name | Description of facility |
| Area | Area | Identifies the PJM transmission zone for the facility. |
| Type | Type | Identifies the type of facility such as a transformer, interface, or a transmission line |
| Frequency (Hours) | Frequency | Number of hours the facility is constrained for the annual study year of the simulation |
| Market Congestion ($Millions) | Market Congestion | Total annual congestion dollars for the facility as a result of the simulation |
| Comment | Comment | M2M signifies a market-to-market facility. |
| Potential Upgrade | Potential Upgrade | Identifies potential upgrades to relieve congestion for the facility. |

### Proposal Window Exclusion Definitions

The following definitions explain the basis for excluding flowgates from the competitive planning process and designating projects to the incumbent Transmission Owner.

Flowgates excluded from competition will include the underlined language in the comment field.

- Immediate Need Exclusion: For immediate reliability needs that must be addressed within three years or less and for which PJM determines a proposal window may not be feasible , these reliability violations are excluded from the competitive proposal window process. As a result, the local Transmission Owner will be the Designated Entity. Refer to Operating Agreement, Schedule 6 § 1.5.8(m)

- Below 200kV Exclusion: Due to the lower voltage level of the identified violations, these reliability violations are excluded from the competitive proposal window process. As a result, the local Transmission Owner will be the Designated Entity. Refer to Operating Agreement, Schedule 6 § 1.5.8(n)

- Substation Equipment Exclusion: For reliability violations on existing transmission substation equipment, these reliability violations are excluded from the competitive proposal window process. As a result, the local Transmission Owner will be the Designated Entity. Refer Operating Agreement, Schedule 6 § 1.5.8(p)

### Analysis Procedure

Participants are expected to develop solutions to the identified reliability criteria violations and eligible congestion drivers, and perform analysis to validate that the solutions remove these violations and congestion drivers. The competitive planning process is documented in PJM Manual 14F, which is available here: http://www.pjm.com/-/media/documents/manuals/m14f.ashx

Proposed solutions must also meet Transmission Owner Planning Criteria which is available here: http://www.pjm.com/planning/planning-criteria/to-planning-criteria.aspx

Although PJM does its best to provide complete and accurate results, changes to the list of reliability violations or congestion drivers under consideration are possible. That is, flowgates may be added or removed from consideration in the proposal window. PJM works with Transmission Owners, Generation Owners, neighboring TOs and other affected parties to verify the quality of the analysis. PJM endeavors to minimize such changes and will clearly communicate any changes to the participants.

PJM regularly updates the system model to reflect changes to the transmission system. Analyses are performed to verify that reliability violations and congestion drivers continue to be valid, no new reliability violations or congestion drivers have appeared and proposed solutions still address the targeted violation(s) and congestion driver(s).

PJM shall determine the more efficient or cost-effective enhancements or expansions for any violation or congestion driver. PJM’s decisional process is depicted in Attachment C of Manual 14F, including a listing of specific selection criteria.

### Scope of Work

PJM is seeking proposals to resolve identified reliability criteria violations and market efficiency eligible congestion drivers.

#### OBJECTIVES:

- Develop complete solutions to address the identified reliability criteria violations and eligible congestion drivers;

- Perform and compare market simulations with and without proposed enhancements or expansions to evaluate if the benefit/cost ratio is at least 1.25 using the criteria as defined in Schedule 6, §1.5.7 of the PJM Operating Agreement and PJM Manual 14B, Attachment E;

- Perform high level reliability analysis of proposed enhancements or expansions to ensure the proposed enhancement or expansion does not create any reliability issues;

- Perform market efficiency analysis of proposed enhancements or expansions to ensure the proposed enhancement or expansion does not create or shift unacceptable levels of congestion;

- Develop solutions to address all new reliability criteria violations generated as a consequence of proposed solution. Solutions to these secondary violations are required for the proposal to be considered.

- Adhere to all applicable planning criteria, including PJM, NERC, SERC, RFC and Local Transmission Owner Criteria.

#### WHAT PJM PROVIDES:

The information listed below is provided to allow replication of PJM analyses. Some of this data is designated as Critical Energy Infrastructure Information (CEII) and must be handled consistent with PJM’s CEII request process at Competitive Planning Process page on the PJM website:

- Power Flow Base Cases. Identifies one or more system configurations to which planning criteria are applied.

- Contingency List: Lists all contingency types (single, bus, tower, line w/ stuck breaker).

- Subsystem Files: Identifies all subsystem zones to be considered in analysis.

- Monitor Files: Identify specific ranges of facilities by area and kV level to be considered in analysis.

- Facility Ratings: (if different from those included in the base cases)

- Violations List: Lists all criteria violations with power flow results and additional technical notes (flowgates). The results indicate the case(s) to which the criteria violations apply.

- Short Circuit Base Case. This case reflects the 2027 RTEP base case.

- Breaker Change Files. Lists all over-duty breakers in a specific TO area.

- TO Criteria Setting Files. Lists settings used for short circuit analysis for each specific TO.

- TARA Generation Deliverability options files.

### Modeling Data for the Market Efficiency Criteria:

The following data and related information is provided for this proposal window through the PJM Competitive Planning Process or RTEP Development websites or in the PJM Transmission Expansion Advisory Committee (TEAC) materials.

- 2022 Multi-Driver Proposal Window 1 Market Efficiency Economic Models: These models contain the base set of PROMOD data for the Market Efficiency Analysis. Access to these models requires CEII authorization along with an active license with Hitachi Energy for PROMOD and Nodal Simulation Data. PROMOD case and supporting files are available under the Modeling Information section: https://www.pjm.com/planning/rtep-development/market-efficiency/economic-planning-process.aspx.

- Eligible Multi-Drivers (Reliability and Market Efficiency): In addition to solving the reliability violations, proposals must also provide significant congestion reduction for facilities identified as multi-drivers. The list of eligible multi-drivers can be obtained here: https://pjm.com/planning/competitive-planning-process.aspx.

Only proposals which address one or more of these PJM identified multi-drivers will be evaluated. If the proposal does not address at least one of the identified multi-drivers, and is otherwise substantially deficient or is seriously flawed, it will be rejected and the proposer will be notified.

  - Market Efficiency Criteria:

    - Congestion driver was also posted as a reliability violation in the 2022 Multi-Driver Proposal Window 1.

    - Annual simulated congestion frequency of at least 25 hours in each of the 2027 and 2030 study years.

    - Congestion threshold:

Lower voltage facilities: minimum of $1 million congestion in each of the 2027 and 2030 study years.

Regional facilities: minimum of $10 million congestion in each of the 2027 and 2030 study years.

Interregional facilities: minimum of $0.5 million congestion in each of the 2027 and 2030 study years.

Although the above criteria are met, PJM may not recommend proposals for certain facilities due to following exceptions:

  - Market Efficiency Exceptions:

    - Congestion is significantly influenced by one FSA generator or a set of FSA generators.

    - Majority of the congestion was already addressed in previous window(s).

    - Simulated congestion for future study years displays a declining trend.

### Other Supporting Market Efficiency files:  The following supporting files can be downloaded from the secure Market Efficiency page:

https://www.pjm.com/planning/rtep-development/market-efficiency/economic-planning-process.aspx

### Simulated Congestion Results: For informational purposes only, PJM provided the congestion results for the COMED area from the 2022 Multi-Driver Proposal Window 1 model (simulated years 2027 and 2030).

  - ARR (Auction Revenue Rights) modeling data: This file provides the ARR (Auction Revenue Rights) modeling data for the 2022 Multi-Driver Proposal Window 1.

  - Benefit/Cost Evaluation Tool: This file contains the inputs and formulas necessary for calculating the B/C Ratios.

### Response Back To PJM (Deliverables)

This section describes the required elements of a complete proposal. The absence of any element renders the proposal incomplete and the proposal will not be considered for selection.

Often there are several viable solutions to a given violation. Include alternate approaches in separate proposals. PJM will not accept proposals with multiple options.

Four categories of information are described below: three are required for a complete package and one is conditional.

- Technical analysis files and documentation

- Completed proposal submittal template

- Project diagrams

- Company evaluation and operations and maintenance information (if required)

#### Technical Analysis Files and Documentation

Include the following technical information to provide a complete project proposal package:

- A detailed analysis spreadsheet showing the planning analysis results for the project.

- A set of updates to the power flow cases which model the proposed solution. Provide files in a format compatible with PSS/E version 33.12. Provide only solvable and convergent solutions. Include an idv, or equivalent type, file in order to apply changes to other models. Assign a unique identifier when new busses are required. Provide contingencies in a single file for each contingency type. Organize the contingencies into one of three categories:

  - Modified Contingencies

  - New Contingencies

  - Deleted Contingencies

- List of all proposed equipment along with relevant parameters and assumptions.

  - All necessary parameters, e.g., equipment ratings, impedances, line lengths, etc.

  - For reactive devices, settings and outputs

  - For synchronous machines, MW and MVAR output assumptions

- An analysis report of proposed solution which identifies the issues being addressed.

- Additional documentation required to verify the proposal.

### PJM Proposal Submittal

The PJM Competitive Planner Tool is used for proposal(s) submittal and captures project details, such as the criteria violations or system constraints that are being targeted by the proposed solution, the overall and specific project descriptions and the details of cost commitment, if included. The Competitive Planner Tool and user guide are available on the Competitive Planning Process page: https://www.pjm.com/planning/competitive-planning-process.aspx.

All proposals will be made public and posted on pjm.com after the proposal window is closed. Mark all CEII and business confidential information for redaction from this public posting. Redact only information which meets the criteria of CEII or business proprietary and confidential information.

Redaction guidelines can be found in PJM Manual 14F, Section 6.2. Please note that this section provides guidance only. PJM reserves the right to challenge proposed redaction of information in order to ensure the appropriate level of transparency.

#### Project Diagrams

Provide project diagrams in the PJM Competitive Planner Tool to detail how the proposed solution will modify existing infrastructure, how new infrastructure will be configured and where new infrastructure will be sited. Project diagrams should include, but are not limited to, the following detail:

- Single line diagrams

- Substation general arrangement and station layout. If expanding the substation, identify the following:

  - Area to be modified

  - Land ownership or acquisition plan

- Line routing diagram:

  - Identify proposed route of new or upgraded transmission lines

  - Clearly identify where  acquisition of additional right-of-way is required

- Detailed project schedule. Include, at minimum, the following major work activities:

  - Engineering and Design

  - Siting and Permitting

  - ROW and Land acquisition

  - Material procurement

  - Construction

  - Testing/Commissioning

#### Company Evaluation and Operations and Maintenance Information

For proposers seeking Designated Entity status, provide additional information which will aid PJM in understanding how the proposed solution will be developed, constructed, operated and maintained. Include this information in the PJM Competitive Planner Tool.

Relevant PJM Operating Agreement, Schedule 6, section 1.5.8(f).

Entity-Specific Criteria Considered in Determining the Designated Entity for a Project

In determining whether the entity proposing a Short-term Project, Long-lead Project or Economic-based Enhancement or Expansion recommended for inclusion in the plan shall be the Designated Entity, the Office of the Interconnection shall consider:  (i) whether in its proposal, the entity indicated its intent to be the Designated Entity; (ii) whether the entity is pre-qualified to be a Designated Entity pursuant to Operating Agreement, Schedule 6, section 1.5.8(a); (iii) information provided either in the proposing entity’s submission  pursuant to the Operating Agreement, Schedule 6, section 1.5.8(a) or 1.5.8(c)(2) relative to the specific proposed project that demonstrates:  (1) the technical and engineering experience of the entity or its affiliate, partner, or parent company, including its previous record regarding construction, maintenance, and operation of transmission facilities relative to the project proposed; (2) ability of the entity or its affiliate, partner, or parent company to construct, maintain, and operate transmission facilities, as proposed, (3) capability of the entity to adhere to standardized construction, maintenance, and operating practices, including the capability for emergency response and restoration of damaged equipment; (4) experience of the entity in acquiring rights of way; (5) evidence of the ability of the entity, its affiliate, partner, or parent company to secure a financial commitment from an approved financial institution(s) agreeing to finance the construction, operation, and maintenance of the project, if it is accepted into the recommended plan; and (iv) any other factors that may be relevant to the proposed project, including but not limited to whether the proposal includes the entity’s previously designated project(s) included in the plan.

#### Transmittal of Proposals

Proposal submissions along with all files required for submission will be done with the PJM Competitive Planner Tool for each submitted proposal.

### Proposal Fees

All proposals, upgrade and greenfield solutions, with the exception of solutions submitted with an estimated cost of $5M or less, submitted for consideration in the 2021 RTEP Proposal Window 2 are subject to an initial $5,000 deposit per the PJM Operating Agreement 1.5.8(c).

Relevant PJM Operating Agreement language in Section 1.5.8(c):

(c)(1)	All proposals submitted in the proposal windows must contain:  (i) the name and address of the proposing entity; (ii) a statement whether the entity intends to be the Designated Entity for the proposed project; (iii) the location of proposed project, including source and sink, if applicable; (iv) relevant engineering studies, and other relevant information as described in the PJM Manuals pertaining to the proposed project; (v) a proposed initial construction schedule including projected dates on which needed permits are required to be obtained in order to meet the required in-service date; (vi) cost estimates and analyses that provide sufficient detail for the Office of Interconnection to review and analyze the proposed cost of the project; and (vii) with the exception of project proposals submitted with cost estimates of $5 million or less, a $5,000 non-refundable deposit must be included with each project proposal submitted by a proposing entity that indicates an intention to be the Designated Entity.

(c)(1)(i)  In addition, any proposing entity indicating its intention to be the Designated Entity will be responsible for and must pay all actual costs incurred by the Transmission Provider to evaluate the submitted project proposal.  To the extent the Transmission Provider incurs costs to evaluate multiple submitted project proposals where such costs are not severable by individual project proposal, the Transmission Provider shall invoice equal shares of the non-severable costs among the project proposals that cause such non-severable costs to be incurred.  Notwithstanding this method of invoicing non-severable costs, non-severable costs will be jointly and severally owed by the proposing entities that cause such costs to be incurred.

(c)(1)(ii)  All non-refundable deposits will be credited towards the actual costs incurred by the Transmission Provider as a result of the evaluation of a submitted project proposal.

(c)(1)(iii)  Following the close of a proposal window but before the Transmission Provider incurs any third-party consultant work costs to evaluate a submitted project proposal, the Transmission Provider will issue to the proposing entity an initial invoice seeking payment of estimated costs to evaluate each submitted project proposal.  The estimated costs will be determined by considering the:  potential cost of consultant work, historical estimates for project proposals of similar scope, complexity and nature of the need, and/or technology and nature of the project proposal. The Transmission Provider may issue additional invoices to the proposing entity prior to the completion of the evaluation activities associated with a project proposal if the Transmission Provider receives updated actual cost information and/or upon consideration of the factors specified in this section.

(c)(1)(iv)  At the completion of the evaluation activities associated with a project proposal, the Transmission Provider will reconcile the actual costs with monies paid and, to the extent necessary, issue either a final invoice or refund.

(c)(1)(v)  The proposing party must pay any invoiced costs within fifteen (15) calendar days of the Transmission Provider sending the invoice to the proposing entity or its agent.  For good cause shown, this fifteen (15) calendar day time period may be extended by the Transmission Provider.  If the proposing entity fails to pay any invoice within the time period specified and/or extended by the Transmission Provider in accordance with this section, the proposing entity’s pre-qualification status may be suspended and the proposing entity will be ineligible to be a Designated Entity for any projects that do not yet have an executed Designated Entity Agreement.  Such a suspension and/or ineligibility will remain in place until the proposing entity pays in full all outstanding monies owed to the Transmission Provider as a result of the evaluation of the proposing entity’s project proposal(s).

The non-refundable deposit is due at the time of submission. Pay the non-refundable deposit by wire transfer to PJM Interconnection at:

| Wire transfer funds to: | PJM Interconnection, LLC |
| --- | --- |
| Bank Name: | PNC Bank, N.A. New Jersey |
| ABA Number: | 031207607 (Fed Wire and ACH) |
| Account Number: | 80-1358-9826 |
| Provide Reference*: | Order 1000 – Competitive Submittal PJM Id #### |

To ensure the non-refundable deposit is properly accounted for, include a reference to “Order 1000 – Competitive submittal PJM Id ###” in the subject, notes or addenda field of the wire transfer form.  Please note that the PJM ID ### will be displayed on the confirmation email you receive after submitting the proposal and is also identified on the competitive planner tool once a competitive proposal is initially saved.

The proposer also needs to provide the following information to PJM:

Company Info, Primary contact name, Billing email & Tax ID#.

The PJM Proposal ID can be located on the Existing Proposal screen in the PJM Competitive Planner Tool

### Timeline

6/7/2022: Opening of 2022 Multi-Driver Proposal Window 1

8/8/2022: Close of 2022 Multi-Driver Proposal Window 1 at 11:59 p.m. Eastern Daylight Time

Notes:

- Confidentiality of individual proposals will be maintained for the duration of the window.

- Proposals received after close of the proposal window will not be accepted.

### Questions

Submit all questions about the proposal window to the PJM Planning Community. Submit questions involving confidential information or CEII under the “Confidential” topic on the Planning Community. Answers will be provided to all participants in the proposal window.

Please reference 2022 Multi-Driver Proposal Window 1 in all correspondence.

### Specialized Requirements

PJM seeks proposals to evaluate the identified needs in this window.  PJM has not determined specialized requirements that PJM is seeking in project proposals in this window for consideration in its evaluation.

Notice

In accordance with the Open Access Transmission Tariff, Attachment M, the MMU has access to all data submitted to PJM through PJM’s competitive proposal window process.  See Manual 14F, section 8.4.4.

Where applicable, PJM may need to confer with incumbent Transmission Owners regarding necessary Transmission Owner upgrade work to fully evaluate proposed solutions.  As needed for evaluation purposes, PJM will share only the proposed solution information necessary to assess the scope of work and project cost of needed Transmission Owner upgrade components to form a complete solution.

### Document Revision History

5/31/2021 - V1 -	Original Problem Statement posted to the PJM Competitive Planning Process webpage: https://www.pjm.com/planning/competitive-planning-process.aspx.

06/13/2021 - V2 - 	Item 7 on page 6 corrected to indicate that the short circuit base case reflects the 2027 RTEP base case instead of 2026.