## Notes
2024/2025 Long-Term Market Efficiency Window 1
Revision History:
| Original Posting Date: | 2025-04-11
| Version of this file: | 2
| V1: | Window Open
| V2: | Updated congestion information due to updates to the base case.

## Eligible Congestion Drivers
2024/2025 Long-Term Market Efficiency Window 1 Eligible Energy Market Congestion Drivers (Reposted 05-01-2025) | [5 empty] | ME Base Case (Annual Congestion $million) |  | ME Base Case (Hours Binding)
FG# | Driver | Constraint | FROM AREA | TO AREA | Type | 2029 Simulated Year | 2032 Simulated Year | 2029 Simulated Year | 2032 Simulated Year | Line is Conductor Limited? | Conductor Ratings | Comment
ME-1 | Congestion Relief - Economic | Musevillle-Smith Mountain 138 kV | AEP | AEP | Line | 11.5345 | 24.9182 | 337 | 624 | Yes | SN/SE=291/361 MVA WN/WE=368/441 MVA | Internal Flowgate
ME-2 | Congestion Relief - Economic | West Point-Lanexa 115 kV | DOM | DOM | Line | 2.0501 | 1.687 | 211 | 183 | Yes | SN/SE=238/238 MVA WN/WE=290/290 MVA | Internal Flowgate
ME-3 | Congestion Relief - Economic | Garrett Tap-Garrett 115 kV | PENELEC | APS | Line | 1.0397 | 1.3641 | 144 | 168 | Yes | SN/SE=133/160 MVA WN/WE=150/190 MVA | Internal Flowgate