## Notes
2024/2025 Long-Term Market Efficiency Window 1
Revision History:
| Original Posting Date: | 2025-04-11
| Version of this file: | 1
| V1: | Window Open

## Eligible Congestion Drivers
2024/2025 Long-Term Market Efficiency Window 1 Eligible Energy Market Congestion Drivers (Posted 04-11-2025) | [5 empty] | ME Base Case (Annual Congestion $million) |  | ME Base Case (Hours Binding)
FG# | Driver | Constraint | FROM AREA | TO AREA | Type | 2029 Simulated Year | 2032 Simulated Year | 2029 Simulated Year | 2032 Simulated Year | Line is Conductor Limited? | Conductor Ratings | Comment
ME-1 | Congestion Relief - Economic | Musevillle-Smith Mountain 138 kV | AEP | AEP | Line | 11.3833 | 24.9581 | 341 | 625 | Yes | SN/SE=291/361 MVA WN/WE=368/441 MVA | Internal Flowgate
ME-2 | Congestion Relief - Economic | West Point-Lanexa 115 kV | DOM | DOM | Line | 2.0496 | 1.6816 | 211 | 183 | Yes | SN/SE=238/238 MVA WN/WE=290/290 MVA | Internal Flowgate
ME-3 | Congestion Relief - Economic | Garrett Tap-Garrett 115 kV | PENELEC | APS | Line | 1.7957 | 2.1695 | 242 | 266 | Yes | SN/SE=133/160 MVA WN/WE=150/190 MVA | Internal Flowgate