## Base Case Congestion
2024/25 Market Efficiency Base Case (results posted on 04/11/2025) (This is NOT the list of Eligible Congestion Drivers)* |  |  | Base Case ($Million) |  |  |  | Base Case (Hours Binding)
Constraint | From Area | To Area | 2025 Input Assumptions | 2029 Input Assumptions | 2032 Input Assumptions | 2035 Input Assumptions | 2025 Input Assumptions | 2029 Input Assumptions | 2032 Input Assumptions | 2035 Input Assumptions | Type
Francisco-Douglas 345 kV | DUK-IN | DUK-IN | 20.3519 | 105.8193 | 33.7233 | 38.1261 | 910 | 1978 | 614 | 532 | M2M
Whitestown-Guion 345 kV | DUK-IN | IPL | 0 | 82.6976 | 113.6097 | 106.2894 | 0 | 2397 | 3052 | 2537 | M2M
Wolfs Crossing #81 TR 345/138 kV | COMED | COMED | 44.2891 | 76.8983 | 79.7103 | 55.4476 | 548 | 633 | 606 | 501
P9700 East -Olive 345 kV | NIPS | AEP | 8.6295 | 56.9936 | 57.8582 | 33.1019 | 112 | 486 | 377 | 259
He Hubbell-Batesville 138 kV | HE | DUK-IN | 4.9727 | 49.2892 | 14.2145 | 16.5578 | 111 | 816 | 243 | 234 | M2M
AP South Interface | PJM | PJM | 0.20921 | 39.0847 | 266.9511 | 958.1645 | 4 | 412 | 1851 | 3283 | Interface
East Lima-Haviland 138 kV | AEP | AEP | 0 | 24.2279 | 29.5743 | 38.9846 | 0 | 761 | 840 | 1003
Joshua Falls-Yeat Interface | PJM | PJM | 2.8719 | 18.5342 | 160.8279 | 495.8135 | 55 | 251 | 1543 | 2852 | Interface
Electric Junction (B)-Nelson (B) 345 kV | COMED | COMED | 3.1783 | 16.8972 | 44.8888 | 56.1999 | 75 | 176 | 389 | 408 | M2M
Cherry Valley(B)-Silver Lake (R) 345 kV | COMED | COMED | 28.0118 | 16.3046 | 41.9604 | 69.5821 | 328 | 197 | 397 | 605 | M2M
West Interface | PJM | PJM | 3.8089 | 14.9411 | 0.60058 | 0.26978 | 203 | 595 | 32 | 8 | Interface
Haumesser Rd. (R)-W De Kalb Tap (R) 138 kV | COMED | COMED | 1.0392 | 13.2682 | 11.2255 | 19.159 | 109 | 598 | 452 | 643
Crescent Ridge (R)-Corbin 138 kV | COMED | AMIL | 12.3809 | 11.6231 | 6.81 | 12.7548 | 753 | 589 | 466 | 766 | M2M
Musevillle-Smith Mountain 138 kV | AEP | AEP | 0.027888 | 11.3833 | 24.9581 | 21.9276 | 1 | 341 | 625 | 512
Kewanee 138 kV Disconnect B1Z5 | COMED | COMED | 6.4714 | 8.7421 | 12.6243 | 14.2722 | 792 | 894 | 990 | 1028 | M2M
Quad Cities-Cordova 345 kV | COMED | MEC | 0.014392 | 4.9702 | 7.329 | 10.8261 | 2 | 58 | 97 | 94 | M2M
Lenox-Macnew AEC 115 kV | PENELEC | PENELEC | 3.2445 | 4.5445 | 7.623 | 14.3927 | 994 | 1555 | 2290 | 3190
Kewanee-Putnam 138 kV | COMED | AMIL | 4.6622 | 4.0072 | 4.2524 | 9.4781 | 305 | 192 | 193 | 282 | M2M
He Hubbell-Sunman Weisburg 138 kV | HE | DUK-IN | 0 | 3.0158 | 2.5425 | 2.1434 | 0 | 76 | 114 | 81 | M2M
Dune Acres-Michigan City 138 kV | NIPS | NIPS | 4.4854 | 2.4974 | 0.46974 | 1.6985 | 93 | 28 | 10 | 22 | M2M
Mcgirr Rd-Rochelle Tap (R) 138 kV | COMED | COMED | 0.00013568 | 2.3704 | 2.4406 | 2.8948 | 2 | 368 | 311 | 333
Chicago Avenue-Praxair 3 138 kV | NIPS | NIPS | 0.16008 | 2.2666 | 3.2171 | 2.3687 | 116 | 634 | 681 | 561 | M2M
Roxana-State Line (B) 138 kV | COMED | NIPS | 0.027948 | 2.2317 | 3.0091 | 3.1163 | 38 | 575 | 531 | 555 | M2M
Cherry Valley CB 138kV | COMED | COMED | 2.8637 | 2.0867 | 0 | 0.12691 | 35 | 22 | 0 | 6
West Point-Lanexa 115 kV | DOM | DOM | 0 | 2.0496 | 1.6816 | 1.8348 | 0 | 211 | 183 | 169
Siefried #4 TR 230/138 kV | PLGRP | PLGRP | 0 | 2.0046 | 3.6111 | 9.6411 | 0 | 15 | 11 | 36
Elkhorn-North Lake Geneva 138 kV | ALTE | ALTE | 0.18812 | 1.8661 | 2.1742 | 1.3297 | 37 | 174 | 172 | 116 | M2M
Garrett Tap-Garrett 115 kV | PENELEC | APS | 0.083304 | 1.7957 | 2.1695 | 2.4195 | 15 | 242 | 266 | 248
Chickahominy-Elko 230 kV | DOM | DOM | 0 | 1.7752 | 27.7506 | 15.341 | 0 | 24 | 237 | 154
Braidwood (B)-AD1-100 Tap 345 kV | COMED | COMED | 10.1569 | 1.6684 | 1.1341 | 0.50575 | 190 | 18 | 11 | 8
South Reading-Boonetown 230 kV | METED | METED | 1.286 | 1.5479 | 16.4202 | 43.5692 | 252 | 204 | 1479 | 2577
Sorensen-Marysville 765 kV | AEP | AEP | 0 | 1.4751 | 3.6775 | 2.7383 | 0 | 8 | 13 | 17
Twin Branch-Meridian 345 kV | AEP | AEP | 1.0522 | 1.4713 | 4.8444 | 4.5193 | 28 | 26 | 53 | 44
Quad Cities-Sterling Steel 345 kV | COMED | COMED | 0 | 1.4141 | 26.0574 | 10.1465 | 0 | 31 | 224 | 94 | M2M
Kittatinny-Bushkill 230 kV | PLGRP | JCPL | 0.10774 | 1.3791 | 2.8721 | 7.1664 | 9 | 21 | 15 | 38
Leroy Center Q4-Spruce Q4 138 kV | FE-ATSI | FE-ATSI | 0.083124 | 1.2278 | 0.79231 | 0.081248 | 19 | 128 | 83 | 24
Danville-East Danville 138 kV | AEP | AEP | 0.45849 | 1.1101 | 0.26424 | 4.7725 | 23 | 58 | 8 | 40
Mazon (R)-AD2-066 Tap 138 kV | COMED | COMED | 0 | 1.1057 | 0.6537 | 0.92008 | 0 | 58 | 40 | 51 | M2M
Earleys-Firetower 230 kV | DOM | DOM | 0 | 1.0599 | 0.97633 | 2.5053 | 0 | 18 | 17 | 39
Loretto (B)-AD1-100 Tap 345 kV | COMED | COMED | 0 | 1.045 | 0 | 0.47611 | 0 | 18 | 0 | 9
Fork Union-Bremo 115 kV | DOM | DOM | 0.57413 | 1.0439 | 1.6665 | 6.0958 | 17 | 86 | 94 | 283
East Danville-Banister 138 kV | AEP | AEP | 0 | 0.97716 | 2.1966 | 0 | 0 | 20 | 39 | 0
Kittanning-All Dam 6 Tap 138 kV | APS | APS | 0.54753 | 0.96824 | 0.16302 | 0.11157 | 142 | 78 | 20 | 10
Bremo-Bremo 230 kV | DOM | DOM | 0 | 0.89844 | 0.36004 | 0.12771 | 0 | 18 | 16 | 8
Lightfoot-Lanexa 230 kV | DOM | DOM | 0 | 0.87224 | 4.7072 | 0.047863 | 0 | 5 | 28 | 1
Green Acres-P9700 East 345 kV | NIPS | NIPS | 0.12645 | 0.85634 | 0 | 0 | 1 | 8 | 0 | 0
Benton Harbor-Segreto 345 kV | AEP | AEP | 0.0016946 | 0.79157 | 0 | 0 | 2 | 25 | 0 | 0 | M2M
Mount Eagle-Cunningham 230 kV | DOM | DOM | 0 | 0.75169 | 0.46728 | 2.6338 | 0 | 9 | 12 | 24
Bennett-Milford 230 kV | DPL | DPL | 1.4558 | 0.70586 | 1.1383 | 0.98783 | 10 | 6 | 10 | 9
Tanners Creek-Miami Fort 345 kV | AEP | DEOK | 0.13973 | 0.6925 | 1.1408 | 3.0725 | 6 | 13 | 16 | 32 | M2M
Dauphin-Juniata 230 kV | PLGRP | PLGRP | 0 | 0.64957 | 4.115 | 18.9858 | 0 | 15 | 46 | 78
Altavista #3 TR 138/115 kV | DOM | DOM | 1.0404 | 0.64341 | 0.55185 | 0.34464 | 80 | 37 | 30 | 8
Munster-Burnham (Red) 345 kV | NIPS | COMED | 0 | 0.61543 | 1.828 | 4.433 | 0 | 41 | 86 | 126 | M2M
Battleboro-Rocky Mount 115 kV | DOM | CPLE | 0.26673 | 0.46109 | 1.1838 | 3.3314 | 28 | 30 | 84 | 168
Harwood-Susquehanna 230 kV | PLGRP | PLGRP | 0.08485 | 0.40821 | 0.17539 | 0.12577 | 22 | 27 | 13 | 6
Kokomo Highland Park-Tipton 230 kV | DUK-IN | DUK-IN | 6.008 | 0.38656 | 5.35 | 8.3634 | 400 | 24 | 96 | 137 | M2M
Gibson-Douglas 345 kV | DUK-IN | DUK-IN | 0.033317 | 0.37228 | 0 | 0.005894 | 4 | 8 | 0 | 2 | M2M
Hillside PAR-East Towanda 230 kV | PENELEC | NYZC | 0.71117 | 0.33256 | 1.1164 | 1.5894 | 1857 | 939 | 1043 | 1205
Streator-AC1-168 138 kV | COMED | COMED | 0.17774 | 0.33117 | 0.43386 | 0.45099 | 28 | 46 | 40 | 40
Eugene-Cayuga 345 kV | AEP | DUK-IN | 0.43788 | 0.32239 | 8.3829 | 1.4362 | 44 | 19 | 178 | 41 | M2M
Allen-R.P. Mone 345 kV | AEP | AEP | 0 | 0.31149 | 0.37062 | 0.84148 | 0 | 2 | 2 | 7 | M2M
Cedar Grove-Bullitt Country 161 kV | LKE | EKPC | 0.036481 | 0.27844 | 0.71696 | 0.0062921 | 3 | 5 | 4 | 1
Lallendorf-Monroe 1&2 345 kV | FE-ATSI | DECO | 1.0864 | 0.2638 | 0.30751 | 0 | 146 | 38 | 29 | 0 | M2M
Gunn Road Switching Station-Bokes Creek 345 kV | AEP | AEP | 0 | 0.26234 | 0 | 0.030406 | 0 | 6 | 0 | 4
Fieldale-Thornton 138 kV | AEP | AEP | 0 | 0.2565 | 4.882 | 9.6162 | 0 | 3 | 58 | 114
Toulon-Powerton 138 kV | COMED | COMED | 2.7006 | 0.25376 | 0.18591 | 0.20476 | 155 | 24 | 22 | 16 | M2M
Powerton (R)-Tazewell 345 kV | COMED | AMIL | 0 | 0.23872 | 4.7742 | 3.1727 | 0 | 12 | 105 | 86 | M2M
Nelson (B)-Lee County 345 kV | COMED | COMED | 0 | 0.22612 | 0.088613 | 0.36566 | 0 | 4 | 8 | 10 | M2M
Axton-PJM Queue AE2-140 138 kV | AEP | AEP | 0.41863 | 0.20582 | 0.12003 | 8.2238 | 9 | 6 | 4 | 55
Surry-Chickahominy 500 kV | DOM | DOM | 0 | 0.19382 | 11.3295 | 32.0191 | 0 | 1 | 48 | 97
Cabin Hollow-Norwood Junction 69 KV | EKPC | EKPC | 0 | 0.15468 | 0 | 0 | 0 | 1 | 0 | 0
Clifty Creek-Jefferson 345 kV | OVEC | AEP | 0 | 0.13355 | 0.2455 | 1.2459 | 0 | 2 | 13 | 10
Eugene-Bunsonville 345 kV | AEP | AMIL | 0.042896 | 0.12501 | 1.2467 | 0.55041 | 2 | 4 | 15 | 11 | M2M
Edmonson-Black Walnut 230 kV | DOM | DOM | 0 | 0.11998 | 0 | 0 | 0 | 3 | 0 | 0
Stanley Terrance-McCarter 230 kV | PSEG | PSEG | 0.090047 | 0.10866 | 0.22833 | 0.20658 | 853 | 731 | 2364 | 3953
Beverly (Washington IPP)-Muskingum River 345 kV | AEP | AEP | 0.056452 | 0.093731 | 0.18023 | 0.12025 | 10 | 21 | 20 | 13
Peters Mountain-Glen Lyn 138 kV | AEP | AEP | 0 | 0.090347 | 0.7139 | 10.868 | 0 | 3 | 16 | 96
Ashtabula-Sanborn Q-1 138 kV | FE-ATSI | FE-ATSI | 0 | 0.084394 | 0.0084205 | 0 | 0 | 22 | 1 | 0
AC1-164-Chickahominy 230 kV | DOM | DOM | 0.062719 | 0.083662 | 0.025219 | 0.049128 | 8 | 8 | 2 | 5
Cashie-Earleys 230 kV | DOM | DOM | 0 | 0.077263 | 0.065959 | 0.0080944 | 0 | 3 | 6 | 1
Lick Run-Rockwood 115 kV | PENELEC | PENELEC | 0 | 0.065302 | 0.062239 | 0.084405 | 0 | 17 | 49 | 54
Fowles Q-2-Pleasant Valley Q-2 138 kV | FE-ATSI | FE-ATSI | 0 | 0.059735 | 0 | 0.096467 | 0 | 4 | 0 | 4
Dickerson H-Dickerson 230 kV | PEPCO | PEPCO | 0.20134 | 0.05672 | 0 | 0 | 3 | 1 | 0 | 0
Matt Funk-Cloverdale 345 kV | AEP | AEP | 0 | 0.052729 | 3.1542 | 35.3997 | 0 | 4 | 66 | 245
Cordova Energy Center-Nelson 345 kV | COMED | COMED | 0 | 0.052494 | 0.36734 | 0.047401 | 0 | 2 | 11 | 2 | M2M
Cooper-Elihu 161 kV | EKPC | LKE | 0 | 0.036343 | 0.20873 | 0.35341 | 0 | 6 | 31 | 34
Hegewisch (B)-Hegewisch Tap 138 kV | COMED | COMED | 0.011524 | 0.031704 | 0.037462 | 0.084018 | 30 | 178 | 165 | 277
College Corner-Colinsville 138 kV | AEP | DEOK | 0.0011052 | 0.030986 | 8.176 | 44.2517 | 1 | 2 | 178 | 964 | M2M
Kickapoo Creek (B)-Lasalle (B) 138 kV | COMED | COMED | 0 | 0.029719 | 0.068871 | 0.050644 | 0 | 2 | 8 | 3
Roseland-Cedar Grove 230 kV | PSEG | PSEG | 0.019536 | 0.025008 | 0.10563 | 0.1635 | 146 | 50 | 455 | 545
West Orange-Orange Heights 230 kV | PSEG | PSEG | 0.00096638 | 0.018947 | 0.044475 | 0.071806 | 79 | 863 | 975 | 1112
Trowbridge TR 230/115 kV | DOM | DOM | 0 | 0.013318 | 0.021182 | 0.18036 | 0 | 2 | 1 | 4
Snyder-Sullivan 345 kV | AMIL | AEP | 0.065262 | 0.010464 | 0.22852 | 0.13823 | 6 | 3 | 8 | 6 | M2M
Laurel Lake-Oakdale 115 kV | PENELEC | NYZC | 0.0021037 | 0.0084826 | 0.015903 | 0.083263 | 37 | 36 | 52 | 100
Steward TSS 186-Haumesser Rd. (R) 138 kV | COMED | COMED | 0 | 0.0044221 | 0.068319 | 0.010726 | 0 | 4 | 11 | 7
East Towanda #3 TR 230/115 kV | PENELEC | PENELEC | 1.984e-05 | 0.0036216 | 0.18094 | 0.33792 | 1 | 73 | 246 | 236
Dearborn-Pierce 345 kV | OVEC | OVEC | 0 | 0.0023916 | 0.088066 | 2.5734 | 0 | 1 | 2 | 52
AD1-022-Cashie 230kV | DOM | DOM | 0 | 0.0022184 | 0.15149 | 0.074058 | 0 | 3 | 7 | 3
East Interface | PJM | PJM | 2.2229 | 0.0021794 | 0 | 0 | 78 | 1 | 0 | 0 | Interface
Martins Creek-Portland 230 kV | PLGRP | METED | 0 | 0 | 0 | 0.10311 | 0 | 0 | 0 | 1
Cunningham-Mount Eagle 230 kV | DOM | DOM | 0 | 0 | 0 | 0.29637 | 0 | 0 | 0 | 1
Segreto-Palisades 345 kV | AEP | CONS | 0 | 0 | 0.054389 | 0.022576 | 0 | 0 | 1 | 1 | M2M
Rock Creek-Quad Cities 345 kV | ALTW | COMED | 0 | 0 | 0.24556 | 0 | 0 | 0 | 6 | 0 | M2M
Cayuga-Cayuga 345 kV | DUK-IN | DUK-IN | 0 | 0 | 1.4881 | 0.11234 | 0 | 0 | 28 | 3 | M2M
AEP-DOM Interface | PJM | PJM | 0 | 0 | 0.37064 | 4.1717 | 0 | 0 | 15 | 59 | Interface
Black Oak-Bedington Interface | PJM | PJM | 0 | 0 | 7.7461 | 36.2451 | 0 | 0 | 65 | 116 | Interface
Moseley-Reusens 138 kV | AEP | AEP | 0 | 0 | 0 | 0.054839 | 0 | 0 | 0 | 1
Clifty Creek-Carrollton 138 kV | OVEC | LKE | 0.060489 | 0 | 0 | 0 | 2 | 0 | 0 | 0
Dickerson H-Edwards Ferry 230 kV | PEPCO | DOM | 0 | 0 | 0 | 0.07025 | 0 | 0 | 0 | 4
Facerock #1 TR 115/69 | PLGRP | PLGRP | 0 | 0 | 0.072444 | 0 | 0 | 0 | 1 | 0
Cumberland-Williams Grove 230 kV | PLGRP | PLGRP | 0 | 0 | 0.022609 | 0.075309 | 0 | 0 | 1 | 8
PJM Queue AE1-103-Holland 115 kV | DOM | DOM | 0 | 0 | 0 | 0.078108 | 0 | 0 | 0 | 7
Dresden (B) #81 TR 345/138 kV | COMED | COMED | 0.081831 | 0 | 0 | 0 | 5 | 0 | 0 | 0
Stephensburg-Upton 69 kV | EKPC | EKPC | 0 | 0 | 0.088458 | 0.028431 | 0 | 0 | 5 | 2
Highland-Commerce 138 kV | FE-ATSI | FE-ATSI | 0.10596 | 0 | 0 | 0 | 5 | 0 | 0 | 0
PJM Queue AD1-128-Modoc 138 kV | AEP | AEP | 0 | 0 | 0.10794 | 0.076877 | 0 | 0 | 10 | 13
Electric Junction (B)-Lombard (B) 345 kV | COMED | COMED | 0 | 0 | 0 | 0.10829 | 0 | 0 | 0 | 2
Saltville-Tazewell 138 kV | AEP | AEP | 0 | 0 | 0 | 0.15413 | 0 | 0 | 0 | 1
Southwest Lima-West Moulton 138 kV | AEP | AEP | 0.15638 | 0 | 0.0022748 | 0 | 11 | 0 | 1 | 0
Cherry Run-Harmony Jct 138 kV | APS | APS | 0 | 0 | 0.10846 | 0.22712 | 0 | 0 | 5 | 10
PJM Queue AD1-151-Hopewell 230 kV | DOM | DOM | 0 | 0 | 0 | 0.23297 | 0 | 0 | 0 | 7
Mt. Zion-Westvaco 138 kV | APS | APS | 0 | 0 | 0.12596 | 0.24145 | 0 | 0 | 10 | 19
Juniata #2 TR 500/230 kV | PLGRP | PLGRP | 0 | 0 | 0 | 0.26442 | 0 | 0 | 0 | 5
East Bend-Terminal 345 kV | DEOK | DEOK | 0 | 0 | 0 | 0.33886 | 0 | 0 | 0 | 2
Bremo-Fork Union 230 kV | DOM | DOM | 0 | 0 | 0 | 0.36367 | 0 | 0 | 0 | 1
Desoto-Selma Parker 138 kV | AEP | AEP | 0 | 0 | 0.1056 | 0.36629 | 0 | 0 | 2 | 7
Lockwood Road-South Hicksville 138 kV | AEP | AEP | 0 | 0 | 0.082044 | 0.43585 | 0 | 0 | 4 | 15
Clubhouse-Otterdam 230 kV | DOM | DOM | 0 | 0 | 0 | 0.43732 | 0 | 0 | 0 | 24
Hayes-Lemmerz-East Akron 138 kV | FE-ATSI | FE-ATSI | 0.46685 | 0 | 0 | 0 | 3 | 0 | 0 | 0
Hyatt-Celtic 345 kV | AEP | AEP | 0 | 0 | 0.46821 | 0 | 0 | 0 | 4 | 0
Farmville #5 TR 230/115 kV | DOM | DOM | 0 | 0 | 0 | 0.48069 | 0 | 0 | 0 | 32
Clinch River-Lebanon 138 kV | AEP | AEP | 0 | 0 | 0 | 0.50541 | 0 | 0 | 0 | 7
Oaklevel-Grassy Hill 138 kV | AEP | AEP | 0 | 0 | 0 | 0.55067 | 0 | 0 | 0 | 2
Hyatt-Marysville 345 kV | AEP | AEP | 0 | 0 | 0 | 0.5669 | 0 | 0 | 0 | 2
Enclave-Sapony 230 kV | DOM | DOM | 0 | 0 | 0 | 0.69519 | 0 | 0 | 0 | 138
Havliland 138 kV CB J | AEP | AEP | 0.71687 | 0 | 0 | 0.00073834 | 33 | 0 | 0 | 56
Arnolds Corner-Dahlgren 230 kV | DOM | DOM | 0 | 0 | 0.78869 | 0.19924 | 0 | 0 | 24 | 7
Timber Switch-Havliland 138 kV | AEP | AEP | 0 | 0 | 0 | 0.87296 | 0 | 0 | 0 | 19
Yorkana-Brunner Island 230 kV | METED | PLGRP | 0 | 0 | 0.012178 | 0.92712 | 0 | 0 | 1 | 21
Saltville-Broadford 138 kV | AEP | AEP | 0.0019407 | 0 | 0 | 0.98481 | 1 | 0 | 0 | 24
Chuckatuck-Benns Church 230 kV | DOM | DOM | 0 | 0 | 0.94392 | 1.0638 | 0 | 0 | 7 | 3
South Christainsburg-Tech Drive 138 kV | AEP | AEP | 0 | 0 | 0 | 1.1968 | 0 | 0 | 0 | 10
Comorn Del Pt-Birchwood 230 kV | DOM | DOM | 0 | 0 | 1.2245 | 0.71514 | 0 | 0 | 16 | 7
Wolf Creek-West Watertown 138 kV | AEP | AEP | 0 | 0 | 0 | 1.28 | 0 | 0 | 0 | 25
Summershade EKPC-Summer Shade 161 kV | EKPC | TVAZ | 0 | 0 | 1.2861 | 1.1882 | 0 | 0 | 54 | 41
Silver Run-Hope Creek 230 kV | DPL | DPL | 0 | 0 | 1.2931 | 0.68652 | 0 | 0 | 13 | 15
Bremo-New Bus 138 kV | DOM | AEP | 0 | 0 | 0.17957 | 1.3053 | 0 | 0 | 18 | 120
S River-Red Oak A 230 kV | JCPL | JCPL | 0 | 0 | 1.2352 | 1.5286 | 0 | 0 | 18 | 21
Clifford-Boxwood 138 kV | AEP | AEP | 0 | 0 | 0.15608 | 1.5349 | 0 | 0 | 25 | 179
Atlantic-S River 230 kV | JCPL | JCPL | 0 | 0 | 2.0529 | 0.64207 | 0 | 0 | 22 | 4
Ridgeley-Hampshire 138 kV | APS | APS | 0 | 0 | 0.14958 | 2.1498 | 0 | 0 | 5 | 41
Jackson-Bair 115 kV | METED | METED | 0 | 0 | 0.73341 | 2.249 | 0 | 0 | 16 | 60
Ironbridge-Chesterfield 230 kV | DOM | DOM | 0 | 0 | 0.36847 | 2.3419 | 0 | 0 | 21 | 78
Middle Tap-Corson 138 kV | AECO | AECO | 0 | 0 | 2.5733 | 2.8743 | 0 | 0 | 64 | 58
Moseley-Roanoke 138 kV | AEP | AEP | 0 | 0 | 0.087651 | 3.0687 | 0 | 0 | 1 | 15
Cardiff-New Freedom 230 kV | AECO | PSEG | 0 | 0 | 3.2466 | 2.1563 | 0 | 0 | 34 | 19
Bristers-Nokesville Del Pt 230 kV | DOM | DOM | 0 | 0 | 0 | 3.7519 | 0 | 0 | 0 | 11
Fieldale-Oaklevel 138 kV | AEP | AEP | 0 | 0 | 0.030449 | 3.9758 | 0 | 0 | 1 | 39
Northern Neck #6 TR 230/115 kV | DOM | DOM | 0 | 0 | 0.16024 | 4.429 | 0 | 0 | 30 | 611
Brunner Island-Yorkana 230 kV | PLGRP | METED | 0 | 0 | 0.10284 | 5.5426 | 0 | 0 | 2 | 90
Joshua Falls TR 765/138 kV | AEP | AEP | 0 | 0 | 5.0158 | 5.6932 | 0 | 0 | 87 | 90
Pleasant View TR 500/230 kV | DOM | DOM | 0 | 0 | 3.2745 | 6.2273 | 0 | 0 | 10 | 6
Sapony-Carson 230 kV | DOM | DOM | 0 | 0 | 0 | 6.8085 | 0 | 0 | 0 | 160
PJM Queue AE2-140-Danville 138 kV | AEP | AEP | 0 | 0 | 0 | 10.2722 | 0 | 0 | 0 | 87
Hyatt-Maliszewski 345 kV | AEP | AEP | 0 | 0 | 5.1344 | 15.2522 | 0 | 0 | 63 | 128
Three Mile Island-PJM Queue AE2-211 230 kV | METED | METED | 0 | 0 | 6.8555 | 15.7996 | 0 | 0 | 48 | 109
Aspen-Brambleton 500 kV | DOM | DOM | 0 | 0 | 0 | 16.2213 | 0 | 0 | 0 | 10
PJM Queue AE2-211-Jackson 230 kV | METED | METED | 0.015609 | 0 | 5.7458 | 16.574 | 1 | 0 | 30 | 100
PJM Queue AE1-155-Northern Neck 115 kV | DOM | DOM | 0 | 0 | 0 | 16.6362 | 0 | 0 | 0 | 1566
Claytor-South Christainsburg 138 kV | AEP | AEP | 0 | 0 | 4.0532 | 26.1846 | 0 | 0 | 86 | 311
Frostburg-Ridgeley 138 kV | APS | APS | 0 | 0 | 19.7546 | 27.1677 | 0 | 0 | 834 | 951
Jacksons Ferry-Cloverdale 765 kV | AEP | AEP | 0 | 0 | 0 | 27.8606 | 0 | 0 | 0 | 16
E Windsor-Windsor 230 kV | JCPL | JCPL | 0 | 0 | 28.2879 | 46.5289 | 0 | 0 | 113 | 139
Goose Creek TR 500/230 kV | DOM | DOM | 0 | 0 | 3.8839 | 72.8247 | 0 | 0 | 10 | 70
Red Lion-Keeney 230 kV | DPL | DPL | 0 | 0 | 109.0004 | 112.1154 | 0 | 0 | 866 | 831
Goose Creek-Aspen 500 kV | DOM | DOM | 0 | 0 | 30.1946 | 521.3994 | 0 | 0 | 234 | 1207
*Note: Includes PJM internal and prospective M2M constraints >= $100,000 in 2025, 2029, 2032 or 2035. This list DOES NOT represent the list of congestion drivers for the 2024/25 Long-Term Window.