8/31/2026

- TARA options files have been included for N-1/N-1-1, along with N-1-1 exclude files

- TO Area update:

  - ComEd:

    - A summary document (2026 RTEP Window 1 - ComEd Rating Criteria.docx) has been included as reference for ComEd’s rating criteria.

    - The winter and light load conductor limits for the following line has been corrected in the 2031 LL GD analysis results (updated values are noted in red below):

| Fr Bus | Name | To Bus | Name | CKT | KVs | Areas | WN (MVA) | WLTE (MVA) | WSTE (MVA) | WLD (MVA) | LLN (MVA) | LLLTE (MVA) | LLSTE (MVA) | LLLD (MVA) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 270694 | CHERRY VA; B | 270908 | PRAIRIE ; B | 1 | 345 | 222 | 1498 | 1711 | 1821 | 2052 | 1438 | 1662 | 1768 | 1990 |

    - The Alpine-Belvidere 138 kV FG 2026-W1-N11-ST133 has been corrected to informational-only.

    - The following York-Butterfield 138 kV line FGs have been marked as competitive. While the facility is not conductor limited, the limiting equipment is not within the substation, but is rather limited by line equipment:

      - 2026-W1-N1-ST2, 2026-W1-N1-ST8, 2026-W1-N1-ST9, 2026-W1-N1-ST10

      - 2026-W1-N11-ST126, 2026-W1-N11-ST129, 2026-W1-N11-ST151, 2026-W1-N11-ST153, 2026-W1-N11-ST162, 2026-W1-N11-ST163, 2026-W1-N11-ST164, 2026-W1-N11-ST177, 2026-W1-N11-ST196

    - The following Lisle-Lockport 345 kV FGs have been marked as competitive:

      - 2026-W1-N11-ST194, 2026-W1-N11-ST199, 2026-W1-N11-ST207

    - The following Goodings Grove-Lockport 345 kV FG has been marked as competitive:

      - 2026-W1-N11-ST219

    - The following Lombard 345/138 kV transformer FGs have been marked as competitive:

      - 2026-W1-N1-ST12

      - 2026-W1-N11-ST155, 2026-W1-N11-ST158, 2026-W1-N11-ST186, 2026-W1-N11-ST188, 2026-W1-N11-ST200, 2026-W1-N11-ST215; 2026-W1-N11-ST152, 2026-W1-N11-ST159, 2026-W1-N11-ST183, 2026-W1-N11-ST184, 2026-W1-N11-ST197, 2026-W1-N11-ST203, 2026-W1-N11-ST213, 2026-W1-N11-ST217

    - The following Lombard-Electric Jct. 345 kV FGs have been marked as competitive:

      - 2026-W1-IPD-S60, 2026-W1-IPD-S64, 2026-W1-IPD-S71, 2026-W1-IPD-S72, 2026-W1-IPD-S75

    - The following Lombard-Glendale-Nordic 138 kV FGs have been marked as competitive:

      - 2026-W1-N11-ST139, 2026-W1-N11-ST141, 2026-W1-N11-ST148, 2026-W1-N11-ST154, 2026-W1-N11-ST157, 2026-W1-N11-ST166, 2026-W1-N11-ST172, 2026-W1-N11-ST176, 2026-W1-N11-ST180, 2026-W1-N11-ST202, 2026-W1-N11-ST218

    - The following Silver Lake 345/138 kV transformer FGs have been marked as competitive:

      - 2026-W1-N11-ST168, 2026-W1-N11-ST178

    - The following Round Lake Beach-Antioch-Round Lake-Wilson Rd.-Silver Lake 138 kV FGs have been marked as competitive:

      - 2026-W1-N11-ST123, 2026-W1-N11-ST124, 2026-W1-N11-ST125, 2026-W1-N11-ST130, 2026-W1-N11-ST137, 2026-W1-N11-ST140, 2026-W1-N11-ST146, 2026-W1-N11-ST156, 2026-W1-N11-ST165, 2026-W1-N11-ST167, 2026-W1-N11-ST170, 2026-W1-N11-ST179, 2026-W1-N11-ST185, 2026-W1-N11-ST189, 2026-W1-N11-ST190, 2026-W1-N11-ST212

    - The following Bartlett-Spaulding 138 kV FGs have been marked as competitive:

      - 2026-W1-N11-ST138, 2026-W1-N11-ST144

    - The following Bedford-Clearing 138 kV FGs have been marked as competitive:

      - 2026-W1-N11-ST171, 2026-W1-N11-ST208

    - The following Itasca 345/138 kV transformer FGs have been marked as competitive:

      - 2026-W1-N11-ST174, 2026-W1-N11-ST175, 2026-W1-N11-ST209, 2026-W1-N11-ST211, 2026-W1-N11-ST214, 2026-W1-N11-ST216

    - The following Elk Grove 345/138 kV transformer FGs have been marked as competitive:

      - 2026-W1-N11-ST119 – 2026-W1-N11-ST122, 2026-W1-N11-ST127, 2026-W1-N11-ST128, 2026-W1-N11-ST131, 2026-W1-N11-ST132, 2026-W1-N11-ST134, 2026-W1-N11-ST135, 2026-W1-N11-ST169, 2026-W1-N11-ST173, 2026-W1-N11-ST191, 2026-W1-N11-ST195, 2026-W1-N11-ST210

    - The following Silver Lake-Wayne 345 kV, Dierking-Greenleaf 138 kV and Pine-Itasca 138 kV FGs have been corrected from informational-only to competitive and assigned the following FG#s:

      - Silver Lake-Wayne 345 kV: 2026W1-N11-ST223 – 2026W1-N11-ST226, 2026W1-N11-ST236, 2026W1-N11-ST237

      - Dierking-Greenleaf 138 kV: 2026W1-N11-ST220 – 2026W1-N11-ST222, 2026W1-N11-ST227 – 2026W1-N11-ST232, 2026W1-N11-ST235

      - Pine-Itasca 138 kV: 2026W1-N11-ST233, 2026W1-N11-ST234, 2026W1-N11-ST238, 2026W1-N11-ST239

    - ComEd provided idevs (2031 RTEP V2 FERC881 ratings) to increase the ratings on Elk Grove-Lombard 345 kV and Veterans-Will County 138 kV due to FERC 881. The following FGs have been removed as a result:

      - 2026W1-N11-ST81, 2026W1-N11-ST83; 2026-W1-N11-ST198, 2026-W1-N11-ST20

    - The 2031 summer N-1-1 non-convergence FG 2026W1-N11-SNCV1 was removed.

    - A total of five FGs were added to the summer N-1 and generator deliverability (gen deliv) results as detailed below – due to facility loadings exceeding short-term emergency ratings:

      - Two FGs were added in summer N-1 for the Elk Grove 345/138 kV transformer: 2026W1-N1-ST21, 2026W1-N1-ST22

      - Two FGs were added in summer gen deliv for Elk Grove 345/138 kV transformer: 2026W1-GD-S174, 2026W1-GD-S175

      - One FG was added in summer gen deliv for Goodings Grove-Lockport 345 kV blue line: 2026W1-GD-S184

  - PPL:

    - PPL provided contingency edits that do not impact the posted results. No Flowgates are being added or removed from this update. Please see PPL_Contingency_Update_8.18.2026.xlsx and PPL_Contingency_Update_8.27.2026.xlsx

  - Dominion:

    - Dominion provided contingency and idev edits that do not impact the posted results. No flowgates will be added or removed as a result of these updates. Please see DOM_EndlessCaverns_Con_Update.xlsx and DOM_Trowbridge_WIN.idv