## Reactive Interfaces
PJM Reactive Interface Limit Values - Summer/Winter MW
2024-2039
Interface | Type* | Summer/Winter Rating
BLABED Interface | Base | 3953/4127
EAST Interface | Base | 9379/6977
WEST Interface | Base | 6564/5256
CLEVELAND Interface | Base | 3992/3992
AEP-DOM Interface | Base | 4460/4460
AP SOUTH Interface | Base | 8141/8670
CENTRAL Interface | Base | 3625/2966
50045005 Interface | Base | 3397/3033
Joshua Falls-Yeat Interface | Base | 2471/2009
*See the specific transmission lines that comprise the Interfaces and Contingencies within the posted event file.

## Load DR
Adjusted PJM Peak Load and Energy Forecast
Load | 2025 | 2029 | 2032 | 2035 | 2039
Peak (MW) | 154333 | 167389 | 173817 | 181330 | 192460
Energy (GWh) | 832674 | 943741 | 1001807 | 1051812 | 1131523
Notes: 1.) Peak and energy values from the February 2024 PJM Load Forecast Report Table B-1 and Table E-1 adjusted for additional non-conforming loads.
2.) Adjustments include Dominion Behind-the-Meter load supported by Behind-the-Meter generation & PPL, ME, PN, APS non-conforming load.
3.) Model inputs are at the zonal level. To the extent zonal load shapes create different diversity, modeled PJM peak load may vary.
Demand Resource | 2025 | 2029 | 2032 | 2035 | 2039
Demand Resource (MW) | 7814 | 8265 | 8500 | 8772 | 9210
Note: 1.) Values from the February 2024 PJM Load Forecast Report Table B-7.

## Load Forecast Sensitivity
Load Forecast Sensitivity using 2025 Load Report---2029 Modeled Year
Table B-9* Comparison Adjustments Above Embedded to Summer Peak Load (MW) for Each PJM Zone
| 2024 Load Report | 2025 Load Report | Change
Zone | 2029 | 2029 | 2029 | Comment
AE | 0 | 0 | 0
AEP | 3432 | 6980 | 3548 | Load increases were added to the area forecast and the individual large load additions were located at specific buses based on the descriptions of supplemental projects from 2024 TEAC presentations.
APS | 803 | 998 | 195 | Load increases were added to the area forecast and distributed over existing load buses.
ATSI | 2 | 856.6 | 854.6 | Load increases were added to the area forecast and the individual large load additions were located at specific buses based on the descriptions of supplemental projects from 2024 TEAC presentations.
BGE | 0 | 80 | 80 | Load increases were added to the area forecast and distributed over existing load buses.
COMED | 0 | 1788 | 1788 | Load increases were added to the area forecast and the individual large load additions were located at specific buses based on the descriptions of supplemental projects from 2024 TEAC presentations.
DAYTON | 2 | 335 | 333 | Load increases were added to the area forecast and distributed over existing load buses.
DEOK | 6 | 198 | 192 | Load increases were added to the area forecast and distributed over existing load buses.
DLCO | 0 | 0 | 0
DOM | 10263 | 9150.1 | -1112.9 | Load changes were added to the area forecast and distributed over existing load buses.
DPL | 0 | 0 | 0
EKPC | -5 | 0 | 5 | Load increases were added to the area forecast and distributed over existing load buses.
JCPL | 0 | 0 | 0
METED | 0 | 0 | 0
OVEC | 0 | 0 | 0
PECO | 0 | 178 | 178 | Load increases were added to the area forecast and distributed over existing load buses.
PENLC | 1 | 0 | -1 | Load changes were added to the area forecast and distributed over existing load buses.
PEPCO | 0 | 0 | 0
PL | 3 | 3955 | 3952 | Load increases were added to the area forecast and the individual large load additions were located at specific buses based on the descriptions of supplemental projects from 2024 TEAC presentations.
PS | 252 | 815 | 563 | Load increases were added to the area forecast and distributed over existing load buses.
RECO | 0 | 0 | 0
UGI | 0 | 0 | 0
*Comparison using the 2025 and 2024 PJM Load Reports. See links to reports below.
https://www.pjm.com/-/media/DotCom/planning/res-adeq/load-forecast/2025-load-report-tables.xlsx
https://www.pjm.com/-/media/DotCom/planning/res-adeq/load-forecast/previous-load-forecast-reports.zip

## Fuel-Emissions
Fuel Prices*- ($/MMBtu)
| 2025 | 2029 | 2032 | 2035 | 2039
Coal | 2.7768 | 3.0952 | 3.3864 | 3.6531 | 3.9661
Gas | 3.4265 | 5.4513 | 6.3444 | 7.0005 | 7.4962
OIL-H | 13.1808 | 15.3066 | 16.7171 | 17.9309 | 19.7004
OIL-L | 16.6345 | 19.5433 | 21.2233 | 22.6682 | 24.7752
*Average Annual Values
Emission Prices ($/Ton)
| 2025 | 2029 | 2032 | 2035 | 2039
SO2 | 2.0808 | 2.2523 | 2.3902 | 2.5365 | 2.7456
NOx Annual | 2.5625 | 2.7602 | 2.9291 | 3.1084 | 3.3647
NOx Seasonal | 1460.625 | 1754.4534 | 1465.7991 | 1568.7711 | 1721.4566
National CO2 | 0 | 0 | 0 | 0 | 0
RGGI CO2 - MD,DE,NJ | 16.3255 | 19.4579 | 22.2483 | 23.9706 | 28.7503

## Reserve Margin
PJM Market Efficiency Base Case Reserve Margin
| 2025 | 2029 | 2032 | 2035 | 2039
Forecasted Summer Peak Net Internal Demand (MW) | 146519 | 159124 | 165317 | 172558 | 183250
Reserve Requirement (MW) - (assumed 17.8% IRM) | 172599.382 | 187448.072 | 194743.426 | 203273.324 | 215868.5
Existing + ISA/NJ SAA Level Generation - Retirement (MW of Capacity) | 181424.139 | 189283.7878 | 190334.7878 | 190334.7878 | 190334.7878
Non-ISA Level Generation (MW of Capacity) | 0 | 0 | 10475 | 13037 | 22014
Total Generation (MW of Capacity) | 181424.139 | 189283.7878 | 200809.7878 | 203371.7878 | 212348.7878
Reserve Margin Modeled | 23.82% | 18.95% | 21.47% | 17.86% | 15.88%
Notes: Generation includes existing and projected PJM internal capacity resources.
Unit level solar and wind resource capacity at 38% and 13% of maximum capability, respectively.
Model informed by the 2029 RTEP Powerflow and the Generation Interconnection Queue (Queue status as of 11/08/24)
Non-ISA level units include SusISAs, FSAs, Impact queue status.

## Area Summer Capability by Type
2025 Summer Capability by Generation Type (MW)
Area | Battery Storage | Combined Cycle | Conventional Hydro | CT Gas | CT Oil | CT Other | Fuel Cell | IC Gas | IC Oil | IC Renewable | Nuclear | Pumped Storage Hydro | Solar PV | ST Coal | ST Gas | ST Oil | ST Other | ST Renewable | Wind | Total
Allegheny Power | 50.2 | 2808.4 | 138 | 1408.6 |  |  |  | 29.5 |  | 21 |  |  | 1063.7 | 5125.7 |  |  |  |  | 1169.6 | 11814.7
American Electric Power | 269 | 9498 | 790 | 3800.2 |  |  |  |  | 7.47 | 37.56 | 2190.6 | 244 | 4240.8 | 13565.6 | 756.7 |  | 54.8 | 63 | 3578.9 | 39096.63
Atlantic Electric |  | 740.5 |  | 386.4 |  |  |  |  | 8 | 3 |  |  | 84.7 | [5 empty] | 7.5 | 1230.1
Baltimore Gas & Electric Company | 2.5 |  |  | 263.4 | 216 |  |  |  |  | 8.1 | 1707.8 |  | 31.1 | 1586.6 |  | 397 |  | 52 |  | 4264.5
Commonwealth Edison Co. | 61.56 | 4809.4 |  | 6057.4 | 100 | 169.6 |  | 51 |  | 10.1 | 10531.2 |  | 149 | 2650 |  |  |  |  | 5123.1 | 29712.36
Dayton Power & Light Co. |  |  |  | 1413.5 |  |  |  |  | 34 |  |  |  | 663.7 | [6 empty] | 2111.2
Delmarva Power & Light Company | 21 | 2485.7 |  | 969.4 | 452.5 |  | 26.4 |  | 88.9 | 16.8 |  |  | 745.95 | 411.9 | 698.9 | 0 | 71.3 |  |  | 5988.75
Duke Energy Ohio/Kentucky | 18 | 470.1 |  | 580.7 | 82 |  |  |  |  | 4.5 |  |  | 297.4 | 1620 |  |  | 50.5 |  |  | 3123.2
Duquesne Light Company |  | 341.7 | 12 |  | 18.1 |  |  | 14.4 |  |  | 1790.5 |  | 45.9 | [6 empty] | 2222.6
East Kentucky Power Coop. | 55 |  | 175.9 | 760.9 | [8 empty] | 430 | 1687 | [5 empty] | 3108.8
FirstEnergy ATSI | 4 | 4462.3 |  | 1417.6 | 163.6 |  |  |  | 2.5 | 10.1 | 2143 |  | 566.9 | 136 | 330.3 |  |  |  | 66.7 | 9303
Jersey Central Power & Light Company | 160.8 | 1641.3 |  | 554.2 | [5 empty] | 13.7 |  | 420 | 501.87 | [6 empty] | 3291.87
Metropolitan Edison Company | 20 | 2640.3 | 19 |  | 417.4 | 3.8 |  |  |  | 11.1 |  |  | 160 | 115 |  |  |  | 60 |  | 3446.6
Ohio Valley Electric Corporation | [13 empty] | 2157.2 | [5 empty] | 2157.2
PECO Energy Company |  | 4215 | 572 | 66 | 828 |  |  |  | 10 |  | 4822 | 1070 | 3.1 |  |  | 0 |  | 103 |  | 11689.1
Pennsylvania Electric Company | 24 | 1821.2 | 90.4 | 307 | 62 |  |  | 204.6 | 17 | 13.7 |  | 483 | 295.5 | 4174.8 | 598 |  |  | 78.3 | 1234.7 | 9404.2
Potomac Electric Power Company | 1 | 2522.9 |  | 412.2 | 540.4 |  |  |  |  | 4.6 |  |  | 53.8 |  | 1180.3 |  |  | 52 |  | 4767.2
PPL Electric Utilities | 20 | 6198.6 | 700.9 | 193.799 | 36 | 51.7 |  | 12 | 5 | 13.6 | 2505 |  | 164.6 | 354.6 | 4640.9 |  |  | 36.7 | 308 | 15241.399
Public Service Electric & Gas Company | 4.5 | 4925.2 | 5.5 | 1159.6 | 38.4 |  |  | 2.2 |  | 12.72 | 3463 |  | 247.2 |  |  |  |  | 176.8 |  | 10035.12
Virginia Power Company | 31 | 8308.5 | 603.9 | 3915.3 | 239.8 | 20.6 |  |  | 4 | 125.3 | 3585.5 | 3015 | 6890.387 | 2498.1 | 11 |  |  | 410.6 | 508.3 | 30167.287
Total | 742.56 | 57889.1 | 3107.6 | 23666.199 | 3194.2 | 245.7 | 26.4 | 313.7 | 176.87 | 305.88 | 32738.6 | 5232 | 16635.607 | 36082.5 | 8216.1 | 397 | 176.6 | 1032.4 | 11996.8 | 202175.816
2029 Summer Capability by Generation Type (MW)
Area | Battery Storage | Combined Cycle | Conventional Hydro | CT Gas | CT Oil | CT Other | Fuel Cell | IC Gas | IC Oil | IC Renewable | Nuclear | Pumped Storage Hydro | Solar PV | ST Coal | ST Gas | ST Oil | ST Other | ST Renewable | Wind | Total
Allegheny Power | 120.2 | 3408.4 | 138 | 1408.6 |  |  |  | 29.5 |  | 21 |  |  | 1794.82 | 5125.7 |  |  |  |  | 1169.6 | 13215.82
American Electric Power | 786 | 10598 | 790 | 3800.2 |  |  |  |  | 7.47 | 37.56 | 2190.6 | 244 | 7617.7 | 13565.6 | 756.7 |  | 54.8 | 63 | 3928.9 | 44440.53
Atlantic Electric | 40 | 740.5 |  | 386.4 |  |  |  |  | 8 | 3 |  |  | 382.7 | [5 empty] | 7.5 | 1568.1
Baltimore Gas & Electric Company | 2.5 |  |  | 263.4 | 216 |  |  |  |  | 8.1 | 1707.8 |  | 31.1 | 0 |  | 0 |  | 52 |  | 2280.9
Commonwealth Edison Co. | 71.56 | 4809.4 |  | 6057.4 | 100 | 169.6 |  | 51 |  | 10.1 | 10531.2 |  | 674.9 | 2650 |  |  |  |  | 7429 | 32554.16
Dayton Power & Light Co. |  |  |  | 1413.5 |  |  |  |  | 34 |  |  |  | 963.7 | [6 empty] | 2411.2
Delmarva Power & Light Company | 40 | 2485.7 |  | 969.4 | 452.5 |  | 26.4 |  | 88.9 | 16.8 |  |  | 1314.35 | 0 | 698.9 | 0 | 71.3 |  | 247.8 | 6412.05
Duke Energy Ohio/Kentucky | 18 | 470.1 |  | 580.7 | 82 |  |  |  |  | 4.5 |  |  | 347.4 | 1620 |  |  | 50.5 |  |  | 3173.2
Duquesne Light Company |  | 341.7 | 38.3 |  | 18.1 |  |  | 14.4 |  |  | 1790.5 |  | 45.9 | [6 empty] | 2248.9
East Kentucky Power Coop. | 55 |  | 175.9 | 760.9 | [8 empty] | 961 | 1687 | [5 empty] | 3639.8
FirstEnergy ATSI | 12 | 5312.3 |  | 1417.6 | 163.6 |  |  |  | 2.5 | 10.1 | 2143 |  | 1180.1 | 136 | 330.3 |  |  |  | 66.7 | 10774.2
Jersey Central Power & Light Company | 269.9 | 1641.3 |  | 554.2 | [5 empty] | 13.7 |  | 420 | 708.37 | [6 empty] | 3607.47
Metropolitan Edison Company | 40 | 2640.3 | 19 |  | 417.4 | 3.8 |  |  |  | 11.1 |  |  | 170 | 115 |  |  |  | 60 |  | 3476.6
Ohio Valley Electric Corporation | [13 empty] | 2157.2 | [5 empty] | 2157.2
PECO Energy Company |  | 4215 | 572 | 66 | 828 |  |  |  | 10 |  | 4822 | 1070 | 3.1 |  |  | 0 |  | 103 |  | 11689.1
Pennsylvania Electric Company | 44 | 1821.2 | 90.4 | 307 | 62 |  |  | 204.6 | 17 | 13.7 |  | 483 | 927.3 | 4174.8 | 598 |  |  | 78.3 | 1344.6 | 10165.9
Potomac Electric Power Company | 1 | 2522.9 |  | 412.2 | 432.4 |  |  |  |  | 4.6 |  |  | 53.8 |  | 1180.3 |  |  | 52 |  | 4659.2
PPL Electric Utilities | 80 | 6198.6 | 700.9 | 193.799 | 36 | 51.7 |  | 12 | 5 | 13.6 | 2505 |  | 396.6 | 354.6 | 4640.9 |  |  | 36.7 | 308 | 15533.399
Public Service Electric & Gas Company | 524.5 | 4925.2 | 5.5 | 1159.6 | 38.4 |  |  | 2.2 |  | 12.72 | 3463 |  | 253.2 |  |  |  |  | 176.8 |  | 10561.12
Virginia Power Company | 474.2 | 9446.5 | 603.9 | 3915.3 | 239.8 | 20.6 |  |  | 4 | 125.3 | 3585.5 | 3015 | 9539.127 | 2498.1 | 11 |  |  | 410.6 | 3148.3 | 37037.227
Total | 2578.86 | 61577.1 | 3133.9 | 23666.199 | 3086.2 | 245.7 | 26.4 | 313.7 | 176.87 | 305.88 | 32738.6 | 5232 | 27365.167 | 34084 | 8216.1 | 0 | 176.6 | 1032.4 | 17650.4 | 221606.076
2032 Summer Capability by Generation Type (MW)
Area | Battery Storage | Combined Cycle | Conventional Hydro | CT Gas | CT Oil | CT Other | Fuel Cell | IC Gas | IC Oil | IC Renewable | Nuclear | Pumped Storage Hydro | Solar PV | ST Coal | ST Gas | ST Oil | ST Other | ST Renewable | Wind | Total
Allegheny Power | 260.2 | 3408.4 | 138 | 1458.6 |  |  |  | 29.5 |  | 21 |  |  | 2971.82 | 5125.7 |  |  |  |  | 1249.6 | 14662.82
American Electric Power | 2496.35 | 10598 | 841 | 3800.2 |  |  |  |  | 7.47 | 37.56 | 2190.6 | 244 | 16609.69 | 13565.6 | 756.7 |  | 54.8 | 63 | 4204.84 | 55469.81
Atlantic Electric | 123 | 740.5 |  | 386.4 |  |  |  |  | 8 | 3 |  |  | 451.7 | [5 empty] | 1949.5 | 3662.1
Baltimore Gas & Electric Company | 302.5 |  |  | 263.4 | 216 |  |  |  |  | 8.1 | 1707.8 |  | 31.1 | 0 |  | 0 |  | 52 |  | 2580.9
Commonwealth Edison Co. | 281.56 | 4809.4 |  | 6057.4 | 100 | 169.6 |  | 51 |  | 10.1 | 10531.2 |  | 1371.2 | 2650 |  |  |  |  | 7629 | 33660.46
Dayton Power & Light Co. | 125 |  |  | 1413.5 |  |  |  |  | 34 |  |  |  | 1480.1 | [6 empty] | 3052.6
Delmarva Power & Light Company | 40 | 2485.7 |  | 969.4 | 452.5 |  | 26.4 |  | 88.9 | 16.8 |  |  | 1314.35 | 0 | 698.9 | 0 | 71.3 |  | 247.8 | 6412.05
Duke Energy Ohio/Kentucky | 18 | 470.1 |  | 580.7 | 82 |  |  |  |  | 4.5 |  |  | 347.4 | 1620 |  |  | 50.5 |  |  | 3173.2
Duquesne Light Company | 75 | 341.7 | 38.3 |  | 18.1 |  |  | 14.4 |  |  | 1790.5 |  | 55.9 | [6 empty] | 2333.9
East Kentucky Power Coop. | 411.5 |  | 175.9 | 760.9 | [8 empty] | 1808 | 1687 | [5 empty] | 4843.3
FirstEnergy ATSI | 12 | 5312.3 |  | 1854.1 | 163.6 |  |  |  | 2.5 | 10.1 | 2143 |  | 1426.1 | 136 | 330.3 |  |  |  | 66.7 | 11456.7
Jersey Central Power & Light Company | 519.9 | 1641.3 |  | 554.2 | [5 empty] | 13.7 |  | 420 | 708.37 | [5 empty] | 4558 | 8415.47
Metropolitan Edison Company | 132.9 | 2640.3 | 19 |  | 417.4 | 3.8 |  |  |  | 11.1 |  |  | 218.5 | 115 |  |  |  | 60 |  | 3618
Ohio Valley Electric Corporation | [12 empty] | 120 | 2157.2 | [5 empty] | 2277.2
PECO Energy Company |  | 4215 | 572 | 66 | 828 |  |  |  | 10 |  | 4822 | 1070 | 3.1 |  |  | 0 |  | 103 |  | 11689.1
Pennsylvania Electric Company | 74 | 1821.2 | 90.4 | 307 | 62 |  |  | 204.6 | 17 | 13.7 |  | 483 | 1086.3 | 4174.8 | 598 |  |  | 78.3 | 1344.6 | 10354.9
Potomac Electric Power Company | 1 | 2522.9 |  | 412.2 | 432.4 |  |  |  |  | 4.6 |  |  | 53.8 |  | 1180.3 |  |  | 52 |  | 4659.2
PPL Electric Utilities | 100 | 6198.6 | 700.9 | 193.799 | 36 | 51.7 |  | 12 | 5 | 13.6 | 2505 |  | 808.2 | 354.6 | 4640.9 |  |  | 36.7 | 308 | 15964.999
Public Service Electric & Gas Company | 524.5 | 4925.2 | 5.5 | 1159.6 | 38.4 |  |  | 2.2 |  | 12.72 | 3463 |  | 253.2 |  |  |  |  | 176.8 | 1148 | 11709.12
Virginia Power Company | 1154.1 | 9446.5 | 603.9 | 3915.3 | 239.8 | 20.6 |  |  | 4 | 125.3 | 3585.5 | 3015 | 11365.527 | 2498.1 | 11 |  |  | 410.6 | 3948.3 | 40343.527
Total | 6651.51 | 61577.1 | 3184.9 | 24152.699 | 3086.2 | 245.7 | 26.4 | 313.7 | 176.87 | 305.88 | 32738.6 | 5232 | 42484.357 | 34084 | 8216.1 | 0 | 176.6 | 1032.4 | 26654.34 | 250339.356
2035 Summer Capability by Generation Type (MW)
Area | Battery Storage | Combined Cycle | Conventional Hydro | CT Gas | CT Oil | CT Other | Fuel Cell | IC Gas | IC Oil | IC Renewable | Nuclear | Pumped Storage Hydro | Solar PV | ST Coal | ST Gas | ST Oil | ST Other | ST Renewable | Wind | Total
Allegheny Power | 260.2 | 3408.4 | 138 | 1458.6 |  |  |  | 29.5 |  | 21 |  |  | 2971.82 | 5125.7 |  |  |  |  | 1249.6 | 14662.82
American Electric Power | 2536.35 | 10598 | 841 | 3800.2 |  |  |  |  | 7.47 | 37.56 | 2190.6 | 244 | 18268.69 | 13565.6 | 756.7 |  | 54.8 | 63 | 4204.84 | 57168.81
Atlantic Electric | 123 | 740.5 |  | 386.4 |  |  |  |  | 8 | 3 |  |  | 451.7 | [5 empty] | 1949.5 | 3662.1
Baltimore Gas & Electric Company | 302.5 |  |  | 263.4 | 216 |  |  |  |  | 8.1 | 1707.8 |  | 31.1 | 0 |  | 0 |  | 52 |  | 2580.9
Commonwealth Edison Co. | 291.56 | 5359.4 |  | 6057.4 | 100 | 169.6 |  | 51 |  | 10.1 | 10531.2 |  | 1861.2 | 2650 |  |  |  |  | 7638.3 | 34719.76
Dayton Power & Light Co. | 125 |  |  | 1413.5 |  |  |  |  | 34 |  |  |  | 1658.1 | [6 empty] | 3230.6
Delmarva Power & Light Company | 40 | 2485.7 |  | 969.4 | 452.5 |  | 26.4 |  | 88.9 | 16.8 |  |  | 1383.35 | 0 | 698.9 | 0 | 71.3 |  | 247.8 | 6481.05
Duke Energy Ohio/Kentucky | 18 | 470.1 |  | 580.7 | 82 |  |  |  |  | 4.5 |  |  | 347.4 | 1620 |  |  | 50.5 |  |  | 3173.2
Duquesne Light Company | 75 | 341.7 | 38.3 |  | 18.1 |  |  | 14.4 |  |  | 1790.5 |  | 55.9 | [6 empty] | 2333.9
East Kentucky Power Coop. | 411.5 |  | 175.9 | 760.9 | [8 empty] | 1903 | 1687 | [5 empty] | 4938.3
FirstEnergy ATSI | 12 | 5312.3 |  | 1854.1 | 163.6 |  |  |  | 2.5 | 10.1 | 2143 |  | 2327.77 | 136 | 330.3 |  |  |  | 66.7 | 12358.37
Jersey Central Power & Light Company | 519.9 | 1641.3 |  | 554.2 | [5 empty] | 13.7 |  | 420 | 708.37 | [5 empty] | 4558 | 8415.47
Metropolitan Edison Company | 132.9 | 2640.3 | 19 |  | 417.4 | 3.8 |  |  |  | 11.1 |  |  | 218.5 | 115 |  |  |  | 60 |  | 3618
Ohio Valley Electric Corporation | [12 empty] | 120 | 2157.2 | [5 empty] | 2277.2
PECO Energy Company |  | 4215 | 572 | 66 | 828 |  |  |  | 10 |  | 4822 | 1070 | 3.1 |  |  | 0 |  | 103 |  | 11689.1
Pennsylvania Electric Company | 74 | 1821.2 | 90.4 | 307 | 62 |  |  | 204.6 | 17 | 13.7 |  | 483 | 1086.3 | 4174.8 | 598 |  |  | 78.3 | 1344.6 | 10354.9
Potomac Electric Power Company | 1 | 2522.9 |  | 412.2 | 432.4 |  |  |  |  | 4.6 |  |  | 53.8 |  | 1180.3 |  |  | 52 |  | 4659.2
PPL Electric Utilities | 100 | 6198.6 | 700.9 | 193.799 | 36 | 51.7 |  | 12 | 5 | 13.6 | 2505 |  | 808.2 | 354.6 | 4640.9 |  |  | 36.7 | 308 | 15964.999
Public Service Electric & Gas Company | 524.5 | 4925.2 | 5.5 | 1159.6 | 38.4 |  |  | 2.2 |  | 12.72 | 3463 |  | 253.2 |  |  |  |  | 176.8 | 1148 | 11709.12
Virginia Power Company | 1154.1 | 9446.5 | 603.9 | 3915.3 | 239.8 | 20.6 |  |  | 4 | 125.3 | 3585.5 | 3015 | 13134.527 | 2498.1 | 11 |  |  | 410.6 | 3948.3 | 42112.527
Total | 6701.51 | 62127.1 | 3184.9 | 24152.699 | 3086.2 | 245.7 | 26.4 | 313.7 | 176.87 | 305.88 | 32738.6 | 5232 | 47646.027 | 34084 | 8216.1 | 0 | 176.6 | 1032.4 | 26663.64 | 256110.326
2039 Summer Capability by Generation Type (MW)
Area | Battery Storage | Combined Cycle | Conventional Hydro | CT Gas | CT Oil | CT Other | Fuel Cell | IC Gas | IC Oil | IC Renewable | Nuclear | Pumped Storage Hydro | Solar PV | ST Coal | ST Gas | ST Oil | ST Other | ST Renewable | Wind | Total
Allegheny Power | 260.2 | 4643.4 | 138 | 1458.6 |  |  |  | 29.5 |  | 21 |  |  | 3259.8 | 5125.7 |  |  |  |  | 1329.6 | 16265.8
American Electric Power | 3360.55 | 10598 | 841 | 3800.2 |  |  |  |  | 7.47 | 37.56 | 2190.6 | 244 | 21103.29 | 13565.6 | 756.7 |  | 54.8 | 63 | 4859.84 | 61482.61
Atlantic Electric | 143 | 740.5 |  | 386.4 |  |  |  |  | 8 | 3 |  |  | 501.4 | [5 empty] | 1949.5 | 3731.8
Baltimore Gas & Electric Company | 302.5 |  |  | 263.4 | 216 |  |  |  |  | 8.1 | 1707.8 |  | 31.1 | 0 |  | 0 |  | 52 |  | 2580.9
Commonwealth Edison Co. | 705.96 | 5359.4 |  | 6057.4 | 100 | 169.6 |  | 51 |  | 10.1 | 10531.2 |  | 3920.2 | 2650 |  |  |  |  | 8484.25 | 38039.11
Dayton Power & Light Co. | 165 |  |  | 1413.5 |  |  |  |  | 34 |  |  |  | 2076 | [6 empty] | 3688.5
Delmarva Power & Light Company | 95 | 2485.7 |  | 969.4 | 452.5 |  | 26.4 |  | 88.9 | 16.8 |  |  | 1689.35 | 0 | 698.9 | 0 | 71.3 |  | 247.8 | 6842.05
Duke Energy Ohio/Kentucky | 70.2 | 470.1 |  | 580.7 | 82 |  |  |  |  | 4.5 |  |  | 527.4 | 1620 |  |  | 50.5 |  |  | 3405.4
Duquesne Light Company | 80.625 | 341.7 | 38.3 |  | 18.1 |  |  | 14.4 |  |  | 1790.5 |  | 73.4 | [6 empty] | 2357.025
East Kentucky Power Coop. | 411.5 |  | 175.9 | 760.9 | [8 empty] | 3194 | 1687 | [5 empty] | 6229.3
FirstEnergy ATSI | 12 | 5312.3 |  | 1854.1 | 163.6 |  |  |  | 2.5 | 10.1 | 2143 |  | 2486.67 | 136 | 330.3 |  |  |  | 364.36 | 12814.93
Jersey Central Power & Light Company | 519.9 | 1641.3 |  | 554.2 | [5 empty] | 13.7 |  | 420 | 708.37 | [5 empty] | 4558 | 8415.47
Metropolitan Edison Company | 132.9 | 2640.3 | 19 |  | 417.4 | 3.8 |  |  |  | 11.1 |  |  | 513.1 | 115 |  |  |  | 60 |  | 3912.6
Ohio Valley Electric Corporation | [12 empty] | 120 | 2157.2 | [5 empty] | 2277.2
PECO Energy Company |  | 4215 | 572 | 66 | 828 |  |  |  | 10 |  | 4822 | 1070 | 3.1 |  |  | 0 |  | 103 |  | 11689.1
Pennsylvania Electric Company | 234 | 1821.2 | 90.4 | 307 | 62 |  |  | 204.6 | 17 | 13.7 |  | 483 | 1831.21 | 4174.8 | 598 |  |  | 78.3 | 1344.6 | 11259.81
Potomac Electric Power Company | 521.9 | 2522.9 |  | 412.2 | 432.4 |  |  |  |  | 4.6 |  |  | 129.8 |  | 1180.3 |  |  | 52 |  | 5256.1
PPL Electric Utilities | 276.8 | 6198.6 | 700.9 | 193.799 | 36 | 51.7 |  | 12 | 5 | 13.6 | 2505 |  | 1349.2 | 354.6 | 4640.9 |  |  | 36.7 | 308 | 16682.799
Public Service Electric & Gas Company | 539.5 | 4925.2 | 5.5 | 1159.6 | 38.4 |  |  | 2.2 |  | 12.72 | 3463 |  | 263.2 |  |  |  |  | 176.8 | 1148 | 11734.12
Virginia Power Company | 1624.8 | 9446.5 | 603.9 | 3915.3 | 239.8 | 20.6 |  |  | 4 | 125.3 | 3585.5 | 3015 | 16319.427 | 2498.1 | 11 |  |  | 410.6 | 4024.9 | 45844.727
Total | 9456.335 | 63362.1 | 3184.9 | 24152.699 | 3086.2 | 245.7 | 26.4 | 313.7 | 176.87 | 305.88 | 32738.6 | 5232 | 60100.017 | 34084 | 8216.1 | 0 | 176.6 | 1032.4 | 28618.85 | 274509.351

## FSA Level Added Though 2036
Current Non-ISA/Non-NJ SAA Units Added to the Market Efficiency Base Case for Reserve Margin
PROMOD Unit | Unit Type | Area | Maximum Capability (MW) | Activation Date
Q_AE1-166 | Solar PV | Commonwealth Edison Co. | 150 | 2032-01-01
Q_AE1-173 | Solar PV | Virginia Power Company | 800 | 2032-01-01
Q_AE1-205 | Solar PV | Commonwealth Edison Co. | 200 | 2032-01-01
Q_AE1-246 | Solar PV | East Kentucky Power Coop. | 85 | 2032-01-01
Q_AE2-045 | Solar PV | American Electric Power | 200 | 2032-01-01
Q_AE2-048 | Solar PV | American Electric Power | 220 | 2032-01-01
Q_AE2-094B | Battery Storage | Virginia Power Company | 207.2 | 2032-01-01
Q_AE2-094S | Solar PV | Virginia Power Company | 300 | 2032-01-01
Q_AE2-122 | Wind | Virginia Power Company | 800 | 2032-01-01
Q_AE2-136 | Solar PV | American Electric Power | 114 | 2032-01-01
Q_AE2-152 | Solar PV | Commonwealth Edison Co. | 150 | 2032-01-01
Q_AE2-160 | Conventional Hydro | American Electric Power | 51 | 2032-01-01
Q_AE2-220 | Solar PV | American Electric Power | 125 | 2032-01-01
Q_AE2-231 | Solar PV | Virginia Power Company | 44 | 2032-01-01
Q_AE2-234 | Solar PV | American Electric Power | 35 | 2032-01-01
Q_AE2-276 | Battery Storage | American Electric Power | 50 | 2032-01-01
Q_AE2-289 | Wind | Allegheny Power | 80 | 2032-01-01
Q_AE2-305 | Solar PV | Dayton Power & Light Co. | 78 | 2032-01-01
Q_AE2-326 | Battery Storage | American Electric Power | 52.2 | 2032-01-01
Q_AF1-049 | Solar PV | American Electric Power | 125 | 2032-01-01
Q_AF1-053 | Battery Storage | Dayton Power & Light Co. | 40 | 2032-01-01
Q_AF1-054 | Solar PV | Dayton Power & Light Co. | 38.5 | 2032-01-01
Q_AF1-069B | Battery Storage | Virginia Power Company | 67.7 | 2032-01-01
Q_AF1-069S | Solar PV | Virginia Power Company | 94 | 2032-01-01
Q_AF1-071 | Solar PV | American Electric Power | 18 | 2032-01-01
Q_AF1-090 | Wind | Commonwealth Edison Co. | 200 | 2032-01-01
Q_AF1-091 | Solar PV | American Electric Power | 180 | 2032-01-01
Q_AF1-106B | Battery Storage | Pennsylvania Electric Company | 20 | 2032-01-01
Q_AF1-106S | Solar PV | Pennsylvania Electric Company | 2.5 | 2032-01-01
Q_AF1-116 | Solar PV | East Kentucky Power Coop. | 120 | 2032-01-01
Q_AF1-118B | Battery Storage | American Electric Power | 350 | 2032-01-01
Q_AF1-118S | Solar PV | American Electric Power | 350 | 2032-01-01
Q_AF1-119B | Battery Storage | American Electric Power | 195 | 2032-01-01
Q_AF1-119S | Solar PV | American Electric Power | 200 | 2032-01-01
Q_AF1-165 | Solar PV | Metropolitan Edison Company | 15 | 2032-01-01
Q_AF1-170 | Solar PV | Pennsylvania Electric Company | 77.5 | 2032-01-01
Q_AF1-207 | Solar PV | American Electric Power | 180 | 2032-01-01
Q_AF1-211 | Solar PV | Metropolitan Edison Company | 15 | 2032-01-01
Q_AF1-212 | Solar PV | Metropolitan Edison Company | 15 | 2032-01-01
Q_AF1-223 | Solar PV | American Electric Power | 150 | 2032-01-01
Q_AF1-268 | Solar PV | American Electric Power | 83 | 2032-01-01
Q_AF1-275 | Solar PV | American Electric Power | 50 | 2032-01-01
Q_AF1-282 | Solar PV | Dayton Power & Light Co. | 100 | 2032-01-01
Q_AF1-283 | Solar PV | Dayton Power & Light Co. | 130 | 2032-01-01
Q_AF1-302 | Solar PV | Allegheny Power | 42 | 2032-01-01
Q_AF1-319 | Solar PV | Dayton Power & Light Co. | 58 | 2032-01-01
Q_AF1-322 | Solar PV | American Electric Power | 200 | 2032-01-01
Q_AF1-331 | Solar PV | Commonwealth Edison Co. | 20 | 2032-01-01
Q_AF2-004 | CT Gas | FirstEnergy ATSI | 33 | 2032-01-01
Q_AF2-013 | Battery Storage | Virginia Power Company | 100 | 2032-01-01
Q_AF2-014 | Solar PV | American Electric Power | 150 | 2032-01-01
Q_AF2-018 | Solar PV | American Electric Power | 200 | 2032-01-01
Q_AF2-019 | Battery Storage | Atlantic Electric | 20 | 2032-01-01
Q_AF2-020 | Battery Storage | Atlantic Electric | 20 | 2032-01-01
Q_AF2-024 | Battery Storage | Atlantic Electric | 24 | 2032-01-01
Q_AF2-027 | Battery Storage | Commonwealth Edison Co. | 50 | 2032-01-01
Q_AF2-030 | Battery Storage | Metropolitan Edison Company | 20 | 2032-01-01
Q_AF2-031 | Battery Storage | Commonwealth Edison Co. | 20 | 2032-01-01
Q_AF2-048 | Solar PV | American Electric Power | 70 | 2032-01-01
Q_AF2-078B | Battery Storage | American Electric Power | 20 | 2032-01-01
Q_AF2-078S | Solar PV | American Electric Power | 200 | 2032-01-01
Q_AF2-084 | Solar PV | Dayton Power & Light Co. | 42 | 2032-01-01
Q_AF2-086 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AF2-090 | Solar PV | East Kentucky Power Coop. | 110 | 2032-01-01
Q_AF2-091 | Solar PV | Virginia Power Company | 34 | 2032-01-01
Q_AF2-094 | Solar PV | American Electric Power | 40 | 2032-01-01
Q_AF2-106 | Solar PV | American Electric Power | 150 | 2032-01-01
Q_AF2-107 | Solar PV | American Electric Power | 50 | 2032-01-01
Q_AF2-116 | Solar PV | Allegheny Power | 20 | 2032-01-01
Q_AF2-117 | Solar PV | Allegheny Power | 70 | 2032-01-01
Q_AF2-124 | Solar PV | Ohio Valley Electric Corporation | 120 | 2032-01-01
Q_AF2-132 | Solar PV | American Electric Power | 300 | 2032-01-01
Q_AF2-133 | Solar PV | American Electric Power | 300 | 2032-01-01
Q_AF2-137 | Solar PV | American Electric Power | 500 | 2032-01-01
Q_AF2-149 | Solar PV | American Electric Power | 80 | 2032-01-01
Q_AF2-162 | Solar PV | American Electric Power | 45 | 2032-01-01
Q_AF2-204B | Battery Storage | American Electric Power | 83.3 | 2032-01-01
Q_AF2-204S | Solar PV | American Electric Power | 110 | 2032-01-01
Q_AF2-224 | Solar PV | American Electric Power | 100 | 2032-01-01
Q_AF2-252 | Battery Storage | Commonwealth Edison Co. | 50 | 2032-01-01
Q_AF2-260 | Solar PV | East Kentucky Power Coop. | 85 | 2032-01-01
Q_AF2-291 | Solar PV | American Electric Power | 100 | 2032-01-01
Q_AF2-298 | Solar PV | Dayton Power & Light Co. | 49.9 | 2032-01-01
Q_AF2-300 | Solar PV | Virginia Power Company | 20 | 2032-01-01
Q_AF2-303B | Battery Storage | Virginia Power Company | 80 | 2032-01-01
Q_AF2-303S | Solar PV | Virginia Power Company | 100 | 2032-01-01
Q_AF2-304B | Battery Storage | Virginia Power Company | 75 | 2032-01-01
Q_AF2-304S | Solar PV | Virginia Power Company | 150 | 2032-01-01
Q_AF2-306 | Battery Storage | East Kentucky Power Coop. | 26 | 2032-01-01
Q_AF2-311 | Solar PV | Allegheny Power | 100 | 2032-01-01
Q_AF2-316 | Solar PV | Allegheny Power | 150 | 2032-01-01
Q_AF2-331 | Solar PV | PPL Electric Utilities | 50 | 2032-01-01
Q_AF2-332 | Solar PV | PPL Electric Utilities | 50 | 2032-01-01
Q_AF2-333 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AF2-334 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AF2-352 | Battery Storage | Commonwealth Edison Co. | 50 | 2032-01-01
Q_AF2-359 | Solar PV | American Electric Power | 125 | 2032-01-01
Q_AF2-363 | Solar PV | Commonwealth Edison Co. | 81.4 | 2032-01-01
Q_AF2-365 | Solar PV | East Kentucky Power Coop. | 50 | 2032-01-01
Q_AF2-366 | Solar PV | Commonwealth Edison Co. | 94.9 | 2032-01-01
Q_AF2-371 | Solar PV | American Electric Power | 84 | 2032-01-01
Q_AF2-375 | Solar PV | American Electric Power | 129.6 | 2032-01-01
Q_AF2-376 | Battery Storage | American Electric Power | 50 | 2032-01-01
Q_AF2-377 | Battery Storage | American Electric Power | 50 | 2032-01-01
Q_AF2-382 | Solar PV | American Electric Power | 75 | 2032-01-01
Q_AF2-384B | Battery Storage | Duquesne Light Company | 20 | 2032-01-01
Q_AF2-384S | Solar PV | Duquesne Light Company | 10 | 2032-01-01
Q_AF2-389 | Solar PV | American Electric Power | 50 | 2032-01-01
Q_AF2-391B | Battery Storage | East Kentucky Power Coop. | 120 | 2032-01-01
Q_AF2-391S | Solar PV | East Kentucky Power Coop. | 120 | 2032-01-01
Q_AF2-405 | Battery Storage | Pennsylvania Electric Company | 10 | 2032-01-01
Q_AF2-408 | Battery Storage | American Electric Power | 80 | 2032-01-01
Q_AF2-413 | Battery Storage | Jersey Central Power & Light Company | 250 | 2032-01-01
Q_AF2-421 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AF2-424 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AF2-425 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AF2-433 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AF2-434 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AF2-440 | Solar PV | American Electric Power | 50 | 2032-01-01
Q_AF2-444 | Solar PV | PPL Electric Utilities | 19.8 | 2032-01-01
Q_AG1-001 | Solar PV | Atlantic Electric | 31 | 2032-01-01
Q_AG1-003B | Battery Storage | American Electric Power | 100 | 2032-01-01
Q_AG1-003S | Solar PV | American Electric Power | 300 | 2032-01-01
Q_AG1-004 | Battery Storage | American Electric Power | 200 | 2032-01-01
Q_AG1-007 | Solar PV | Virginia Power Company | 9.4 | 2032-01-01
Q_AG1-017 | Wind | American Electric Power | 12.64 | 2032-01-01
Q_AG1-024 | Solar PV | American Electric Power | 85 | 2032-01-01
Q_AG1-031 | Solar PV | Virginia Power Company | 20 | 2032-01-01
Q_AG1-034 | Solar PV | American Electric Power | 127.5 | 2032-01-01
Q_AG1-038 | Solar PV | Virginia Power Company | 45 | 2032-01-01
Q_AG1-039 | Solar PV | FirstEnergy ATSI | 56 | 2032-01-01
Q_AG1-047 | Solar PV | American Electric Power | 100 | 2032-01-01
Q_AG1-050 | Battery Storage | PPL Electric Utilities | 20 | 2032-01-01
Q_AG1-052 | Battery Storage | Metropolitan Edison Company | 20 | 2032-01-01
Q_AG1-053 | Battery Storage | Metropolitan Edison Company | 20 | 2032-01-01
Q_AG1-054 | Solar PV | FirstEnergy ATSI | 40 | 2032-01-01
Q_AG1-059 | Solar PV | Allegheny Power | 100 | 2032-01-01
Q_AG1-066 | Solar PV | American Electric Power | 80 | 2032-01-01
Q_AG1-067 | Solar PV | East Kentucky Power Coop. | 38 | 2032-01-01
Q_AG1-070B | Battery Storage | East Kentucky Power Coop. | 37.5 | 2032-01-01
Q_AG1-070S | Solar PV | East Kentucky Power Coop. | 45 | 2032-01-01
Q_AG1-071B | Battery Storage | East Kentucky Power Coop. | 45 | 2032-01-01
Q_AG1-071S | Solar PV | East Kentucky Power Coop. | 55 | 2032-01-01
Q_AG1-089 | Battery Storage | American Electric Power | 30 | 2032-01-01
Q_AG1-104 | Battery Storage | Baltimore Gas & Electric Company | 300 | 2032-01-01
Q_AG1-107 | Solar PV | American Electric Power | 150 | 2032-01-01
Q_AG1-125 | Solar PV | American Electric Power | 400 | 2032-01-01
Q_AG1-126 | Solar PV | American Electric Power | 400 | 2032-01-01
Q_AG1-136 | Battery Storage | American Electric Power | 100 | 2032-01-01
Q_AG1-152 | Battery Storage | Virginia Power Company | 100 | 2032-01-01
Q_AG1-156 | Solar PV | PPL Electric Utilities | 60 | 2032-01-01
Q_AG1-163 | Solar PV | American Electric Power | 100 | 2032-01-01
Q_AG1-164 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AG1-165 | Solar PV | PPL Electric Utilities | 20 | 2032-01-01
Q_AG1-171 | Solar PV | Virginia Power Company | 20 | 2032-01-01
Q_AG1-172 | Solar PV | Virginia Power Company | 20 | 2032-01-01
Q_AG1-173 | Solar PV | Virginia Power Company | 20 | 2032-01-01
Q_AG1-207 | Battery Storage | Dayton Power & Light Co. | 85 | 2032-01-01
Q_AG1-218 | Solar PV | American Electric Power | 250 | 2032-01-01
Q_AG1-221 | Battery Storage | Virginia Power Company | 50 | 2032-01-01
Q_AG1-222 | Battery Storage | American Electric Power | 150 | 2032-01-01
Q_AG1-231 | Solar PV | Dayton Power & Light Co. | 20 | 2032-01-01
Q_AG1-232 | Solar PV | American Electric Power | 135 | 2032-01-01
Q_AG1-233 | Solar PV | Allegheny Power | 50 | 2032-01-01
Q_AG1-237 | Wind | American Electric Power | 200 | 2032-01-01
Q_AG1-239 | Solar PV | FirstEnergy ATSI | 150 | 2032-01-01
Q_AG1-254B | Battery Storage | Atlantic Electric | 19 | 2032-01-01
Q_AG1-254S | Solar PV | Atlantic Electric | 38 | 2032-01-01
Q_AG1-259 | Solar PV | PPL Electric Utilities | 15.9 | 2032-01-01
Q_AG1-260 | Solar PV | PPL Electric Utilities | 15.9 | 2032-01-01
Q_AG1-302 | Solar PV | American Electric Power | 300 | 2032-01-01
Q_AG1-303 | Solar PV | Pennsylvania Electric Company | 44 | 2032-01-01
Q_AG1-307B | Battery Storage | Allegheny Power | 20 | 2032-01-01
Q_AG1-307S | Solar PV | Allegheny Power | 80 | 2032-01-01
Q_AG1-311B | Battery Storage | American Electric Power | 25 | 2032-01-01
Q_AG1-311S | Solar PV | American Electric Power | 99 | 2032-01-01
Q_AG1-320 | Solar PV | East Kentucky Power Coop. | 82 | 2032-01-01
Q_AG1-324B | Battery Storage | American Electric Power | 11.25 | 2032-01-01
Q_AG1-324S | Solar PV | American Electric Power | 39 | 2032-01-01
Q_AG1-341 | Battery Storage | East Kentucky Power Coop. | 106 | 2032-01-01
Q_AG1-349 | Solar PV | American Electric Power | 260 | 2032-01-01
Q_AG1-351 | Solar PV | American Electric Power | 58 | 2032-01-01
Q_AG1-363B | Battery Storage | Allegheny Power | 100 | 2032-01-01
Q_AG1-363S | Solar PV | Allegheny Power | 300 | 2032-01-01
Q_AG1-365 | Solar PV | American Electric Power | 100 | 2032-01-01
Q_AG1-366 | Battery Storage | American Electric Power | 50 | 2032-01-01
Q_AG1-368 | Solar PV | American Electric Power | 100 | 2032-01-01
Q_AG1-369 | Solar PV | American Electric Power | 49.9 | 2032-01-01
Q_AG1-405 | Solar PV | East Kentucky Power Coop. | 57 | 2032-01-01
Q_AG1-406 | Battery Storage | East Kentucky Power Coop. | 22 | 2032-01-01
Q_AG1-414B | Battery Storage | American Electric Power | 25.2 | 2032-01-01
Q_AG1-414S | Solar PV | American Electric Power | 75 | 2032-01-01
Q_AG1-415 | Solar PV | Allegheny Power | 50 | 2032-01-01
Q_AG1-455 | Solar PV | Pennsylvania Electric Company | 35 | 2032-01-01
Q_AG1-482B | Battery Storage | Metropolitan Edison Company | 17.9 | 2032-01-01
Q_AG1-482S | Solar PV | Metropolitan Edison Company | 3.5 | 2032-01-01
Q_AG1-485 | Battery Storage | Duquesne Light Company | 55 | 2032-01-01
Q_AG1-486 | Battery Storage | Metropolitan Edison Company | 15 | 2032-01-01
Q_AG1-500 | CT Gas | FirstEnergy ATSI | 385.5 | 2032-01-01
Q_AG1-501 | CT Gas | FirstEnergy ATSI | 18 | 2032-01-01
Q_AG1-508 | Wind | American Electric Power | 63.3 | 2032-01-01
Q_AG1-512 | Battery Storage | Commonwealth Edison Co. | 40 | 2032-01-01
Q_AG1-514 | Battery Storage | Allegheny Power | 10 | 2032-01-01
Q_AG1-516 | Battery Storage | Allegheny Power | 10 | 2032-01-01
Q_AG1-517 | CT Gas | Allegheny Power | 50 | 2032-01-01
Q_AG1-527 | Solar PV | Allegheny Power | 215 | 2032-01-01
Q_AG1-528 | Solar PV | American Electric Power | 225 | 2032-01-01
Q_AG1-554 | Solar PV | American Electric Power | 49.99 | 2032-01-01
Q_AG1-555B | Battery Storage | American Electric Power | 88.4 | 2032-01-01
Q_AG1-555S | Solar PV | American Electric Power | 120 | 2032-01-01
Q_AG1-562 | Solar PV | American Electric Power | 250 | 2032-01-01
7 Bridges Solar Project:PV1 | Solar PV | Virginia Power Company | 105 | 2035-01-01
Aurora:BA1 | Battery Storage | Commonwealth Edison Co. | 10 | 2035-01-01
Axton Solar:PV1 | Solar PV | American Electric Power | 201 | 2035-01-01
Cherry Solar:PV1 | Solar PV | Virginia Power Company | 180 | 2035-01-01
Dover Solar Facility:PV1 | Solar PV | American Electric Power | 55 | 2035-01-01
Golden Aster Solar Energy Center:PV1 | Solar PV | American Electric Power | 160 | 2035-01-01
Q_AB1-089 | Combined Cycle | Commonwealth Edison Co. | 550 | 2035-01-01
Q_AC1-102 | Solar PV | American Electric Power | 50 | 2035-01-01
Q_AD1-140 | Solar PV | FirstEnergy ATSI | 175 | 2035-01-01
Q_AD1-151 | Solar PV | Virginia Power Company | 150 | 2035-01-01
Q_AD2-060 | Solar PV | Commonwealth Edison Co. | 70 | 2035-01-01
Q_AD2-071 | Solar PV | American Electric Power | 100 | 2035-01-01
Q_AD2-072 | Solar PV | East Kentucky Power Coop. | 95 | 2035-01-01
Q_AE1-044 | Solar PV | Virginia Power Company | 200 | 2035-01-01
Q_AE1-153 | Solar PV | Virginia Power Company | 149 | 2035-01-01
Q_AE1-157 | Solar PV | Virginia Power Company | 120 | 2035-01-01
Q_AE1-208 | Solar PV | American Electric Power | 130 | 2035-01-01
Q_AE2-027 | Solar PV | Virginia Power Company | 120 | 2035-01-01
Q_AE2-033 | Solar PV | Virginia Power Company | 149 | 2035-01-01
Q_AE2-169 | Solar PV | American Electric Power | 163 | 2035-01-01
Q_AE2-172 | Battery Storage | American Electric Power | 40 | 2035-01-01
Q_AE2-217 | Solar PV | FirstEnergy ATSI | 180 | 2035-01-01
Q_AE2-218 | Solar PV | Dayton Power & Light Co. | 178 | 2035-01-01
Q_AF1-030 | Solar PV | Commonwealth Edison Co. | 100 | 2035-01-01
Q_AF1-146 | Solar PV | FirstEnergy ATSI | 202 | 2035-01-01
Q_AF1-221 | Solar PV | American Electric Power | 180 | 2035-01-01
Q_AF2-034 | Solar PV | Commonwealth Edison Co. | 20 | 2035-01-01
Q_AF2-046 | Solar PV | Virginia Power Company | 150 | 2035-01-01
Q_AF2-069 | Wind | Commonwealth Edison Co. | 9.3 | 2035-01-01
Q_AF2-080 | Solar PV | Virginia Power Company | 70 | 2035-01-01
Q_AF2-115 | Solar PV | Virginia Power Company | 25 | 2035-01-01
Q_AF2-199 | Solar PV | Commonwealth Edison Co. | 100 | 2035-01-01
Q_AF2-200 | Solar PV | Commonwealth Edison Co. | 200 | 2035-01-01
Q_AF2-302 | Solar PV | American Electric Power | 20 | 2035-01-01
Q_AF2-322 | Solar PV | FirstEnergy ATSI | 199.67 | 2035-01-01
Q_AG1-021 | Solar PV | Virginia Power Company | 20 | 2035-01-01
Q_AG1-022 | Solar PV | American Electric Power | 20 | 2035-01-01
Q_AG1-147 | Solar PV | Virginia Power Company | 70 | 2035-01-01
Q_AG1-436 | Solar PV | American Electric Power | 125 | 2035-01-01
Red Brick Solar:PV1 | Solar PV | Virginia Power Company | 130 | 2035-01-01
South Branch Solar:PV1 | Solar PV | American Electric Power | 205 | 2035-01-01
Southwest Michigan Energy Center:PV1 | Solar PV | American Electric Power | 100 | 2035-01-01
Summitville Solar Project:PV1 | Solar PV | FirstEnergy ATSI | 145 | 2035-01-01
Switchgrass Solar 1:PV1 | Solar PV | Delmarva Power & Light Company | 69 | 2035-01-01
Waller Solar:PV1 | Solar PV | Virginia Power Company | 131 | 2035-01-01
Wingstem Solar Energy Farm:PV1 | Solar PV | American Electric Power | 150 | 2035-01-01
Alamo Solar I:PV1 | Solar PV | Dayton Power & Light Co. | 57.5 | 2036-01-01
Alamo Solar I:PV2 | Solar PV | Dayton Power & Light Co. | 20.9 | 2036-01-01
Angelina Solar Facility:PV1 | Solar PV | Duke Energy Ohio/Kentucky | 80 | 2036-01-01
Bakers Pond Solar:PV1 | Solar PV | Virginia Power Company | 100 | 2036-01-01
Blue Jay Solar VA:PV1 | Solar PV | American Electric Power | 100 | 2036-01-01
Circleville Solar Energy:PV1 | Solar PV | Dayton Power & Light Co. | 70 | 2036-01-01
CL Green Acres:PV1 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
CL Route 58 B:PV1 | Solar PV | Pennsylvania Electric Company | 13.51 | 2036-01-01
Concho Solar I:PV2 | Solar PV | Delmarva Power & Light Company | 86 | 2036-01-01
Confer Solar I:PV1 | Solar PV | Allegheny Power | 20 | 2036-01-01
Cottontail Solar 9:PV1 | Solar PV | PPL Electric Utilities | 20 | 2036-01-01
Crawford Solar I:PV1 | Solar PV | Pennsylvania Electric Company | 116.5 | 2036-01-01
Emerson Creek Wind:WT1 72 | Wind | FirstEnergy ATSI | 297.66 | 2036-01-01
Findlay Solar Park:PV1 | Solar PV | Duquesne Light Company | 17.5 | 2036-01-01
Granite Hill Solar:PV1 | Solar PV | Metropolitan Edison Company | 70 | 2036-01-01
Great Lakes Growers:PV1 | Solar PV | Pennsylvania Electric Company | 2.6 | 2036-01-01
Greenfield CSG 1:PV1 | Solar PV | Pennsylvania Electric Company | 4 | 2036-01-01
Henry County Solar Project:PV1 | Solar PV | FirstEnergy ATSI | 40 | 2036-01-01
Jakes Hollow Solar:PV1 | Solar PV | Allegheny Power | 20 | 2036-01-01
Lebanon Solar PA:PV1 | Solar PV | Metropolitan Edison Company | 70 | 2036-01-01
Long Bridge Solar:PV1 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
Magenta Solar:PV1 | Solar PV | Pennsylvania Electric Company | 12 | 2036-01-01
Montour 2:PV1 | Solar PV | PPL Electric Utilities | 20 | 2036-01-01
Montour Solar One:PV1 | Solar PV | PPL Electric Utilities | 101.6 | 2036-01-01
Morrow County Solar II:PV1 | Solar PV | FirstEnergy ATSI | 64 | 2036-01-01
NJ Land Phase II:PV1 | Solar PV | Public Service Electric & Gas Company | 10 | 2036-01-01
Q_AC1-101 | Solar PV | American Electric Power | 50 | 2036-01-01
Q_AC1-120 | Solar PV | Virginia Power Company | 60 | 2036-01-01
Q_AC1-121 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Q_AC1-143 | Solar PV | Virginia Power Company | 60 | 2036-01-01
Q_AC1-168 | Wind | Commonwealth Edison Co. | 78.75 | 2036-01-01
Q_AC1-188 | Solar PV | American Electric Power | 70 | 2036-01-01
Q_AC1-191 | Solar PV | Virginia Power Company | 80 | 2036-01-01
Q_AC2-044 | Solar PV | American Electric Power | 20 | 2036-01-01
Q_AC2-079 | Solar PV | Virginia Power Company | 85 | 2036-01-01
Q_AD1-043 | Solar PV | American Electric Power | 120 | 2036-01-01
Q_AD1-106 | Solar PV | American Electric Power | 60 | 2036-01-01
Q_AD1-125 | Wind | Allegheny Power | 80 | 2036-01-01
Q_AD2-062 | Solar PV | Pennsylvania Electric Company | 80.3 | 2036-01-01
Q_AD2-067 | Solar PV | American Electric Power | 150 | 2036-01-01
Q_AD2-077 | Battery Storage | PPL Electric Utilities | 150 | 2036-01-01
Q_AE1-056 | Solar PV | Virginia Power Company | 60 | 2036-01-01
Q_AE1-091 | Solar PV | American Electric Power | 110 | 2036-01-01
Q_AE1-092 | Solar PV | Dayton Power & Light Co. | 229.5 | 2036-01-01
Q_AE1-102 | Solar PV | American Electric Power | 26 | 2036-01-01
Q_AE1-105 | Combined Cycle | Allegheny Power | 1235 | 2036-01-01
Q_AE1-114 | Wind | Commonwealth Edison Co. | 150 | 2036-01-01
Q_AE1-129 | Solar PV | Metropolitan Edison Company | 79.6 | 2036-01-01
Q_AE1-148 | Solar PV | Virginia Power Company | 90 | 2036-01-01
Q_AE1-172 | Wind | Commonwealth Edison Co. | 255 | 2036-01-01
Q_AE1-225 | Solar PV | PPL Electric Utilities | 19.8 | 2036-01-01
Q_AE1-226 | Solar PV | PPL Electric Utilities | 19.8 | 2036-01-01
Q_AE1-240 | Solar PV | Atlantic Electric | 49.7 | 2036-01-01
Q_AE2-001 | Solar PV | Allegheny Power | 20 | 2036-01-01
Q_AE2-040 | Battery Storage | Virginia Power Company | 15.7 | 2036-01-01
Q_AE2-041 | Solar PV | Virginia Power Company | 40 | 2036-01-01
Q_AE2-042 | Solar PV | PPL Electric Utilities | 70 | 2036-01-01
Q_AE2-084 | Solar PV | PPL Electric Utilities | 20 | 2036-01-01
Q_AE2-118 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
Q_AE2-131 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
Q_AE2-138 | Solar PV | East Kentucky Power Coop. | 260 | 2036-01-01
Q_AE2-147 | Solar PV | Virginia Power Company | 150 | 2036-01-01
Q_AE2-156 | Battery Storage | Virginia Power Company | 100 | 2036-01-01
Q_AE2-173 | Battery Storage | Commonwealth Edison Co. | 50 | 2036-01-01
Q_AE2-185 | Solar PV | Virginia Power Company | 60 | 2036-01-01
Q_AE2-187 | Solar PV | Virginia Power Company | 60 | 2036-01-01
Q_AE2-190 | Solar PV | Virginia Power Company | 70 | 2036-01-01
Q_AE2-195 | Solar PV | American Electric Power | 19.7 | 2036-01-01
Q_AE2-210 | Solar PV | East Kentucky Power Coop. | 90 | 2036-01-01
Q_AE2-223 | Wind | Commonwealth Edison Co. | 150 | 2036-01-01
Q_AE2-248 | Solar PV | Allegheny Power | 16 | 2036-01-01
Q_AE2-250 | Solar PV | Virginia Power Company | 82.5 | 2036-01-01
Q_AE2-261 | Solar PV | Commonwealth Edison Co. | 299 | 2036-01-01
Q_AE2-262 | Solar PV | Allegheny Power | 83.6 | 2036-01-01
Q_AE2-263 | Solar PV | Allegheny Power | 78.38 | 2036-01-01
Q_AE2-275 | Solar PV | East Kentucky Power Coop. | 90 | 2036-01-01
Q_AE2-283 | Solar PV | Virginia Power Company | 60.4 | 2036-01-01
Q_AE2-290 | Solar PV | American Electric Power | 100 | 2036-01-01
Q_AE2-291 | Solar PV | Virginia Power Company | 102 | 2036-01-01
Q_AE2-299 | Battery Storage | Pennsylvania Electric Company | 160 | 2036-01-01
Q_AE2-313 | Solar PV | Virginia Power Company | 314 | 2036-01-01
Q_AE2-321 | Solar PV | Commonwealth Edison Co. | 100 | 2036-01-01
Q_AE2-325 | Battery Storage | American Electric Power | 52.2 | 2036-01-01
Q_AE2-341 | Solar PV | Commonwealth Edison Co. | 150 | 2036-01-01
Q_AF1-003 | Solar PV | Potomac Electric Power Company | 20 | 2036-01-01
Q_AF1-005 | Solar PV | Potomac Electric Power Company | 20 | 2036-01-01
Q_AF1-018 | Battery Storage | Virginia Power Company | 40 | 2036-01-01
Q_AF1-045B | Battery Storage | Duke Energy Ohio/Kentucky | 52.2 | 2036-01-01
Q_AF1-045S | Solar PV | Duke Energy Ohio/Kentucky | 100 | 2036-01-01
Q_AF1-048 | Battery Storage | Commonwealth Edison Co. | 52.2 | 2036-01-01
Q_AF1-057 | Solar PV | Metropolitan Edison Company | 75 | 2036-01-01
Q_AF1-075 | Solar PV | Virginia Power Company | 73 | 2036-01-01
Q_AF1-114 | Solar PV | Virginia Power Company | 100 | 2036-01-01
Q_AF1-152 | Solar PV | Virginia Power Company | 50 | 2036-01-01
Q_AF1-161 | Battery Storage | American Electric Power | 50 | 2036-01-01
Q_AF1-176B | Battery Storage | American Electric Power | 121.6 | 2036-01-01
Q_AF1-176S | Solar PV | American Electric Power | 300 | 2036-01-01
Q_AF1-204 | Wind | American Electric Power | 255 | 2036-01-01
Q_AF1-226 | Solar PV | PPL Electric Utilities | 35 | 2036-01-01
Q_AF1-240 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
Q_AF1-280 | Solar PV | Commonwealth Edison Co. | 200 | 2036-01-01
Q_AF1-294 | Solar PV | Virginia Power Company | 41 | 2036-01-01
Q_AF1-296 | Wind | Commonwealth Edison Co. | 212.2 | 2036-01-01
Q_AF1-323 | Solar PV | American Electric Power | 55 | 2036-01-01
Q_AF2-010 | Solar PV | Pennsylvania Electric Company | 77 | 2036-01-01
Q_AF2-025 | Battery Storage | Atlantic Electric | 20 | 2036-01-01
Q_AF2-037 | Solar PV | Virginia Power Company | 94 | 2036-01-01
Q_AF2-041 | Solar PV | Commonwealth Edison Co. | 300 | 2036-01-01
Q_AF2-042 | Solar PV | Virginia Power Company | 500 | 2036-01-01
Q_AF2-050 | Solar PV | Pennsylvania Electric Company | 50 | 2036-01-01
Q_AF2-056 | Solar PV | PPL Electric Utilities | 50 | 2036-01-01
Q_AF2-063 | Solar PV | Virginia Power Company | 150 | 2036-01-01
Q_AF2-068 | Solar PV | American Electric Power | 150 | 2036-01-01
Q_AF2-081 | Solar PV | Virginia Power Company | 80 | 2036-01-01
Q_AF2-095B | Battery Storage | Commonwealth Edison Co. | 40 | 2036-01-01
Q_AF2-095S | Solar PV | Commonwealth Edison Co. | 160 | 2036-01-01
Q_AF2-111 | Solar PV | East Kentucky Power Coop. | 250 | 2036-01-01
Q_AF2-126 | Solar PV | FirstEnergy ATSI | 51 | 2036-01-01
Q_AF2-142 | Solar PV | Commonwealth Edison Co. | 150 | 2036-01-01
Q_AF2-143 | Solar PV | Commonwealth Edison Co. | 150 | 2036-01-01
Q_AF2-171 | Solar PV | Virginia Power Company | 150 | 2036-01-01
Q_AF2-173 | Solar PV | American Electric Power | 200 | 2036-01-01
Q_AF2-177 | Wind | American Electric Power | 200 | 2036-01-01
Q_AF2-209B | Battery Storage | American Electric Power | 95.4 | 2036-01-01
Q_AF2-209S | Solar PV | American Electric Power | 140 | 2036-01-01
Q_AF2-225 | Solar PV | Commonwealth Edison Co. | 150 | 2036-01-01
Q_AF2-226 | Battery Storage | Commonwealth Edison Co. | 50 | 2036-01-01
Q_AF2-238 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
Q_AF2-295 | Solar PV | Allegheny Power | 20 | 2036-01-01
Q_AF2-297 | Solar PV | Virginia Power Company | 80 | 2036-01-01
Q_AF2-299 | Solar PV | Virginia Power Company | 25 | 2036-01-01
Q_AF2-307 | Solar PV | East Kentucky Power Coop. | 66 | 2036-01-01
Q_AF2-319 | Battery Storage | Commonwealth Edison Co. | 50 | 2036-01-01
Q_AF2-329 | Battery Storage | Commonwealth Edison Co. | 42.2 | 2036-01-01
Q_AF2-335 | Solar PV | American Electric Power | 100 | 2036-01-01
Q_AF2-348 | Solar PV | East Kentucky Power Coop. | 250 | 2036-01-01
Q_AF2-349 | Solar PV | Commonwealth Edison Co. | 300 | 2036-01-01
Q_AF2-350 | Solar PV | Commonwealth Edison Co. | 100 | 2036-01-01
Q_AF2-355 | Solar PV | East Kentucky Power Coop. | 225 | 2036-01-01
Q_AF2-358 | Solar PV | Delmarva Power & Light Company | 100 | 2036-01-01
Q_AF2-370 | Battery Storage | American Electric Power | 20 | 2036-01-01
Q_AF2-388 | Wind | American Electric Power | 200 | 2036-01-01
Q_AF2-393 | Battery Storage | Commonwealth Edison Co. | 60 | 2036-01-01
Q_AF2-394 | Battery Storage | Commonwealth Edison Co. | 40 | 2036-01-01
Q_AF2-396B | Battery Storage | American Electric Power | 80 | 2036-01-01
Q_AF2-396S | Solar PV | American Electric Power | 200 | 2036-01-01
Q_AF2-403 | Battery Storage | Virginia Power Company | 20 | 2036-01-01
Q_AF2-407 | Battery Storage | American Electric Power | 300 | 2036-01-01
Q_AF2-416 | Battery Storage | Public Service Electric & Gas Company | 10 | 2036-01-01
Q_AF2-445A | Solar PV | PPL Electric Utilities | 19.8 | 2036-01-01
Q_AG1-086B | Battery Storage | Duquesne Light Company | 5.625 | 2036-01-01
Q_AG1-124 | Solar PV | American Electric Power | 90 | 2036-01-01
Q_AG1-130 | Battery Storage | Public Service Electric & Gas Company | 5 | 2036-01-01
Q_AG1-146 | Solar PV | Virginia Power Company | 30 | 2036-01-01
Q_AG1-154 | Battery Storage | Virginia Power Company | 20 | 2036-01-01
Q_AG1-166 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Q_AG1-167 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Q_AG1-168 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Q_AG1-169 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Q_AG1-170 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Q_AG1-194B | Battery Storage | American Electric Power | 50 | 2036-01-01
Q_AG1-194S | Solar PV | American Electric Power | 200 | 2036-01-01
Q_AG1-251 | Solar PV | FirstEnergy ATSI | 3.9 | 2036-01-01
Q_AG1-277B | Battery Storage | PPL Electric Utilities | 20 | 2036-01-01
Q_AG1-277S | Solar PV | PPL Electric Utilities | 40 | 2036-01-01
Q_AG1-278B | Battery Storage | PPL Electric Utilities | 3.4 | 2036-01-01
Q_AG1-278S | Solar PV | PPL Electric Utilities | 20 | 2036-01-01
Q_AG1-279B | Battery Storage | PPL Electric Utilities | 3.4 | 2036-01-01
Q_AG1-279S | Solar PV | PPL Electric Utilities | 20 | 2036-01-01
Q_AG1-305 | Solar PV | Virginia Power Company | 118 | 2036-01-01
Q_AG1-323B | Battery Storage | Dayton Power & Light Co. | 40 | 2036-01-01
Q_AG1-323S | Solar PV | Dayton Power & Light Co. | 40 | 2036-01-01
Q_AG1-346 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Q_AG1-362 | Solar PV | PPL Electric Utilities | 5 | 2036-01-01
Q_AG1-377 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
Q_AG1-378 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
Q_AG1-393 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Q_AG1-394 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Q_AG1-410 | Solar PV | American Electric Power | 300 | 2036-01-01
Q_AG1-412 | Battery Storage | Virginia Power Company | 200 | 2036-01-01
Q_AG1-447 | Battery Storage | American Electric Power | 55 | 2036-01-01
Q_AG1-450 | Battery Storage | Delmarva Power & Light Company | 25 | 2036-01-01
Q_AG1-460 | Battery Storage | Commonwealth Edison Co. | 30 | 2036-01-01
Q_AG1-471 | Solar PV | East Kentucky Power Coop. | 60 | 2036-01-01
Q_AG1-483B | Battery Storage | Potomac Electric Power Company | 520.9 | 2036-01-01
Q_AG1-483S | Solar PV | Potomac Electric Power Company | 36 | 2036-01-01
Q_AG1-497B | Battery Storage | Delmarva Power & Light Company | 30 | 2036-01-01
Q_AG1-497S | Solar PV | Delmarva Power & Light Company | 120 | 2036-01-01
Q_AG1-537 | Battery Storage | Virginia Power Company | 75 | 2036-01-01
Q_AG1-551 | Solar PV | Virginia Power Company | 20 | 2036-01-01
ReCreation Solar:1 PV | Solar PV | American Electric Power | 49.5 | 2036-01-01
Redbud Gaylord 345 kV:PV1 | Solar PV | Allegheny Power | 30 | 2036-01-01
Rocky Forge Wind:WT1 13 | Wind | Virginia Power Company | 76.6 | 2036-01-01
Salt Solar:PV1 | Solar PV | Pennsylvania Electric Company | 12 | 2036-01-01
Snowdrop Solar:PV1 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
Squab Solar:PV1 | Solar PV | Pennsylvania Electric Company | 90 | 2036-01-01
Steubenville Solar:PV1 | Solar PV | American Electric Power | 49.5 | 2036-01-01
Stone Branch Solar:PV1 | Solar PV | American Electric Power | 49.9 | 2036-01-01
SunEast Hooversville Solar:PV1 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
SunEast Hooversville Solar:PV2 | Solar PV | Pennsylvania Electric Company | 20 | 2036-01-01
SunEast Hooversville Solar:PV3 | Solar PV | Pennsylvania Electric Company | 50 | 2036-01-01
Vinton Solar Energy Center:PV1 | Solar PV | American Electric Power | 125 | 2036-01-01
WA Tully:PV1 | Solar PV | Pennsylvania Electric Company | 17 | 2036-01-01
Walker Solar:PV1 | Solar PV | PPL Electric Utilities | 80 | 2036-01-01
Winterpock I:PV1 | Solar PV | Virginia Power Company | 20 | 2036-01-01
Notes:
2032 unit selection determined by Fast Track designation.
2035 unit selection determined by probablility assumption.
2036 unit selection is the remainder of active queue units in database.
Units at various stages of phased agreements (including Impact, FSA, SusISA).
Model informed by the RTEP Powerflow and the Generation Interconnection Queue (Queue status as of 11/08/24).

## NJ SAA 1.0
NJ SAA Units in the Market Efficiency Base Case Through 2032
PROMOD Unit | Unit Type | Area | Maximum Capability (MW) | Activation Date
Atlantic Shores Offshore Wind Project 1:WT1 | Wind | Atlantic Electric | 300 | 2029-09-01
Atlantic Shores Offshore Wind Project 1:WT2 | Wind | Atlantic Electric | 605 | 2029-09-01
Atlantic Shores Offshore Wind Project 1:WT3 | Wind | Atlantic Electric | 605 | 2029-09-01
Ocean Wind:WS1 98 | Wind | Atlantic Electric | 432 | 2032-01-01
Q_AE1-020 | Wind | Jersey Central Power & Light Company | 816 | 2032-01-01
Q_AG2-055 | Wind | Public Service Electric & Gas Company | 1148 | 2031-01-01
LCS-Atlantic | Wind | Jersey Central Power & Light Company | 1200 | 2032-01-01
LCS-Larrabee | Wind | Jersey Central Power & Light Company | 1200 | 2032-01-01
LCS-Smithburg | Wind | Jersey Central Power & Light Company | 1342 | 2032-01-01
Notes:
Model informed by the RTEP Powerflow and the Generation Interconnection Queue (Queue status as of 5/14/24).

## Financial Parameters
Carrying Charge Rate and Discount Rate
Discount Rate | 7.2%
Levelized Annual Carrying Charge Rate | 12.09%