## Setup
Enter Stakeholder Group Name in cell A2:
Markets Implementation Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Transmisison Penalty Factors

## 1. Interest Identification
Markets Implementation Committee
Transmisison Penalty Factors
Interest Identification
Instructions: List interests of all parties on this page.
1 | Efficient price formation
2 | Market transparency
3 | Prices to better reflect local scarcity conditions
4 | Ensure that all reasonable control actions are utilized prior to violating a transmission constraint
5 | Solution does not significantly add to SCED solution time
6 | Reasons for different M2M penalty factors (among different RTOs)
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Markets Implementation Committee
Transmisison Penalty Factors
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D
* | Implementation |  |  | Upon FERC Approval
1 | Magnitude of transmission penalty factors for PJM internal transmission constraints excluding reactive interface constraints and M2M coordinated constraints |  | The default penalty factor is $2,000 per MWh of violation in the RT market and $30,000 per MWh of violation in the DA market. | Status Quo
2 | Magnitude of transmission penalty factors for internal market to market (M2M) constraints. |  | In the RT market, the default penalty factor is $1000 for constraints coordinated with MISO and $2000 for constraints coordinated with NYIS. Any increase above these defaults must be mutually agreed upon by PJM and the partner RTO. DA market uses $30,000 per MWh of violation. | Status Quo
3 | Magnitude of transmission penalty factors for external market to market (M2M) constraints. |  | In the RT market, the penalty factor is equal to the most recent shadow price received from the non-monitoring RTO for that constraint. DA market uses $30,000 per MWh of violation. | Status Quo
4 | Magnitude of transmission penalty factors for reactive interface constraints. |  | The default penalty factor is $2,000 per MWh of violation in the RT market and $30,000 per MWh of violation in the DA market. | Status Quo
5 | Magnitude of transmission penalty factors for thermal surrogates used to control voltage issues |  | The default penalty factor is $2,000 per MWh of violation in the RT market and $30,000 per MWh of violation in the DA market. The penalty factor is often lowered to allow the controlling action to set price. | Status Quo
6 | Shape of transmission constraint demand curves |  | Single step function demand curve | Status Quo
7 | Ability for transmission penalty factors to set transmission constraint shadow prices. |  | Whenever a transmission constraint is violated, the shadow price of the transmission constraint is not equal to the transmission penalty factor. PJM uses a procedure called constraint relaxation logic. The resulting shadow price is not equal to the transmission penalty factor. | Allow penalty factors to set price. Remove constraint relaxation process. *On-going discussions with M2M participants
8 | Exception Process for dispatchers to change a transmission constraint demand curve from the default values |  | Dispatchers have the discretion to increase or decrease the transmission constraint penalty factors. | Retain ability to increase/decrease penalty factors when the $2000 penalty factor is no longer sufficient to capture all controlling actions. Memorialize and publish guidelines to identify when the default penalty factor should be modified. Formalize a calculation that will be used to determine the level to which the penalty factors should be set. |  |  |  | Low
9 | Transparency when dispatch needs to adjust Penalty Factor (Marginal Value Limit). |  | No formal notification | Update Penalty Factor (Real-Time Marginal Value Limit) posting on Data Miner 2 to include transmission penalty factor and line limit control percentage. |  |  |  | Low - Medium
10 | Standards for transmission facility ratings |  | No set of uniform standards are followed by transmission facility owners for setting normal, emergency and load dump ratings for transmission facilities within the PJM’s operational footprint. | Develop uniform set of standards for determining normal, emergency and load dump ratings for transmission facilities and ensure that transmission owners follow those standards.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Markets Implementation Committee
Transmisison Penalty Factors
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Markets Implementation Committee
Transmisison Penalty Factors
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Markets Implementation Committee
Transmisison Penalty Factors
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
| Implemenation |  |  | Upon FERC Approval
1 | Magnitude of transmission penalty factors for PJM internal transmission constraints excluding reactive interface constraints. |  | The default penalty factor is $2,000 per MWh of violation in the RT market and $30,000 per MWh of violation in the DA market. | Status Quo
2 | Magnitude of transmission penalty factors for internal market to market (M2M) constraints. |  | In the RT market, the penalty factor is $2000 (governed by the JOA). Any increase above $2000 must be mutually agreed upon by PJM and the partner RTO. DA market uses $30,000 per MWh of violation. | Status Quo
3 | Magnitude of transmission penalty factors for external market to market (M2M) constraints. |  | In the RT market, the penalty factor is equal to the most recent shadow price received from the non-monitoring RTO for that constraint. DA market uses $30,000 per MWh of violation. | Status Quo
4 | Magnitude of transmission penalty factors for reactive interface constraints. |  | The default penalty factor is $2,000 per MWh of violation in the RT market and $30,000 per MWh of violation in the DA market. | Status Quo
5 | Magnitude of transmission penalty factors for thermal surrogates used to control voltage issues |  | The default penalty factor is $2,000 per MWh of violation in the RT market and $30,000 per MWh of violation in the DA market. The penalty factor is often lowered to allow the controlling action to set price. | Status Quo
6 | Shape of transmission constraint demand curves |  | Single step function demand curve | Status Quo
| Ability for transmission penalty factors to set transmission constraint shadow prices. |  | Whenever a transmission constraint is violated, the shadow price of the transmission constraint is not equal to the transmission penalty factor. PJM uses a procedure called constraint relaxation logic. The resulting shadow price is not equal to the transmission penalty factor. | Allow penalty factors to set price. Remove constraint relaxation process. *On-going discussions with M2M participants
8 | Exception Process for dispatchers to change a transmission constraint demand curve from the default values |  | Dispatchers have the discretion to increase or decrease the transmission constraint penalty factors. | Retain ability to increase/decrease penalty factors when the $2000 penalty factor is no longer sufficient to capture all controlling actions. Memorialize and publish guidelines to identify when the default penalty factor should be modified. Formalize a calculation that will be used to determine the level to which the penalty factors should be set.
9 | Transparency when dispatch needs to adjust Penalty Factor (Marginal Value Limit). |  | No formal notification | Update Penalty Factor (Real-Time Marginal Value Limit) posting on Data Miner 2 to include transmission penalty factor and line limit control percentage. |  |  |  |  | Low - Medium
Low - High
Medium
Medium - High
High

## 3a. Package Details
Markets Implementation Committee
Transmisison Penalty Factors
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Markets Implementation Committee
Transmisison Penalty Factors
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Markets Implementation Committee
Transmisison Penalty Factors
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3