## Index
Default MOPR Floor Offer Prices Workbook Index, Forward-Looking E&AS Revenue Offset Update (8/19/2020)
Default Net CONE
Default Net CONE Summary (Indicative) | Resource Installed Capital and Fixed O&M costs, Gross CONE, Net Energy & Ancillary Services Revenue Offset, Net CONE in terms of nameplate MW , and Default Net CONE in $/ICAP MW-Day
Default Zonal Net CONE (Indicative) | Zonal Net Energy & Ancillary Services Revenue Offset and Zonal Net CONE
Dispatchable Resources (CT, CC, Coal, Battery) | Zonal data, including starts, runhours, gross energy and ancillary service revenues and net revenues

## Default Net CONE Summary
Default Net CONE
Resource Type | Fixed O&M Cost ($/kW - year) | Installed Capital Cost, ($/kW) | Investment Tax Credit % | Gross CONE ($/MW-Day) (Nameplate) | Average Zonal Net E&AS Revenue Offset ($/MW-Day) (Nameplate) | Average Zonal Net Reactive Services Revenue Offset ($/MW-Day) (Nameplate) | Net CONE ($/MW-Day) (Nameplate) | Capacity Value (% Nameplate MW) | Net CONE ($/ICAP-MW-Day)
Nuclear | 122 | 6041 | NA | 2000 | 420 | 9.18 | 1570 |  | 1570
Coal | 41 | 3676 | NA | 1068 | 36 | 9.1781 | 1023 |  | 1023
Combined Cycle |  |  | NA | 320 | 195 | 9.1781 | 116 |  | 116
Combustion Turbine |  |  | NA | 294 | 62 | 6.0247 | 226 |  | 226
Solar PV (Tracking) | 15 | 1313 | 30% | 290 | 153 | 9.18 | 128 | 60% | 213.3333
Solar PV (Fixed) | 14 | 1234 | 30% | 271 | 94 | 9.18 | 168 | 42% | 400
Onshore Wind | 35 | 1677 | 30% | 420 | 203 | 9.18 | 208 | 17.6% | 1181.8182
Offshore Wind | 110 | 4375 | 30% | 1155 | 284 | 9.18 | 862 | 26% | 3315.3846
Battery Energy Storage | 25 | 1389 | NA | 532 | 429 | 9.1781 | 93 | 40% | 232.5
Energy Efficiency |  |  | NA | 644 | 517.1758 | 0 | 126.8242 |  | 126.8242
Demand Response (Gen) | 10 | 800 | NA | 254 | 0 | 0 | 254 |  | 254
Notes:
Fixed O&M and installed capital costs are from EIA report 2020. Solar PV (fixed) costs are 94% of the costs for Solar PV (Tracking). Nuclear and Coal Fixed O&M costs were reduced by $20 and $25 respectively in calculating Gross CONE.
Combined Cycle and Combustion Turbine CONE values are average of CONE Area values from 2018 Quadrennial Study for 2022.
Solar and Wind Investment Tax Credit depends on start of the construction. An optimistic 30% value is assumed implying Solar construction started before 1/1/2020 and Wind construction started before 1/1/2017.
Class average capacity values as percent of nameplate MW Solar and Wind generation are used to calculate Net CONE in $/ICAP-MW-Day.
Battery energy storage costs are for a 4 hour plant with 15 year life. Gross CONE is calculated based on 15 year economic life and a 40% capacity value as percent of nameplate capacity is used to calculate Net CONE in $/ICAP-MW-Day.
Net Energy & Ancillary Service Revenue Offset is based on methodologies described in August 5 filing and Reactive Service revenue is based on reactive services of $3350/MW-year or $9.18/MW-day. The CT value is from the tariff: $2,199/MW-year or $6.02/MW-day.

## Default Zonal Net CONE
Default Zonal Net CONE
All quantities are in $/MW-Day (Nameplate) and Default Net CONE is in $/ICAP-MW-Day
Combustion Turbine |  |  |  | Combined Cycle |  |  |  | Coal |  |  |  | Battery Energy Storage |  |  |  | Nuclear |  |  |  | Solar PV (Tracking) |  |  |  | Solar PV (Fixed) |  |  |  | Onshore Wind |  |  |  | Offshore Wind |  |  |  | Demand Response Generator |  |  |  | Energy Efficiency
Gross CONE |  |  | 294 | Gross CONE |  |  | 320 | Gross CONE |  |  | 1068 | Gross CONE |  |  | 532 | Gross CONE |  |  | 2000 | Gross CONE |  |  | 290 | Gross CONE |  |  | 271 | Gross CONE |  |  | 420 | Gross CONE |  |  | 1155 | Gross CONE |  |  | 254 | Gross CONE, $/ICAP MW-Day |  |  | 644
Net Reactive Service Revenue Offset |  |  | 6.0247 | Net Reactive Service Revenue Offset |  |  | 9.1781 | Net Reactive Service Revenue Offset |  |  | 9.1781 | Net Reactive Service Revenue Offset |  |  | 9.1781 | Net Reactive Service Revenue Offset |  |  | 9.18 | Net Reactive Service Revenue Offset |  |  | 9.18 | Net Reactive Service Revenue Offset |  |  | 9.18 | Net Reactive Service Revenue Offset |  |  | 9.18 | Net Reactive Service Revenue Offset |  |  | 9.18 | Net Ancillary Revenue Offset |  |  | 0 | T&D savings, $/ICAP MW-Day |  |  | 95
Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | 40% | Capacity Value (% Nameplate MW) |  |  | NA | Capacity Value (% Nameplate MW) |  |  | 60% | Capacity Value (% Nameplate MW) |  |  | 42% | Capacity Value (% Nameplate MW) |  |  | 17.6% | Capacity Value (% Nameplate MW) |  |  | 26% | Capacity Value (% Nameplate MW) |  |  | NA | Average Annual Energy Savings, MWh/ICAP MW-Yr |  |  | 6221
Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Zone | Net Energy Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day) | Weighted Average LMP, $/MWh | Projected Wholesale Energy Savings, $/ICAP MW-Day | Net Savings, $/ICAP MW-Day | Default Net CONE ($/ICAP MW-Day)
AECO | 36.7215 | 251.2538 | 251.2538 | AECO | 142.6968 | 168.1252 | 168.1252 | AECO | 33.0527 | 1025.7692 | 1025.7692 | AECO | 419.9634 | 102.8585 | 257.1463 | AECO | 386.5027 | 1604.3173 | 1604.3173 | AECO | 135.8444 | 144.9756 | 241.626 | AECO | 83.4388 | 178.3812 | 424.7172 | AECO | 195.7542 | 215.0658 | 1221.9645 | AECO | 269.1008 | 876.7192 | 3371.9967 | AECO | 0 | 254 | 254 | 24.77 | 422.1758 | 517.1758 | 126.8242
AEP | 66.4659 | 221.5094 | 221.5094 | AEP | 214.7248 | 96.0971 | 96.0971 | AEP | 14.9205 | 1043.9014 | 1043.9014 | AEP | 425.1215 | 97.7004 | 244.251 | AEP | 420.5935 | 1570.2265 | 1570.2265 | AEP | 156.4517 | 124.3683 | 207.2805 | AEP | 96.4683 | 165.3517 | 393.6946 | AEP | 199.9342 | 210.8858 | 1198.215 | AEP | 284.0947 | 861.7253 | 3314.328 | AEP | 0 | 254 | 254
APS | 86.4012 | 201.5742 | 201.5742 | APS | 241.9026 | 68.9193 | 68.9193 | APS | 21.9731 | 1036.8488 | 1036.8488 | APS | 426.916 | 95.9059 | 239.7647 | APS | 433.7803 | 1557.0397 | 1557.0397 | APS | 157.7727 | 123.0473 | 205.0788 | APS | 97.333 | 164.487 | 391.6357 | APS | 206.4042 | 204.4158 | 1161.4532 | APS | 290.2704 | 855.5496 | 3290.5755 | APS | 0 | 254 | 254
ATSI | 72.9534 | 215.0219 | 215.0219 | ATSI | 219.9802 | 90.8418 | 90.8418 | ATSI | 39.7436 | 1019.0783 | 1019.0783 | ATSI | 431.3645 | 91.4574 | 228.6436 | ATSI | 438.3269 | 1552.4931 | 1552.4931 | ATSI | 163.9603 | 116.8597 | 194.7662 | ATSI | 101.134 | 160.686 | 382.5858 | ATSI | 206.6337 | 204.1863 | 1160.1495 | ATSI | 293.7316 | 852.0884 | 3277.263 | ATSI | 0 | 254 | 254
BGE | 78.2283 | 209.7471 | 209.7471 | BGE | 237.3879 | 73.4341 | 73.4341 | BGE | 40.0353 | 1018.7866 | 1018.7866 | BGE | 448.5751 | 74.2469 | 185.6171 | BGE | 503.0356 | 1487.7844 | 1487.7844 | BGE | 176.3149 | 104.5051 | 174.1752 | BGE | 108.6322 | 153.1878 | 364.7328 | BGE | 229.0403 | 181.7797 | 1032.839 | BGE | 321.8889 | 823.9311 | 3168.966 | BGE | 0 | 254 | 254
COMED | 48.1684 | 239.8069 | 239.8069 | COMED | 170.7389 | 140.0831 | 140.0831 | COMED | 11.1817 | 1047.6402 | 1047.6402 | COMED | 432.4835 | 90.3384 | 225.8459 | COMED | 338.1301 | 1652.6899 | 1652.6899 | COMED | 137.5929 | 143.2271 | 238.7119 | COMED | 85.0909 | 176.7291 | 420.7837 | COMED | 171.4815 | 239.3385 | 1359.8778 | COMED | 245.1915 | 900.6285 | 3463.9558 | COMED | 0 | 254 | 254
DAYTON | 71.0376 | 216.9377 | 216.9377 | DAYTON | 221.0547 | 89.7672 | 89.7672 | DAYTON | 36.579 | 1022.2429 | 1022.2429 | DAYTON | 430.7077 | 92.1142 | 230.2855 | DAYTON | 439.9161 | 1550.9039 | 1550.9039 | DAYTON | 164.039 | 116.781 | 194.635 | DAYTON | 101.2108 | 160.6092 | 382.4029 | DAYTON | 204.8746 | 205.9454 | 1170.1444 | DAYTON | 292.7033 | 853.1167 | 3281.2182 | DAYTON | 0 | 254 | 254
DEOK | 77.9293 | 210.046 | 210.046 | DEOK | 217.299 | 93.523 | 93.523 | DEOK | 41.4469 | 1017.375 | 1017.375 | DEOK | 434.9794 | 87.8425 | 219.6063 | DEOK | 432.3836 | 1558.4364 | 1558.4364 | DEOK | 161.2303 | 119.5897 | 199.3162 | DEOK | 99.4052 | 162.4148 | 386.702 | DEOK | 199.964 | 210.856 | 1198.0455 | DEOK | 285.9547 | 859.8653 | 3307.1741 | DEOK | 0 | 254 | 254
DOM | 55.5741 | 232.4012 | 232.4012 | DOM | 184.0085 | 126.8134 | 126.8134 | DOM | 34.9274 | 1023.8945 | 1023.8945 | DOM | 439.3053 | 83.5166 | 208.7916 | DOM | 474.484 | 1516.336 | 1516.336 | DOM | 167.2232 | 113.5968 | 189.328 | DOM | 102.9614 | 158.8586 | 378.2347 | DOM | 219.9203 | 190.8997 | 1084.6573 | DOM | 307.817 | 838.003 | 3223.0886 | DOM | 0 | 254 | 254
DPL | 67.1017 | 220.8736 | 220.8736 | DPL | 199.1216 | 111.7003 | 111.7003 | DPL | 51.9729 | 1006.849 | 1006.849 | DPL | 442.7996 | 80.0223 | 200.0558 | DPL | 452.5808 | 1538.2392 | 1538.2392 | DPL | 155.4563 | 125.3637 | 208.9395 | DPL | 94.7415 | 167.0785 | 397.806 | DPL | 219.405 | 191.415 | 1087.5855 | DPL | 304.3146 | 841.5054 | 3236.5591 | DPL | 0 | 254 | 254
DUQ | 71.1506 | 216.8247 | 216.8247 | DUQ | 212.6924 | 98.1295 | 98.1295 | DUQ | 38.2278 | 1020.5941 | 1020.5941 | DUQ | 433.4117 | 89.4102 | 223.5255 | DUQ | 434.2987 | 1556.5213 | 1556.5213 | DUQ | 163.3572 | 117.4628 | 195.7713 | DUQ | 100.7745 | 161.0455 | 383.4418 | DUQ | 204.5879 | 206.2321 | 1171.7732 | DUQ | 291.0358 | 854.7842 | 3287.6314 | DUQ | 0 | 254 | 254
EKPC | 71.0021 | 216.9732 | 216.9732 | EKPC | 222.5544 | 88.2675 | 88.2675 | EKPC | 20.1647 | 1038.6572 | 1038.6572 | EKPC | 422.8558 | 99.9661 | 249.9153 | EKPC | 400.6823 | 1590.1377 | 1590.1377 | EKPC | 150.0578 | 130.7622 | 217.937 | EKPC | 92.5106 | 169.3094 | 403.1177 | EKPC | 191.7792 | 219.0408 | 1244.5498 | EKPC | 273.3382 | 872.4818 | 3355.6992 | EKPC | 0 | 254 | 254
JCPL | 36.4375 | 251.5379 | 251.5379 | JCPL | 142.0499 | 168.772 | 168.772 | JCPL | 31.8907 | 1026.9313 | 1026.9313 | JCPL | 418.735 | 104.0869 | 260.2173 | JCPL | 387.317 | 1603.503 | 1603.503 | JCPL | 137.8334 | 142.9866 | 238.311 | JCPL | 84.7714 | 177.0486 | 421.5443 | JCPL | 195.853 | 214.967 | 1221.4033 | JCPL | 269.6337 | 876.1863 | 3369.9473 | JCPL | 0 | 254 | 254
METED | 58.7524 | 229.223 | 229.223 | METED | 194.1978 | 116.6241 | 116.6241 | METED | 56.3801 | 1002.4418 | 1002.4418 | METED | 430.1296 | 92.6923 | 231.7308 | METED | 412.1619 | 1578.6581 | 1578.6581 | METED | 147.8901 | 132.9299 | 221.5499 | METED | 91.1726 | 170.6474 | 406.3033 | METED | 202.8657 | 207.9543 | 1181.5584 | METED | 281.3822 | 864.4378 | 3324.7608 | METED | 0 | 254 | 254
PECO | 43.9598 | 244.0155 | 244.0155 | PECO | 165.6083 | 145.2136 | 145.2136 | PECO | 46.8929 | 1011.9291 | 1011.9291 | PECO | 416.918 | 105.9039 | 264.7597 | PECO | 379.0007 | 1611.8193 | 1611.8193 | PECO | 136.4058 | 144.4142 | 240.6904 | PECO | 83.8966 | 177.9234 | 423.627 | PECO | 193.0076 | 217.8124 | 1237.5705 | PECO | 265.7527 | 880.0673 | 3384.8743 | PECO | 0 | 254 | 254
PENELEC | 117.9956 | 169.9798 | 169.9798 | PENELEC | 270.678 | 40.144 | 40.144 | PENELEC | 38.9304 | 1019.8915 | 1019.8915 | PENELEC | 424.7325 | 98.0894 | 245.2236 | PENELEC | 411.1469 | 1579.6731 | 1579.6731 | PENELEC | 150.6626 | 130.1574 | 216.929 | PENELEC | 93.0186 | 168.8014 | 401.908 | PENELEC | 200.5291 | 210.2909 | 1194.8348 | PENELEC | 280.6077 | 865.2123 | 3327.7397 | PENELEC | 0 | 254 | 254
PEPCO | 53.1683 | 234.807 | 234.807 | PEPCO | 193.4078 | 117.4141 | 117.4141 | PEPCO | 35.014 | 1023.8079 | 1023.8079 | PEPCO | 440.4584 | 82.3635 | 205.9088 | PEPCO | 483.8913 | 1506.9287 | 1506.9287 | PEPCO | 169.4704 | 111.3496 | 185.5827 | PEPCO | 104.4148 | 157.4052 | 374.7744 | PEPCO | 222.1682 | 188.6518 | 1071.8854 | PEPCO | 311.7094 | 834.1106 | 3208.1178 | PEPCO | 0 | 254 | 254
PPL | 45.0122 | 242.9631 | 242.9631 | PPL | 165.9727 | 144.8492 | 144.8492 | PPL | 45.8691 | 1012.9529 | 1012.9529 | PPL | 421.62 | 101.2019 | 253.0047 | PPL | 379.3763 | 1611.4437 | 1611.4437 | PPL | 137.4005 | 143.4195 | 239.0326 | PPL | 84.6186 | 177.2014 | 421.908 | PPL | 192.0398 | 218.7802 | 1243.0695 | PPL | 265.6678 | 880.1522 | 3385.2007 | PPL | 0 | 254 | 254
PSEG | 35.0739 | 252.9015 | 252.9015 | PSEG | 140.5462 | 170.2757 | 170.2757 | PSEG | 36.3699 | 1022.452 | 1022.452 | PSEG | 421.668 | 101.154 | 252.8849 | PSEG | 398.3344 | 1592.4856 | 1592.4856 | PSEG | 140.0171 | 140.8029 | 234.6715 | PSEG | 86.0947 | 175.7253 | 418.3936 | PSEG | 199.1231 | 211.6969 | 1202.8232 | PSEG | 273.7784 | 872.0416 | 3354.006 | PSEG | 0 | 254 | 254
RECO | 38.5275 | 249.4478 | 249.4478 | RECO | 144.7626 | 166.0593 | 166.0593 | RECO | 34.6873 | 1024.1346 | 1024.1346 | RECO | 426.7608 | 96.0612 | 240.1529 | RECO | 402.1223 | 1588.6977 | 1588.6977 | RECO | 142.3516 | 138.4684 | 230.7806 | RECO | 87.654 | 174.166 | 414.6809 | RECO | 199.232 | 211.588 | 1202.2047 | RECO | 275.227 | 870.593 | 3348.4347 | RECO | 0 | 254 | 254
Average | 62 | 226 | 226 | Average | 195 | 116 | 116 | Average | 36 | 1023 | 1023 | Average | 429 | 93 | 232.5 | Average | 420 | 1570 | 1570 | Average | 153 | 128 | 213.3333 | Average | 94 | 168 | 400 | Average | 203 | 208 | 1181.8182 | Average | 284 | 862 | 3315.3846 | Average | 0 | 254 | 254
* Net E&AS Revenue Offset value in tables above does not include reactive services. Reactive services constant is added to Net E&AS to determine Net CONE.

## CT
Area | RT Run Hours | RT Starts | DA Generation (MWh) | RT Generation (MWh) | Gross Energy Revenue ($) | DA SR (MWh) | DA NSR (MWh) | RT SR (MWh) | RT NSR (MWh) | Reg A (MWh) | Gross SR Revenue ($) | Gross NSR Revenue ($) | Gross REG Revenue ($) | Gross AS Revenue ($) | Total Gross Revenue ($) | Total RT Cost ($) | Net Revenue ($) | Uplift ($) | Net Revenue w Uplift ($) | Net Revenue w Uplift ($/MW-year) | Net Revenue w Uplift ($/MW-day) | Fixed Reactive Services Revenues ($/MW-Year) | Fixed Reactive Services Revenues ($/MW-Day) | Net Energy & Ancillary Services Revenues ($/MW-year) | Net Energy & Ancillary Services Revenues ($/MW-day)
AECO | 1244 | 132.3333 | 277999 | 360489.1667 | 16782585.41 | 45097.3333 | 0 | 40179 | 0 | 44227.1667 | 803483.1467 | 0 | 2968232.321 | 3771715.4677 | 20554300.8767 | 15302799.0155 | 5251501.86 | 925.2333 | 5252427.092 | 13403.3495 | 36.7215 | 2199 | 6.0247 | 15602.3495 | 42.7462
AEP | 2678.6667 | 174.3333 | 824202 | 832721 | 32084233.0333 | 68705.3333 | 0 | 51150.6667 | 0 | 86184.3333 | 822732.7467 | 0 | 4503156.3633 | 5325889.11 | 37410122.1433 | 27904902.1956 | 9505219.95 | 1369.22 | 9506589.169 | 24260.0667 | 66.4659 | 2199 | 6.0247 | 26459.0667 | 72.4906
APS | 3742.3333 | 160.6667 | 1219754.3333 | 1189452.8333 | 43477974.2867 | 80736.3333 | 0 | 57355.3333 | 0 | 101506.8333 | 892868.9367 | 0 | 4703826.481 | 5596695.4177 | 49074669.7 | 36718536.6174 | 12356133.0833 | 1455.3067 | 12357588.39 | 31536.4204 | 86.4012 | 2199 | 6.0247 | 33735.4204 | 92.4258
ATSI | 2703.6667 | 174.6667 | 839663.6667 | 856159.1667 | 34904967.1867 | 64241 | 0 | 53269.3333 | 0 | 63370.8333 | 813658.8 | 0 | 3941129.1103 | 4754787.9103 | 39659755.0967 | 29226763.0765 | 10432992.0167 | 4976.0333 | 10437968.049 | 26628.009 | 72.9534 | 2199 | 6.0247 | 28827.009 | 78.9781
BGE | 3260 | 205.6667 | 1019844 | 1009107.1667 | 40687334.6967 | 74834.3333 | 0 | 69310.6667 | 0 | 80698.5 | 861536.8833 | 0 | 3670144.338 | 4531681.2213 | 45219015.9167 | 34031675.8557 | 11187340.0633 | 106.4667 | 11187446.5303 | 28553.3231 | 78.2283 | 2199 | 6.0247 | 30752.3231 | 84.2529
COMED | 2068.6667 | 169.3333 | 569968.3333 | 620541.5 | 21766377.4167 | 71429.3333 | 0 | 55388 | 0 | 69197.1667 | 974091.8067 | 0 | 4075416.8583 | 5049508.665 | 26815886.08 | 19927372.4566 | 6888513.6233 | 5701.8667 | 6894215.4863 | 17581.4764 | 48.1684 | 2199 | 6.0247 | 19780.4764 | 54.1931
DAY | 2695.6667 | 180 | 837923.3333 | 853563.6667 | 34400815.5667 | 65905.6667 | 0 | 50772.3333 | 0 | 67646 | 800922.5867 | 0 | 4084479.685 | 4885402.2717 | 39286217.8367 | 29127205.2965 | 10159012.54 | 2147.4767 | 10161160.0183 | 25928.7342 | 71.0376 | 2199 | 6.0247 | 28127.7342 | 77.0623
DEOK | 2502.6667 | 172.3333 | 766808.3333 | 779138.5 | 33136481.0833 | 61214.3333 | 0 | 53572 | 0 | 66397.5 | 827654.1067 | 0 | 3998776.4273 | 4826430.534 | 37962911.6167 | 26818328.7475 | 11144582.8667 | 1896.8167 | 11146479.6817 | 28444.1944 | 77.9293 | 2199 | 6.0247 | 30643.1944 | 83.954
DOM | 895.3333 | 161.3333 | 528745 | 271156.3333 | 16834082.0767 | 58112 | 0 | 22397.3333 | 0 | 33823 | 619567.7467 | 0 | 2731819.0133 | 3351386.76 | 20185468.8333 | 12237878.6076 | 7947590.23 | 16029.81 | 7963620.0387 | 20284.5458 | 55.5741 | 2199 | 6.0247 | 22483.5458 | 61.5988
DPL | 1981 | 172.3333 | 540071.6667 | 593134.8333 | 28886306.6433 | 57431 | 0 | 53193.6667 | 0 | 54517.8333 | 828798.9433 | 0 | 3219812.582 | 4048611.5253 | 32934918.1667 | 23338773.0318 | 9596145.1333 | 922.6167 | 9597067.7503 | 24492.134 | 67.1017 | 2199 | 6.0247 | 26691.134 | 73.1264
DUQ | 3470.3333 | 167.3333 | 1100997.3333 | 1080511 | 35788733.4867 | 84595.3333 | 0 | 66813.6667 | 0 | 86487 | 879887.5633 | 0 | 3861178.6957 | 4741066.259 | 40529799.7433 | 30354628.5895 | 10175171.1533 | 2026.2567 | 10177197.4147 | 25969.9757 | 71.1506 | 2199 | 6.0247 | 28168.9757 | 77.1753
EKPC | 3383.6667 | 168 | 1066128 | 1057368.1667 | 36384657.77 | 83233.3333 | 0 | 63560 | 0 | 93183.5 | 963693.6933 | 0 | 4755955.0313 | 5719648.7247 | 42104306.4933 | 31950375.4014 | 10153931.09 | 3047.8067 | 10156978.8977 | 25915.7649 | 71.0021 | 2199 | 6.0247 | 28114.7649 | 77.0268
JCPL | 1210.6667 | 131 | 273152.3333 | 348747.6667 | 16245367.5367 | 46156.6667 | 0 | 39422.3333 | 0 | 45248.6667 | 794136.0433 | 0 | 2972018.1823 | 3766154.2257 | 20011521.76 | 14800636.4729 | 5210885.2867 | 2510.85 | 5213396.141 | 13299.6843 | 36.4375 | 2199 | 6.0247 | 15498.6843 | 42.4621
METED | 2444.6667 | 167.6667 | 689558 | 739919.5 | 28207683.54 | 75591 | 0 | 60836 | 0 | 66700.1667 | 872563.03 | 0 | 3516693.88 | 4389256.91 | 32596940.4467 | 24194830.5068 | 8402109.9367 | 11346.09 | 8413456.0293 | 21444.6113 | 58.7524 | 2199 | 6.0247 | 23643.6113 | 64.777
PECO | 1828.3333 | 146 | 486552 | 541267.8333 | 20458244.4633 | 65981.3333 | 0 | 51831.6667 | 0 | 60419.8333 | 891572.7667 | 0 | 3387800.6397 | 4279373.4063 | 24737617.8667 | 18450970.4477 | 6286647.42 | 5349.0433 | 6291996.4663 | 16045.34 | 43.9598 | 2199 | 6.0247 | 18244.34 | 49.9845
PENELEC | 5614 | 94.6667 | 1877906.3333 | 1793461.6667 | 55868492.83 | 99123.3333 | 0 | 65376 | 0 | 131054.6667 | 952323.2633 | 0 | 5362973.0103 | 6315296.2737 | 62183789.1033 | 45309370.2568 | 16874418.8433 | 7699.6233 | 16882118.4633 | 43068.3907 | 117.9956 | 2199 | 6.0247 | 45267.3907 | 124.0202
PEPCO | 2110 | 186.6667 | 603467 | 633970.5 | 28084590.7933 | 61214.3333 | 0 | 58717.3333 | 0 | 55047.5 | 803502.82 | 0 | 3162039.327 | 3965542.147 | 32050132.94 | 24446586.7162 | 7603546.2267 | 5111.0067 | 7608657.229 | 19406.4461 | 53.1683 | 2199 | 6.0247 | 21605.4461 | 59.193
PPL | 1831.3333 | 151.6667 | 479757 | 542520.1667 | 20488858.39 | 68100 | 0 | 53420.6667 | 0 | 60798.1667 | 886673.35 | 0 | 3405579.3767 | 4292252.7267 | 24781111.1167 | 18343963.1202 | 6437147.99 | 9096.2133 | 6446244.2057 | 16429.4609 | 45.0122 | 2199 | 6.0247 | 18628.4609 | 51.0369
PSEG | 1207 | 139.3333 | 265487 | 345775.1667 | 16105638.46 | 45778.3333 | 0 | 39725 | 0 | 44151.5 | 772588.4467 | 0 | 2867941.7607 | 3640530.2073 | 19746168.6633 | 14730294.7382 | 5015873.92 | 2762.1433 | 5018636.0657 | 12801.959 | 35.0739 | 2199 | 6.0247 | 15000.959 | 41.0985
RECO | 1287.6667 | 145.3333 | 288546.3333 | 368645.5 | 16863635.0333 | 47443 | 0 | 41692.3333 | 0 | 46345.8333 | 776801.5667 | 0 | 2953873.7217 | 3730675.2883 | 20594310.3167 | 15084535.6202 | 5509774.7033 | 2586.57 | 5512361.2743 | 14062.5364 | 38.5275 | 2199 | 6.0247 | 16261.5364 | 44.5522
RTO | 803 | 134.6667 | 381147.6667 | 236437.6667 | 12900776.9 | 52210 | 0 | 18614 | 0 | 38665.6667 | 566977.1433 | 0 | 3127825.5267 | 3694802.67 | 16595579.57 | 10733030.0321 | 5862549.5367 | 20157.1033 | 5882706.6403 | 14962.9197 | 40.9943 | 2199 | 6.0247 | 17161.9197 | 47.019
Zonal Average | 2407.9833 | 160.0333 | 727826.55 | 740882.5667 | 28872852.9852 | 66246.1667 | 0 | 52399.1667 | 0 | 67850.3 | 841952.9123 | 0 | 3707142.3403 | 4549095.2526 | 33421948.2358 | 24615021.3385 | 8806926.8968 | 4353.3225 | 8811280.2196 | 22477.8211 | 61.5831 | 2199 | 6.0247 | 24676.8211 | 67.6077

## CC
Area | RT Run Hours | RT Starts | DA Generation (MWh) | RT Generation (MWh) | Gross Energy Revenue ($) | DA SR (MWh) | DA NSR (MWh) | RT SR (MWh) | RT NSR (MWh) | Reg A (MWh) | Gross SR Revenue ($) | Gross NSR Revenue ($) | Gross REG Revenue ($) | Gross AS Revenue ($) | Total Gross Revenue ($) | Total RT Cost ($) | Net Revenue ($) | Uplift ($) | Net Revenue w Uplift ($) | Net Revenue w Uplift ($/MW-year) | Net Revenue w Uplift ($/MW-day) | Fixed Reactive Services Revenues ($/MW-Year) | Fixed Reactive Services Revenues ($/MW-Day) | Net Energy & Ancillary Services Revenues ($/MW-year) | Net Energy & Ancillary Services Revenues ($/MW-day)
AECO | 7523.3333 | 41 | 7261673 | 6819474.4667 | 188096686.7667 | 579568 | 0 | 159216 | 0 | 1385935.3333 | 2198661.16 | 0 | 22394885.91 | 24593547.07 | 212690233.9 | 148870763.4361 | 63819470.4467 | 11072.5333 | 63830542.98 | 52084.3161 | 142.6968 | 3350 | 9.1781 | 55434.3161 | 151.8748
AEP | 8240.6667 | 7.6667 | 8809002.1333 | 7984251.8 | 221757256.8333 | 376221.3333 | 0 | 94066.6667 | 0 | 1481242 | 1584041.5867 | 0 | 23671152.3633 | 25255193.95 | 247012450.8 | 150979284.2211 | 96033166.5767 | 7587.38 | 96040753.96 | 78374.5426 | 214.7248 | 3350 | 9.1781 | 81724.5426 | 223.9029
APS | 8284 | 6 | 8998430.9333 | 8144598.1333 | 231224351.7 | 323906.6667 | 0 | 83266.6667 | 0 | 1411862 | 1489466.04 | 0 | 22700718.31 | 24190184.35 | 255414536.0333 | 147226413.1628 | 108188122.8767 | 275.6933 | 108188398.5667 | 88294.4398 | 241.9026 | 3350 | 9.1781 | 91644.4398 | 251.0807
ATSI | 8146.3333 | 14.3333 | 8609982.8667 | 7876437.1333 | 228329494.3333 | 386724 | 0 | 110484 | 0 | 1374076.6667 | 1567950.6267 | 0 | 22476532.2933 | 24044482.92 | 252373977.2667 | 153990398.5727 | 98383578.67 | 8527.5033 | 98392106.1733 | 80292.7598 | 219.9802 | 3350 | 9.1781 | 83642.7598 | 229.1582
BGE | 8287 | 7.3333 | 8906835.8667 | 8093493.8667 | 254641761.8 | 312378.6667 | 0 | 81205.3333 | 0 | 1382527.3333 | 1308387.9467 | 0 | 21386605.07 | 22694993.0167 | 277336754.8333 | 171167785.0074 | 106168969.8167 | 0 | 106168969.8333 | 86646.5696 | 237.3879 | 3350 | 9.1781 | 89996.5696 | 246.5659
COMED | 8043.3333 | 35.6667 | 8054055.3333 | 7588928.8667 | 188282755.0333 | 460093.3333 | 0 | 131165.3333 | 0 | 1456928.6667 | 1939376.1867 | 0 | 23638608.67 | 25577984.8567 | 213860739.9333 | 137499763.653 | 76360976.2733 | 2795.59 | 76363771.8633 | 62319.684 | 170.7389 | 3350 | 9.1781 | 65669.684 | 179.9169
DAY | 8236 | 9 | 8765873.8667 | 7992899.5333 | 230337365.1 | 379274.6667 | 0 | 104468 | 0 | 1393812.6667 | 1623259.32 | 0 | 22841946.5233 | 24465205.8433 | 254802570.9667 | 155938407.786 | 98864163.1633 | 9239.2 | 98873402.3767 | 80684.9742 | 221.0547 | 3350 | 9.1781 | 84034.9742 | 230.2328
DEOK | 8048.3333 | 16.3333 | 8417220.8 | 7672842.7333 | 222771250.8 | 416332 | 0 | 128429.3333 | 0 | 1389008 | 1840984.1333 | 0 | 22791117.58 | 24632101.7133 | 247403352.5333 | 150218908.4691 | 97184444.0267 | 52.11 | 97184496.1267 | 79314.1226 | 217.299 | 3350 | 9.1781 | 82664.1226 | 226.477
DOM | 7887.6667 | 29 | 8000935.6 | 7337290.8667 | 225428149.6333 | 427740 | 0 | 122461.3333 | 0 | 1405138.6667 | 1777263.72 | 0 | 22483346.9967 | 24260610.7167 | 249688760.3333 | 167393101.073 | 82295659.25 | 6345.92 | 82302005.1733 | 67163.0946 | 184.0085 | 3350 | 9.1781 | 70513.0946 | 193.1866
DPL | 7921.6667 | 31.6667 | 8036395.6667 | 7453716.3333 | 227046600.2333 | 464426.6667 | 0 | 124994.6667 | 0 | 1372647.3333 | 1723285.8267 | 0 | 21907810.9067 | 23631096.7333 | 250677696.9333 | 161622856.1639 | 89054840.8067 | 5931.5667 | 89060772.3733 | 72679.3947 | 199.1216 | 3350 | 9.1781 | 76029.3947 | 208.2997
DUQ | 8010 | 11.3333 | 8655192.8 | 7868471.7333 | 219178188.0333 | 316984 | 0 | 83148 | 0 | 1341456.6667 | 1408326.6133 | 0 | 21376981.62 | 22785308.2333 | 241963496.2667 | 146839286.1727 | 95124210.12 | 0 | 95124210.1133 | 77632.7255 | 212.6924 | 3350 | 9.1781 | 80982.7255 | 221.8705
EKPC | 8371 | 3 | 9135286.7333 | 8243703.4 | 218799167.5 | 345808 | 0 | 90666.6667 | 0 | 1442126 | 1634019.96 | 0 | 23571198.1667 | 25205218.1267 | 244004385.6333 | 144469522.5947 | 99534863.0367 | 0 | 99534863.0367 | 81232.3455 | 222.5544 | 3350 | 9.1781 | 84582.3455 | 231.7325
JCPL | 7557 | 39.3333 | 7288392.6667 | 6863160.1333 | 188387629.6333 | 574937.3333 | 0 | 156240 | 0 | 1397342.6667 | 2166752.3067 | 0 | 22391775.1133 | 24558527.42 | 212946157.0333 | 149415987.8857 | 63530169.19 | 11198.0767 | 63541367.2633 | 51848.2117 | 142.0499 | 3350 | 9.1781 | 55198.2117 | 151.228
METED | 8155 | 16.3333 | 8564058 | 7817664.0667 | 216484288.7 | 423350.6667 | 0 | 114909.3333 | 0 | 1410882.6667 | 1610685.8533 | 0 | 22467228.23 | 24077914.0833 | 240562202.7667 | 153709483.0942 | 86852719.6933 | 581.2367 | 86853300.9267 | 70882.2007 | 194.1978 | 3350 | 9.1781 | 74232.2007 | 203.3759
PECO | 7907.3333 | 20.6667 | 8097933.9333 | 7466197.8667 | 196747234.4 | 493874.6667 | 0 | 129925.3333 | 0 | 1429172.6667 | 1928242.8 | 0 | 22863568.0433 | 24791810.8433 | 221539045.2333 | 147472664.6572 | 74066380.5833 | 0 | 74066380.5833 | 60447.0196 | 165.6083 | 3350 | 9.1781 | 63797.0196 | 174.7864
PENELEC | 8368.3333 | 2.6667 | 9416719.4667 | 8511880.8 | 230575899.2667 | 254398.6667 | 0 | 60266.6667 | 0 | 1289705.3333 | 1320840.8133 | 0 | 21767930.31 | 23088771.1233 | 253664670.4 | 132607094.1641 | 121057576.2333 | 490.7267 | 121058066.9667 | 98797.4521 | 270.678 | 3350 | 9.1781 | 102147.4521 | 279.856
PEPCO | 8066.3333 | 23.6667 | 8259392.8 | 7566621.2667 | 234885115.3333 | 406741.3333 | 0 | 109481.3333 | 0 | 1408648 | 1541552.64 | 0 | 22146177.2567 | 23687729.8967 | 258572845.2333 | 172073453.0405 | 86499392.1867 | 5369.3633 | 86504761.55 | 70593.8432 | 193.4078 | 3350 | 9.1781 | 73943.8432 | 202.5859
PPL | 7937 | 20.3333 | 8129573.5333 | 7468129.9333 | 196295274.9333 | 487586.6667 | 0 | 136557.3333 | 0 | 1427060 | 1901863.1333 | 0 | 22781402.8133 | 24683265.9467 | 220978540.8667 | 146749156.8572 | 74229384.03 | 13887.2167 | 74243271.2433 | 60580.0499 | 165.9727 | 3350 | 9.1781 | 63930.0499 | 175.1508
PSEG | 7562.6667 | 40.3333 | 7298140.6 | 6816947.9333 | 188325332.2667 | 569872 | 0 | 164108 | 0 | 1398568.6667 | 2186580.3733 | 0 | 22219465.9367 | 24406046.31 | 212731378.5667 | 149873707.3628 | 62857671.19 | 17612.8933 | 62875284.0833 | 51299.373 | 140.5462 | 3350 | 9.1781 | 54649.373 | 149.7243
RECO | 7704 | 37 | 7499192.6667 | 6956273.9333 | 191784160.1333 | 558425.3333 | 0 | 164918.6667 | 0 | 1423886 | 2112374.52 | 0 | 22406694.51 | 24519069.03 | 216303229.1667 | 151559841.2104 | 64743387.97 | 19073.07 | 64762461.04 | 52838.3433 | 144.7626 | 3350 | 9.1781 | 56188.3433 | 153.9407
RTO | 8017 | 22.6667 | 8068898.6 | 7440214.1333 | 209556503.9333 | 490788 | 0 | 126618.6667 | 0 | 1500925.3333 | 1906421.8533 | 0 | 24105831.3233 | 26012253.1767 | 235568757.1333 | 160573382.5176 | 74995374.58 | 8008.6433 | 75003383.22 | 61205.1897 | 167.6855 | 3350 | 9.1781 | 64555.1897 | 176.8635
Zonal Average | 8012.85 | 20.6333 | 8310214.4633 | 7627149.24 | 214968898.1217 | 427932.2 | 0 | 117498.9333 | 0 | 1401101.3667 | 1743195.778 | 0 | 22514257.3312 | 24257453.1092 | 239226351.235 | 151983893.9292 | 87242457.307 | 6002.004 | 87248459.3117 | 71200.2731 | 195.0692 | 3350 | 9.1781 | 74550.2731 | 204.2473

## Coal
Area | RT Run Hours | RT Starts | DA Generation (MWh) | RT Generation (MWh) | Gross Energy Revenue ($) | DA SR (MWh) | DA NSR (MWh) | RT SR (MWh) | RT NSR (MWh) | Reg A (MWh) | Gross SR Revenue ($) | Gross NSR Revenue ($) | Gross REG Revenue ($) | Gross AS Revenue ($) | Total Gross Revenue ($) | Total RT Cost ($) | Net Revenue ($) | Uplift ($) | Net Revenue w Uplift ($) | Net Revenue w Uplift ($/MW-year) | Net Revenue w Uplift ($/MW-day) | Fixed Reactive Services Revenues ($/MW-Year) | Fixed Reactive Services Revenues ($/MW-Day) | Net Energy & Ancillary Services Revenues ($/MW-year) | Net Energy & Ancillary Services Revenues ($/MW-day)
AECO | 923.3333 | 8 | 536850.8 | 512636.9333 | 27651392.9767 | 3716.6667 | 0 | 1466.6667 | 0 | 15291.6667 | 29878.8333 | 0 | 409202.2335 | 439081.0668 | 28090474.0433 | 19202004.9732 | 8888469.07 | 219514.8733 | 9107983.9423 | 12064.2507 | 33.0527 | 3350 | 9.1781 | 15414.2507 | 42.2308
AEP | 512.3333 | 9.6667 | 274952 | 273146.6 | 14315847.4433 | 3483.3333 | 0 | 1266.6667 | 0 | 9091.6667 | 28553 | 0 | 416640.1922 | 445193.1922 | 14761040.6333 | 10748644.5037 | 4012396.1333 | 170899.6467 | 4183295.7787 | 5445.9944 | 14.9205 | 3350 | 9.1781 | 8795.9944 | 24.0986
APS | 805 | 10.6667 | 449974.3333 | 436924.4667 | 22124774.2733 | 4700 | 0 | 1816.6667 | 0 | 13991.6667 | 33079.6667 | 0 | 491818.9978 | 524898.6645 | 22649672.9367 | 16740716.0258 | 5908956.9133 | 223976.9533 | 6132933.8683 | 8020.1818 | 21.9731 | 3350 | 9.1781 | 11370.1818 | 31.1512
ATSI | 2168.3333 | 18.6667 | 1219468.3333 | 1172727.4 | 46542849.6033 | 11500 | 0 | 3750 | 0 | 37991.6667 | 56352.8333 | 0 | 832288.4187 | 888641.2519 | 47431490.8533 | 36743719.9533 | 10687770.8967 | 351945.9933 | 11039716.8943 | 14506.4292 | 39.7436 | 3350 | 9.1781 | 17856.4292 | 48.9217
BGE | 1454.6667 | 16.3333 | 813795.6667 | 775949.2667 | 39603203.7733 | 6483.3333 | 0 | 3200 | 0 | 23908.3333 | 34408.1667 | 0 | 586933.9057 | 621342.0724 | 40224545.85 | 29458340.3279 | 10766205.5233 | 228912.7367 | 10995118.2577 | 14612.8879 | 40.0353 | 3350 | 9.1781 | 17962.8879 | 49.2134
COMED | 415.6667 | 7 | 216459.3333 | 217598.7333 | 9758302.2813 | 2983.3333 | 0 | 866.6667 | 0 | 7608.3333 | 30029 | 0 | 361827.7146 | 391856.7146 | 10150158.9983 | 7143205.6275 | 3006953.37 | 70848.2 | 3077801.5683 | 4081.3147 | 11.1817 | 3350 | 9.1781 | 7431.3147 | 20.3598
DAY | 2287.6667 | 22.6667 | 1268207.3333 | 1220318.8667 | 47387283.99 | 13650 | 0 | 4116.6667 | 0 | 40433.3333 | 52108.5 | 0 | 877771.5887 | 929880.0887 | 48317164.0767 | 38480427.2847 | 9836736.7933 | 490926.0067 | 10327662.8003 | 13351.3272 | 36.579 | 3350 | 9.1781 | 16701.3272 | 45.7571
DEOK | 2076.6667 | 21.3333 | 1152571.3333 | 1102106.2667 | 45119009.89 | 10450 | 0 | 3966.6667 | 0 | 35091.6667 | 49786.3333 | 0 | 788596.4323 | 838382.7656 | 45957392.6567 | 34811576.6981 | 11145815.9567 | 382239.3433 | 11528055.2993 | 15128.1303 | 41.4469 | 3350 | 9.1781 | 18478.1303 | 50.625
DOM | 1137.6667 | 13.6667 | 639111.6667 | 607500.4 | 31968763.7733 | 6016.6667 | 0 | 2583.3333 | 0 | 19341.6667 | 36430.5 | 0 | 551970.8737 | 588401.3737 | 32557165.15 | 23164564.6163 | 9392600.5333 | 265656.52 | 9658257.0527 | 12748.5045 | 34.9274 | 3350 | 9.1781 | 16098.5045 | 44.1055
DPL | 1435.3333 | 16 | 816026.0667 | 789661.5333 | 43307129.7667 | 5400 | 0 | 2883.3333 | 0 | 20975 | 33696.8333 | 0 | 507834.4525 | 541531.2858 | 43848661.05 | 29872216.9862 | 13976444.0667 | 285103.49 | 14261547.5567 | 18970.12 | 51.9729 | 3350 | 9.1781 | 22320.12 | 61.151
DUQ | 2056 | 19.6667 | 1149381 | 1100685.9333 | 44132883.7233 | 10583.3333 | 0 | 3116.6667 | 0 | 36075 | 42762 | 0 | 805460.7416 | 848222.7416 | 44981106.47 | 34700966.7457 | 10280139.7233 | 382550.3333 | 10662690.056 | 13953.1546 | 38.2278 | 3350 | 9.1781 | 17303.1546 | 47.4059
EKPC | 1258.6667 | 15.3333 | 693365 | 663135.7333 | 25976814.9567 | 7300 | 0 | 2166.6667 | 0 | 23483.3333 | 39755 | 0 | 637998.0936 | 677753.0936 | 26654568.05 | 21231925.2626 | 5422642.79 | 309734.5267 | 5732377.318 | 7360.1113 | 20.1647 | 3350 | 9.1781 | 10710.1113 | 29.3428
JCPL | 858.6667 | 7.3333 | 500535.1333 | 479495.4667 | 26112900.0767 | 3133.3333 | 0 | 966.6667 | 0 | 14383.3333 | 22086.6667 | 0 | 393330.0173 | 415416.684 | 26528316.76 | 17952350.8296 | 8575965.9333 | 161275.4067 | 8737241.339 | 11640.0926 | 31.8907 | 3350 | 9.1781 | 14990.0926 | 41.0687
METED | 2033.6667 | 15 | 1183671 | 1147204.3333 | 50115805.9567 | 8133.3333 | 0 | 3283.3333 | 0 | 32116.6667 | 53456.6667 | 0 | 677714.3797 | 731171.0464 | 50846977.0033 | 35685373.8422 | 15161603.16 | 286883.9733 | 15448487.13 | 20578.7273 | 56.3801 | 3350 | 9.1781 | 23928.7273 | 65.5582
PECO | 1568 | 10.3333 | 931421.6667 | 900507.0667 | 39887553.1933 | 5666.6667 | 0 | 1466.6667 | 0 | 26916.6667 | 30140.1667 | 0 | 563737.1494 | 593877.316 | 40481430.51 | 27871105.9643 | 12610324.5467 | 313888.3733 | 12924212.9233 | 17115.8965 | 46.8929 | 3350 | 9.1781 | 20465.8965 | 56.0709
PENELEC | 1722.3333 | 13.6667 | 1002546 | 961576.7333 | 39743962.0833 | 7583.3333 | 0 | 2050 | 0 | 30791.6667 | 47059.6667 | 0 | 700654.0329 | 747713.6996 | 40491675.7833 | 30022594.5786 | 10469081.2033 | 286914.72 | 10755995.9237 | 14209.6034 | 38.9304 | 3350 | 9.1781 | 17559.6034 | 48.1085
PEPCO | 1198.3333 | 12.6667 | 675459 | 642594.5333 | 33166850.8933 | 5733.3333 | 0 | 2400 | 0 | 20758.3333 | 31371.5 | 0 | 552971.8236 | 584343.3236 | 33751194.2167 | 24335301.8751 | 9415892.3433 | 262187.19 | 9678079.531 | 12780.1182 | 35.014 | 3350 | 9.1781 | 16130.1182 | 44.1921
PPL | 1652.6667 | 11.6667 | 973731.4 | 941248.3333 | 40894686.7333 | 5950 | 0 | 1533.3333 | 0 | 28600 | 34763.8333 | 0 | 621655.7643 | 656419.5976 | 41551106.33 | 29216101.3996 | 12335004.9333 | 255833.8933 | 12590838.8233 | 16742.2073 | 45.8691 | 3350 | 9.1781 | 20092.2073 | 55.0471
PSEG | 950.6667 | 7.6667 | 551881.6667 | 528579.5333 | 29087880.7633 | 3550 | 0 | 1116.6667 | 0 | 16008.3333 | 23412.1667 | 0 | 419648.2671 | 443060.4337 | 29530941.1967 | 19750416.1256 | 9780525.0767 | 188720.18 | 9969245.2573 | 13275.0315 | 36.3699 | 3350 | 9.1781 | 16625.0315 | 45.548
RECO | 960 | 9 | 550795 | 526497.8 | 28652723.7 | 3850 | 0 | 1500 | 0 | 15841.6667 | 29247.5 | 0 | 447037.748 | 476285.248 | 29129008.9467 | 19800976.8954 | 9328032.0567 | 214661.5367 | 9542693.5917 | 12660.8662 | 34.6873 | 3350 | 9.1781 | 16010.8662 | 43.8654
RTO | 699 | 10.6667 | 385894.3333 | 377577.4667 | 20105087.0767 | 3400 | 0 | 1316.6667 | 0 | 12525 | 29633.3333 | 0 | 468936.5635 | 498569.8969 | 20603656.9733 | 14601621.3897 | 6002035.5833 | 161766.0867 | 6163801.668 | 8146.5167 | 22.3192 | 3350 | 9.1781 | 11496.5167 | 31.4973
Zonal Average | 1373.7833 | 13.3167 | 780010.1867 | 750004.7967 | 34277530.9926 | 6493.3333 | 0 | 2275.8333 | 0 | 23435 | 36918.9417 | 0 | 582254.6414 | 619173.583 | 34896704.5758 | 25346626.5258 | 9550078.0512 | 267633.6948 | 9817711.7456 | 12962.2475 | 35.513 | 3350 | 9.1781 | 16312.2475 | 44.6911

## Battery
Area | RT Run Hours | RT Starts | DA Generation (MWh) | RT Generation (MWh) | Gross Energy Revenue ($) | DA SR (MWh) | DA NSR (MWh) | RT SR (MWh) | RT NSR (MWh) | Reg A (MWh) | Gross SR Revenue ($) | Gross NSR Revenue ($) | Gross REG Revenue ($) | Gross AS Revenue ($) | Total Gross Revenue ($) | Total RT Cost ($) | Net Revenue ($) | Uplift ($) | Net Revenue w Uplift ($) | Net Revenue w Uplift ($/MW-year) | Net Revenue w Uplift ($/MW-day) | Fixed Reactive Services Revenues ($/MW-Year) | Fixed Reactive Services Revenues ($/MW-Day) | Net Energy & Ancillary Services Revenues ($/MW-year) | Net Energy & Ancillary Services Revenues ($/MW-day)
AECO | 5107.6667 | 0 | -302.5548 | -443.9288 | 25948.1742 | 3297.1765 | 0 | 490.2259 | 0 | 7984.4207 | 4884.5833 | 0 | 122453.881 | 127338.4643 | 153286.6385 | 0 | 153286.6385 | 0 | 153286.6385 | 153286.6385 | 419.9634 | 3350 | 9.1781 | 156636.6385 | 429.1415
AEP | 5064.6667 | 0 | -297.8976 | -439.6836 | 28368.9304 | 3170.2116 | 0 | 458.7595 | 0 | 7980.8859 | 4132.8017 | 0 | 122667.6238 | 126800.4255 | 155169.3559 | 0 | 155169.3559 | 0 | 155169.3559 | 155169.3559 | 425.1215 | 3350 | 9.1781 | 158519.3559 | 434.2996
APS | 5053.3333 | 0 | -290.713 | -437.8897 | 28944.1952 | 3139.4622 | 0 | 463.1448 | 0 | 7972.1197 | 4369.7056 | 0 | 122510.4573 | 126880.1629 | 155824.3582 | 0 | 155824.3581 | 0 | 155824.3581 | 155824.3581 | 426.916 | 3350 | 9.1781 | 159174.3581 | 436.0941
ATSI | 5039 | 0 | -277.835 | -437.528 | 31078.9613 | 3121.2565 | 0 | 447.2422 | 0 | 7961.2819 | 4020.3722 | 0 | 122348.6979 | 126369.0702 | 157448.0314 | 0 | 157448.0314 | 0 | 157448.0314 | 157448.0314 | 431.3645 | 3350 | 9.1781 | 160798.0314 | 440.5426
BGE | 4970.3333 | 0 | -283.4223 | -436.3912 | 38831.1954 | 3003.9377 | 0 | 441.6498 | 0 | 7891.269 | 4060.885 | 0 | 120837.8186 | 124898.7037 | 163729.8991 | 0 | 163729.8991 | 0 | 163729.8991 | 163729.8991 | 448.5751 | 3350 | 9.1781 | 167079.8991 | 457.7531
COMED | 5095.6667 | 0 | -261.15 | -443.3571 | 30705.1959 | 3230.9827 | 0 | 473.9603 | 0 | 7994.2445 | 4204.2641 | 0 | 122947.035 | 127151.2991 | 157856.495 | 0 | 157856.495 | 0 | 157856.495 | 157856.495 | 432.4835 | 3350 | 9.1781 | 161206.495 | 441.6616
DAY | 5032.3333 | 0 | -295.9813 | -438.5768 | 31018.1322 | 3130.139 | 0 | 442.7657 | 0 | 7957.8889 | 3844.5982 | 0 | 122345.5812 | 126190.1794 | 157208.3116 | 0 | 157208.3116 | 0 | 157208.3116 | 157208.3116 | 430.7077 | 3350 | 9.1781 | 160558.3116 | 439.8858
DEOK | 5045 | 0 | -302.485 | -441.6879 | 32546.8413 | 3140.9559 | 0 | 452.6824 | 0 | 7963.3265 | 4117.5293 | 0 | 122103.1065 | 126220.6358 | 158767.4771 | 0 | 158767.477 | 0 | 158767.477 | 158767.477 | 434.9794 | 3350 | 9.1781 | 162117.477 | 444.1575
DOM | 5024.3333 | 0 | -283.6068 | -437.0966 | 34144.5327 | 3065.6399 | 0 | 449.8052 | 0 | 7943.5228 | 4206.4047 | 0 | 121995.4904 | 126201.8951 | 160346.4279 | 0 | 160346.4279 | 0 | 160346.4279 | 160346.4279 | 439.3053 | 3350 | 9.1781 | 163696.4279 | 448.4834
DPL | 5027 | 0 | -287.4912 | -443.1865 | 35434.8839 | 3147.7396 | 0 | 459.1684 | 0 | 7917.9087 | 4601.7825 | 0 | 121585.1918 | 126186.9743 | 161621.8582 | 0 | 161621.8582 | 0 | 161621.8582 | 161621.8582 | 442.7996 | 3350 | 9.1781 | 164971.8582 | 451.9777
DUQ | 5041.6667 | 0 | -281.898 | -438.0752 | 31790.8864 | 3120.3737 | 0 | 452.2675 | 0 | 7961.6465 | 4076.816 | 0 | 122327.5765 | 126404.3925 | 158195.2789 | 0 | 158195.2789 | 0 | 158195.2789 | 158195.2789 | 433.4117 | 3350 | 9.1781 | 161545.2789 | 442.5898
EKPC | 5076.3333 | 0 | -306.7683 | -440.6108 | 27323.5059 | 3204.0282 | 0 | 468.2324 | 0 | 7987.235 | 4176.9027 | 0 | 122841.9585 | 127018.8612 | 154342.367 | 0 | 154342.367 | 0 | 154342.367 | 154342.367 | 422.8558 | 3350 | 9.1781 | 157692.367 | 432.0339
JCPL | 5109 | 0 | -304.5746 | -442.5114 | 25410.0805 | 3287.9995 | 0 | 485.9275 | 0 | 7994.5468 | 4949.9371 | 0 | 122478.259 | 127428.1962 | 152838.2766 | 0 | 152838.2766 | 0 | 152838.2766 | 152838.2766 | 418.735 | 3350 | 9.1781 | 156188.2766 | 427.9131
METED | 5067.6667 | 0 | -281.1563 | -441.9728 | 30269.7679 | 3215.5803 | 0 | 452.695 | 0 | 7970.5816 | 4478.6952 | 0 | 122248.8421 | 126727.5374 | 156997.3053 | 0 | 156997.3053 | 0 | 156997.3053 | 156997.3053 | 430.1296 | 3350 | 9.1781 | 160347.3053 | 439.3077
PECO | 5125.3333 | 0 | -315.967 | -443.2306 | 24629.5905 | 3326.6138 | 0 | 487.4179 | 0 | 8005.3841 | 4993.0882 | 0 | 122552.3988 | 127545.487 | 152175.0775 | 0 | 152175.0775 | 0 | 152175.0775 | 152175.0775 | 416.918 | 3350 | 9.1781 | 155525.0775 | 426.0961
PENELEC | 5084.6667 | 0 | -294.2545 | -440.3746 | 27930.0152 | 3218.5684 | 0 | 463.2175 | 0 | 7983.3324 | 4371.1123 | 0 | 122726.2321 | 127097.3444 | 155027.3596 | 0 | 155027.3596 | 0 | 155027.3596 | 155027.3596 | 424.7325 | 3350 | 9.1781 | 158377.3596 | 433.9106
PEPCO | 5001 | 0 | -285.4742 | -435.4809 | 35125.9256 | 3045.356 | 0 | 437.143 | 0 | 7927.149 | 4045.3029 | 0 | 121596.0933 | 125641.3962 | 160767.3218 | 0 | 160767.3218 | 0 | 160767.3218 | 160767.3218 | 440.4584 | 3350 | 9.1781 | 164117.3218 | 449.6365
PPL | 5110 | 0 | -291.9129 | -442.8033 | 26410.0271 | 3296.9118 | 0 | 478.6514 | 0 | 8003.4715 | 4900.6082 | 0 | 122580.6736 | 127481.2818 | 153891.3089 | 0 | 153891.3089 | 0 | 153891.3089 | 153891.3089 | 421.62 | 3350 | 9.1781 | 157241.3089 | 430.7981
PSEG | 5101.3333 | 0 | -296.8624 | -442.8221 | 26799.745 | 3274.0413 | 0 | 478.7888 | 0 | 7985.0115 | 4710.8046 | 0 | 122398.2579 | 127109.0625 | 153908.8075 | 0 | 153908.8075 | 0 | 153908.8075 | 153908.8075 | 421.668 | 3350 | 9.1781 | 157258.8075 | 430.846
RECO | 5090.3333 | 0 | -292.266 | -443.4735 | 29003.3086 | 3262.0934 | 0 | 481.3989 | 0 | 7973.3452 | 4590.4911 | 0 | 122173.8762 | 126764.3673 | 155767.6758 | 0 | 155767.6758 | 0 | 155767.6758 | 155767.6758 | 426.7608 | 3350 | 9.1781 | 159117.6758 | 435.9388
RTO | 5005 | 0 | -286.8713 | -433.1627 | 27782.6836 | 3149.8334 | 0 | 453.3187 | 0 | 7936.9395 | 4208.6352 | 0 | 122442.3721 | 126651.0073 | 154433.6909 | 0 | 154433.6909 | 0 | 154433.6909 | 154433.6909 | 423.106 | 3350 | 9.1781 | 157783.6909 | 432.2841
Zonal Average | 5063.3333 | 0 | -291.7136 | -440.5341 | 30085.6947 | 3184.9534 | 0 | 463.2572 | 0 | 7967.9286 | 4386.8342 | 0 | 122285.9526 | 126672.7868 | 156758.4816 | 0 | 156758.4816 | 0 | 156758.4816 | 156758.4816 | 429.4753 | 3350 | 9.1781 | 160108.4816 | 438.6534