## 1. Interest Identification
PC - Enhanced Inverter
Interest Identification
Instructions: List interests of all parties on this page.
1 | Avoid a planning and operational issue within the eastern interconnection
2 | Proactively explore any issue effecting grid reliability
3 | Review existing standards and ensure they are relevant to emerging technologies as well
4 | Improve coordination/eliminate conflicts between interconnection standards for transmission-connected and distributed energy resources
5 | Leverage available grid-support capabilities of inverters to the extent possible
6 | Seek cost-effective solutions to reliability issues.
7 | Develop standards for PJM that have broad applicability in other regions and nationally.
8
9
10
11
12
13
14
15

## 2. Options Matrix- Design Comp.
PC - Enhanced Inverter
OPTIONS MATRIX
Strive for simplicity
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
1 | Active Power Control - upon request (curtailments)
2 | Active Power Control - automatic (e.g. for frequency control, or to limit ramp rates)
3 | Reactive Power Support (fixed, on demand, or dynamic)
4 | Low Voltage Ride-Through (LVRT)
5 | Expanded frequency trips points | [7 empty] | Low
6 | Communication capabilities | [7 empty] | Low - Medium
7 | [8 empty] | Low - High
8 | [8 empty] | Medium
9 | [8 empty] | Medium - High
10 | [8 empty] | High
11
12
Instructions:
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decsion-making method).

## 2a. Component Details
PC - Enhanced Inverter
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 |  | <enter detailed description of this component>
2 |  | <enter detailed description of this component>
3 |  | <enter detailed description of this component>
4 |  | <enter detailed description of this component>
5 |  | <enter detailed description of this component>

## 2b. Solution Details
PC - Enhanced Inverter
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Package Matrix
PC - Enhanced Inverter
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Medium - High
High

## Parking Lot
PC - Enhanced Inverter
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.