## Long-Term+Transmission+Planning
Are there other drivers that should be considered when altering scenarios beyond the sources of information traditionally used in PJM analysis? (discussion paper Scenario Drivers page 5) | Should generation beyond what is included in the Interconnection Queue be included in long-term planning studies? If yes, how should it be determined where generation is to be located? | How and when should PJM transition from probabilistic to deterministic methodologies in the scenarios? | How do we funnel down from a multitude of potential scenarios into a subset of scenarios that are actionable? (discussion paper Scenario Development Criteria page 5) | What is the decision-making criteria to initiate a project at year 15? At year 8? (discussion paper Step Four page 7) | Who determines whether a given set of scenarios are the ones that should form the basis for ordering new projects? | How should PJM address changes to initial scenario drivers input assumptions that alter the need for projects previously set in motion? | What is the role of FERC and the states? | Are there any other concepts that should be incorporated within the Enhanced 15-Year Long-Term Planning (Masterplan) Discussion Paper? | Provided benefit? Please share why. | Cause concern? Please share why.
Future land mass expectations due to climate change. | Transmission policy is a driver - if there is transmission cost allocation reform then use a scenario based on fuel availability - most irradiance, most wind, etc. | Change to deterministic if/when there is transmission cost allocation reform. |  |  | States? | Sunk costs should be reimbursed but projects cancelled as soon as possibly aware of the situation provided the construction is not yet begun or extremely early stage | FERC role in BES should follow the pipeline model more closely. Cost allocation for transmission reform must be solved.
Identification of the "need" and how alternative methods result in the most cost effective (least cost) to satisfy the need while maintaining reliability. | If the projects are participant funded, then no. generator's can be responsible for their own costs and PJM has mechanisms in place to allow costs to be spread to subsequent projects. |  | ranking and scoring metric. | create milestones, triggers, that would first, identify the project, and then cause the project to be built. | LSE, PJM, State Commission in which the upgrades are required | annual or semi-annual progress reports with references back to the scoring metric. | FERC can look at the larger system, while state's can look at what is "built in their backyard" and what impacts their ratepayers. FERC can set the framework for when multiple states are involved and then the states can follow the framework, while maintaining state requirements. | create a base plan, a skeleton plan with the bare minimum. A master plan can evaluate the incremental amount of value and costs, while looking at a "what if" type of analysis. Given the current impacts seen in the AF-1 cluster, significant upgrades and new lines are needed. | short term and long term plan. from a transmission view, some projects are unavoidable and are triggered for multiple reasons (short term plan). However, some projects would take 10-15 years to build out (long term plan). Over the long term, the project can move forward as well as deferral based on needs and load projections (and now generation projections). Cost impacts! start listing the cost impacts. Consider and list the remaining life of the existing asset. It can be very misleading to say a new line costs "x" dollars, and the knee jerk reaction is to say, no. However, people miss that the old line is going to have to be rebuilt just because of aging. The true cost is the incremental cost from the base rebuild to the new design/upgrade. | Is their any need to start looking at the "value" or cost of HVDC given solar and wind projects in PJM.
See feedback on question "Should generation beyond what is included in the Interconnection Queue be included in long-term planning studies?" | Incorporation of high levels of renewables is critical in all horizons of study (short-, intermediate, and long-term). While the Interconnection Queue (Queue View) provides a unique perspective on how planners might model a zero-carbon future, it has a flaw in that it represents a lagging indicator because the Queue View is heavily driven by perceived transmission capacity on the transmission system today and the associated expected cost of transmission upgrades. For example, generator developers are unlikely to propose a queue position into a location that requires significant transmission investment, even if land availability, ease of permitting, and constructability of a renewable resource have positive indicators. However, if transmission planning provides for a new bulk transmission facility that would enable generation to interconnect more cost effectively, then generator developers would react with adjustments to their queue location selections. Furthermore, even the generation mix in Queue View may not be appropriate as developers are often seeking to develop new generation projects in the short-term based upon existing commodity and technology costs. When identifying transmission needs to meet the forecasted generation mix across the long-term, it is better to model a future resource mix based upon expected cost curves. In addition to Queue View, **** encourages the development of generation scenarios that focus more on geographic zones with high amounts of renewable energy resources and significant amounts of developable land that would accommodate large amounts of renewable energy. For example, using GIS databases, PJM could develop their own view of how much and where renewables could be sited (Resource View). This would allow PJM to identify constraints on the existing transmission system and assess the need for new bulk transmission facilities to enable renewable-rich locations with little-to-no bulk transmission capabilities. | We would encourage PJM to consider that the transition from probabilistic to deterministic methodologies should not depend on the timeframe under study. This is because, in existing planning processes, even the short-term evaluations out to five years have probabilistic assumptions ranging from load forecasts, to generation dispatch costs and unit availabilities. Therefore, the focus of PJM s process should be to leverage meaningful probabilistic scenarios to determine the most cost-effective outcomes for PJM customers. As such, **** suggest the following guiding principles that PJM might consider for long-term studies: - Long-term forward-looking studies (out 15+ years) should be performed at least every two years to inform shorter-term and intermediate-term decision-making and transmission needs. For example, project selection for annual reliability windows should consider the benefits of addressing long-term needs. - Long-term studies should seek bulk electric system solutions that address significant system needs and/or provide significant system benefits (e.g., benefits to more than one load zone in PJM) - Long-term studies should impact project scope and decision-making for short-term and intermediate-term transmission needs and associated competitive solicitations - PJM should issue a solicitation if needs are identified across multiple long-term scenarios studied (i.e., the same transmission facility is overloaded in most or all of the scenarios that PJM would study) | If PJM develops a Resource View, they should seek input from the states and from stakeholders on the appropriate assumptions. For example, the New Jersey Department of Environmental Protection (NJDEP) has developed their own view of where solar could be sited, and **** encourages PJM to align renewable integration views with State input. For states that have not developed a renewable energy siting view, PJM can seek input from the State and/or stakeholders to develop a process/assumption for each state. Once developed, PJM should be able to update these assumptions as needed for each long-term study performed. **** believes that at least the Queue View and the Resource View be utilized in long-term studies. **** encourages PJM to consider the following scenarios as book-ends to incorporate into long-term studies. Appropriate input from stakeholders can help refine assumptions (e.g., technology costs, capacity mix, generation siting locations, extreme weather types) contained within these scenarios. What generation resource view is used for the following scenarios (either the Queue View, Resource View or both) can be discussed with stakeholders: 1. A business as usualâ€ case incorporating existing economic trends and energy / climate mandates / public policy goals (i.e., model incremental renewable generation needed to achieve each states renewable energy goals) â€“ suggest using the Queue View for modeling of incremental renewable generation - The business as usualâ€ case should also include a sensitivity or sensitivities to determine system performance and needs under high-impact-low-probability (â€œHILPâ€) events. These events should be reflective of extreme weather considerations and could include, for example, extreme winter peak conditions resulting in increased load forecast and concurrent generating outages. 2. A moderate scenario based on a federal net-zero emissions mandate limited to the power sector (i.e., model incremental renewable generation needed to achieve zero-carbon emissions from generators) â€“ suggest using the Resource View for modeling of incremental renewable generation 3. An economy-wide, federal net-zero emissions policy (i.e., in addition to incremental renewable generation, impacts of electrification and how that increases load, etc.,) - suggest using the Resource View for modeling of incremental renewable generation | See feedback on question "How and when should PJM transition from probabilistic to deterministic methodologies in the scenarios?" | See feedback on question "How do we funnel down from a multitude of potential scenarios into a subset of scenarios that are actionable?" | PJM should not re-evaluate the need for long-term transmission projects that facilitate large amounts of renewable generation. The current needs that are identified through the queue process can be misleading, as mentioned earlier, in that they can be a lagging indicator of transmission needs. The development of a Resource View allows PJM to be more proactive in identifying needs and more efficient solutions. One example of the pro-active Resource View that has been successfully implemented is the ERCOT s Competitive Renewable Energy Zone (CREZ) process. The CREZ process was successful in creating new transmission facilities to enable additional renewable resources, while avoiding the need to continually upgrade and expand the existing system, one transmission facility at a time. **** recognizes that the situation in ERCOT is not apples-to-apples to PJM s situation, but many lessons can be learned and implemented here to inform PJM s long-term studies process. In order to mitigate any concern of regretsâ€ with moving forward with a transmission facility, **** has suggested that long-term planning solutions should provide benefits in more than one of the long-term scenarios studied by PJM. Naturally, this will favor bulk-electric system solutions that are more likely to have benefits across multiple scenarios, which is ideal for addressing transmission needs in the future. Furthermore, solicitations for short- and intermediate- needs should be scoped to address needs identified in long-term planning scenarios when possible. This will prevent inefficient investment for PJM customers. Long-term transmission projects, once selected, should be considered as part of the base RTEP plan for future evaluations or shifts to scenarios - similar to the local plans and supplemental projects and not re-evaluated. Ultimately large, bulk-power solutions will provide long-term value to PJM customers. Trying to unscramble the eggâ€ after these projects are selected would lead to unnecessary expansion delays and regret from not having the facilities in place sooner. |  | **** offers the following additional concepts for PJM s consideration into the Masterplan. - PJM should also integrate planning steps to address key challenges expected in the net zero grid of the future, such as challenges associated with more inverter-based resources resulting in reduced system inertia and short circuit strength coupled with higher uncertainty in demand and generation. - Consideration of National Transmission Needs identified by DOE as part of Building a Better Grid Initiative and how to incorporate into PJM s long-term studies - Coordination with neighboring RTOs and ISOs to establish at least one consistent scenario in the long-term study in order to be able to better gauge expected seams outcomes. In the Resource View, it is important to also assess the import and export of renewable generation to server load with neighboring systems. To the extent that a common scenario is not implementable, an alternative approach is to develop common interregional transfer capability between regions in the short-, intermediate-, and long-term studies that may drive transmission needs. - **** would also encourage PJM to focus on a broader set of benefits for transmission facilities and a portfolio of transmission facilities in identifying the more efficient or cost-effective transmission solutions. These benefits should include, at the least, a wide range of reliability, economic, and public policy benefits accrued over the life of the project or portfolio of investments and should be able to be considered on a multi-value basis. Further, these benefits should be assessed accounting for uncertainty by using probabilistic analysis to determine expected benefits provided under HILP events outside of normal grid operating conditions, such as increasingly common extreme weather events, to fully assess the potential benefits. We appreciate the opportunity to offer our experience and ideas to help PJM s planning process evolve with the region s ever changing needs.
When altering scenarios beyond the sources of information traditionally used in PJM analysis, we would recommend PJM further clarify several of the drivers to include consideration of the following: ï‚§ Electric load trends in the residential, commercial and industrial areas including electrification of cars, trucks, buses, ports; trends towards electrification of homes (such as induction cooking, heat pumps, and electric heating); weather events and weather trends that contribute towards variation in electric loads. ï‚§ Future generation interconnections including trends towards clean and intermittent resources. ï‚§ Future generation deactivations/retirements including trends away from fossil fuel resources. ï‚§ Interregional transfers and criteria accounting for state differences in loss of load expectations and reserve margins | Yes. Beyond the generation included in the interconnection queue, long term planning studies would benefit from incorporation of trends towards clean energy, including, but not limited to, state public policy goals. For example, planning for energy storage may be best determined by overlaying state clean energy policy goals with the most practical locations for those resources incorporating the most conservative assumption selected for viability. Similarly, location for onshore and offshore wind should be determined based on state clean energy goals and viable, least cost points of interconnection. PJM should also consider generation retirements and, in doing so, incorporate consideration of the clean energy that is likely to replace the generation that plans to retire. | PJM should maintain a combination of probabilistic and deterministic methods. PJM s probabilistic method should include: o Anticipated generation interconnections that fully complete the interconnection process, which should be based on a percentage of generation proposed in the queue o Accounting for generation size and load size, including: 10% large plants, 60% mid-range plants; EV load growth o Resource adequacy PJM s deterministic method should include reliability assessment | PJM should narrow down scenarios to the following categories and then identify actionable scenarios: o High Impact -- defined as significant anticipated load growth and significant amount of generation retirement. o Medium Impact -- defined as anticipated load growth and a modest amount of generation retirement that does not fall in the category of High Impact or Low Impact o Low Impact defined as the status quo All scenarios should include approved projects identified within the 5 year timeframe, and Long Range actionable projects should be identified for the 8-15 range with yearly review and update. | Long range projects in the 8-15 year range should be assessed under the following criteria: - Siting Issues: Projects in areas that have zoning, environmental or protected land issues - High Voltage level: higher transmission voltages requires long lead time - Equipment with long lead time - Interconnection coordination agreements | FERC has established a well-defined division of responsibilities between RTOs and transmission owners that should be leveraged for successful project determinations under a scenario-based planning paradigm. Per FERC-approved procedures, for a set of scenarios implicating the need for a new project providing regional benefits, PJM, in coordination with and soliciting input from impacted transmission owners, should make the need determination. Conversely, for a set of scenarios implicating the need for a new project to address more localized concerns, the local transmission owner should make the need determination. Following such determination, consistent with today, information should be shared with PJM to ensure no harmâ€ to the regional grid and information should be transparently shared with PJM stakeholders. The process for assessing the need for scenario-based projects could also benefit where possible from the standardization of approach agreed upon by PJM and the PJM transmission owners. For example, there could be discussion and alignment on the standardization on which scenarios are used to assess actionable projects driven by EV penetration, such as: 10%, 20%, or 30% EV scenarios. | PJM should consider setting a percentage completion threshold at which a project will not face being cancelled for changes to initial scenario driver changes. Local transmission owners could presumably agree to employ a complimentary structure for local projects. Additionally, PJM should support transmission owners in the development, incorporation and FERC approval process for an appropriate tariff mechanism to enable project developers to recover all costs of abandonment should changes alter the need(s) for a project. | Similar to the existing reliability based planning paradigm, FERC and the states should continue to have the same defined roles that they do today. FERC will need to approve the scenario-based planning and cost allocation paradigm while ensuring safe, adequate and proper service and that project developers receive necessary cost recovery certainty as well as reasonable return on investment. The states will need to continue to evaluate their public policy goals while also ensuring safe, adequate and proper service as well as that project developers receive necessary siting approvals required to achieve identified and prioritized scenarios. | We are building for the ultimate future needs. As we are building today we need to continue keeping a watch on the future needs to ensure the longevity of the projects being built.
The scenarios outlined appear adequate. | Yes, additional generation should be included in long-term planning studies. In particular, additional generation will be required to satisfy local and state policy objectives. Additionally, these additional renewable resources will be necessary to satisfy consumer demand for such resources and in order for public utilities to satisfy publicly-stated decarbonization efforts. Furthermore, it is possible to determine with relative confidence the approximate locations of these renewable resources based on historical and empirical information, such as availability of suitable land and public support for such resources. | While certain parameters may always be probabilistic, e.g., shifts in load growth and/or load make-up, others are able to be (and should be) transitioned from probabilistic to deterministic when the data being supplied for the parameter approaches a certain level of certainty. Specifically, with respect to generation fleet changes, PJM should transition from probabilistic to deterministic methodologies to reflect the expected or known plant life when real-time information indicates that the plant has been identified for retirement by its owner. Such information may be the absence of activities to extend plant life by the owner or public announcements and filings with relevant regulatory agencies. As these typically occur well in advance of formal Deactivation Requests being sent to PJM, PJM should transition these parameters to deterministic as such information becomes available. Importantly, this transition relative to plant deactivations should be accompanied by a shift in the methodology from probabilistic to deterministic for the siting of future generation resources based on anticipated future resource mixes as indicated by interconnection requests and applicable state and federal policy. Finally, the adoption of distributed energy resources, energy efficiency programs, and EV adoption should be captured using best available data projections. | Compliance with the electric reliability standards as well as the planning processes contemplated under the Open Access Transmission Tariff are significant drivers of planning scenarios and parameters and should inform the base set of scenarios to be utilized. Beyond these drivers, the actionable nature of scenarios could be informed by the extent to which a particular scenario or set of scenarios is subject to deterministic parameters and analysis. Sensitivity analyses would then allow for the consideration of parameters and assumptions that are more probabilistic. Of critical importance to scenario selection, however, is robust analysis by a wide variety of stakeholders. The varied and valuable expertise and perspectives of PJM stakeholders will facilitate the identification and selection of a subset of scenarios that are actionable. If PJM assembles robust scenarios that include a wide projection bandwidth and ensure reliability regardless of the composition of the future generation mix and engages its stakeholder community, the actionable nature of the scenarios (and the identification of priority transmission upgrades, e.g., those required under the most scenarios) will be obviated. | Projects required to maintain the reliability of the BES pursuant to TPL-001 should be considered actionable upon their identification where they will require a long lead time or are identified close-in-time to the lead time necessary to place them in service prior to the case year in which the initiating issue is identified. Otherwise, such projects should be placed on a watch list and determined actionable when confirmed in later planning studies that are closer-in-time to the lead time necessary to place them in service prior to the case year in which the initiating issue is identified. In all other scenarios, a benefit-to-cost assessment is the relevant criterion for determining whether to initiate a project. Projects with a benefit-to-cost ratio equal to or above 1.0 (at a minimum) should be considered actionable. For its initial study, PJM should identify least regret or first mover projects. These projects will likely be centered around heavily congested areas. It is worth noting that transmission construction, especially EHV lines, typically take seven or more years to develop and construct. To that end, PJM should focus on identifying projects in the 15-year horizon and utilities should begin the development and construction efforts when projects are justifiable in the year 8 model. | This should largely be driven by stakeholder feedback and a transparent and empirical assessment of the state and utility public policy goals and objectives. | If the need for a larger project is identified following changes to the initial scenario drivers input assumptions, it should be evaluated for additional benefits. Where such a project addresses the need for a previously-identified project AND has a positive cost-benefit ratio giving due consideration to any costs already expended on the previously identified project, the previously-identified project should be abandoned and the larger project should move forward as actionable. | FERC s recent Notice of Proposed Rulemaking (NOPR) addressing transmission planning and cost allocation should serve as a guide for PJM s efforts to address the role of FERC and the states in long-term transmission planning. Though not a final rule, the NOPR provides a framework for the planning approach that FERC will require in the future. In particular, the NOPR proposes to require that transmission providers: (1) identify transmission needs driven by changes in the resource mix and demand through the development of long-term scenarios, including accounting for high-impact, low-frequency events such as extreme weather; (2) evaluate the benefits of regional transmission facilities to meet these needs over a time horizon that covers, at a minimum, 20 years starting from the estimated in-service date of the transmission facilities; and (3) establish transparent and not unduly discriminatory criteria to select transmission facilities in the regional transmission plan for purposes of cost allocation that more efficiently or cost-effectively address these transmission needs. Significantly, the NOPR also proposes to formalize the role of states in the regional transmission planning and cost allocation process. Specifically, the NOPR proposes to require that transmission providers in each transmission planning region seek to obtain the agreement of relevant state entities within the transmission planning region regarding the cost allocation method or methods that will apply to transmission facilities selected in the regional transmission plan for purposes of cost allocation through long-term regional transmission planning. | To the extent possible, PJM should provide the reference documents and supporting data used to formulate the Discussion Paper. This will facilitate review of the Discussion Paper and inform future stakeholder discussion and feedback. | MISO has developed robust processes to identify and execute on large-scale transmission projects. PJM should review and evaluate MISO s planning processes to determine their portability and usefulness to achieving similar efficiencies within the PJM transmission planning process. Then, where feasible, PJM should replicate or incorporate those processes or portions of those processes that will achieve similar efficiencies within PJM s transmission planning process. Also, MISO provides extensive documentation to stakeholders that provides comprehensive background and supporting information. This helps bolster the probabilistic data. There have been several nationwide transmission studies focusing on HVDC transmission facilities and achieving aggressive renewable goals such as Vibrant Clean Energy s Zero By Fifty and NREL s Interconnection Seams Study. While perhaps not directly applicable for present purposes, these studies could inform PJM s future efforts to assemble scenarios, particularly with respect to study assumptions and the identification of underlying congestion points. | The conversation around scenario development can become very contentious and it is important to separate the technical and cost allocation discussions. These conversations should be held separately to allow for more fruitful project development. MISO ran into this problem during the Regional Transmission Overlay Study (RTOS). They alleviated this through the RIIA study, which focused entirely on the technical aspects of long range planning. This provided the basis for the LRTP.
PJM should also consider load growth scenarios that take into account electrification efforts (including transportation) being pursued by local, state, and federal entities. | Ideally, the scenarios being studied should properly account for actionable state, local and customer renewable goals/targets so that the transmission system can be designed to meet those objectives. If the PJM Interconnection Queue has enough generation or exceeds the generation renewable goals/targets in the states, then there is no need to consider additional generation. However, generation beyond what is included in the PJM Interconnection Queue should only be considered if the generation within the PJM Interconnection Queue is less than the state renewable goals/targets overall or for specific requirements (technology or location). | Deterministic methodologies should be designed to have criteria to take into consideration state legislation that will impact the grid and based off of those evaluations, any transmission reinforcements necessary to address those violations should be deemed actionable. As an example, a deterministic methodology should be designed and be actionable for the the recently approved IL legislation to retire fossil fuel generation | First, actionable scenarios should include an enhanced deactivation process to take into account state legislation that mandates for generation retirements by a given year. Enhancing the existing deactivation process to no longer just wait for the generator to put in its deactivation request, but also consider what the grid impacts are for the retirement of various units based on state legislation (eg Illinois Climate and Equitable Jobs Act), must be deemed actionable since these are known state requirements . In addition, PJM should establish a new driver to ensure that no single large generator retirement should cause system risks incllcuding planned retirements, or those driven by large unforseen equipment failures that may lead to immediate retirement (e.g. steam generator or turbine rotor failures) Separately, at a minimum, PJM should deem certain violations as actionable due to whittling down scenarios based on the violations that are continuously identified across the various scenarios. The idea is that if certain violations on specific facilities are constantly being seen in several of the scenarios PJM is evaluating, then those facilities are the limiting elements that should be addressed to improve reliability within a given area. By allowing for at a minimum those repeat violations within various scenarios to be mitigated, PJM is removing key bottlenecks from the system and calling for least-regrets transmission infrastructure to be built. | In addition to the consideration of including state legislation impacts to the grid such as generation retirements, guidelines should be developed around the scope of the work specifically for large back bone transmission upgrades which may take significant time to actually be constructed. As an example, building a new 80 mile transmission line across multiple states should likely be initiated at year 8 or later to allow for the appropriate time to construct that infrastructure. | PJM and the Board should independently be able to decide what is actionable and PJM should also have the ability to consider additional enhancements to projects based on state provided guidance. | Actionable items should be least regrets and criteria should be established for reevaluating projects limited to significant unforeseen externalities (eg. state legislations drastically change) | FERC should provide stability and clear guidance/rulemaking on that the regions should consider and act on scenario-based planning and the states should be able to provide PJM with clarity regarding state legislation that will be used as input into scenario-based planning. | Consider expanding resilience studies to take into account weather impacts on generation (e.g. hurricane that comes and knocks out OSW). Consider impacts of inter or intra-regional transfer capabilities due to weather impacts. | MISO s process which includes input from the states on a formal basis provides significant benefit earlier on in the process. | With PJM having such a large and diverse footprint with differing state goals or even state goals that may not align from timing perspective, it may be challenging to determine the appropriate scenarios to deem actionable across multiple states.
State public policy objectives should be included in scenario development. While the State Agreement Approach is intended to address state policy objectives, it is unrealistic to expect efficient outcomes unless these objectives are incorporated into a long-range transmission plan. Moreover, feedback from New Jersey is that the State Agreement Approach process is inordinately complicated. So, while it’s good that the SAA exists to enable public policy objectives, it will likely need to be refined. Accordingly, PJM should continue to consider ways of capturing public policy goals in the planning scenarios. | Yes. The Interconnection Queue is currently flooded with proposed generation projects. After the queue is reformed, it is realistic to expect a significant amount of generation to come on-line relatively quickly, driving the need for transmission upgrades/builds. PJM should also consider planned retirements not just firmly announced ones, for the same reasons. |  | Scenarios should be likely/solve for key problems or policy demands. But also perhaps have scenarios that represent a range of approaches to solving the problem. |  |  |  | States have more information on generation development/siting and should be critical partners in the development of LTTP processes. States can also provide input on state policies that will impact the need for transmission. |  | In the case of MISO, the OMS leadership developed principles and cost allocation methodologies. MISO stakeholders then developed a wide stakeholder process to develop scenarios, which helped improve the transparency of the process and increase stakeholder buy-in. | The MISO process for developing futures/scenarios, while inclusive, was a tortured process that dragged on for too long. We recognize that futures must reflect the state of the transmission grid, but the end result is that MISO’s plan is less than ideal in that it divides the region – it limits transfer capabilities, defers fundamental fixes and doesn’t treat the region as a whole – which runs counter to many of the objectives of RTO-led transmission development.