## CurrentvsExelonProp
Load Management examples - capacity nomination, capacity load reduction/add back/future PLC, energy load reduction
[6 empty] | Current Process | [7 empty] | Proposed Process
Use Case | Load Mgt/PRD Registration Nomination |  |  |  |  | Load Mgt Event/Test Capacity Load Reduction | [5 empty] | PLC impact (current vs future DY) |  | Capacity Load Reduction |  |  | PLC impact (current vs future DY) |  |  | Energy Load Reduction
EDC Account Num | Peak Load ('22/'23) | PLC kw ('22/'23) | FSL kw ( w/o losses) | Nominated Icap kw (inc losses) | Losses | Date | HE | Load kw | Load kw (w/losses) | Capacity Load Reduction = Add Back kw (w/ losses) | Over/Under Capacity Compliance | Est PLC ('23/'24) for 1 hour | PLC impact | weather normalized Load kw (w/losses) | Capacity Load Reduction for compliance (w/losses) | Over/Under Capacity Compliance | Capacity Load Reduction for Add Back (w/losses) | Est PLC ('23/'24) for 1 hour | PLC impact | CBL kw | Energy Load Reduction kw (w/losses)
Office Building (over) | 2500 | 2000 | 1500 | 425 | 1.05 | 2010-06-09 | 17 | 1000 | 1050 | 950 | 525 | 2000 | 0 | [6 empty] | 1800 | 840
Office Building (under) | 2500 | 2000 | 1500 | 425 | 1.05 | 2010-06-09 | 17 | 2000 | 2100 | 0 | -425 | 2100 | 100 | [6 empty] | 1800 | -210
Industrial (variable) | 3500 | 2000 | 1000 | 950 | 1.05 | 2010-06-09 | 17 | 700 | 735 | 1265 | 315 | 2000 | 0 | [6 empty] | 800 | 105
Peak Shaver | 7000 | 2000 | 1000 | 950 | 1.05 | 2010-06-09 | 17 | 2800 | 2940 | 0 | -950 | 2940 | 940 | [6 empty] | 4000 | 1260
Residential (Aggregate) | 11000 | 10000 | 7000 | 2650 | 1.05 | 2010-06-09 | 17 | 7500 | 7875 | 2125 | -525 | 10000 | 0 | 6693.75 | 3306.25 | 656.25 | 2125 | 10000 | 0 | 11000 | 3675
Notes
Nominated UCAP = Nominated ICAP * Forecast Pool Requirement ("FPR")
Add Back designed to not increase subsequent years PLC and to recognize over performance in current year (instead of a PLC reduction in subsequent DY(
Over/Under Capacity compliance displayed for single registration for simplicity (does not reflect prorata resource commitment)
Energy compensation based on measured reduction in real time (see emergency energy and economic energy rules)