## 1. Interest Identification
Capacity Senior Task Force
DR as an Operational Capacity Resource
Interest Identification
Instructions: List interests of all parties on this page.
General Interests
Ensure system reliability
Ensure comparable treatment of all sources of capacity supply
Ensure any changes made during this investigation are properly reflected in the assumptions and modeling practices used in PJM planning studies.
Strive for rule stability to ensure we don't have succeeding changes.
Minimize barriers to entry for end users to reduce end use administrative complexity and risk.
Maintain ability of CSP's to effectively and efficiently aggregate assets
Provide necessary and appropriate incentives for DR customers
Avoid unreasonable or unmanageable administrative burdens that would mitigate the reliability that DR brings to the system.
Protect from or hold harmless from the detrimental impact of market positions taken under existing rules.
Protect from or hold harmless from the detrimental impact of customer contracts and commitments made under existing rules.
Minimize barriers to entry not necessary for reliability
Recognize that CSP's may need to change processes and procedures given their increased level of penetration into PJM capacity and energy service markets
Recognize that there is lower flexibility in the delivery years that have already been auctioned.
Recognize there are differences between mass market (residential) and contractual resources
Recogninze whether changes will impact regulatory schedules for state programs
Eliminate, where possible, barriers to participation in energy markets (including administrative burden)
Limit the participation of backup diesel generation to the extent that it adversely impacts air quality
Interests pertaining to the clearing of Limited DR in RPM
Prevent the clearing of Limited Demand Response in RPM from negatively impacting long-term investment signals needed to ensure reliability.
Mitigate costs paid by customers to achieve reliability requirements through long term resources such as generation vs. short term resources such as DR
Selecting RPM resources based on the least-total system cost including energy reserve and capacity cost while maintaining adequate confidence in meeting reliability requirements.
Enable the greater participation of a cost effective DR product that is functionally comparable to traditional supply side resouces.
Efficient pricing: RPM prices / price differentials across products are consistent with marginal value
Interests pertaining to DR in Operations
Enhance the operational flexibility of Demand Response to PJM Operations.
Remove the need for administrative procedures to utilize Demand Response.
Ensure that price signals from dispatch of DR and utilization of reserve products are aligned with reliability needs.
Increase the granularity of DR dispatch.
Maintain ability to enroll backup generators by preserving emergency aspects of the DR products in some form.
Evaluate whether the loss of cost recovery by utilities/suppliers/EDCs due to increased operation of demand response, i.e., reduction in MWh sales/revenues, should be considered

## 2. Options Matrix- Design Comp.
Capacity Senior Task Force
DR as an Operational Capacity Resource
OPTIONS MATRIX
| Last updated: October 14, 2013 |  | Solution Options
# | Design Components:1 | Priority (high/med/low) | Status Quo | A | B | C | D | E
Emergency requirements
1 | Trigger used to initiate Emergency DR load reduction | High | PJM administrative procedure declaring emergency conditions | Dispatch economically assuming resolution of #8; continue using emergency procedures where not economically dispatchable | Having operational characteristic at 90% of seasonal peak | Establish two categories for DR; one category that requires PJM to implement emergency procedures as is presently done ("Emergency DR") and a new category that PJM can implement without implementing emergency procedures ("non-Emergency DR"). Emergency DR would primarily be reserved for DR that requires a NERC EEA2 in order to curtail. | Dispatched under administrative procedures including emergency declaration and pre-emergency procedures | Dispatched under administrative procedures (% of portfolio) including emergency declaration and pre-emergency procedures
2 | Notification lead time | High | 1-hour or 2-hour | 30 minutes unless physical capability proven to require longer; If so, 60 or 120 minutes | no notice + 30:60:120 minutes | Establish Emergency DR 30 Minute Reserve product | 30:60:120 with changes to penalty structure for shorter lead times (off peak penalties for the 1.5/1 hour leading up to 2 from dispatch) | DR activation ("max gen") alert that PJM issues so DS resources can prepare to shed load on shorter timeframe
3 | Maximum number of events |  | 10 or unlimited, based on product type | 60 hours applied to limited DR only
4 | Minimum event duration |  | 2 hours | 1 hour | 1 Hour unless physical capability proven to require longer
4a | Performance Metrics (M&V) |  | Only measure compliance for full wall-clock hours. | CSP required to submit all compliance data but PJM will not assess penalties Keep compliance process same as today. | Measure compliance for all hours when DR was dispatched for more than ½ of the hour (time based prorate) | Measure compliance for all hours when DR was dispatched (time based prorate)
5 | Maximum event duration (accounting for hours on limited DR) |  | 6 hours or 10 hours, depending on product type | 8 hours for limited DR |  |  |  |  | High
6 | Locational Designation | Low/Medium/High | Sub Zonal (zip code) | Day-of sub zonal for delivery year 2014/2015 | aggregated and dispatchable by DR hub or node (defined as reasonable aggregate "group of electrically close pnodes") | Pre-registered sub-aggregation groups of zonal resources, identified and pre-defined by CSPs, based on PNODE groupings. Contingent on (1) revisions to M&V to accommodate broader assessment of performance than event by event (e.g. seasonal performance), (2) advanced access to pnode information, (3) equitable dispatch requirements across resources and CSPs |  |  | Low
7 | Telemetry |  | N/A | 10-second, real-time MW telemetry by locational designation (see B6)
8 | Strike Price |  | 1000 + 2x penalty factors | Designate emergency strike price caps based on lead time flexibility for all DR products: 30 min = $1,000 + penalty factor - $1.00 60 min = $1,000 + (penalty factor/2) 120 min = $1,100
Economic requirements (if changing due to triggering mechanism)
8 | Commit offer into energy market (DA and RT) |  | Not required (voluntary) | Required for Extended Summer (ES) and Annual, subject to max emergency criteria | Required for Limited, ES, and Annual | Status quo with changes to strike price caps in B9 | Voluntary participation under current Economic DR rules. PJM ability to dispatch prior to first Emergency Alert step.
9 | Maximum economic offer price | high | $1000 + 2x reserve penalty factor | Offer caps based on lead time flexibility: 30 min = $1,000 + penalty factor - $1.00 60 min = $1,000 + (penalty factor/2) 120 min = $1,000 | Designate strike price caps based on lead time flexibility for all DR products o 30 minute - $1000 plus 2* reserve penalty factor o 60 minute - $1000 plus 1* reserve penalty factor o 120 minute - $1000 (generator offer cap) | "Energy Offer cap for Emergency DR at: $2700/MWh for 30 minute. $2500/MWh for 60 Min. $2300/MWh for 120 min." | Use emergency strike price threshold by lead time
10 | Notification lead time |  | CSP determined, 2 hours or less | 30:60:120 less than or equal to emergency lead time | same as PJM with changes to penalty structure for shorter lead times (off peak penalties for the 1.5/1 hour leading up to 2 from dispatch) |  | Use emergency notification lead time
Instructions:
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Component Details" tab.
3. Using informal/non-binding voting, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Solution Details" tab.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
7. If consensus is achieved on a single package (Tier 1 decision-making method), this will be documented in a Consensus Proposal Report to the parent committee.
8. If not, the group will identify up to 3 possible solution packages in a comparative Proposal Alternatives Report to the parent committee (Tier 2 decsion-making method).

## 2a. Component Details
Capacity Senior Task Force
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 |  | <enter detailed description of this component>
2 |  | <enter detailed description of this component>
3 |  | <enter detailed description of this component>
4 |  | <enter detailed description of this component>
5 |  | <enter detailed description of this component>

## 2b. Solution Details
Capacity Senior Task Force
DR as an Operational Capacity Resource
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Proposal Matrix
Capacity Senior Task Force
DR as an Operational Capacity Resource
PROPOSAL MATRIX
| Updated: October 16, 2013 |  | Packages
ID # | Design Components | Priority (high/med/low) | Status Quo | A (PJM) | B | C (Same as Package B, except where noted) | D | E
Emergency requirements
1 | Trigger used to initiate Emergency DR load reduction | High | PJM administrative procedure declaring emergency conditions | Dispatch economically assuming resolution of ID #8 below; continue using emergency procedures where not economically dispatchable. | Dispatched under administrative procedures (% of portfolio) including emergency declaration. |  | Same as package A | Dispatch economically to quantity desired using DR supply curve offer prices with offer caps assuming resolution of ID#8, and a must-offer requirement in the energy market akin to generation. Use DR emergency capacity procedures where not economically dispatchable.
2 | Notification lead time | High | 1-hour or 2-hour | 30 minutes, unless physical capability proven to require longer; If so, 60 or 120 minutes available. Opt-in for DY 14/15. Opt-out for DY 15/16. | Energy Offer cap for Emergency DR with more than 30 min. notice at $200/MWh less than applicable cap. More than one hour notice at $400/MWh less than applicable cap. |  | 1 hour default with 2 hours available for customers who demonstrate "physical need". 30 minute available for opt-in. (off peak penalties for the 1.5/1 hour leading up to 2 from dispatch) | Same as package A
3 | Maximum number of events |  | 10 or unlimited, based on product type | Same as Status Quo | Same as Status Quo |  | Status Quo | Same as package A
4 | Minimum event duration |  | 2 hours | 1 hour | 1 hour |  | 30 minute clock-hour events are permissible with submission of 30 minute meter data | Same as package A
4a | Performance Metrics (M&V) |  | Only measure compliance for full wall-clock hours. | Measure compliance for all hours when DR was dispatched for more than ½ of the hour (time based prorate) | CSP required to submit all compliance data but PJM will not assess penalties. Keep compliance process same as today. |  | Status Quo with any necessary changes based upon availability of 30 minute data. | Same as package A
5 | Maximum event duration (accounting for hours on limited DR) |  | 6 hours or 10 hours, depending on product type | Same as Status Quo | Status Quo |  | Status Quo | Same as package A
6 | Locational Designation | Low/Medium/High | Sub Zonal (zip code) | Day-of sub zonal for delivery year 2014/15 | Same as Option A - plus provide credit to dispatched resources for implicit conversion of Firm transmission service to nonfirm transmission service. |  | Pre-defined sub-zonal groups defined by May 1 of the delivery year. Contingent upon zonal & seasonal M&V and information on customer nodes available to CSP's. | Same as package A
7 | Telemetry |  | N/A |  | Status Quo |  | Status Quo | Same as package A
8 | Strike Price |  | 1000 + 2x penalty factors | Designate emergency strike price caps based on lead time flexibility for all DR products: 30 min = $1,000 + penalty factor - $1.00 60 min = $1,000 + (penalty factor/2) 120 min = $1,100 | Energy Offer cap for Emergency DR with more than 30 min. notice at $200/MWh less than applicable cap.more than one hour notice at $400/MWh less than applicable cap. |  | Designate emergency strike price caps based on lead time flexibility for all DR products: 30 min = $1,000 + 2x penalty reservefactor 60 min = $1,000 + 1x penalty reserve factor 120 min = $1,000 | Same as package A
Economic requirements (if changing due to triggering mechanism)
8 | Commit offer into energy market (DA and RT) |  | Not required (voluntary) | Voluntary participation under current Economic DR rules. PJM ability to dispatch prior to first Emergency Alert step. | Same as Status Quo |  | Status Quo | Same as package A
9 | Maximum economic offer price | high | $1000 + 2x reserve penalty factor | Use emergency strike price threshold by lead time |  |  | Status Quo | Same as package A
10 | Notification lead time |  | CSP determined, 2 hours or less | Use emergency notification lead time |  |  | Status Quo | Same as package A
11 | Implementation Timeframe |  |  | For ID #2 - 14/15 opt in, 15/16 opt out | Strike price changes implemented with 17/18 delivery year. For interim years, 30 min. notice DR paid an added capacity payment based on the most recent annual total DASR prices. |  | 17/18 forward with transition mechanism for earlier years | Same as package A
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## Parking Lot
[stakeholder group name]
[enter issue title (use title from Issue Tracking if applicable)]
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.