## AEP
[11 empty] | Reportable |  | PJM |  | BES
[5 empty] | PJM EMS MODEL FACILITY NAME | [5 empty] | Transmission |  | Monitored |  | Flag
Equip | [10 empty] | Facility |  | Facility
Code | ID | Change | B1_NAME | Change | B2_NAME | B3_NAME | B3 TEXT | Voltage | Change | Change | (Y/L/N) | Change | Status | Change |  | Change
1 |  | CHERRYCR-PEMBERT2 CHE-PEM | 138 KV | CHE-PEM | CHERRYCR-PEMBERT2 CHE-PEM | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False
1 |  | CLENDENI-THOROFSS CLE-THO | 138 KV | CLE-THO | CLENDENI-THOROFSS CLE-THO | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False
1 |  | Carswell Tap - Clarck Branch | 138 KV | CAR-CLA | CARSWELT-CLARKBRA CAR-CLA | 138 | Yes | Yes | Yes | Status Only | Reliability & Markets | False
1 |  | Hazard-WOOTEN 161 KV AEP/E.ON | 161 KV | HAZ-WOO | HAZARD -WOOTEN HAZ-WOO | 161 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
1 |  | Left Fork - Looney Creek LEF-LOO | 138 KV | LEF-LOO | LEFTFORK-LOONEYCR LEF-LOO | 138 | Yes | Yes | Low | Status Only | Reliability & Markets | False
1 |  | Leslie - Wooten LES-WOO | 161 KV | LES-WOO | LESLIE -WOOTEN LES-WOO | 161 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
1 |  | Libert City-Montpelier | 69 KV | LIB-MON | LIBERTYC-MONTPELI LIB-MON | 69 | Yes | Yes | No | Not monitored, no status | Reliability & Markets | False
1 |  | Opossum Creek - Peaksview OPO-PEA1 | 138 KV | OPO-PEA1 | OPOSSUMC-PEAKSVIE | 138 | Yes | Yes | Low | Reliability Non-BES | Reliability & Markets | False
1 |  | Sunnyside-Wagenhal | 138 KV | SUN-WAG1 | SUNNYSOP-WAGENHAL | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False
4 | T1 | AxtonAEP T1 Series Reactor | 138 KV | SERREAC1 | AXTONAEP SERREAC1 SER DEV | 138 | Yes | Yes | Low | Status Only | Reliability & Markets | False
4 |  | Big Sandy Reactor | 138 KV | BIGSANDY | BIGSANDY BIGSANDY SER DEV | 138 | Yes | Yes | Low | Status Only | Reliability & Markets | False
4 |  | Broadford Series Device | 138 KV | BROADFOR | BROADFO2 BROADFOR SER DEV | 138 | Yes | Yes | Low | Status Only | Reliability & Markets | False
7 |  | Jefferson Shunt Reactor RXEC | 765 KV | RXEC | JEFFERSO RXEC REACTOR | 765 | Yes | Yes | Yes | Status Only | Reliability & Markets | False

## BGE
[13 empty] | Reportable |  | PJM
[7 empty] | PJM EMS MODEL FACILITY NAME | [5 empty] | Transmission |  | Monitored
Equip | [12 empty] | Facility |  | Facility
Code | ID | Change | Facility Identification by Transmission Provider | Change | B1_NAME | Change | B2_NAME | B3_NAME | B3 TEXT | Voltage | Change | Change | (Y/L/N) | Change | Status
1 | 2348 | Brandon Shores - Wagner #4 Gen |  | BRANDONS | 230 KV | BRA-WAG4 | BRANDONS-WAGNER 4 | 230 | Yes | Yes | Yes | GSU | Reliability & Markets | False | TRUE
1 | 110703 | CAMPSMAL-MTWASHIG CAM-MTW3 | Camp Small - Mount Washington 110703 | CAMPSMAL | 115 KV | CAM-MTW3 | CAMPSMAL-MTWASHIG CAM-MTW3 | 115 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | TRUE
1 | 110704 | CAMPSMAL-MTWASHIG CAM-MTW4 | Camp Small - Mount Washington 110704 | CAMPSMAL | 115 KV | CAM-MTW4 | CAMPSMAL-MTWASHIG CAM-MTW4 | 115 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | TRUE
1 | 33871 | Gould Street - Newgate - Riverside (3386171) 34 kV |  | GOULDST | 34 KV | GOU-RIV1 | GOULDST-RIVERSID 33871-A | 34 | Yes | Yes | Yes | Reliability & Markets | Reliability Non-BES | False
1 | 33872 | Gould Street - Newgate - Riverside (3386272) 34 kV |  | GOULDST | 34 KV | GOU-RIV2 | GOULDST-RIVERSID 33872-A | 34 | Yes | Yes | Yes | Reliability & Markets | Reliability Non-BES | False
1 | 33851 | Gould Street - Westport 34.5 kV 33851 |  | GOULDST | 34 KV | GOU-WES1 | GOULDST-WESTPORT 33851 | 34 | Yes | Yes | Yes | Reliability & Markets | Reliability Non-BES | False
1 | 33852 | Gould Street - Westport 34.5 kV 33852 |  | GOULDST | 34 KV | GOU-WES2 | GOULDST-WESTPORT 33852 | 34 | Yes | Yes | Yes | Reliability & Markets | Reliability Non-BES | False
1 | 110701 | Mays Chapel - Mt Washington 115 kV 110701 |  | MAYSCHAP | 115 KV | MAY-MTW1 | MAYSCHAP-MTWASHIG 110701 | 115 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | TRUE
1 | 110702 | Mays Chapel - Mt Washington 115 kV 110702 |  | MAYSCHAP | 115 KV | MAY-MTW2 | MAYSCHAP-MTWASHIG 110702 | 115 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | TRUE
4 | 110615 | PERRYMAN 110615SD SER DEV |  | PERRYMAN | 115 KV | 110615SD | PERRYMAN 110615SD SER DEV | 115 | Yes | Yes | No | Status Only | Reliability & Markets | True
4 | 110616 | PERRYMAN 110616 |  | PERRYMAN | 115 KV | 110616SD | PERRYMAN 110616SD SER DEV | 115 | No | Yes | Yes | Status Only | Reliability & Markets | True
4 | 110501 | RIVERSID 110501 SD SER DEV |  | RIVERSID | 115 KV | 110501SD | RIVERSID 110501 SD SER DEV | 115 | Yes | Yes | No | Status Only | Reliability & Markets | True
4 | 110502 | RIVERSID 110502 SD SER DEV |  | RIVERSID | 115 KV | 110502SD | RIVERSID 110502 SD SER DEV | 115 | Yes | Yes | No | Status Only | Reliability & Markets | True
````````

## COMED
PJM Interconnection, L.L.C
Last Updated on 6/1/2019
PJM Transmission Providers FACILITIES LIST
The following list includes, but is not limited to, facilities of the regional transmission owners that are
included in PJM's EMS model. FERC Form-1 or equivalent facilities are so noted under the column
headed PJM OAT Tariff Facility. This list will be updated when transmission facilities managed by PJM
are added to, or deleted from, the electrical network.
PJM Transmission Providers Facilities List On-Line Help(PDF)
Equipment Code:
1 - Transmission Line
2 - Transformer or Phase Shifter
3 - Shunt Capacitor or Reactor
4 - Series Reactor or Capacitor
5 - SVC Device
6 - Other Substation Equipment-Busses, Bus Sections, or Breakers
7 - Tie-line
8 - Generator Step Up (GSU) transformer
(List by Station and Voltage Level or Device Name)
9 - Flow CB
10 - Equipment
Mark column K as
Yes = Reportable and Call in
|  | COMED | [7 empty] | Low = Reportable, status available will not call in unless unusual circumstances
No = No call and no status
(A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) |  | (M)
PJM
(I): OAT; (J): Included; No = No call and no status (K): Reportable; No = No call and no status (L): PJM |  | BES
(E): PJM EMS MODEL FACILITY NAME; (I): Tariff; (J): in EMS; No = No call and no status (K): Transmission; No = No call and no status (L): Monitored |  | Flag
Equip | [7 empty] | Facility | Model | Facility | Facility
Code | ID | Facility Identification by Transmission Provider | B1_NAME | B2_NAME | B3_NAME | B3 TEXT | Voltage | (Y/L/N) | (Y/N) | (Y/L/N) | Status | Change |  | Change | Comments
1 | 45L9806 | 116 GOOD-98 NEVAD L9806 | 116 GOOD | 345 KV | GOO-NEVA | 116 GOOD-98 NEVAD L9806 | 345 | Yes | Yes | Yes | Future | Reliability & Markets | True |  | Update ComEd ID. BES facilities
1 | 38L11904 1 | 11904 - 119 Lancaster 11904 1 | 11904 | 138 KV | 11904 1 | 11904 -119 LANC 11904 1 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L18706 2 | 125 NORM-18706 18706 2 | 125 NORM | 138 KV | 18706 2 | 125 NORM-18706 18706 2 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | True |  | Update ComEd ID. BES facilities
1 | 38L18702 | 133 ROCK-187 SCHA ROC-SCHA | 133 ROCK | 138 KV | ROC-SCHA | 133 ROCK-187 SCHA ROC-SCHA | 138 | Yes | Yes | Yes | Future | Reliability & Markets | True |  | Update ComEd ID, Facilities Identification name, B3 name & text. BES facilities
1 | 38L14102 1 | 141 Pleasant Valley - 14102 14102 1 | 141 PLEA | 138 KV | 14102 1 | 141 PLEA-14102 14102 1 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L14103 1 | 141 Pleasant Valley - 14103 14103 1 | 141 PLEA | 138 KV | 14103 1 | 141 PLEA-14103 14103 1 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L15508 3 | 15508-187 SCHA 15508_3 | 15508 | 138 KV | 15508_3 | 15508-187 SCHA 15508_3 | 138 | Yes | Yes | Yes | Future | Reliability & Markets | True |  | Update ComEd ID. BES facilities
1 | 38L14102 5 | 185 Tollway - 14102 5 | 185 TOLL | 138 KV | 14102 5 | 185 TOLL-14102 14102 5 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L14103 5 | 185 Tollway - 14103 5 | 185 TOLL | 138 KV | 14103 5 | 185 TOLL-14103 14103 5 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L7405 1 | 187 SCHA-7405 7405 1 | 187 SCHA | 138 KV | 7405 1 | 187 SCHA-7405 7405 1 | 138 | Yes | Yes | Yes | Future | Reliability & Markets | True |  | Update ComEd ID. BES facilities
1 | 38L14102 2 | 259 Algonquin - 14102 14102 2 | 259 ALGO | 138 KV | 14102 2 | 259 ALGO-14102 14102 Z2 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L14103 2 | 259 Algonquin - 14103 14103 2 | 259 ALGO | 138 KV | 14103 2 | 259 ALGO-14103 14103 Z2 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L4609 3 | 4609-215 HOWA 460-HOWA | 4609 | 138 KV | 460-HOWA | 4609-215 HOWA 460-HOWA | 138 | Yes | Yes | Yes | Reliability & Markets | Reliability Non-BES | True | False | Update ComEd ID, Facilities Identification name, B3 name & text. Non-BES facility
1 | 38L7405 2 | 74 KEWAN-7405 7405 2 | 74 KEWAN | 138 KV | 7405 2 | 74 KEWAN-7405 7405 2 | 138 | Yes | Yes | Yes | Future | Reliability & Markets | True |  | Update ComEd ID. BES facilities
1 | 38L7902 2 | 7902-185 TOLL 7902 2 | 185 TOLL | 138 KV | 7902-2 | 7902-185 TOLL 7902 2 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L7903 2 | 7903-185 TOLL 7903 2 | 185 TOLL | 138 KV | 7903-2 | 7903-185 TOLL 7903 2 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 45L8001 | 80 PONTI-92 MCLEA 8001 | 80 PONTI | 345 KV | 8001 | 80 PONTI-92 MCLEA 8001 | 345 | Yes | Yes | Yes | Future | Reliability & Markets | True |  | Update ComEd ID. BES facilities
1 | 45L0303 | 98 NEVAD-3 POWERT L0303 | 98 NEVAD | 345 KV | NEV-POWE | 98 NEVAD-3 POWERT L0303 | 345 | Yes | Yes | Yes | Future | Reliability & Markets | True |  | Update ComEd ID. BES facilities
1 | 38L0108 4 | LASALLE CO.-SW TIE L-1205 0108 4 | 1 LASALL | 138 KV | 0108 4 | 1 LASALL-0108 0108 4 | 138 | Yes | Yes | Yes | Reliability & Markets | Reliability Non-BES | True | False | Non-BES facility
1 | 38L17121 Z1 | PECATONICA 17121 Z1 | 17121 | 138 KV | 17121 Z1 | 17121 -386 PECA 17121 Z1 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L11704 6 | PROSPECT HEIGHTS-LIBERTYVILLE 11704 6 | 11704 | 138 KV | 11704 6 | 11704 -117 PROS 11704 6 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L11708 6 | PROSPECT HEIGHTS-LIBERTYVILLE 11708 6 | 117 PROS | 138 KV | 11708 6 | 117 PROS-11708 11708 6 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
1 | 38L11904 5 | RAD 11904 - 969 Ecogrove 11904 5 | 11904 | 138 KV | 11904 5 | 11904 -969 ECOG 11904 5 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True | BES facilities
4 | 38L0901 6 | 0901LINE 0901 6 SER DEV | 0901 | 138 KV | 0901 X | 0901LINE 0901 6 SER DEV | 138 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
4 | 38L0902 6 | 0902LINE 0902 6 SER DEV | 0902 | 138 KV | 0902 X | 0902LINE 0902 6 SER DEV | 138 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
4 | 38L10314 3 | 10314 38L10314 3 | 10314 | 138 KV | 10314 3 | 10314 38L10314 3 | 138 | Yes | Yes | No | Not monitored, no status | Reliability & Markets | False | True
4 | 38L10314 5 | 10314 38L10314 5 | 10314 | 138 KV | 10314 5 | 10314 38L10314 5 | 138 | Yes | Yes | No | Not monitored, no status | Reliability & Markets | False | True
4 | 38L1111 Z1 | 11 Fisk 1111 Z1 | 11 FISK | 138 KV | 1111 Z1 | 11 FISK 38L1111 Z1 | 138 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
4 | 38L11904 7 | 11904 11904 7 SER DEV | 11904 | 138 KV | 11904 7 | 11904 11904 7 SER DEV | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True
4 | 38L13501 3 | 13501 Line 13501 3 | 13501 | 138 KV | 13501 3 | 13501 13501 3 SER DEV | 138 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
4 | 38L13501 4 | 13501 Line 13501 4 | 13501 | 138 KV | 13501 4 | 13501 13501 4 SER DEV | 138 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
4 | 38L13502 3 | 13502 Line 13502 3 | 13502 | 138 KV | 13502 3 | 13502 13502 3 SER DEV | 138 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
4 | 38L13502 4 | 13502 Line 13502 4 | 13502 | 138 KV | 13502 4 | 13502 13502 4 SER DEV | 138 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
4 | 38L1808 5 | 1808 1808 5 SER DEV | 1808 | 138 KV | 1808 5 | 1808 1808 5 SER DEV | 138 | Yes | Yes | No | Status Only | Reliability & Markets | False | True
4 | 38L1811 9 | 1811 1811 9 SER DEV | 1811 | 138 KV | 1811 9 | 1811 1811 9 SER DEV | 138 | Yes | Yes | Yes | Status Only | Reliability & Markets | False | True
4 | 38L4605 Z1 | 46 DES PLAINES 38L4605 Z1 | 46 DESPL | 138 KV | 4605 Z1 | 46 DESPLAIN 38L4605 Z1 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True
4 | 38L8603 4 | 8603 8603_4SD SER DEV | 8603 | 138 KV | 8603_4SD | 8603 8603_4SD SER DEV | 138 | Yes | Yes | No | Not monitored, no status | Reliability & Markets | False | True
4 | 38L1106 1 | QUARRY INDUCTOR I1106 | 840 QUAR | 138 KV | I1106 | 840 QUARRY 38I1106 | 138 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
4 | 38L1108 1 | QUARRY INDUCTOR I1108 | 840 QUAR | 138 KV | I1108 | 840 QUARRY 38I1108 | 138 | Yes | Yes | Yes | Reliability BES | Reliability & Markets | True
4 | 38L8605 2 | Rad DAVIS CREEK - BRADLEY 8605 2 | 8605 | 138 KV | 8605 2 | 8605 LINE 38L8605 2 | 138 | Yes | Yes | Yes | Reliability Non-BES | Reliability & Markets | False | True

## DOM
Equip | [9 empty] | Facility
Code | ID | Change | B1_NAME | B2_NAME | B3_NAME | B3 TEXT | Voltage | Change | Change | Status | Change | Change
2 |  | GAINESVL TX2 XFORMER | 230 KV | TX2 | GAINESVL TX2 XFORMER | 230 | Yes | Yes | Yes | STATUS ONLY | Reliability & Markets | True
2 | TX5 | Gainesville TX5 230/115KV | 230 KV | TX5 | GAINESVL TX5 XFORMER | 230 | Yes | Yes | Yes | STATUS ONLY | Reliability & Markets | True
2 | TX1 | ROSLYN TX1 69 KV | 69 KV | TX1 | ROSLYN TX1 XFORMER | 69 | Yes | Yes | Yes | STATUS ONLY | Reliability & Markets | True
2 | TX2 | ROSLYN TX2 69 KV | 69 KV | TX2 | ROSLYN TX2 XFORMER | 69 | Yes | Yes | Yes | STATUS ONLY | Reliability & Markets | True
2 | TX3 | ROSLYN TX3 69 KV | 69 KV | TX3 | ROSLYN TX3 XFORMER | 69 | Yes | Yes | Yes | STATUS ONLY | Reliability & Markets | True
2 | TX4 | ROSLYN TX4 69 KV | 69 KV | TX4 | ROSLYN TX4 XFORMER | 69 | Yes | Yes | Yes | STATUS ONLY | Reliability & Markets | True
4 |  | LIBERTY1 1002Z SER DEV | 115 KV | 1002Z | LIBERTY1 1002Z SER DEV | 115 | Yes | Yes | Yes | Reliability & Markets | Not monitored, no status | False
4 |  | WHEELER 2182Z SER DEV | 230 KV | 2182Z | WHEELER 2182Z SER DEV | 230 | Yes | Yes | Yes | Reliability & Markets | Status Only | True

## EKPC
PJM
[8 empty] | OAT | Included | Reportable |  | PJM |  | BES
|  |  |  | PJM EMS MODEL FACILITY NAME |  |  |  | Tariff | in EMS | Transmission |  | Monitored |  | Flag
Equip | [7 empty] | Facility | Model | Facility |  | Facility
Code | ID | Facility Identification by Transmission Provider | B1_NAME | B2_NAME | B3_NAME | B3 TEXT | Voltage | (Y/L/N) | (Y/N) | (Y/L/N) | Change | Status | Change |  | Change
1 |  | RUSSELCO-RUSSELJC RUS-RUSC | RUSSELCO | 161 KV | RUS-RUSC | RUSSELCO-RUSSELJC RUS-RUSC | 161 | Yes | Yes | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
1 |  | RUSSELCO-UNION_UN TIE | RUSSELCO | 69 KV | RUSS-SEW | RUSSELCO-SEWELLTN | 69 | Yes | Yes | Yes | No | Reliability & Markets | Status Only | True
7 |  | BARD_IND (LGEE) - E_BARDST (EKPC) TIE | BARD_IND | 69 KV | EBR-BARD | BARD_IND-E_BARDST TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | BEATTYVL (LGEE) - BTTYVEKP (EKPC) TIE | BTTYVEKP | 69 KV |  |  | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | CLAYVILL-CLAY_VIL TIE | CLAYVILL | 69 KV | CLA-CLA6 | CLAYVILL-CLAY_VIL TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | CLMBI_LG-COLUMBI3 TIE | CLMBI_LG | 69 KV | CLM-COLU | CLMBI_LG-COLUMBI3 CLM-COLU | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | CROOKSVJ-FAWKESLG TIE | CROOKSVJ | 69 KV | CRO-FAWK | CROOKSVJ-FAWKESLG TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | E_VIEW (LGEE) - STEPHNSB (EKPC) TIE | E_VIEW | 69 KV | STE-EVI | E_VIEW -STEPHNSB TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | FALCON (AEP) - FALCON2 (EKPC) TIE | FALCON | 69 KV | FAL-20F1 | FALCON -FALCON2 TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | FARLEY2 (LGEE) - LIB_CHUR (EKPC) TIE | LIB_CHUR | 69 KV |  |  | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | FRGSNSOU (LGEE) - SMRST_EK (EKPC) TIE | FRGSNSOU | 69 KV | SMR-FRGS | FRGSNSOU-SMRST_EK TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | GARRARD0-GARRD_J TIE | GARRARD0 | 69 KV | GAR-GARR | GARRARD0-GARRD_J GAR-GARR | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | GARRD_CO-LANCASTE TIE | GARRD_CO | 69 KV | GAR-LANC | GARRD_CO-LANCASTE TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | GOLDBUG (EKPC) - WOFFORD (LGEE) | GOLDBUG | 69 KV | WOF-GOLD | GOLDBUG -WOFFORD TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | GRAYSBRA (AEP) - ARGNT_EK (EKPC) TIE | GRAYSBRA | 69 KV | GRA-ARG1 | GRAYSBRA-ARGNT_EK TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | HEBRN_EK (EKPC) - HEBRON1 (DEOK) | HEBRN_EK | 69 KV | HEB-HEBR | HEBRN_EK-HEBRON1 HEB-HEBR | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | HELECHAW-LEECITY TIE | HELECHAW | 69 KV | LEE-20H | HELECHAW-LEECITY TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | HODGENVL (EKPC) - HODGENSV (LGEE) | HODGENSV | 69 KV | HOD-HODG | HODGENSV-HODGENVL TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | HODGENVL-NEW_HAVE TIE | HODGENVL | 69 KV | HOD-NEW | HODGENVL-NEW_HAVE TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | KARGLE (EKPC) - ELIZTOW (LGEE) | ELIZABET | 69 KV | ELI-KARG | ELIZABET-KARGLE TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | KENTN_LG (LGEE) - MURPHYSV (EKPC) TIE | MURPHYSV | 69 KV |  |  | 69 | Yes | Yes | Yes | low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | LAURELCO (EKPC) - HOPWEL2 (LGEE) | HOPEWEL2 | 69 KV | LAU-HOPE | HOPEWEL2-LAURELCO TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | LEONKP (AEP) - LEON_EKP (EKPC) TIE | LEONKP | 69 KV | LEO-LEO1 | LEONKP -LEON_EKP TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | MORGANCO (AEP) - MRGNC_EK (EKPC) TIE | MORGANCO | 69 KV | MOR-MOR1 | MORGANCO-MRGNC_EK TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | MURPHYSV-SARDIS2 TIE | MURPHYSV | 69 KV | MUR-SARD | MURPHYSV-SARDIS2 TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | NWCST_EK-OWEN_CO TIE | NWCST_EK | 69 KV | NWC-OWEN | NWCST_EK-OWEN_CO NWC-OWEN | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | N_LND104 (LGEE) - N_LONDON (EKPC) TIE | N_LNDN55 | 69 KV |  |  | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | N_SPRFLD-SPRINGFI TIE | N_SPRFLD | 69 KV | NSP-SPRI | N_SPRFLD-SPRINGFI | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | PENN2 (EKPC) - SCOTT_CO (LGEE) | PENN2 | 69 KV | SCO-PENN | PENN2 -SCOTT_CO TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | RADCLIFF-VINEGROV TIE | RADCLIFF | 69 KV | RAD-VIN1 | RADCLIFF-VINEGROV TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | ROGERSVI (LGEE) - ROGERSVJ (EKPC) TIE | ROGERSVJ | 69 KV |  |  | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | RUSSELCO (EKPC) - SEWELLTN (LGEE) | RUSSELCO | 69 KV | RUSS-SEW | RUSSELCO-SEWELLTN | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | SEWELLTN-UNION_UN TIE | SEWELLTN | 69 KV | SEW-UNIO | SEWELLTN-UNION_UN TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | SHELBYCO-SHELBYTP TIE | SHELBYCO | 69 KV | SHE-SHLC | SHELBYCO-SHELBYTP TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | SMRST_EK (EKPC) - SOMERSET SKY (LGEE) | SMRST_EK | 69 KV | SMR-SOME | SMRST_EK-SOMERSE4 TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | SUMMER (TVA) - SUMSHADE (EKPC) TIE 69KV LINE | SUMMER | 69 KV | SUM-SUM1 | LINE 69 KV SUM-SUM1 TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE
7 |  | THELMA (AEP) - THELMAEK (EKPC) TIE | THELMA | 69 KV | THE-THE1 | THELMA -THELMAEK TIE | 69 | Yes | Yes | Yes | Low | Reliability & Markets | Reliability Non-BES | True | FALSE

## PECO
PJM
[8 empty] | OAT |  | Included |  | Reportable |  | PJM |  | BES
|  |  |  | PJM EMS MODEL FACILITY NAME |  |  |  | Tariff |  | in EMS |  | Transmission |  | Monitored |  | Flag
Equip | [7 empty] | Facility |  | Model |  | Facility |  | Facility
Code | ID | Facility Identification by Transmission Provider | B1_NAME | B2_NAME | B3_NAME | B3 TEXT | Voltage | (Y/L/N) | Change | (Y/N) | Change | (Y/L/N) | Change | Status | Change |  | Change
1 | 6621 | Penn - Schuylkill 69 kV | PENN | 69 KV | PEN-SCH1 | PENN-SCHUYLKI 6621 | 69 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
1 | 6627 | Lombard - Schuylkill 69 kV | LOMBARD | 69 KV | LOM-SCH7 | LOMBARD-SCHUYLKI 6627 | 69 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
1 | 6628 | Penn - Schuylkill 69 kV | PENN | 69 KV | PEN-SCH8 | PENN-SCHUYLKI 6628 | 69 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
1 | 6630 | Passyunk - Schuylkill 69 kV | PASSYUNK | 69 KV | PAS-SCH0 | PASSYUNK-SCHUYLKI 6630 | 69 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
1 | 6632 | Lombard - Schuylkill 69 kV | LOMBARD | 69 KV | LOM-SCH2 | LOMBARD-SCHUYLKI 6632 | 69 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
1 | 6633 | Lombard - Schuylkill 69 kV | LOMBARD | 69 KV | LOM-SCH3 | LOMBARD-SCHUYLKI 6633 | 69 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
1 | 130-41 | Eddystone - Woodlyn 138 kV | EDDYSTON | 138 KV | EDD-WOO | EDDYSTON-WOODLYN 130-41 | 138 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
1 | 6645 | Island Road - Sharon Hill 69 kV | ISLANDRD | 69 KV | ISL-SHA | ISLANDRD-SHARONHL 6645 | 69 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
1 | 6658 | Eddystone - Tinicum Prop - (Scott Paper) Paper Tap | EDDYSTON | 69 KV | EDD-SCO | EDDYSTON-SCOTTPAP 6658 | 69 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability Non-BES | True | FALSE
2 | 1 | Delaware 69/13.8 kV | DELA PE | 69 KV | DEL 1TR |  | 69 | Yes | No | Yes |  | Yes |  | Reliability & Markets | GSU | True | FALSE
2 | 1 | Falls #1 138 kv | FALLS | 138 KV | FALL1TR |  | 138 | Yes |  | Yes |  | Yes |  | Reliability BES | Reliability & Markets | True
2 | 2 | Falls #2 138 kV | FALLS | 138 KV | FALL2TR |  | 138 | Yes |  | Yes |  | Yes |  | Reliability BES | Reliability & Markets | True
2 | 5TR | Schuylkill #5 69/13.8 kV | SCHUYLKI | 69 KV | SCH 5TR |  | 69 | Yes | No | Yes |  | Yes |  | Reliability & Markets | GSU | True | FALSE
2 | 4TR | Woodlyn #4 138/69 kV | WOODLYN | 138 KV | WOD 4TR |  | 138 | Yes |  | Yes |  | Yes |  | Reliability & Markets | Reliability BES | True | FALSE
4 | l22039 | CHICHEST L22039 SER DEV | CHICHEST | 230 KV | L22039 |  | 230 | Yes |  | Yes |  | No | Yes | Not monitored, no status | Reliability & Markets | False | TRUE
4 | L22043 | CHICHEST L22043 SER DEV | CHICHEST | 230 KV | L22043 |  | 230 | Yes |  | Yes |  | Yes |  | Reliability BES | Reliability & Markets | True
4 | SD1 | Chichester 138KV SD1 reactor | CHICHEST | 138 KV | SD1 |  | 138 | Yes |  | Yes |  | Yes |  | Reliability BES | Reliability & Markets | True
4 | L22053 | Chichester 230 kV L22053 reactor | CHICHEST | 230 KV | L22053 |  | 230 | Yes |  | Yes |  | Yes |  | Reliability BES | Reliability & Markets | True

## PSEG
Reportable
[7 empty] | PJM EMS MODEL FACILITY NAME |  |  | Transmission
Equip | [9 empty] | Facility
Code | ID | Change | Facility Identification by Transmission Provider | Change | B1_NAME | Change | B2_NAME | Change | Change | (Y/L/N)
| SR-D D-2282 | GLOUCEST SR-D2282 SER DEV | D-2282 | GLOUCEST | 230 KV | SR-D | GLOUCEST SR-D SER DEV | Yes | Status Only | Reliability & Markets
PJM
OAT
[7 empty] | PJM EMS MODEL FACILITY NAME |  | Tariff
Equip | [8 empty] | Facility
Code | ID | Change | Facility Identification by Transmission Provider | Change | B1_NAME | Change | B2_NAME | Voltage | (Y/L/N) | Change
4 | SR-D D-2282 | GLOUCEST SR-D2282 SER DEV | D-2282 | GLOUCEST | 230 KV | SR-D | GLOUCEST SR-D SER DEV | 230 | Status Only | Reliability & Markets