## Sheet1
Proposed Monitored Facilities Changes To/From MP1
Equipment Code:
1 - Transmission Line
2 - Transformer or Phase Shifter
3 - Shunt Capacitor or Reactor
4 - Series Reactor or Capacitor
5 - SVC Device
6 - Other Substation Equipment-Busses, Bus Sections, or Breakers
7 - Tie-line
8 - Generator Step Up (GSU) transformer
(List by Station and Voltage Level or Device Name)
9 - Flow CB
10 - Equipment
(A) | (B) | (C) | (D) | (E) | (F) | (G) | (L)
PJM
|  |  |  | PJM EMS MODEL FACILITY NAME |  |  | Monitored
Equip | [6 empty] | Facility
Code | ID | Facility Identification by Transmission Provider | B1_NAME | B2_NAME | B3_NAME | B3 TEXT | Status | Change
[7 empty] | CURRENT | FUTURE
AEP
1 |  | CHERRYCR-PEMBERT2 CHE-PEM | CHERRYCR | 138 KV | CHE-PEM | CHERRYCR-PEMBERT2 CHE-PEM | Reliability Non-BES | Reliability & Markets
1 |  | CLENDENI-THOROFSS CLE-THO | CLENDENI | 138 KV | CLE-THO | CLENDENI-THOROFSS CLE-THO | Reliability Non-BES | Reliability & Markets
1 |  | Carswell Tap - Clarck Branch | CARSWELT | 138 KV | CAR-CLA | CARSWELT-CLARKBRA CAR-CLA | Status Only | Reliability & Markets
1 |  | Hazard-WOOTEN 161 KV AEP/E.ON | HAZARD | 161 KV | HAZ-WOO | HAZARD -WOOTEN HAZ-WOO | Reliability BES | Reliability & Markets
1 |  | Left Fork - Looney Creek LEF-LOO | LEFTFORK | 138 KV | LEF-LOO | LEFTFORK-LOONEYCR LEF-LOO | Status Only | Reliability & Markets
1 |  | Leslie - Wooten LES-WOO | LESLIE | 161 KV | LES-WOO | LESLIE -WOOTEN LES-WOO | Reliability BES | Reliability & Markets
1 |  | Libert City-Montpelier | LIBERTYC | 69 KV | LIB-MON | LIBERTYC-MONTPELI LIB-MON | Not monitored, no status | Reliability & Markets
1 |  | Opossum Creek - Peaksview OPO-PEA1 | OPOSSUMC | 138 KV | OPO-PEA1 | OPOSSUMC-PEAKSVIE | Reliability Non-BES | Reliability & Markets
1 |  | Sunnyside-Wagenhal | SUNNYSOP | 138 KV | SUN-WAG1 | SUNNYSOP-WAGENHAL | Reliability Non-BES | Reliability & Markets
4 | T1 | AxtonAEP T1 Series Reactor | AXTONAEP | 138 KV | SERREAC1 | AXTONAEP SERREAC1 SER DEV | Status Only | Reliability & Markets
4 |  | Big Sandy Reactor | BIGSANDY | 138 KV | BIGSANDY | BIGSANDY BIGSANDY SER DEV | Status Only | Reliability & Markets
4 |  | Broadford Series Device | BROADFOR | 138 KV | BROADFOR | BROADFO2 BROADFOR SER DEV | Status Only | Reliability & Markets
7 |  | Jefferson Shunt Reactor RXEC | JEFFERSO | 765 KV | RXEC | JEFFERSO RXEC REACTOR | Status Only | Reliability & Markets
BGE
1 | 2348 | Brandon Shores - Wagner #4 Gen | BRANDONS | 230 KV | BRA-WAG4 | BRANDONS-WAGNER 4 | GSU | Reliability & Markets
1 | 110703 | Camp Small - Mount Washington 110703 | CAMPSMAL | 115 KV | CAM-MTW3 | CAMPSMAL-MTWASHIG CAM-MTW3 | Reliability Non-BES | Reliability & Markets
1 | 110704 | Camp Small - Mount Washington 110704 | CAMPSMAL | 115 KV | CAM-MTW4 | CAMPSMAL-MTWASHIG CAM-MTW4 | Reliability Non-BES | Reliability & Markets
1 | 33871 | Gould Street - Newgate - Riverside (3386171) 34 kV | GOULDST | 34 KV | GOU-RIV1 | GOULDST-RIVERSID 33871-A | Reliability & Markets | Reliability Non-BES
1 | 33872 | Gould Street - Newgate - Riverside (3386272) 34 kV | GOULDST | 34 KV | GOU-RIV2 | GOULDST-RIVERSID 33872-A | Reliability & Markets | Reliability Non-BES
1 | 33851 | Gould Street - Westport 34.5 kV 33851 | GOULDST | 34 KV | GOU-WES1 | GOULDST-WESTPORT 33851 | Reliability & Markets | Reliability Non-BES
1 | 33852 | Gould Street - Westport 34.5 kV 33852 | GOULDST | 34 KV | GOU-WES2 | GOULDST-WESTPORT 33852 | Reliability & Markets | Reliability Non-BES
1 | 110701 | Mays Chapel - Mt Washington 115 kV 110701 | MAYSCHAP | 115 KV | MAY-MTW1 | MAYSCHAP-MTWASHIG 110701 | Reliability Non-BES | Reliability & Markets
1 | 110702 | Mays Chapel - Mt Washington 115 kV 110702 | MAYSCHAP | 115 KV | MAY-MTW2 | MAYSCHAP-MTWASHIG 110702 | Reliability Non-BES | Reliability & Markets
4 | 110615 | PERRYMAN 110615SD SER DEV | PERRYMAN | 115 KV | 110615SD | PERRYMAN 110615SD SER DEV | Status Only | Reliability & Markets
4 | 110616 | PERRYMAN 110616 | PERRYMAN | 115 KV | 110616SD | PERRYMAN 110616SD SER DEV | Status Only | Reliability & Markets
4 | 110501 | RIVERSID 110501 SD SER DEV | RIVERSID | 115 KV | 110501SD | RIVERSID 110501 SD SER DEV | Status Only | Reliability & Markets
4 | 110502 | RIVERSID 110502 SD SER DEV | RIVERSID | 115 KV | 110502SD | RIVERSID 110502 SD SER DEV | Status Only | Reliability & Markets
COMED
1 | 45L9806 | 116 GOOD-98 NEVAD L9806 | 116 GOOD | 345 KV | GOO-NEVA | 116 GOOD-98 NEVAD L9806 | Future | Reliability & Markets
1 | 38L18706 2 | 125 NORM-18706 18706 2 | 125 NORM | 138 KV | 18706 2 | 125 NORM-18706 18706 2 | Reliability Non-BES | Reliability & Markets
1 | 38L18702 | 133 ROCK-187 SCHA ROC-SCHA | 133 ROCK | 138 KV | ROC-SCHA | 133 ROCK-187 SCHA ROC-SCHA | Future | Reliability & Markets
1 | 38L15508 3 | 15508-187 SCHA 15508_3 | 15508 | 138 KV | 15508_3 | 15508-187 SCHA 15508_3 | Future | Reliability & Markets
1 | 38L7405 1 | 187 SCHA-7405 7405 1 | 187 SCHA | 138 KV | 7405 1 | 187 SCHA-7405 7405 1 | Future | Reliability & Markets
1 | 38L4609 3 | 4609-215 HOWA 460-HOWA | 4609 | 138 KV | 460-HOWA | 4609-215 HOWA 460-HOWA | Reliability & Markets | Reliability Non-BES
1 | 38L7405 2 | 74 KEWAN-7405 7405 2 | 74 KEWAN | 138 KV | 7405 2 | 74 KEWAN-7405 7405 2 | Future | Reliability & Markets
1 | 45L8001 | 80 PONTI-92 MCLEA 8001 | 80 PONTI | 345 KV | 8001 | 80 PONTI-92 MCLEA 8001 | Future | Reliability & Markets
1 | 45L0303 | 98 NEVAD-3 POWERT L0303 | 98 NEVAD | 345 KV | NEV-POWE | 98 NEVAD-3 POWERT L0303 | Future | Reliability & Markets
DOM
2 |  | GAINESVL TX2 XFORMER | GAINESVL | 230 KV | TX2 | GAINESVL TX2 XFORMER | STATUS ONLY | Reliability & Markets
2 | TX5 | Gainesville TX5 230/115KV | GAINESVL | 230 KV | TX5 | GAINESVL TX5 XFORMER | STATUS ONLY | Reliability & Markets
4 |  | LIBERTY1 1002Z SER DEV | LIBERTY1 | 115 KV | 1002Z | LIBERTY1 1002Z SER DEV | Reliability & Markets | Not monitored, no status
4 |  | WHEELER 2182Z SER DEV | WHEELER | 230 KV | 2182Z | WHEELER 2182Z SER DEV | Reliability & Markets | Status Only
EKPC
1 |  | RUSSELCO-RUSSELJC RUS-RUSC | RUSSELCO | 161 KV | RUS-RUSC | RUSSELCO-RUSSELJC RUS-RUSC | Reliability & Markets | Reliability Non-BES
1 |  | RUSSELCO-UNION_UN TIE | RUSSELCO | 69 KV | RUSS-SEW | RUSSELCO-SEWELLTN | Reliability & Markets | Status Only
7 |  | BARD_IND (LGEE) - E_BARDST (EKPC) TIE | BARD_IND | 69 KV | EBR-BARD | BARD_IND-E_BARDST TIE | Reliability & Markets | Reliability Non-BES
7 |  | BEATTYVL (LGEE) - BTTYVEKP (EKPC) TIE | BTTYVEKP | 69 KV |  |  | Reliability & Markets | Reliability Non-BES
7 |  | CLAYVILL-CLAY_VIL TIE | CLAYVILL | 69 KV | CLA-CLA6 | CLAYVILL-CLAY_VIL TIE | Reliability & Markets | Reliability Non-BES
7 |  | CLMBI_LG-COLUMBI3 TIE | CLMBI_LG | 69 KV | CLM-COLU | CLMBI_LG-COLUMBI3 CLM-COLU | Reliability & Markets | Reliability Non-BES
7 |  | CROOKSVJ-FAWKESLG TIE | CROOKSVJ | 69 KV | CRO-FAWK | CROOKSVJ-FAWKESLG TIE | Reliability & Markets | Reliability Non-BES
7 |  | E_VIEW (LGEE) - STEPHNSB (EKPC) TIE | E_VIEW | 69 KV | STE-EVI | E_VIEW -STEPHNSB TIE | Reliability & Markets | Reliability Non-BES
7 |  | FALCON (AEP) - FALCON2 (EKPC) TIE | FALCON | 69 KV | FAL-20F1 | FALCON -FALCON2 TIE | Reliability & Markets | Reliability Non-BES
7 |  | FARLEY2 (LGEE) - LIB_CHUR (EKPC) TIE | LIB_CHUR | 69 KV |  |  | Reliability & Markets | Reliability Non-BES
7 |  | FRGSNSOU (LGEE) - SMRST_EK (EKPC) TIE | FRGSNSOU | 69 KV | SMR-FRGS | FRGSNSOU-SMRST_EK TIE | Reliability & Markets | Reliability Non-BES
7 |  | GARRARD0-GARRD_J TIE | GARRARD0 | 69 KV | GAR-GARR | GARRARD0-GARRD_J GAR-GARR | Reliability & Markets | Reliability Non-BES
7 |  | GARRD_CO-LANCASTE TIE | GARRD_CO | 69 KV | GAR-LANC | GARRD_CO-LANCASTE TIE | Reliability & Markets | Reliability Non-BES
7 |  | GOLDBUG (EKPC) - WOFFORD (LGEE) | GOLDBUG | 69 KV | WOF-GOLD | GOLDBUG -WOFFORD TIE | Reliability & Markets | Reliability Non-BES
7 |  | GRAYSBRA (AEP) - ARGNT_EK (EKPC) TIE | GRAYSBRA | 69 KV | GRA-ARG1 | GRAYSBRA-ARGNT_EK TIE | Reliability & Markets | Reliability Non-BES
7 |  | HEBRN_EK (EKPC) - HEBRON1 (DEOK) | HEBRN_EK | 69 KV | HEB-HEBR | HEBRN_EK-HEBRON1 HEB-HEBR | Reliability & Markets | Reliability Non-BES
7 |  | HELECHAW-LEECITY TIE | HELECHAW | 69 KV | LEE-20H | HELECHAW-LEECITY TIE | Reliability & Markets | Reliability Non-BES
7 |  | HODGENVL (EKPC) - HODGENSV (LGEE) | HODGENSV | 69 KV | HOD-HODG | HODGENSV-HODGENVL TIE | Reliability & Markets | Reliability Non-BES
7 |  | HODGENVL-NEW_HAVE TIE | HODGENVL | 69 KV | HOD-NEW | HODGENVL-NEW_HAVE TIE | Reliability & Markets | Reliability Non-BES
7 |  | KARGLE (EKPC) - ELIZTOW (LGEE) | ELIZABET | 69 KV | ELI-KARG | ELIZABET-KARGLE TIE | Reliability & Markets | Reliability Non-BES
7 |  | KENTN_LG (LGEE) - MURPHYSV (EKPC) TIE | MURPHYSV | 69 KV |  |  | Reliability & Markets | Reliability Non-BES
7 |  | LAURELCO (EKPC) - HOPWEL2 (LGEE) | HOPEWEL2 | 69 KV | LAU-HOPE | HOPEWEL2-LAURELCO TIE | Reliability & Markets | Reliability Non-BES
7 |  | LEONKP (AEP) - LEON_EKP (EKPC) TIE | LEONKP | 69 KV | LEO-LEO1 | LEONKP -LEON_EKP TIE | Reliability & Markets | Reliability Non-BES
7 |  | MORGANCO (AEP) - MRGNC_EK (EKPC) TIE | MORGANCO | 69 KV | MOR-MOR1 | MORGANCO-MRGNC_EK TIE | Reliability & Markets | Reliability Non-BES
7 |  | MURPHYSV-SARDIS2 TIE | MURPHYSV | 69 KV | MUR-SARD | MURPHYSV-SARDIS2 TIE | Reliability & Markets | Reliability Non-BES
7 |  | NWCST_EK-OWEN_CO TIE | NWCST_EK | 69 KV | NWC-OWEN | NWCST_EK-OWEN_CO NWC-OWEN | Reliability & Markets | Reliability Non-BES
7 |  | N_LND104 (LGEE) - N_LONDON (EKPC) TIE | N_LNDN55 | 69 KV |  |  | Reliability & Markets | Reliability Non-BES
7 |  | N_SPRFLD-SPRINGFI TIE | N_SPRFLD | 69 KV | NSP-SPRI | N_SPRFLD-SPRINGFI | Reliability & Markets | Reliability Non-BES
7 |  | PENN2 (EKPC) - SCOTT_CO (LGEE) | PENN2 | 69 KV | SCO-PENN | PENN2 -SCOTT_CO TIE | Reliability & Markets | Reliability Non-BES
7 |  | RADCLIFF-VINEGROV TIE | RADCLIFF | 69 KV | RAD-VIN1 | RADCLIFF-VINEGROV TIE | Reliability & Markets | Reliability Non-BES
7 |  | ROGERSVI (LGEE) - ROGERSVJ (EKPC) TIE | ROGERSVJ | 69 KV |  |  | Reliability & Markets | Reliability Non-BES
7 |  | RUSSELCO (EKPC) - SEWELLTN (LGEE) | RUSSELCO | 69 KV | RUSS-SEW | RUSSELCO-SEWELLTN | Reliability & Markets | Reliability Non-BES
7 |  | SEWELLTN-UNION_UN TIE | SEWELLTN | 69 KV | SEW-UNIO | SEWELLTN-UNION_UN TIE | Reliability & Markets | Reliability Non-BES
7 |  | SHELBYCO-SHELBYTP TIE | SHELBYCO | 69 KV | SHE-SHLC | SHELBYCO-SHELBYTP TIE | Reliability & Markets | Reliability Non-BES
7 |  | SMRST_EK (EKPC) - SOMERSET SKY (LGEE) | SMRST_EK | 69 KV | SMR-SOME | SMRST_EK-SOMERSE4 TIE | Reliability & Markets | Reliability Non-BES
7 |  | SUMMER (TVA) - SUMSHADE (EKPC) TIE 69KV LINE | SUMMER | 69 KV | SUM-SUM1 | LINE 69 KV SUM-SUM1 TIE | Reliability & Markets | Reliability Non-BES
7 |  | THELMA (AEP) - THELMAEK (EKPC) TIE | THELMA | 69 KV | THE-THE1 | THELMA -THELMAEK TIE | Reliability & Markets | Reliability Non-BES
PECO
1 | 6645 | Island Road - Sharon Hill 69 kV | ISLANDRD | 69 KV | ISL-SHA | ISLANDRD-SHARONHL 6645 | Reliability & Markets | Reliability Non-BES
1 | 6658 | Eddystone - Tinicum Prop - (Scott Paper) Paper Tap | EDDYSTON | 69 KV | EDD-SCO | EDDYSTON-SCOTTPAP 6658 | Reliability & Markets | Reliability Non-BES
2 | 1 | Delaware 69/13.8 kV | DELA PE | 69 KV | DEL 1TR |  | Reliability & Markets | GSU
2 | 5TR | Schuylkill #5 69/13.8 kV | SCHUYLKI | 69 KV | SCH 5TR |  | Reliability & Markets | GSU
2 | 4TR | Woodlyn #4 138/69 kV | WOODLYN | 138 KV | WOD 4TR |  | Reliability & Markets | Reliability BES
4 | l22039 | CHICHEST L22039 SER DEV | CHICHEST | 230 KV | L22039 |  | Not monitored, no status | Reliability & Markets
4 | L22043 | CHICHEST L22043 SER DEV | CHICHEST | 230 KV | L22043 |  | Reliability BES | Reliability & Markets
4 | SD1 | Chichester 138KV SD1 reactor | CHICHEST | 138 KV | SD1 |  | Reliability BES | Reliability & Markets
4 | L22053 | Chichester 230 kV L22053 reactor | CHICHEST | 230 KV | L22053 |  | Reliability BES | Reliability & Markets
PSEG
4 | D-2282 | GLOUCEST SR-D2282 SER DEV | GLOUCEST | 230 KV | SR-D | GLOUCEST SR-D SER DEV | Status Only | Reliability & Markets