## Sheet1
LMP Bus Model Update - December 09, 2020
Buses Added
Pnode ID | Tx Zone | Substation | Voltage | Equipment
2156111256 | AE | BECKETT | 69 KV | MU
2156111257 | AE | BECKETT | 69 KV | T1
2156111258 | AE | BECKETT | 69 KV | T2
2156111259 | AE | CAPEMAY | 69 KV | MU
2156111261 | AE | CAPEMAY | 69 KV | T2
2156111260 | AE | CAPEMAY | 69 KV | T3
2156111264 | AEP | HANNIBAL | 24 KV | AUX
2156111333 | AEP | HANNIBAL | 24 KV | LONGRDCC
2156111262 | AEP | HAYDEN | 138 KV | T4
2156111263 | AEP | LARUE | 138 KV | T1
2156111274 | ATSI | 911INDUS | 138 KV | 911_LOAD
2156111273 | ATSI | ASHTABUL | 138 KV | PETMINLD
2156111332 | COMED | 411 ROME | 138 KV | MAGID_BS
2156111272 | DOM | BARTERBR | 115 KV | TX2
2156111334 | DOM | CHICKHOM | 34.5 KV | CHICK1SP
2156111265 | DOM | CHICKHOM | 36.5 KV | TX3
2156111338 | DOM | DRYBREAD | 34.5 KV | DRYBD2SP
2156111271 | DOM | DULLES | 35 KV | TX6
2156111342 | DOM | EARLEYS | 35 KV | KRUGENSP
2156111269 | DOM | FARMWELL | 36.5 KV | TX2_LOAD
2156111268 | DOM | FARMWELL | 36.5 KV | TX3_LOAD
2156111270 | DOM | FENTRES4 | 36.5 KV | TX4
2156111343 | DOM | HAWTREE | 23 KV | HWTRCRSP
2156111341 | DOM | LGHTFOOT | 35 KV | LITFOTSP
2156111336 | DOM | RAWLINGS | 500 KV | SV1
2156111337 | DOM | RAWLINGS | 500 KV | SV2
2156111344 | DOM | ROCKFORG | 34.5 KV | ROCFORWF
2156111335 | DOM | SANDERDP | 230 KV | WOODRDSP
2156111339 | DOM | WARDSCRK | 34.5 KV | WARCRKSP
2156111340 | DOM | WDCHKTRL | 34.5 KV | HALCTYSP
2156111345 | DUQU | CLIN DUQ | 138 KV | GAUCHOSP
2156111346 | DUQU | MIDLAND | 138 KV | BPINE1SP
2156111347 | DUQU | MIDLAND | 138 KV | BPINE2SP
2156111326 | JC | COOKSTOW | 35 KV | LEGLERSP
2156111325 | JC | FLANDERS | 34.5 KV | BERKSHSP
2156111250 | JC | FLANDERS | 34.5 KV | LOAD2
2156111251 | JC | NEWTON | 34.5 KV | LOAD2
2156111255 | ME | MYERSTWN | 69 KV | BAYER_LD
2156111254 | ME | OLMSTED | 69 KV | WOODSTLD
2156111246 | PL | MILLERSV | 69 KV | T1LOAD
2156111247 | PL | MILLERSV | 69 KV | T2LOAD
2156111244 | PL | WESTLANC | 69 KV | T1LOAD
2156111245 | PL | WESTLANC | 69 KV | T2LOAD
2156111248 | PL | WESTWILL | 69 KV | T1LOAD
2156111249 | PL | WESTWILL | 69 KV | T2LOAD
49594 | PN | LUCERNE | 115 KV | NO1 TX
2156111328 | PN | PINEY | 34 KV | CLARIOCT
2156111237 | PS | HUNTGLEN | 138 KV | FORREST
2156111235 | PS | HUNTGLEN | 230 KV | T-1LD
2156111236 | PS | HUNTGLEN | 230 KV | T-2LD
2156111234 | PS | HUNTGLEN | 69 KV | M19LOAD
2156111238 | PS | MELRICH | 69 KV | T1LOAD
2156111239 | PS | MELRICH | 69 KV | T2LOAD
2156111227 | PS | NEWARK | 26 KV | LD1XFR
2156111225 | PS | NEWARK | 26 KV | LD2XFR
2156111226 | PS | NEWARK | 26 KV | LD3XFR
2156111224 | PS | NEWARK | 26 KV | LD4XFR
2156111324 | PS | PRNCTNPS | 69 KV | WESWINSP
2156111242 | PS | WHITHRSE | 69 KV | T-1LD
2156111243 | PS | WHITHRSE | 69 KV | T-2LD
2156111240 | PS | WHITHRSE | 69 KV | T-3LD
2156111241 | PS | WHITHRSE | 69 KV | T-4LD
Buses Deleted
Pnode ID | Tx Zone | Substation | Voltage | Equipment
2156109005 | AEP | BELMONPC | 69 KV | PIPECREK
40243237 | AEP | CORRIDOR | 138 KV | TR3
32411795 | AEP | LAPORTE | 34 KV | ROLLINGP
1348254141 | AEP | LIQUIDC | 4 KV | XF1
32412087 | AEP | NECANTON | 138 KV | T1
2156108990 | AEP | NORTONSW | 69 KV | AECOAL
2156110449 | AEP | WURNO | 138 KV | T4
93353547 | ATSI | 02FORD | 138 KV | TR3
93353549 | ATSI | 02FORD | 138 KV | TR4
2041961330 | DAYTON | 09URBANA | 69 KV | MOB-6
2156110801 | PL | ENGLESID | 69 KV | MANO1_LD
2156110799 | PL | ENGLESID | 69 KV | MANO2_LD
2156110798 | PL | ENGLESID | 69 KV | MLWD1_LD
2156110111 | PS | BUSTLETO | 230 KV | T1
2156110112 | PS | BUSTLETO | 230 KV | T2
2041943129 | PS | CAMDEN | 69 KV | T-1LOAD
2041943131 | PS | CAMDEN | 69 KV | T-2LOAD
2156110113 | PS | CROSSWIC | 230 KV | T1
2156110114 | PS | CROSSWIC | 230 KV | T2
2156109877 | PS | YARDVILL | 230 KV | T1
2156109878 | PS | YARDVILL | 230 KV | T2
Changed From: |  |  |  |  | Changed To:
Pnode ID | Tx Zone | Substation | Voltage | Equipment | Pnode ID | Tx Zone | Substation | Voltage | Equipment
50843 | AE | CARLLS | 69 KV | CT_1 | 2156111329 | AE | CARLLS | 13.8 KV | CT_1
50844 | AE | CARLLS | 69 KV | CT_2 | 2156111330 | AE | CARLLS | 13.8 KV | CT_2
40243743 | AE | LEWIS | 69 KV | PLEASANT | 2156111331 | AE | PVILLE | 69 KV | PLEASANT
34885301 | DOM | CLARKVIL | 13 KV | BUS | 2156111266 | DOM | CLARKVIL | 13 KV | TX1
1305122695 | DOM | FIELDSCR | 34.5 KV | TX2LD | 2156111267 | DOM | FIELDSCR | 34.5 KV | TX1LD
44460717 | JC | PEQUESTR | 34 KV | BK 1 | 2156111253 | JC | PEQUESTR | 34 KV | LOAD1
44460719 | JC | PEQUESTR | 34 KV | BK 2 | 2156111252 | JC | PEQUESTR | 34 KV | LOAD2
1123179395 | PN | CARROTWN | 46 KV | PATTONWF | 2156111327 | PN | CARROTWN | 34.5 KV | PATTONWF
48755 | PS | BUSTLETO | 138 KV | 13KV | 2156111229 | PS | BUSTLETO | 13 KV | T1LD
48756 | PS | BUSTLETO | 138 KV | 13KV-1 | 2156111228 | PS | BUSTLETO | 13 KV | T2LD
45565903 | PS | BUSTLETO | 138 KV | BCLF | 2156111318 | PS | BUSTLETO | 13 KV | BCLF
57967649 | PS | BUSTLETO | 138 KV | GHLF | 2156111319 | PS | BUSTLETO | 13 KV | GHLF
48767 | PS | CROSSWIC | 138 KV | 13KV-1 | 2156111230 | PS | CROSSWIC | 13 KV | T1LD
48768 | PS | CROSSWIC | 138 KV | 13KV-2 | 2156111231 | PS | CROSSWIC | 13 KV | T2LD
119118193 | PS | CROSSWIC | 138 KV | CROSS1SP | 2156111320 | PS | CROSSWIC | 13 KV | CROSS1SP
119118195 | PS | CROSSWIC | 138 KV | CROSS2SP | 2156111322 | PS | CROSSWIC | 13 KV | CROSS2SP
135389771 | PS | CROSSWIC | 138 KV | CROSS3DS | 2156111321 | PS | CROSSWIC | 13 KV | CROSS3DS
93113 | PS | YARDVILL | 138 KV | LOAD1 | 2156111232 | PS | YARDVILL | 13 KV | T1LD
93114 | PS | YARDVILL | 138 KV | LOAD2 | 2156111233 | PS | YARDVILL | 13 KV | T2LD
106856923 | PS | YARDVILL | 138 KV | YARDVISP | 2156111323 | PS | YARDVILL | 13 KV | YARDVISP
Aggregates Added
Pnode ID | Name
2156111104 | NORTHWEST (AGGREGATE)
Aggregates Deleted
Pnode ID | Name