## Key System Upgrades 2020_2021
System Upgrades With Potential Impact to Congestion June 2020 Through May 2021
Description | TO | Projected In-service Date
Reconductor the Emilie - Falls 138 kV line, and and replace station cable and relay | PECO | 2020-03-31
Interconnect the new Silver Run 230 kV substation with existing Red Lion - Cartanza and Red Lion - Cedar Creek 230 kV lines | DPL | 2020-05-15
Build a new 230 kV transmission line between Hope Creek and Silver Run | Silver Run Electric | 2020-06-01
Construct a new Silver Run 230 kV substation | Silver Run Electric | 2020-06-01
Reconductor Michigan City - Bosserman 138kV | NIPSCO | 2020-06-01
Reconductor Roxana - Praxair 138kV | NIPSCO | 2020-06-01
Upgrade substation equipment at Conastone 500 kV (on the Peach Bottom - Conastone 500 kV circuit) to increase facility rating to 2826 MVA normal and 3525 MVA emergency | BGE | 2020-06-01
Upgrade substation equipment at Peach Bottom 500 kV (on the Peach Bottom - Conastone 500 kV circuit) to increase facility rating to 2826 MVA normal and 3525 MVA emergency | PECO | 2020-06-01
Modify the Crane Windy Edge 110591 & 110592 115 kV circuits by terminating Windy Edge Circuits 110591 & 110592 into Northeast Substation with the addition of new 115kV breaker positions at Northeast sub | BGE | 2020-11-01
Tap the Conemaugh - Hunterstown 500 kV line & create new Rice 500 kV & 230 kV stations. Install two 500/230 kV transformers, operated together. | Transource | 2020-11-01
Build new 230 kV double circuit line between Rice and Ringgold 230 kV, operated as a single circuit. | Transource | 2020-11-01
Tap the Peach Bottom TMI 500 kV line & create new Furnace Run 500 kV & 230 kV stations. Install two 500/230 kV transformers, operated together. | Transource | 2020-11-01
Build new 230 kV double circuit line between Furnace Run and Conastone 230 kV, operated as a single circuit. | Transource | 2020-11-01
Reconductor/Rebuild the two Conastone - Northwest 230 kV lines and upgrade terminal equipment on both ends | BGE | 2020-11-01
Reconductor Dequine - Meadow Lake 345 kV circuit #1 utilizing dual 954 ACSR 54/7 cardinal conductor | AEP | 2020-11-13
Reconstruct sections of the Butler-N.Hicksville and Auburn-Butler 69 kV circuits as 138 kV double circuit and extend 138 kV from Campbell Road station | AEP | 2020-11-23
Add a new 500/230 kV autotransformer at Hope Creek and a new Hope Creek 230 kV substation | PSEG | 2020-12-31
Construct a Whippany to Montville 230 kV line (6.4 miles) | JCPL | 2020-12-31
Reconductor the entire Dequine - Meadow Lake 345 kV circuit #2 | AEP | 2021-01-13
Rebuild and reconductor Kammer - George Washington 69 kV circuit and George Washington - Moundsville Ckt #1, designed for 138kV. Upgrade limiting equipment at remote ends and at tap stations | AEP | 2021-01-27
Reconductor 0.5 miles of Tiltonsville - Windsor 138 kV and string the vacant side of the 4.5 mile section using 556 ACSR in a six wire configuration | AEP | 2021-03-31
Rebuild the Tanner Creek - Miami Fort 345kV line (DEOK portion) | DEOK | 2021-04-08
Highlighted upgrades will be modeled as in-service in annual ARR allocation and annual FTR auction
Note: See the RTEP Construction Status page of the PJM web site for a complete list of all planned RTEP upgrades including up-to-date projection of in-service date