## Facilities
Equipment Name | Contingency Description | Required MW Increase in Capability Limits | Type | Reason for Infeasibility
02FOWLES138 KV 02F-02P1_I | L345.Avonlake-Juniper | 6 | Internal PJM | Transmission Outage
BAGLEY 230 KV BAG-GRA_Z | L500.Cabot-Keystone.5002 | 104 | Internal PJM | Transmission Outage
BAGLEY 230 KV BAG-GRA_Z |  | 102 | Internal PJM | Transmission Outage
BAGLEY 230 KV BAG-RAP5_I | L500.Cabot-Keystone.5002 | 89 | Internal PJM | Transmission Outage
BAGLEY 230 KV BAG-RAP5_I |  | 87 | Internal PJM | Transmission Outage
Batesville-Hubble 138 l/o Tanners Crk-Miami Fort 345 |  | 140 | M2M Flowgate | Transmission Outage
BOONETWN230 KV BOO-SRE_I | L500.PeachBottom-TMI.5007 | 153 | Internal PJM | Transmission Outage
BREC Paradise Tap-Paradise FP 161 kV l/o Barkly-Princeton 161 kV |  | 5 | M2M Flowgate | Transmission Outage
BREMO4 230 KV 298A_Z | L230.Clover-SedgeHill.2068 | 20 | Internal PJM | Transmission Outage
BRIERY 230 KV 235A1_Z | L230.Clover-SedgeHill.2068 | 251 | Internal PJM | Transmission Outage
BRIERY 230 KV 235B_I | L230.Clover-SedgeHill.2068 | 249 | Internal PJM | Transmission Outage
BUCKNGHM230 KV 298B_Z | L230.Clover-SedgeHill.2068 | 46 | Internal PJM | Transmission Outage
BUXMONT 230 KV BUX-WHI_Z | L500.PeachBottom-TMI.5007 | 103 | Internal PJM | Transmission Outage
CARL PN 115 KV CAR-GAR_Z | L500.Cabot-Keystone.5002 | 2 | Internal PJM | Transmission Outage
CARL PN 115 KV CAR-GAR_Z |  | 9 | Internal PJM | Transmission Outage
Cayuga 345/230 XFMR 9 (flo) Cayuga 345/230 XFMR 10 |  | 38 | M2M Flowgate | Transmission Outage
Cayuga Starbus TR 9-P l/o Cayuga-Nucor 345 |  | 3 | Pseudo Tie Flowgate | Transmission Outage
Cherry Valley Silver Lake 15616 345kV l/o Byron-Wayne 0626 345 kV |  | 3 | M2M Flowgate | Network Load
COLLEGEC138 KV COL-COL6_I | L765.Marysville-Sorenson | 141 | Internal PJM | Transmission Outage
COLLEGEC138 KV COL-COL6_I |  | 86 | Internal PJM | Transmission Outage
COLLINSV138 KV HUS-COL_I | L765.Marysville-Sorenson | 113 | Internal PJM | Transmission Outage
COLLINSV138 KV HUS-COL_I |  | 69 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-GRA_I | L500.PeachBottom-TMI.5007 | 437 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-GRA_I |  | 228 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-PEA_Z | L500.PeachBottom-TMI.5007 | 451 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-PEA_Z |  | 241 | Internal PJM | Transmission Outage
Cordova-EastMoline345kV-lo-QuadCities-Sub91 345kV |  | 333 | M2M Flowgate | Network Load
ELIMA 138 KV ELI-HAV1_Z | L765.Marysville-Sorenson | 55 | Internal PJM | Transmission Outage
ESIDELIM138 KV ESI-NDE1_Z | L765.Marysville-Sorenson | 16 | Internal PJM | Transmission Outage
Eugene-Cayuga 345 l/o Rockport-Jefferson 765 |  | 172 | M2M Flowgate | Transmission Outage
Fargo 345/138 kv Xfmr l/o Duck Creek-Ipava 345 kV |  | 17 | M2M Flowgate | Network Load
Fargo XF 3 l/o Maple Rid-Tazwell 345kV |  | 160 | M2M Flowgate | Network Load
GardenPlains-15518 138kV l/o Cordova-Nelson 15503 345kV |  | 5 | M2M Flowgate | Transmission Outage
GRACETON230 KV GRA-SAF_Z | L230.OtterCreek-Conastone.2302 | 313 | Internal PJM | Transmission Outage
GRACETON230 KV GRA-SAF_Z |  | 75 | Internal PJM | Transmission Outage
Grand Mound - Maquoketa 161 kV l/o Rock Creek - Salem 345 kV |  | 5 | M2M Flowgate | Transmission Outage
Henry-New Castle 138 l/o Noblesville-Sanderson 138 |  | 14 | M2M Flowgate | Transmission Outage
JACK ME 230 KV JAC-TMI_Z | L500.Cabot-Keystone.5002 | 43 | Internal PJM | Transmission Outage
JACK ME 230 KV JAC-TMI_Z |  | 10 | Internal PJM | Transmission Outage
Labadie-GraySummit 2 345 kV l/o Labadie-GraySummit 1 345 kV |  | 50 | Pseudo Tie Flowgate | Network Load
LACKAWAN230 KV LAC-OXB_I | L500.Cabot-Keystone.5002 | 37 | Internal PJM | Transmission Outage
LACKAWAN230 KV LAC-OXB_I |  | 89 | Internal PJM | Transmission Outage
LENOX 115 KV LEN-MAC_I | L230.ETowanda-Hillside.2002 [NYISO] | 19 | Internal PJM | Transmission Outage
LENOX 115 KV LEN-MAC_I |  | 2 | Internal PJM | Transmission Outage
LOGTOWN 138 KV LOG-NDEL_I | L765.Marysville-Sorenson | 5 | Internal PJM | Transmission Outage
LTVSteel - Hennepin 138 kV l/o Powerton - Toulon 138 kV |  | 9 | M2M Flowgate | Network Load
LTVSteel_Hennepin_138kV_flo_Oglesby_Mazon_Cresent_138kV |  | 4 | M2M Flowgate | Transmission Outage
MACNEW_T115 KV MAC-WIL_I | L230.ETowanda-Hillside.2002 [NYISO] | 16 | Internal PJM | Transmission Outage
McCredie-Montgomery 345 kV |  | 143 | M2M Flowgate | Network Load
MILLWDPL230 KV MIL-SAK_Z | L500.Cabot-Keystone.5002 | 24 | Internal PJM | Transmission Outage
MILLWDPL230 KV MIL-SAK_Z |  | 15 | Internal PJM | Transmission Outage
Monroe - Lallendorf 345kV l/o Monroe - Brownstown 345 kV |  | 261 | M2M Flowgate | Network Load
Monroe - Lallendorf 345kV l/o Monroe - Wayne 345 kV |  | 258 | M2M Flowgate | Network Load
Monroe-Lallendorf 345 kV l/o Lulu 345 kV Sub |  | 417 | M2M Flowgate | Transmission Outage
Monroe-Lallendorf 345kV |  | 288 | M2M Flowgate | Network Load
Montgomery_Labadie_345_flo_Callaway_Bland_345 |  | 104 | M2M Flowgate | Network Load
Morocco-Allen Junction 345 kV |  | 107 | M2M Flowgate | Network Load
NEWBERRY115 KV NEW-ROU_I | L500.Cabot-Keystone.5002 | 19 | Internal PJM | Transmission Outage
NEWBERRY115 KV NEW-ROU_I |  | 3 | Internal PJM | Transmission Outage
North Lake George-Burlington 138kV l/o University-Mukwonago 138kV |  | 23 | M2M Flowgate | Network Load
NOTTINGH230 KV 1-3_I | L500.PeachBottom-TMI.5007 | 463 | Internal PJM | Transmission Outage
NOTTINGH230 KV 1-3_I |  | 243 | Internal PJM | Transmission Outage
NOTTINGH230 KV 2-3_I | L500.PeachBottom-TMI.5007 | 463 | Internal PJM | Transmission Outage
NOTTINGH230 KV 2-3_I |  | 243 | Internal PJM | Transmission Outage
NOTTINGH230 KV NOT-PEA_I | L500.PeachBottom-TMI.5007 | 452 | Internal PJM | Transmission Outage
NOTTINGH230 KV NOT-PEA_I |  | 243 | Internal PJM | Transmission Outage
Nucor-Whitestown 345 kV l/o Rockport-Jefferson 765 kV |  | 51 | M2M Flowgate | Transmission Outage
Princeton Tap LTV Steel 138 kV l/o Hennepin - Kewanee - Streator 138 kV |  | 23 | M2M Flowgate | Transmission Outage
Roxana-Praxair 1 138 kV l/o Wilton Center-Dumont 765 kV |  | 13 | M2M Flowgate | Transmission Outage
Roxana-Praxair 138 kV l/o Gary Ave-Sheffield 345 kV |  | 19 | M2M Flowgate | Network Load
Roxana-Praxair 138 kV l/o Inland5-Marktown 138 kV |  | 18 | M2M Flowgate | Transmission Outage
Roxana-Praxair l/o Gary Ave-Sheffield+Dumont-WiltonCenter |  | 18 | M2M Flowgate | Network Load
Sandburg xfmr 3 l/o Oak Grove - Sandburg 345 kV |  | 123 | M2M Flowgate | Network Load
SMITHJCT115 KV SMI-SMI_Z | L230.Jackson-TMI.1051 | 36 | Internal PJM | Transmission Outage
SUB_85_TO_ROCK_ISLAND_161KV_FLO_OAK_GROVE_TO_LOUISA_345KV |  | 20 | M2M Flowgate | Network Load
Sub85-RockIsland-161kV-flo-EastMoline-345-161-T1 |  | 39 | M2M Flowgate | Network Load
Sullivan-Petersburg 345 l/o Rockport-Jefferson 765 |  | 476 | M2M Flowgate | Transmission Outage
TILTONS2138 KV TIL-WIN_I |  | 2 | Internal PJM | Transmission Outage
TMI 500 KV 1 BANK_I | 500/230.Lauschtown.T3 | 299 | Internal PJM | Transmission Outage
TMI 500 KV 1 BANK_I |  | 281 | Internal PJM | Transmission Outage
TRENTON2138 KV HUS-TRE_Z | L765.Marysville-Sorenson | 112 | Internal PJM | Transmission Outage
TRENTON2138 KV HUS-TRE_Z |  | 67 | Internal PJM | Transmission Outage
TRENTON2138 KV TRE-COL1_Z | L765.Marysville-Sorenson | 16 | Internal PJM | Transmission Outage
TRENTON2138 KV TRE-COL1_Z |  | 2 | Internal PJM | Transmission Outage
TRENTON2138 KV TRE-HUT1_I | L765.Marysville-Sorenson | 10 | Internal PJM | Transmission Outage
WILLIAMM115 KV WIL-WMP_Z | L230.ETowanda-Hillside.2002 [NYISO] | 5 | Internal PJM | Transmission Outage

## ARR Paths
Source | Sink | Infeasible MW Quantity
100 SHAD34.5 KV GSG6WF | COMED_RESID_AGG | 15.7
100 SHAD34.5 KV GSG6WF | NAPERVILLE | 0.2
107 DIXO34.5 KV SUBLETTE | COMED_RESID_AGG | 5.3
107 DIXO34.5 KV SUBLETTE | GENEVA | 0.1
107 DIXO34.5 KV SUBLETTE | NAPERVILLE | 0.1
107 DIXO34.5 KV SUBLETTE | ST. CHARLES | 0.1
139 MEND34.5 KV WBROOKWF | COMED_RESID_AGG | 7.1
139 MEND34.5 KV WBROOKWF | NAPERVILLE | 0.1
21 KINCA20 KV KN-1 | COMED_RESID_AGG | 3.4
21 KINCA20 KV KN-2 | COMED_RESID_AGG | 1.4
4 QUAD C18 KV QC-1 | BATAVIA | 2.5
4 QUAD C18 KV QC-1 | COMED_RESID_AGG | 619.6
4 QUAD C18 KV QC-1 | GENEVA | 1.5
4 QUAD C18 KV QC-1 | N ILLINOIS HUB | 119.7
4 QUAD C18 KV QC-1 | NAPERVILLE | 10.4
4 QUAD C18 KV QC-1 | ROCHELLE | 1
4 QUAD C18 KV QC-1 | ST. CHARLES | 3.6
4 QUAD C18 KV QC-2 | BATAVIA | 2.5
4 QUAD C18 KV QC-2 | COMED_RESID_AGG | 619.8
4 QUAD C18 KV QC-2 | GENEVA | 1.5
4 QUAD C18 KV QC-2 | N ILLINOIS HUB | 279.2
4 QUAD C18 KV QC-2 | NAPERVILLE | 10.4
4 QUAD C18 KV QC-2 | ROCHELLE | 1
4 QUAD C18 KV QC-2 | ST. CHARLES | 3.6
6 BYRON 25 KV BY-1 | BATAVIA | 3.4
6 BYRON 25 KV BY-1 | COMED_RESID_AGG | 896.6
6 BYRON 25 KV BY-1 | GENEVA | 2
6 BYRON 25 KV BY-1 | N ILLINOIS HUB | 99.7
6 BYRON 25 KV BY-1 | NAPERVILLE | 15
6 BYRON 25 KV BY-1 | ST. CHARLES | 4.7
6 BYRON 25 KV BY-2 | BATAVIA | 3.3
6 BYRON 25 KV BY-2 | COMED_RESID_AGG | 859.3
6 BYRON 25 KV BY-2 | GENEVA | 1.9
6 BYRON 25 KV BY-2 | N ILLINOIS HUB | 232.5
6 BYRON 25 KV BY-2 | NAPERVILLE | 14.7
6 BYRON 25 KV BY-2 | ST. CHARLES | 4.5
937 LEE 13.5 KV LEE31-1 | BATAVIA | 0.3
937 LEE 13.5 KV LEE31-1 | COMED_RESID_AGG | 72.1
937 LEE 13.5 KV LEE31-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE31-1 | NAPERVILLE | 1.2
937 LEE 13.5 KV LEE31-1 | ST. CHARLES | 0.4
937 LEE 13.5 KV LEE31-2 | BATAVIA | 0.3
937 LEE 13.5 KV LEE31-2 | COMED_RESID_AGG | 72.2
937 LEE 13.5 KV LEE31-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE31-2 | NAPERVILLE | 1.2
937 LEE 13.5 KV LEE31-2 | ST. CHARLES | 0.4
937 LEE 13.5 KV LEE32-1 | BATAVIA | 0.1
937 LEE 13.5 KV LEE32-1 | COMED_RESID_AGG | 36.4
937 LEE 13.5 KV LEE32-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE32-1 | NAPERVILLE | 0.5
937 LEE 13.5 KV LEE32-1 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE32-2 | BATAVIA | 0.1
937 LEE 13.5 KV LEE32-2 | COMED_RESID_AGG | 36.3
937 LEE 13.5 KV LEE32-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE32-2 | NAPERVILLE | 0.5
937 LEE 13.5 KV LEE32-2 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE33-1 | BATAVIA | 0.3
937 LEE 13.5 KV LEE33-1 | COMED_RESID_AGG | 70.7
937 LEE 13.5 KV LEE33-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE33-1 | NAPERVILLE | 1.1
937 LEE 13.5 KV LEE33-1 | ST. CHARLES | 0.4
937 LEE 13.5 KV LEE33-2 | BATAVIA | 0.3
937 LEE 13.5 KV LEE33-2 | COMED_RESID_AGG | 70.6
937 LEE 13.5 KV LEE33-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE33-2 | NAPERVILLE | 1.1
937 LEE 13.5 KV LEE33-2 | ST. CHARLES | 0.4
937 LEE 13.5 KV LEE34-1 | BATAVIA | 0.1
937 LEE 13.5 KV LEE34-1 | COMED_RESID_AGG | 35.7
937 LEE 13.5 KV LEE34-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE34-1 | NAPERVILLE | 0.5
937 LEE 13.5 KV LEE34-1 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE34-2 | BATAVIA | 0.1
937 LEE 13.5 KV LEE34-2 | COMED_RESID_AGG | 35.8
937 LEE 13.5 KV LEE34-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE34-2 | NAPERVILLE | 0.5
937 LEE 13.5 KV LEE34-2 | ST. CHARLES | 0.2
940 CORD18 KV CD-1 | BATAVIA | 0.4
940 CORD18 KV CD-1 | COMED_RESID_AGG | 109.6
940 CORD18 KV CD-1 | GENEVA | 0.2
940 CORD18 KV CD-1 | NAPERVILLE | 1.8
940 CORD18 KV CD-1 | ROCHELLE | 0.1
940 CORD18 KV CD-1 | ST. CHARLES | 0.6
940 CORD18 KV CD-2 | BATAVIA | 0.4
940 CORD18 KV CD-2 | COMED_RESID_AGG | 109.5
940 CORD18 KV CD-2 | GENEVA | 0.2
940 CORD18 KV CD-2 | NAPERVILLE | 1.8
940 CORD18 KV CD-2 | ROCHELLE | 0.1
940 CORD18 KV CD-2 | ST. CHARLES | 0.6
944 SE C13.5 KV SE10 | COMED_RESID_AGG | 7.9
944 SE C13.5 KV SE10 | NAPERVILLE | 0.3
944 SE C13.5 KV SE10 | ST. CHARLES | 0.1
944 SE C13.5 KV SE11 | COMED_RESID_AGG | 7.9
944 SE C13.5 KV SE11 | NAPERVILLE | 0.3
944 SE C13.5 KV SE11 | ST. CHARLES | 0.1
944 SE C13.5 KV SE12 | COMED_RESID_AGG | 7.9
944 SE C13.5 KV SE12 | NAPERVILLE | 0.3
944 SE C13.5 KV SE12 | ST. CHARLES | 0.1
944 SE C13.5 KV SE-5 | BATAVIA | 0.1
944 SE C13.5 KV SE-5 | COMED_RESID_AGG | 24.9
944 SE C13.5 KV SE-5 | GENEVA | 0.1
944 SE C13.5 KV SE-5 | NAPERVILLE | 0.4
944 SE C13.5 KV SE-5 | ST. CHARLES | 0.1
944 SE C13.5 KV SE-6 | BATAVIA | 0.1
944 SE C13.5 KV SE-6 | COMED_RESID_AGG | 24.7
944 SE C13.5 KV SE-6 | GENEVA | 0.1
944 SE C13.5 KV SE-6 | NAPERVILLE | 0.4
944 SE C13.5 KV SE-6 | ST. CHARLES | 0.1
944 SE C13.5 KV SE-7 | BATAVIA | 0.1
944 SE C13.5 KV SE-7 | COMED_RESID_AGG | 24.6
944 SE C13.5 KV SE-7 | GENEVA | 0.1
944 SE C13.5 KV SE-7 | NAPERVILLE | 0.4
944 SE C13.5 KV SE-7 | ST. CHARLES | 0.1
944 SE C13.5 KV SE-8 | BATAVIA | 0.1
944 SE C13.5 KV SE-8 | COMED_RESID_AGG | 24.6
944 SE C13.5 KV SE-8 | GENEVA | 0.1
944 SE C13.5 KV SE-8 | NAPERVILLE | 0.4
944 SE C13.5 KV SE-8 | ST. CHARLES | 0.1
944 SE C13.5 KV SE-9 | COMED_RESID_AGG | 7.9
944 SE C13.5 KV SE-9 | NAPERVILLE | 0.3
944 SE C13.5 KV SE-9 | ST. CHARLES | 0.1
952 ROCK16 KV RO11 | COMED_RESID_AGG | 56
952 ROCK16 KV RO11 | GENEVA | 0.2
952 ROCK16 KV RO11 | NAPERVILLE | 1.8
952 ROCK16 KV RO11 | ST. CHARLES | 0.6
952 ROCK16 KV RO12 | COMED_RESID_AGG | 55.8
952 ROCK16 KV RO12 | GENEVA | 0.2
952 ROCK16 KV RO12 | NAPERVILLE | 1.8
952 ROCK16 KV RO12 | ST. CHARLES | 0.6
955 RIVE16 KV RV-1 | BATAVIA | 0.4
955 RIVE16 KV RV-1 | COMED_RESID_AGG | 88.6
955 RIVE16 KV RV-1 | GENEVA | 0.2
955 RIVE16 KV RV-1 | NAPERVILLE | 1.8
955 RIVE16 KV RV-1 | ST. CHARLES | 0.6
955 RIVE16 KV RV-2 | COMED_RESID_AGG | 43.1
955 RIVE16 KV RV-2 | GENEVA | 0.1
955 RIVE16 KV RV-2 | NAPERVILLE | 1.1
955 RIVE16 KV RV-2 | ST. CHARLES | 0.4
959ERDBS34.5 KV BSWFBRS1 | BATAVIA | 0.1
959ERDBS34.5 KV BSWFBRS1 | COMED_RESID_AGG | 28.5
959ERDBS34.5 KV BSWFBRS1 | GENEVA | 0.1
959ERDBS34.5 KV BSWFBRS1 | NAPERVILLE | 0.5
959ERDBS34.5 KV BSWFBRS1 | ST. CHARLES | 0.1
969 ECOG34.5 KV LENAWF | COMED_RESID_AGG | 16.6
969 ECOG34.5 KV LENAWF | GENEVA | 0.1
969 ECOG34.5 KV LENAWF | NAPERVILLE | 0.3
969 ECOG34.5 KV LENAWF | ST. CHARLES | 0.1
ASYLUM 23 KV LIBRTY10 | BGE_RESID_AGG | 15.3
ASYLUM 23 KV LIBRTY10 | PEPCO DC | 4.6
ASYLUM 23 KV LIBRTY10 | PEPCO MD | 6.9
ASYLUM 23 KV LIBRTY10 | SMECO_RESID_AGG | 1.2
AVONLAK214 KV G10 | DUQ_RESID_AGG | 0.9
BEAVER 13.8 KV WL20 | CPP | 0.2
BERRHYD 4 KV BR1 | AEPOHIO W.O. MON POWER | 0.3
BERRHYD 4 KV BR10 | AEPOHIO W.O. MON POWER | 0.5
BERRHYD 4 KV BR11 | AEPOHIO W.O. MON POWER | 0.4
BERRHYD 4 KV BR12 | AEPOHIO W.O. MON POWER | 0.5
BERRHYD 4 KV BR2 | AEPOHIO W.O. MON POWER | 0.4
BERRHYD 4 KV BR3 | AEPOHIO W.O. MON POWER | 0.4
BERRHYD 4 KV BR4 | AEPOHIO W.O. MON POWER | 0.4
BERRHYD 4 KV BR5 | AEPOHIO W.O. MON POWER | 0.4
BERRHYD 4 KV BR6 | AEPOHIO W.O. MON POWER | 0.4
BERRHYD 4 KV BR7 | AEPOHIO W.O. MON POWER | 0.4
BERRHYD 4 KV BR8 | AEPOHIO W.O. MON POWER | 0.4
BERRHYD 4 KV BR9 | AEPOHIO W.O. MON POWER | 0.4
BLUECREE34.5 KV BLUEC3WF | AEPAPCO_RESID_AGG | 0.3
BLUECREE34.5 KV BLUEC3WF | AEPKY_RESID_AGG | 1.8
BLUECREE34.5 KV BLUEC3WF | AEPOHIO W.O. MON POWER | 3.1
BLUECREE34.5 KV BLUEC3WF | AMP-ATSI OH | 0.7
BLUECREE34.5 KV BLUEC3WF | AMP-OHIO | 0.2
BLUECREE34.5 KV BLUEC3WF | BLUE RIDGE | 0.6
BUCHANAN2 KV BU1 | AEPOHIO W.O. MON POWER | 0.1
BUCHANAN2 KV BU10 | AEPOHIO W.O. MON POWER | 0.1
BUCHANAN2 KV BU2 | AEPOHIO W.O. MON POWER | 0.1
BUCHANAN2 KV BU3 | AEPOHIO W.O. MON POWER | 0.1
BUCHANAN2 KV BU4 | AEPOHIO W.O. MON POWER | 0.1
BUCHANAN2 KV BU5 | AEPOHIO W.O. MON POWER | 0.1
BUCHANAN2 KV BU6 | AEPOHIO W.O. MON POWER | 0.1
BUCHANAN2 KV BU7 | AEPOHIO W.O. MON POWER | 0.1
BUCHANAN2 KV BU8 | AEPOHIO W.O. MON POWER | 0.1
BUCHANAN2 KV BU9 | AEPOHIO W.O. MON POWER | 0.1
CLOVER 25 KV G1 | DOM_RESID_AGG | 125.7
CLOVER 25 KV G2 | DOM_RESID_AGG | 125.2
CONEMAUG115 KV DIESEL | BGE_RESID_AGG | 5
CONEMAUG115 KV DIESEL | PEPCO MD | 0.1
CONEMAUG22 KV UNIT 1 | BGE_RESID_AGG | 48.1
CONEMAUG22 KV UNIT 1 | PEPCO DC | 12.7
CONEMAUG22 KV UNIT 1 | PEPCO MD | 16.8
CONEMAUG22 KV UNIT 1 | SMECO_RESID_AGG | 4.5
CONEMAUG22 KV UNIT02 | BGE_RESID_AGG | 47.9
CONEMAUG22 KV UNIT02 | PEPCO DC | 12.7
CONEMAUG22 KV UNIT02 | PEPCO MD | 16.8
CONEMAUG22 KV UNIT02 | SMECO_RESID_AGG | 4.5
CONESVIL26 KV CV4 | DEOK_RESID_AGG | 160.7
CONOWING13 KV G10 | PECO_RESID_AGG | 0.3
CONOWING13 KV G11 | PECO_RESID_AGG | 0.2
CONOWING13 KV GEN1 | PECO_RESID_AGG | 0.3
CONOWING13 KV GEN2 | PECO_RESID_AGG | 0.3
CONOWING13 KV GEN3 | PECO_RESID_AGG | 0.3
CONOWING13 KV GEN4 | PECO_RESID_AGG | 0.3
CONOWING13 KV GEN5 | PECO_RESID_AGG | 0.3
CONOWING13 KV GEN6 | PECO_RESID_AGG | 0.3
CONOWING13 KV GEN8 | PECO_RESID_AGG | 0.3
CONOWING13 KV GEN9 | PECO_RESID_AGG | 0.3
CONOWING13 KV UNIT07 | PECO_RESID_AGG | 0.3
CONSTANT2 KV CO1 | AEPOHIO W.O. MON POWER | 0.2
CONSTANT2 KV CO2 | AEPOHIO W.O. MON POWER | 0.2
CONSTANT2 KV CO3 | AEPOHIO W.O. MON POWER | 0.2
CONSTANT2 KV CO4 | AEPOHIO W.O. MON POWER | 0.3
COOK 26 KV CK1 | AEPAPCO_RESID_AGG | 290
COOK 26 KV CK1 | AEPKY_RESID_AGG | 51.9
COOK 26 KV CK1 | AEPOHIO W.O. MON POWER | 310.8
COOK 26 KV CK1 | AMP-OHIO | 3.7
COOK 26 KV CK1 | BLUE RIDGE | 13.6
COOK 26 KV CK1 | BUCK-CIN | 0.5
COOK 26 KV CK1 | BUCKEYE - AEPOH | 7.6
COOK 26 KV CK1 | BUCKEYE - DPL | 2
COOK 26 KV CK1 | BUCK-FE | 1.3
COOK 26 KV CK2 | AEPAPCO_RESID_AGG | 26.4
COOK 26 KV CK2 | AEPKY_RESID_AGG | 47.4
COOK 26 KV CK2 | AEPOHIO W.O. MON POWER | 122.3
COOK 26 KV CK2 | AMP-OHIO | 1.5
COOK 26 KV CK2 | BLUE RIDGE | 9.8
COOK 26 KV CK2 | BUCK-CIN | 0.5
COOK 26 KV CK2 | BUCKEYE - AEPOH | 3.2
COOK 26 KV CK2 | BUCKEYE - DPL | 1
COOK 26 KV CK2 | BUCK-FE | 0.6
COOP_EK 13.8 KV COOPER01 | EKPC-DEOK LOAD | 0.9
COOP_EK 20 KV COOPER02 | EKPC-DEOK LOAD | 1.7
CORNU 18 KV 2GT1 | BUCK-CIN | 0.1
CORNU 18 KV 2GT2 | BUCK-CIN | 0.1
COVERT 16 KV 1GTG | AEPAPCO_RESID_AGG | 311.3
COVERT 16 KV 1GTG | AEPKY_RESID_AGG | 55.8
COVERT 16 KV 1GTG | AEPOHIO W.O. MON POWER | 327.9
COVERT 16 KV 1GTG | AMP-OHIO | 4
COVERT 16 KV 1GTG | BLUE RIDGE | 14.4
COVERT 16 KV 1GTG | BUCK-CIN | 0.6
COVERT 16 KV 1GTG | BUCKEYE - AEPOH | 9.4
COVERT 16 KV 1GTG | BUCKEYE - DPL | 2.6
COVERT 16 KV 1GTG | BUCK-FE | 2.1
DLTAPLNT13.8 KV GEN1 | AMP-ATSI OH | 1.1
DLTAPLNT13.8 KV GEN1 | AMP-ATSI PA | 0.1
DLTAPLNT13.8 KV GEN1 | BGE_RESID_AGG | 12.9
DLTAPLNT13.8 KV GEN1 | CPP | 0.7
DLTAPLNT13.8 KV GEN1 | DEOK_RESID_AGG | 28.2
DLTAPLNT13.8 KV GEN1 | DUQ_RESID_AGG | 14.3
DLTAPLNT13.8 KV GEN1 | EKPC_RESID_AGG | 3.8
DLTAPLNT13.8 KV GEN1 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN1 | FEOHIO_RESID_AGG | 38.7
DLTAPLNT13.8 KV GEN1 | PENNPOWER_RESID_AGG | 6.5
DLTAPLNT13.8 KV GEN1 | PEPCO DC | 6.5
DLTAPLNT13.8 KV GEN1 | PEPCO MD | 8.9
DLTAPLNT13.8 KV GEN1 | SMECO_RESID_AGG | 1.9
DLTAPLNT13.8 KV GEN1 | WILLIAMSTOWN | 0.1
DLTAPLNT13.8 KV GEN2 | AMP-ATSI OH | 1.2
DLTAPLNT13.8 KV GEN2 | AMP-ATSI PA | 0.1
DLTAPLNT13.8 KV GEN2 | BGE_RESID_AGG | 13.3
DLTAPLNT13.8 KV GEN2 | CPP | 0.7
DLTAPLNT13.8 KV GEN2 | DEOK_RESID_AGG | 29.4
DLTAPLNT13.8 KV GEN2 | DUQ_RESID_AGG | 14.7
DLTAPLNT13.8 KV GEN2 | EKPC_RESID_AGG | 4.1
DLTAPLNT13.8 KV GEN2 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN2 | FEOHIO_RESID_AGG | 38.2
DLTAPLNT13.8 KV GEN2 | PENNPOWER_RESID_AGG | 5.8
DLTAPLNT13.8 KV GEN2 | PEPCO DC | 6.6
DLTAPLNT13.8 KV GEN2 | PEPCO MD | 9.2
DLTAPLNT13.8 KV GEN2 | SMECO_RESID_AGG | 1.8
DLTAPLNT13.8 KV GEN2 | WILLIAMSTOWN | 0.1
DLTAPLNT13.8 KV GEN3 | AMP-ATSI OH | 1.2
DLTAPLNT13.8 KV GEN3 | AMP-ATSI PA | 0.1
DLTAPLNT13.8 KV GEN3 | BGE_RESID_AGG | 13.2
DLTAPLNT13.8 KV GEN3 | CPP | 0.7
DLTAPLNT13.8 KV GEN3 | DEOK_RESID_AGG | 29.6
DLTAPLNT13.8 KV GEN3 | DUQ_RESID_AGG | 14.3
DLTAPLNT13.8 KV GEN3 | EKPC_RESID_AGG | 4.1
DLTAPLNT13.8 KV GEN3 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN3 | FEOHIO_RESID_AGG | 37.5
DLTAPLNT13.8 KV GEN3 | PENNPOWER_RESID_AGG | 5.4
DLTAPLNT13.8 KV GEN3 | PEPCO DC | 6.4
DLTAPLNT13.8 KV GEN3 | PEPCO MD | 9.1
DLTAPLNT13.8 KV GEN3 | SMECO_RESID_AGG | 1.8
DLTAPLNT13.8 KV GEN3 | WILLIAMSTOWN | 0.1
DLTAPLNT18 KV GEN4 | AMP-ATSI OH | 1.7
DLTAPLNT18 KV GEN4 | AMP-ATSI PA | 0.1
DLTAPLNT18 KV GEN4 | BGE_RESID_AGG | 16.7
DLTAPLNT18 KV GEN4 | CPP | 1.1
DLTAPLNT18 KV GEN4 | DEOK_RESID_AGG | 40.9
DLTAPLNT18 KV GEN4 | DUQ_RESID_AGG | 18.8
DLTAPLNT18 KV GEN4 | EKPC_RESID_AGG | 6.3
DLTAPLNT18 KV GEN4 | EKPC-DEOK LOAD | 0.1
DLTAPLNT18 KV GEN4 | FEOHIO_RESID_AGG | 49.4
DLTAPLNT18 KV GEN4 | PENNPOWER_RESID_AGG | 5.7
DLTAPLNT18 KV GEN4 | PEPCO DC | 8.1
DLTAPLNT18 KV GEN4 | PEPCO MD | 10.3
DLTAPLNT18 KV GEN4 | SMECO_RESID_AGG | 2.4
DLTAPLNT18 KV GEN4 | WILLIAMSTOWN | 0.1
EDGEMOOR13 KV HAYRD5 | AMP-ATSI OH | 1.4
EDGEMOOR13 KV HAYRD5 | AMP-ATSI PA | 0.1
EDGEMOOR13 KV HAYRD5 | BGE_RESID_AGG | 13.2
EDGEMOOR13 KV HAYRD5 | CPP | 0.9
EDGEMOOR13 KV HAYRD5 | DEOK_RESID_AGG | 31.1
EDGEMOOR13 KV HAYRD5 | EKPC_RESID_AGG | 4.7
EDGEMOOR13 KV HAYRD5 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD5 | FEOHIO_RESID_AGG | 39.3
EDGEMOOR13 KV HAYRD5 | PENNPOWER_RESID_AGG | 5.2
EDGEMOOR13 KV HAYRD5 | PEPCO DC | 6.2
EDGEMOOR13 KV HAYRD5 | PEPCO MD | 8.3
EDGEMOOR13 KV HAYRD5 | SMECO_RESID_AGG | 1.8
EDGEMOOR13 KV HAYRD5 | WILLIAMSTOWN | 0.1
EDGEMOOR13 KV HAYRD6 | AMP-ATSI OH | 1.4
EDGEMOOR13 KV HAYRD6 | AMP-ATSI PA | 0.1
EDGEMOOR13 KV HAYRD6 | BGE_RESID_AGG | 13.1
EDGEMOOR13 KV HAYRD6 | CPP | 0.9
EDGEMOOR13 KV HAYRD6 | DEOK_RESID_AGG | 30.8
EDGEMOOR13 KV HAYRD6 | EKPC_RESID_AGG | 4.7
EDGEMOOR13 KV HAYRD6 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD6 | FEOHIO_RESID_AGG | 39.2
EDGEMOOR13 KV HAYRD6 | PENNPOWER_RESID_AGG | 5.2
EDGEMOOR13 KV HAYRD6 | PEPCO DC | 6.1
EDGEMOOR13 KV HAYRD6 | PEPCO MD | 8.3
EDGEMOOR13 KV HAYRD6 | SMECO_RESID_AGG | 1.9
EDGEMOOR13 KV HAYRD6 | WILLIAMSTOWN | 0.1
EDGEMOOR13 KV HAYRD7 | AMP-ATSI OH | 1.4
EDGEMOOR13 KV HAYRD7 | AMP-ATSI PA | 0.1
EDGEMOOR13 KV HAYRD7 | BGE_RESID_AGG | 13
EDGEMOOR13 KV HAYRD7 | CPP | 0.9
EDGEMOOR13 KV HAYRD7 | DEOK_RESID_AGG | 30.9
EDGEMOOR13 KV HAYRD7 | EKPC_RESID_AGG | 4.7
EDGEMOOR13 KV HAYRD7 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD7 | FEOHIO_RESID_AGG | 39.1
EDGEMOOR13 KV HAYRD7 | PENNPOWER_RESID_AGG | 5.3
EDGEMOOR13 KV HAYRD7 | PEPCO DC | 6
EDGEMOOR13 KV HAYRD7 | PEPCO MD | 8.5
EDGEMOOR13 KV HAYRD7 | SMECO_RESID_AGG | 1.9
EDGEMOOR13 KV HAYRD7 | WILLIAMSTOWN | 0.1
EDGEMOOR18 KV HAYRD8 | AMP-ATSI OH | 2
EDGEMOOR18 KV HAYRD8 | AMP-ATSI PA | 0.1
EDGEMOOR18 KV HAYRD8 | BGE_RESID_AGG | 16.6
EDGEMOOR18 KV HAYRD8 | CPP | 1.3
EDGEMOOR18 KV HAYRD8 | DEOK_RESID_AGG | 44
EDGEMOOR18 KV HAYRD8 | EKPC_RESID_AGG | 7.1
EDGEMOOR18 KV HAYRD8 | EKPC-DEOK LOAD | 0.1
EDGEMOOR18 KV HAYRD8 | FEOHIO_RESID_AGG | 51.4
EDGEMOOR18 KV HAYRD8 | PENNPOWER_RESID_AGG | 5.3
EDGEMOOR18 KV HAYRD8 | PEPCO DC | 7.8
EDGEMOOR18 KV HAYRD8 | PEPCO MD | 10.8
EDGEMOOR18 KV HAYRD8 | SMECO_RESID_AGG | 2.5
EDGEMOOR18 KV HAYRD8 | WILLIAMSTOWN | 0.1
ELKHYDRO4 KV ELK | AEPAPCO_RESID_AGG | 0.4
ELKHYDRO4 KV ELK | AEPOHIO W.O. MON POWER | 5.3
ELKHYDRO4 KV ELK | BLUE RIDGE | 0.3
EVERTSUB34.5 KV ARMENIA | APS_RESID_AGG | 0.8
FOOTHILL18 KV UNIT 4 | AMP-ATSI OH | 0.2
FOOTHILL18 KV UNIT 4 | BGE_RESID_AGG | 3.7
FOOTHILL18 KV UNIT 4 | DEOK_RESID_AGG | 23.6
FOOTHILL18 KV UNIT 4 | EKPC-DEOK LOAD | 0.1
FOOTHILL18 KV UNIT 4 | PEPCO DC | 0.4
FOOTHILL18 KV UNIT 4 | PEPCO MD | 0.4
FOOTHILL18 KV UNIT 4 | SMECO_RESID_AGG | 0.2
FOOTHILL18 KV UNIT 5 | AMP-ATSI OH | 0.2
FOOTHILL18 KV UNIT 5 | BGE_RESID_AGG | 3.7
FOOTHILL18 KV UNIT 5 | DEOK_RESID_AGG | 23.6
FOOTHILL18 KV UNIT 5 | EKPC-DEOK LOAD | 0.1
FOOTHILL18 KV UNIT 5 | PEPCO DC | 0.4
FOOTHILL18 KV UNIT 5 | PEPCO MD | 0.4
FOOTHILL18 KV UNIT 5 | SMECO_RESID_AGG | 0.2
FOWLER 34.5 KV FWL2-1WF | AEPOHIO W.O. MON POWER | 3.6
FOWLER 34.5 KV FWL2-2WF | AEPOHIO W.O. MON POWER | 3.6
FOWLER 34.5 KV FWL2-3WF | AEPOHIO W.O. MON POWER | 3.6
FOWLER 34.5 KV FWL2-4WF | AEPOHIO W.O. MON POWER | 3.4
FOWLER 34.5 KV FWLR1AWF | AEPAPCO_RESID_AGG | 4
FOWLER 34.5 KV FWLR1AWF | AEPKY_RESID_AGG | 0.6
FOWLER 34.5 KV FWLR1AWF | AEPOHIO W.O. MON POWER | 10.2
FOWLER 34.5 KV FWLR1AWF | AK STEEL | 0.1
FOWLER 34.5 KV FWLR1AWF | BLUE RIDGE | 0.6
FOWLER 34.5 KV FWLR1BWF | AEPAPCO_RESID_AGG | 4
FOWLER 34.5 KV FWLR1BWF | AEPKY_RESID_AGG | 0.6
FOWLER 34.5 KV FWLR1BWF | AEPOHIO W.O. MON POWER | 9.9
FOWLER 34.5 KV FWLR1BWF | AK STEEL | 0.1
FOWLER 34.5 KV FWLR1BWF | BLUE RIDGE | 0.6
FOWLER 34.5 KV FWLR3WF | AEPAPCO_RESID_AGG | 9.5
GRAYFR_113 KV 1 GEN | AMP-ATSI OH | 1.7
GRAYFR_113 KV 1 GEN | AMP-ATSI PA | 0.1
GRAYFR_113 KV 1 GEN | BGE_RESID_AGG | 14.7
GRAYFR_113 KV 1 GEN | CPP | 1.1
GRAYFR_113 KV 1 GEN | DEOK_RESID_AGG | 37.7
GRAYFR_113 KV 1 GEN | EKPC_RESID_AGG | 6.2
GRAYFR_113 KV 1 GEN | EKPC-DEOK LOAD | 0.1
GRAYFR_113 KV 1 GEN | FEOHIO_RESID_AGG | 45.6
GRAYFR_113 KV 1 GEN | PENNPOWER_RESID_AGG | 3.9
GRAYFR_113 KV 1 GEN | PEPCO DC | 6.4
GRAYFR_113 KV 1 GEN | PEPCO MD | 9.4
GRAYFR_113 KV 1 GEN | SMECO_RESID_AGG | 2.1
GRAYFR_113 KV 1 GEN | WILLIAMSTOWN | 0.1
GREENUP | DEOK_RESID_AGG | 30.5
HOPECREE25 KV UNIT 1 | HILLSDALE_PARKRIDGE | 0.4
JKSMT_EK13.8 KV JKSMT1 | EKPC-DEOK LOAD | 0.8
JKSMT_EK13.8 KV JKSMT10 | EKPC-DEOK LOAD | 0.4
JKSMT_EK13.8 KV JKSMT2 | EKPC-DEOK LOAD | 0.8
JKSMT_EK13.8 KV JKSMT3 | EKPC-DEOK LOAD | 0.8
JKSMT_EK13.8 KV JKSMT4 | EKPC-DEOK LOAD | 0.5
JKSMT_EK13.8 KV JKSMT5 | EKPC-DEOK LOAD | 0.5
JKSMT_EK13.8 KV JKSMT6 | EKPC-DEOK LOAD | 0.5
JKSMT_EK13.8 KV JKSMT7 | EKPC-DEOK LOAD | 0.5
KENDALL 3 CC | MISO | 29
KEYSTNE 13 KV _UN1__15 | DAY_RESID_AGG | 27.1
KEYSTNE 13 KV _UN2__15 | DAY_RESID_AGG | 27.1
KEYSTNE 13 KV _UN3__15 | DAY_RESID_AGG | 27.1
KEYSTNE 13 KV _UN4__15 | DAY_RESID_AGG | 27.1
KEYSTONE20 KV UNIT 1 | BGE_RESID_AGG | 92.1
KEYSTONE20 KV UNIT 2 | BGE_RESID_AGG | 92.3
KEYSTONE20 KV UNIT 3 | BGE_RESID_AGG | 5.3
LAURELDM13.8 KV LAUREL | EKPC-DEOK LOAD | 0.5
LAWRENC218 KV S1 | AEPAPCO_RESID_AGG | 34.5
LAWRENC218 KV S1 | AEPKY_RESID_AGG | 6.7
LAWRENC218 KV S1 | AEPOHIO W.O. MON POWER | 44.2
LAWRENC218 KV S1 | AMP-OHIO | 0.6
LAWRENC218 KV S1 | BLUE RIDGE | 1.6
LAWRENC218 KV S1 | BUCK-CIN | 0.2
LAWRENC218 KV S1 | BUCKEYE - AEPOH | 1.4
LAWRENC218 KV S1 | BUCKEYE - DPL | 0.5
LAWRENC218 KV S1 | BUCK-FE | 0.5
LAWRENC218 KV S1 | EKPC_RESID_AGG | 5
LAWRENC218 KV S1 | EKPC-DEOK LOAD | 0.2
LAWRENC218 KV S2 | AEPAPCO_RESID_AGG | 3.2
LAWRENC218 KV S2 | AEPKY_RESID_AGG | 6.7
LAWRENC218 KV S2 | AEPOHIO W.O. MON POWER | 44.2
LAWRENC218 KV S2 | AMP-OHIO | 0.6
LAWRENC218 KV S2 | BLUE RIDGE | 1.5
LAWRENC218 KV S2 | BUCK-CIN | 0.2
LAWRENC218 KV S2 | BUCKEYE - AEPOH | 1.4
LAWRENC218 KV S2 | BUCKEYE - DPL | 0.5
LAWRENC218 KV S2 | BUCK-FE | 0.5
LAWRENC218 KV S2 | EKPC_RESID_AGG | 5
LAWRENC218 KV S2 | EKPC-DEOK LOAD | 0.2
LINWDPE 18 KV STM | AMP-ATSI OH | 7.2
LINWDPE 18 KV STM | AMP-ATSI PA | 0.4
LINWDPE 18 KV STM | BGE_RESID_AGG | 52.2
LINWDPE 18 KV STM | CPP | 4.6
LINWDPE 18 KV STM | DEOK_RESID_AGG | 154.4
LINWDPE 18 KV STM | DUQ_RESID_AGG | 68.9
LINWDPE 18 KV STM | EKPC_RESID_AGG | 25.8
LINWDPE 18 KV STM | EKPC-DEOK LOAD | 0.4
LINWDPE 18 KV STM | FEOHIO_RESID_AGG | 171.8
LINWDPE 18 KV STM | PENNPOWER_RESID_AGG | 11.8
LINWDPE 18 KV STM | PEPCO DC | 22.3
LINWDPE 18 KV STM | PEPCO MD | 30.3
LINWDPE 18 KV STM | SMECO_RESID_AGG | 7.9
LINWDPE 18 KV STM | WILLIAMSTOWN | 0.2
MISO | AEC - AP | 3.5
MISO | AEPAPCO_RESID_AGG | 153.4
MISO | AEPIM_RESID_AGG | 103.4
MISO | AEPKY_RESID_AGG | 27.5
MISO | AEPOHIO W.O. MON POWER | 158.4
MISO | AK STEEL | 0.6
MISO | AMP-OHIO | 19
MISO | APS_RESID_AGG | 438.7
MISO | BLUE RIDGE | 7.2
MISO | BUCK-CIN | 0.2
MISO | BUCKEYE - AEPIM | 0.1
MISO | BUCKEYE - AEPOH | 3.9
MISO | BUCKEYE - DPL | 1
MISO | BUCK-FE | 0.7
MISO | DAY_RESID_AGG | 69.1
MISO | HREA - AP | 1
MISO | LIDA - AP | 0.6
MISO | MERIDIAN EWHITLEY | 0.4
MISO | MON POWER | 15
MISO | MONT ALTO - AP | 0.1
MISO | NEWMARTINSVILLE-AP | 0.2
MISO | PHILIPPI - AP | 0.4
MISO | TARENTUM - AP | 0.2
MONTOUR 24 KV UNIT01 | EPHRATA | 0.9
MONTOUR 24 KV UNIT02 | EPHRATA | 0.9
MOTTVILL2 KV MO1 | AEPOHIO W.O. MON POWER | 0.1
MOTTVILL2 KV MO2 | AEPOHIO W.O. MON POWER | 0.1
MOTTVILL2 KV MO3 | AEPOHIO W.O. MON POWER | 0.1
MOTTVILL2 KV MO4 | AEPOHIO W.O. MON POWER | 0.1
MTNTOP 34.5 KV MHOOPWF2 | APS_RESID_AGG | 2.3
N ILLINOIS HUB | COOK | 388
NAMPTON 138 KV NUG | METED_RESID_AGG | 0.2
NYIS | AMP-OHIO | 2.5
NYIS | BUCKEYE - AEPOH | 29.3
NYIS | BUCKEYE - DPL | 5.9
NYIS | PENELEC_RESID_AGG | 3.8
PEACHBOT22 KV UNIT02 | BRUNSWICK | 0.1
PEACHBOT22 KV UNIT02 | HILLSDALE_PARKRIDGE | 0.2
PEACHBOT22 KV UNIT03 | BRUNSWICK | 0.1
PEACHBOT22 KV UNIT03 | HILLSDALE_PARKRIDGE | 0.2
PLEA APS26 KV GEN 1 | APS_RESID_AGG | 13
PLEA APS26 KV GEN 2 | APS_RESID_AGG | 7.9
PORTLAND13 KV CT 3 | METED | 0.3
PORTLAND13 KV CT 3 | METED_RESID_AGG | 3.6
PORTLAND13 KV CT 4 | METED | 0.5
PORTLAND13 KV CT 4 | METED_RESID_AGG | 4.8
PORTLAND13 KV CT 5 | AMP-METED | 0.2
PORTLAND13 KV CT 5 | METED | 4.3
PORTLAND13 KV CT 5 | METED_RESID_AGG | 41.7
PRINTZ 18 KV STG | AMP-ATSI OH | 5.8
PRINTZ 18 KV STG | AMP-ATSI PA | 0.4
PRINTZ 18 KV STG | BGE_RESID_AGG | 43
PRINTZ 18 KV STG | CPP | 3.7
PRINTZ 18 KV STG | DEOK_RESID_AGG | 124.8
PRINTZ 18 KV STG | EKPC_RESID_AGG | 20.9
PRINTZ 18 KV STG | EKPC-DEOK LOAD | 0.3
PRINTZ 18 KV STG | FEOHIO_RESID_AGG | 139
PRINTZ 18 KV STG | PENNPOWER_RESID_AGG | 9.7
PRINTZ 18 KV STG | PEPCO DC | 17.9
PRINTZ 18 KV STG | PEPCO MD | 24.5
PRINTZ 18 KV STG | SMECO_RESID_AGG | 6.3
PRINTZ 18 KV STG | WILLIAMSTOWN | 0.2
PSEGGLOB18 KV 6 | BGE_RESID_AGG | 4.8
PSEGGLOB18 KV 6 | DEOK_RESID_AGG | 26
PSEGGLOB18 KV 6 | EKPC-DEOK LOAD | 0.1
PSEGGLOB18 KV 6 | PEPCO DC | 0.9
PSEGGLOB18 KV 6 | PEPCO MD | 1
PSEGGLOB18 KV 6 | SMECO_RESID_AGG | 0.3
PSEGGLOB18 KV 7 | BGE_RESID_AGG | 4.8
PSEGGLOB18 KV 7 | DEOK_RESID_AGG | 25.8
PSEGGLOB18 KV 7 | EKPC-DEOK LOAD | 0.1
PSEGGLOB18 KV 7 | PEPCO DC | 0.9
PSEGGLOB18 KV 7 | PEPCO MD | 1
PSEGGLOB18 KV 7 | SMECO_RESID_AGG | 0.3
PSEGGLOB18 KV 8 | BGE_RESID_AGG | 4.8
PSEGGLOB18 KV 8 | DEOK_RESID_AGG | 25.8
PSEGGLOB18 KV 8 | EKPC-DEOK LOAD | 0.1
PSEGGLOB18 KV 8 | PEPCO DC | 0.9
PSEGGLOB18 KV 8 | PEPCO MD | 1
PSEGGLOB18 KV 8 | SMECO_RESID_AGG | 0.3
PSEGGLOB22 KV 5 | BGE_RESID_AGG | 11.3
PSEGGLOB22 KV 5 | DEOK_RESID_AGG | 54.3
PSEGGLOB22 KV 5 | EKPC-DEOK LOAD | 0.1
PSEGGLOB22 KV 5 | PEPCO DC | 2
PSEGGLOB22 KV 5 | PEPCO MD | 2.6
PSEGGLOB22 KV 5 | SMECO_RESID_AGG | 0.8
REDOAKB 18 KV ST | JCPL_RESID_AGG | 6.1
ROCKPOR226 KV RP1 | AEPAPCO_RESID_AGG | 285.9
ROCKPOR226 KV RP1 | AEPIM_RESID_AGG | 141.7
ROCKPOR226 KV RP1 | AEPKY_RESID_AGG | 51.9
ROCKPOR226 KV RP1 | AEPOHIO W.O. MON POWER | 297.1
ROCKPOR226 KV RP1 | AMP-OHIO | 3.6
ROCKPOR226 KV RP1 | BLUE RIDGE | 13.4
ROCKPOR226 KV RP1 | BUCK-CIN | 0.5
ROCKPOR226 KV RP1 | BUCKEYE - AEPIM | 0.1
ROCKPOR226 KV RP1 | BUCKEYE - AEPOH | 7.3
ROCKPOR226 KV RP1 | BUCKEYE - DPL | 2
ROCKPOR226 KV RP1 | BUCK-FE | 1.4
ROCKPOR226 KV RP1 | MERIDIAN EWHITLEY | 1.1
ROCKPOR226 KV RP2 | AEPAPCO_RESID_AGG | 114.3
ROCKPOR226 KV RP2 | AEPIM_RESID_AGG | 139.9
ROCKPOR226 KV RP2 | AEPKY_RESID_AGG | 51.4
ROCKPOR226 KV RP2 | AEPOHIO W.O. MON POWER | 293.3
ROCKPOR226 KV RP2 | AMP-OHIO | 3.6
ROCKPOR226 KV RP2 | BLUE RIDGE | 13
ROCKPOR226 KV RP2 | BUCK-CIN | 0.5
ROCKPOR226 KV RP2 | BUCKEYE - AEPIM | 0.1
ROCKPOR226 KV RP2 | BUCKEYE - AEPOH | 7.1
ROCKPOR226 KV RP2 | BUCKEYE - DPL | 1.9
ROCKPOR226 KV RP2 | BUCK-FE | 1.4
ROCKPOR226 KV RP2 | MERIDIAN EWHITLEY | 1.1
ROCKSPRI24 KV WCATSTG | APS_RESID_AGG | 63.8
RPMONE 18 KV 1 | AEPAPCO_RESID_AGG | 1
RPMONE 18 KV 1 | AEPKY_RESID_AGG | 6.2
RPMONE 18 KV 1 | AEPOHIO W.O. MON POWER | 12.4
RPMONE 18 KV 1 | BLUE RIDGE | 1.2
RPMONE 18 KV 2 | AEPAPCO_RESID_AGG | 1
RPMONE 18 KV 2 | AEPKY_RESID_AGG | 6.2
RPMONE 18 KV 2 | AEPOHIO W.O. MON POWER | 12.4
RPMONE 18 KV 2 | BLUE RIDGE | 1.2
RPMONE 18 KV 3 | AEPAPCO_RESID_AGG | 1
RPMONE 18 KV 3 | AEPKY_RESID_AGG | 6.2
RPMONE 18 KV 3 | AEPOHIO W.O. MON POWER | 11.8
RPMONE 18 KV 3 | BLUE RIDGE | 1.2
SALEM 25 KV SALEM1 | HILLSDALE_PARKRIDGE | 0.2
SALEM 25 KV SALEM2 | HILLSDALE_PARKRIDGE | 0.2
SANDERSO13.8 KV SAN1 | AEPIM_RESID_AGG | 2.5
SANDERSO13.8 KV SAN2 | AEPIM_RESID_AGG | 2.5
SANDERSO13.8 KV SAN3 | AEPIM_RESID_AGG | 22.5
SAYREVIL13 KV CT 1 | JCPL_RESID_AGG | 2.3
SAYREVIL13 KV CT 2 | JCPL_RESID_AGG | 2.2
SAYREVIL13 KV CT 3 | JCPL_RESID_AGG | 2.1
SAYREVIL13 KV CT 4 | JCPL_RESID_AGG | 2
SBEND 18 KV CT1 | LIDA - AP | 0.1
SBEND 18 KV CT2 | LIDA - AP | 0.1
SBEND 18 KV CT3 | LIDA - AP | 0.1
SBEND 18 KV CT4 | LIDA - AP | 0.1
SHAWNEE 13 KV SHAWNE | METED | 0.5
SHAWNEE 13 KV SHAWNE | METED_RESID_AGG | 5
SJEC 18 KV STG | AEPAPCO_RESID_AGG | 22.2
SJEC 18 KV STG | AEPKY_RESID_AGG | 40.5
SJEC 18 KV STG | AEPOHIO W.O. MON POWER | 234
SJEC 18 KV STG | AMP-OHIO | 3.5
SJEC 18 KV STG | BLUE RIDGE | 8.4
SJEC 18 KV STG | BUCK-CIN | 0.4
SJEC 18 KV STG | BUCKEYE - AEPOH | 6.7
SJEC 18 KV STG | BUCKEYE - DPL | 1.7
SJEC 18 KV STG | BUCK-FE | 1.1
SPRINGDA18 KV ST5 | LIDA - AP | 0.1
SUSQUEHA24 KV UNIT01 | BGE_RESID_AGG | 50.1
SUSQUEHA24 KV UNIT01 | EPHRATA | 1.6
SUSQUEHA24 KV UNIT01 | METED_RESID_AGG | 2.6
SUSQUEHA24 KV UNIT02 | BGE_RESID_AGG | 52.4
SUSQUEHA24 KV UNIT02 | EPHRATA | 2.2
SUSQUEHA24 KV UNIT02 | METED_RESID_AGG | 5.4
SUSQUEHA24 KV UNIT02 | PENELEC_RESID_AGG | 25
TANNERSC18 KV TC3 | MIAMIFOR18 KV G6 | 143.9
TIDD_AEP24 KV CD2 | BUCK-CIN | 7.4
TIDD_AEP26 KV CD3 | BUCK-CIN | 7.4
WCATWIND34.5 KV WLDCATWF | AEPOHIO W.O. MON POWER | 0.2
WOODBRDG18 KV CT-1A | BRUNSWICK | 0.5
WOODBRDG18 KV CT-1A | HILLSDALE_PARKRIDGE | 0.2
WOODBRDG18 KV CT-1A | PSEG_RESID_AGG | 112.8
ZELDA 18 KV UNIT 1 | BUCK-CIN | 0.1
ZELDA 18 KV UNIT 2 | BUCK-CIN | 0.1
ZELDA 18 KV UNIT 3 | BUCK-CIN | 0.1