## PJM Buy Bids-Sell Offers
Configuration of 1st Incremental Auction for 2016/2017 Delivery Year | [8 empty] | 2014-09-25 | Added Post-Clearing Credit Rates
PJM Buy Bids & Sell Offers
D3083597
Price Points for PJM Buy Bids and PJM Sell Offers ***
Location | Change in Reliability Requirement (MW) | Short-Term Resource Procurement Target Applicable Share (MW) | Uncleared PJM Buy Bids from Prior IA | Additional Buy Bids * | PJM Buy Bid (MW) ** | Capacity Type | Point 1 x-axis (MW) | Point 1 y-axis ($/MW-Day) | Point 2 x-axis (MW) | Point 2 y-axis ($/MW-Day) | Point 3 x-axis (MW) | Point 3 y-axis ($/MW-Day) | Point 4 x-axis (MW) | Point 4 y-axis ($/MW-Day) | Point 5 x-axis (MW) | Point 5 y-axis ($/MW-Day)
RTO (Rest of) | -791.7 | 425.2207 | NA | 0 | -366.5 | Annual | 0 | 0 | 366.5 | 0 | -- | -- | -- | -- | -- | --
MAAC (Rest of) | -290 | 74.6408 | NA | 0 | -215.4 | Limited | 0 | 0 | 215.4 | 0 | -- | -- | -- | -- | -- | --
EMAAC (Rest of) | -499 | 110.4392 | NA | 0 | -388.6 | Limited | 0 | 0 | 194.4 | 0 | 194.4 | 65.95 | 388.6 | 103.88 | -- | --
SWMAAC (Rest of) | -251 | 39.727 | NA | 0 | -211.3 | Annual | 0 | 0 | 211.3 | 0 | -- | -- | -- | -- | -- | --
PS (Rest of) | -159 | 29.7571 | NA | 0 | -129.2 | Limited | 0 | 154.51 | 129.2 | 232.08 | -- | -- | -- | -- | -- | --
PS NORTH | -2 | 28.0237 | NA | 5.2 | 31.2 | Limited | 0 | 249.53 | 31.2 | 212.56 | -- | -- | -- | -- | -- | --
DPL SOUTH | 36 | 13.2934 | NA | 0 | 49.3 | Limited | 0 | 239.52 | 49.3 | 121.82 | -- | -- | -- | -- | -- | --
PEPCO | -280 | 37.0669 | NA | 0 | -242.9 | Annual | 0 | 0 | 165.6 | 0 | 165.6 | 55.35 | 242.9 | 112.04 | -- | --
ATSI (Rest of) | -337 | 47.6021 | NA | 0 | -289.4 | Limited | 0 | 0 | 131.8 | 0 | 131.8 | 72.49 | 289.4 | 155.01
ATSI-CLEVELAND | 101 | 24.8692 | NA | 0 | 125.9 | Limited | 0 | 268.07 | 125.9 | 99.53 | -- | -- | -- | -- | -- | --
TOTAL | -2472.7 | 830.64 | NA | 5.2 | -1636.9
* Additional Buy Bids related to Generating Unit Capability Verification Test Requirement Transition Provision.
** A PJM Sell Offer is indicated by a negative PJM Buy Bid.
*** The price of a PJM buy bid is based on the Updated VRR Curve Increment which is the portion of the Updated VRR Curve remaining beyond the point representing all capacity already procured in prior auctions for the Delivery Year. The price of a PJM Sell Offer is based on the Updated VRR Curve Decrement which is the portion of the Updated VRR Curve to the left of the point representing all capacity already procured in prior auctions for the Delivery Year.

## 1st IA Configuration
2016-2017 1st Incremental Auction Configuration
LDA
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-C
Change in Reliability Requirement * | -2472.7 | -1445 | -624 | -531 | -161 | -2 | 36 | -280 | -236 | 101
Short-Term Resource Procurement Target Applicable Share | 830.64 | 332.9481 | 181.5134 | 76.7939 | 57.7808 | 28.0237 | 13.2934 | 37.0669 | 72.4713 | 24.8692
Change in CETL | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Import Limit Margin ** | NA | 0 | 210.9 | 3327.4 | 0 | 188.9 | 438.8 | 3813 | 0 | 1804.8
* As per Section 5.4.(c) of the PJM OATT, the reliability requirement for the RTO and each LDA will be updated since the change in reliability requirement for the RTO and each LDA or
parent of the LDA exceeds the lesser of the 500 MW or 1% threshold.
** Capacity Import Limit Margin indicates the capacity import capability remaining into the LDA.

## 1st IA Parameters
2016-2017 RPM 1st IA Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.7% | 1. Load data: from 2014 Load Report.
Pool-Wide Average EFORd | 5.64% | 2. Adjustments were made in the Zonal Peak Load Forecast of AEP, DEOK, and EKPC to account for EKPC integration.
Forecast Pool Requirement (FPR) | 1.0917
Demand Resource (DR) Factor | 0.953
Preliminary Forecast Peak Load | 162749.7
Short-Term Resource Procurement Target | 0.8*BRA STRPT
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland
CETO | NA | 6840 | 8260 | 5250 | 6180 | 2450 | 1430 | 3270 | 5850 | 3360
CETL | NA | 6495 | 8916 | 8786 | 6581 | 2936 | 1901 | 6846 | 7881 | 5245
Reliability Requirement | 177673.8 | 70854 | 39070 | 16785 | 12709 | 6438 | 3196 | 8732 | 16019 | 6265
Total Peak Load of FRR Entities | 12841.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 14019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 163654.8 | 70854 | 39070 | 16785 | 12709 | 6438 | 3196 | 8732 | 16019 | 6265
Short-Term Resource Procurement Target | 3322.56 | 1331.7922 | 726.0535 | 307.1757 | 231.1231 | 112.0947 | 53.1736 | 148.2676 | 289.885 | 99.4767
Net CONE, $/MW-Day (UCAP Price) | 330.3549 | 276.7533 | 329.7652 | 276.7533 | 329.7652 | 329.7652 | 329.7652 | 276.7533 | 362.4478 | 362.4478
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 495.53 | 415.13 | 494.65 | 415.13 | 494.65 | 494.65 | 494.65 | 415.13 | 543.67 | 543.67
Point (b) UCAP Price, $/MW-Day | 330.35 | 276.75 | 329.77 | 276.75 | 329.77 | 329.77 | 329.77 | 276.75 | 362.45 | 362.45
Point (c) UCAP Price, $/MW-Day | 66.07 | 55.35 | 65.95 | 55.35 | 65.95 | 65.95 | 65.95 | 55.35 | 72.49 | 72.49
Point (a) UCAP Level, MW | 156088.8 | 67685 | 37330.9 | 16042.6 | 12148.3 | 6159 | 3060 | 8357.3 | 15313.8 | 6003.1
Point (b) UCAP Level, MW | 161746.7 | 70134.6 | 38681.6 | 16622.9 | 12587.7 | 6381.5 | 3170.4 | 8659.2 | 15867.6 | 6219.7
Point (c) UCAP Level, MW | 167404.6 | 72584.2 | 40032.4 | 17203.2 | 13027.1 | 6604.1 | 3280.9 | 8961.1 | 16421.4 | 6436.3
Customer-Funded ICTRs Awarded | NA | 159 | NA | NA | NA | NA | 37 | NA | NA | NA
Min Ext Summer Resource Req'ment, MW | 156324.5 | 61796.6 | 28005.1 | 6975.5 | 5369.4 | 3134.1 | 1147.8 | 1432.6 | 7434 | 778.4
Min Annual Resource Req'ment, MW | 146654.8 | 57046.8 | 24048.3 | 5721.3 | 3863.1 | 2545.4 | 960.7 | 421.1 | 5768.7 | 0
FRR Load Requirements:
Min % Internal Resource Req'ment | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Min % Ext Summer Resource Req'ment | 95.52% | 94.23% | 78.24% | 46.11% | 47.22% | 56.83% | 43.85% | 19.57% | 52.33% | 15.97%
Min % Annual Resource Req'ment | 89.61% | 86.99% | 67.19% | 37.82% | 33.97% | 46.15% | 36.71% | 5.753% | 40.61% | 0%

## BRA Parameters
2016-2017 RPM Base Residual Auction Planning Parameters | [5 empty] | 2013-04-30 | 734653-v6
Updated on 4/30/2013
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.6% | 1. Load data: from 2013 Load Report.
Pool-Wide Average EFORd | 5.69% | 2. Adjustments were made in the Zonal Peak Load Forecast of AEP, DEOK, and EKPC to account for EKPC integration.
Forecast Pool Requirement (FPR) | 1.0902 | 3. See "Net CONE" worksheet for Net CONE calculations.
Demand Resource (DR) Factor | 0.955 | Planning Parameters were updated on 4/16/2013 to reflect: (1) FRR Elections for which FRR Obligations were satisfied by the 4/13/2013 deadline; (2) increased CETL for SWMAAC, PEPCO and DPL SOUTH LDAs associated with customer-funded upgrades for which ICTR certifications were made by the 3/29/2013 deadline; and (3) 13 MW decrease in EKPC forecast load due to correction of historical load data used in original EKPC load forecast.
Preliminary Forecast Peak Load | 165412
Short-Term Resource Procurement Target | 2.5%
Pre-Clearing BRA Credit Rate, $/MW | 36193.04 | Limited DR Reliability Targets revised based on FERC approved alternate methodology (Filing 20121130-er13-486-000).
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland
CETO | NA | 5220 | 6140 | 5840 | 6450 | 2450 | 1580 | 2730 | 5390 | 3800
CETL | NA | 6495 | 8916 | 8786 | 6581 | 2936 | 1901 | 6846 | 7881 | 5245
Reliability Requirement | 180332.2 | 72299 | 39694 | 17316 | 12870 | 6440 | 3160 | 9012 | 16255 | 6164
Total Peak Load of FRR Entities | 13029.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 14204.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 166127.5 | 72299 | 39694 | 17316 | 12870 | 6440 | 3160 | 9012 | 16255 | 6164
Short-Term Resource Procurement Target | 4153.2 | 1664.7403 | 907.5669 | 383.9696 | 288.9039 | 140.1184 | 66.467 | 185.3345 | 362.3563 | 124.3459
Net CONE, $/MW-Day (UCAP Price) | 330.53 | 276.9 | 329.94 | 276.9 | 329.94 | 329.94 | 329.94 | 276.9 | 362.64 | 362.64
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 495.8 | 415.35 | 494.91 | 415.35 | 494.91 | 494.91 | 494.91 | 415.35 | 543.96 | 543.96
Point (b) UCAP Price, $/MW-Day | 330.53 | 276.9 | 329.94 | 276.9 | 329.94 | 329.94 | 329.94 | 276.9 | 362.64 | 362.64
Point (c) UCAP Price, $/MW-Day | 66.11 | 55.38 | 65.99 | 55.38 | 65.99 | 65.99 | 65.99 | 55.38 | 72.53 | 72.53
Point (a) UCAP Level, MW | 157663 | 68758 | 37756.3 | 16482.7 | 12247.1 | 6132.8 | 3011.5 | 8592.8 | 15470.8 | 5879.7
Point (b) UCAP Level, MW | 163411.4 | 71259.7 | 39129.8 | 17081.8 | 12692.4 | 6355.6 | 3120.9 | 8904.6 | 16033.3 | 6093
Point (c) UCAP Level, MW | 169159.7 | 73761.4 | 40503.3 | 17681 | 13137.8 | 6578.4 | 3230.2 | 9216.5 | 16595.7 | 6306.3
Customer-Funded ICTRs Awarded | NA | 159 | NA | NA | NA | NA | 37 | NA | NA | NA
Post-Clearing BRA Credit Rate (LMT), $/MW
Post-Clearing BRA Credit Rate (ES), $/MW
Post-Clearing BRA Credit Rate (ANL), $/MW
Min Ext Summer Resource Req'ment, MW | 158512.2 | 62179.2 | 28559.2 | 7503.3 | 5483.4 | 3113.3 | 1114.3 | 1712.9 | 7668.1 | 676.8
Min Annual Resource Req'ment, MW | 149469.1 | 58109.3 | 24606.9 | 6183.2 | 4214.2 | 2503.1 | 903.5 | 750 | 6200.8 | 0
FRR Load Requirements:
Min % Internal Resource Req'ment | NA | 98.8% | 84.8% | 55.5% | 54.4% | 62.5% | 47.4% | 29.2% | 57.8% | 18.5%
Min % Ext Summer Resource Req'ment | 95.02% | 86% | 71.95% | 43.33% | 42.61% | 48.34% | 35.26% | 19.01% | 47.17% | 10.98%
Min % Annual Resource Req'ment | 89.12% | 80.37% | 61.99% | 35.71% | 32.74% | 38.87% | 28.59% | 8.323% | 38.15% | 0%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and Zonal Short-Term Resource Procurement Target.
* (Asterisk) – LDA has adequate internal resources to meet the reliability criterion.
ATSI, DPL and PS Zonal peak loads and Short-Term Resource Procurement Targets include the corresponding sub-zonal values.
LDA/Zone | CETO | CETL (Changes shown in red) | CETL to CETO Ratio | 2012 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | Short-Term Resource Procurement Target | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load**
RTO | NA | NA | NA | 154501.8 | 165412 | NA | 4153.2 | 13029.4 | 152382.6
AE | 1030 | > 1185 | > 115% | 2600 | 2782 | 1.07 | 75.8236 | 0 | 2782
AEP | 2110 | > 2427 | > 115% | 22663.9 | 24007.6 | 1.0593 | 324.4799 | 12102.3 | 11905.3
APS | 1970 | > 2266 | > 115% | 8210 | 8786 | 1.0702 | 239.4631 | 0 | 8786
ATSI | 5390 | 7881 | 146.2% | 12660 | 13295 | 1.0502 | 362.3563 | 0 | 13295
ATSI-CLEVELAND | 3800 | 5245 | 138% | NA | 4562.3 | NA | 124.3459 | 0 | 4562.3
BGE | 5130 | > 5900 | > 115% | 6870 | 7288 | 1.0608 | 198.635 | 0 | 7288
COMED | 1330 | > 1530 | > 115% | 21650 | 23504 | 1.0856 | 640.6034 | 0 | 23504
DAYTON | 960 | > 1104 | > 115% | 3230 | 3556 | 1.1009 | 96.9191 | 0 | 3556
DEOK | 3800 | > 4370 | > 115% | 5246.5 | 5572.2 | 1.0621 | 127.4938 | 894.4 | 4677.8
DLCO | 1350 | > 1553 | > 115% | 2800 | 2996 | 1.07 | 81.6562 | 0 | 2996
DOM | -70 | * | * | 18570 | 20415 | 1.0994 | 556.4125 | 0 | 20415
DPL | 1000 | > 1150 | > 115% | 3950 | 4212 | 1.0663 | 114.7984 | 0 | 4212
DPL SOUTH | 1580 | 1901 | 120.3% | NA | 2438.7 | NA | 66.467 | 0 | 2438.7
EKPC | 580 | > 667 | > 115% | 2096.4 | 2200.2 | 1.0495 | 59.0754 | 32.7 | 2167.5
JCPL | 3300 | > 3795 | > 115% | 5960 | 6381 | 1.0706 | 173.9147 | 0 | 6381
METED | 1170 | > 1346 | > 115% | 2820 | 3068 | 1.0879 | 83.6186 | 0 | 3068
PECO | 2860 | > 3289 | > 115% | 8320 | 8908 | 1.0707 | 242.7883 | 0 | 8908
PENLC | 1300 | > 1495 | > 115% | 2740 | 3044 | 1.1109 | 82.9645 | 0 | 3044
PEPCO | 2730 | 6846 | 250.8% | 6540 | 6800 | 1.0398 | 185.3345 | 0 | 6800
PL (incl. UGI) | 1360 | > 1564 | > 115% | 7075 | 7581 | 1.0715 | 206.6208 | 0 | 7581
PS | 6450 | 6581 | 102% | 10100 | 10600 | 1.0495 | 288.9039 | 0 | 10600
PS NORTH | 2450 | 2936 | 119.8% | NA | 5141 | NA | 140.1184 | 0 | 5141
RECO | NA | NA | NA | 400 | 416 | 1.04 | 11.3381 | 0 | 416
EMAAC | 6140 | 8916 | 145.2% | NA | 33299 | NA | 907.5669 | 0 | ** Used to allocate Short-Term Resource Procurement Target to Zones.
SWMAAC | 5840 | 8786 | 150.4% | NA | 14088 | NA | 383.9696 | 0
Western MAAC | -3840 | * | * | NA | 13693 | NA | 373.2038 | 0
MAAC | 5220 | 6495 | 124.4% | NA | 61080 | NA | 1664.7403 | 0
Western PJM | 5940 | > 6831 | > 115% | NA | 83917 | NA | 1932.0472 | 13029.4
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation/Limiting Facility
MAAC | Thermal/Sandy Springs-High Ridge 230 kV
EMAAC | Voltage/Loss of Keeney - Rock Springs 500 kV
SWMAAC | Thermal/Graceton - Bagley 230 kV
PS | Thermal/Roseland - Cedar Grove 230 kV F
PSNORTH | Thermal/Cedar Grove F - Clifton K 230 kV line
DPLSOUTH | Thermal/Easton - Trappe Tap 69 kV
PEPCO | Thermal/Conastone - Northwest 230 kV
ATSI | Thermal/Ashtabula 345/138 kV transformer
ATSI-CLEVELAND | Thermal/Ashtabula 345/138 kV transformer

## Updated Min Res Req'ments
2016/2017 Updated 1st IA Minimum Resource Requirements
Forecast Pool Requirement | 1.0917
Demand Resource Factor | 0.953
Quantities are in Unforced Capacity Megawatts | PJM Region | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland
Reliability Requirement adjusted for FRR | 163654.8 | 70854 | 39070 | 16785 | 12709 | 6438 | 3196 | 8732 | 16019 | 6265
CETL | NA | 6495 | 8916 | 8786 | 6581 | 2936 | 1901 | 6846 | 7881 | 5245
Updated Peak Load Forecast | 162749.7 | 60071 | 32786 | 13856 | 10416 | 5051.8 | 2397.6 | 6705 | 13013 | 4465.5
FRR Peak Load | 12841.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peak Load Forecast adjusted for FRR | 149908.3 | 60071 | 32786 | 13856 | 10416 | 5051.8 | 2397.6 | 6705 | 13013 | 4465.5
Limited Demand Resource Reliability Target
Percent of Preliminary Forecast Peak Load * | 4.7% | 4.1% | 6.3% | 7.1% | 7% | 7% | 5.9% | 6.5% | 5.2% | 5.2%
Unforced Capacity, MW | 7330.2662 | 2562.3882 | 2148.9445 | 1023.5108 | 758.5692 | 367.909 | 147.1719 | 453.428 | 704.007 | 241.5848
Extended Summer Demand Resource Reliability Target
Percent of Preliminary Forecast Peak Load | 10.9% | 11.7% | 17.9% | 15.8% | 20.9% | 18.2% | 13.4% | 21% | 17.5% | 26.5%
Unforced Capacity, MW | 16999.9791 | 7312.181 | 6105.7311 | 2277.6719 | 2264.871 | 956.5634 | 334.2549 | 1464.9213 | 2369.2544 | 1231.1534
Minimum Resource Requirements for RPM, MW
Minimum Extended Summer Resource Requirement | 156324.5 | 61796.6 | 28005.1 | 6975.5 | 5369.4 | 3134.1 | 1147.8 | 1432.6 | 7434 | 778.4
Minimum Annual Resource Requirement | 146654.8 | 57046.8 | 24048.3 | 5721.3 | 3863.1 | 2545.4 | 960.7 | 421.1 | 5768.7 | 0
Minimum Resource Requirements for FRR (% Obligation)
Minimum Extended Summer Resource Requirement | 95.52% | 94.23% | 78.24% | 46.11% | 47.22% | 56.83% | 43.85% | 19.57% | 52.33% | 15.97%
Minimum Annual Resource Requirement | 89.61% | 86.99% | 67.19% | 37.82% | 33.97% | 46.15% | 36.71% | 5.753% | 40.61% | 0%
Previously Committed Capacity (Cleared in BRA) | PJM Region | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI
Limited Resources | 9849.5 | 4264.3 | 1547.3 | 1173.3 | 550.4 | 211.3 | 98.8 | 290 | 1004.1 | 365.4
Extended Summer Resources | 2470 | 1053.4 | 437.7 | 426.2 | 61.8 | 15.3 | 6.9 | 373.9 | 799.3 | 103.3
Annual Resources | 156840.2 | 61228.7 | 29536.7 | 10450.5 | 5686.4 | 3475.5 | 1640.3 | 5429.8 | 6868.8 | 2381.3
Extended Summer Resources + Annual Resources | 159310.2 | 62282.1 | 29974.4 | 10876.7 | 5748.2 | 3490.8 | 1647.2 | 5803.7 | 7668.1 | 2484.6
Total Resources | 169159.7 | 66546.4 | 31521.7 | 12050 | 6298.6 | 3702.1 | 1746 | 6093.7 | 8672.2 | 2850

## Credit Rate
2016-2017 Pre-Clearing First Incremental Auction Credit Rates
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-C
Net CONE, $/MW-Day (UCAP Price) | 330.3549
Limited Resources
BRA Limited Resource Clearing Price, $/MW-Day | 59.37 | 119.13 | 119.13 | 119.13 | 219 | 219 | 119.13 | 119.13 | 94.45 | 94.45
Pre-Clearing 2nd IA Credit Rate (LMT), $/MW | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568
Extended Summer Resources
BRA Ext Summer Resource Clearing Price, $/MW-Day | 59.37 | 119.13 | 119.13 | 119.13 | 219 | 219 | 119.13 | 119.13 | 114.23 | 114.23
Pre-Clearing 2nd IA Credit Rate (ES), $/MW | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568
Annual Resources
BRA Annual Resource Clearing Price, $/MW-Day | 59.37 | 119.13 | 119.13 | 119.13 | 219 | 219 | 119.13 | 119.13 | 114.23 | 114.23
Pre-Clearing 2nd IA Credit Rate (ANL), $/MW | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568 | 36173.8568
2016-2017 Post-Clearing First Incremental Auction Credit Rates
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-C
Net CONE, $/MW-Day (UCAP Price) | 330.3549
Limited Resources
1st IA Limited Resource Clearing Price, $/MW-Day | 53.93 | 89.35 | 89.35 | 89.35 | 214.44 | 214.44 | 89.35 | 89.35 | 94.45 | 94.45
Post-Clearing 1st IA Credit Rate (LMT), $/MW | 7300 | 7300 | 7300 | 7300 | 15654.12 | 15654.12 | 7300 | 7300 | 7300 | 7300
Extended Summer Resources
1st IA Ext Summer Resource Clearing Price, $/MW-Day | 60 | 119.13 | 119.13 | 119.13 | 244.22 | 244.22 | 119.13 | 119.13 | 100.52 | 100.52
Post-Clearing 1st IA Credit Rate (ES), $/MW | 7300 | 8696.49 | 8696.49 | 8696.49 | 17828.06 | 17828.06 | 8696.49 | 8696.49 | 7337.96 | 7337.96
Annual Resources
1st IA Annual Resource Clearing Price, $/MW-Day | 60 | 119.13 | 119.13 | 119.13 | 244.22 | 244.22 | 119.13 | 119.13 | 100.52 | 100.52
Post-Clearing 1st IA Credit Rate (ANL), $/MW | 7300 | 8696.49 | 8696.49 | 8696.49 | 17828.06 | 17828.06 | 8696.49 | 8696.49 | 7337.96 | 7337.96