## Summary
MOPR Floor Offer Prices for 2018/2019 3rd Incremental Auction (UCAP Price $/MW-Day) (1)
CONE Area 1 includes the following Transmission Zones: AE, DPL, JCPL, PECO, PSEG, RECO
CONE Area 2 includes the following Transmission Zones: BGE, PEPCO
CONE Area 3 includes the following Transmission Zones: AEP, APS, ATSI, COMED, DAYTON, DEOK, DOMINION, DUQUESNE, EKPC.
CONE Area 4 includes the following Transmission Zones: METED, PENELEC, PPL.
| Resource Type | Cone Area 1 | Cone Area 2 | Cone Area 3 | Cone Area 4
| Combustion Turbine | 230.91 | 210.59 | 237.03 | 201.17
| Combined Cycle | 213.96 | 163.43 | 227.22 | 175.37
| Other Resource Types (2) | 179.6 | 163.79 | 184.36 | 156.46
(1) | On December 8, 2017, the FERC issued a Remand Order rejecting PJM’s Minimum Offer Price Rule (“MOPR”) proposal in Docket No. ER13-535. As a result of the order, all RPM Auctions conducted as of December 8, 2017, will be conducted under the MOPR rules that were in effect just prior to PJM's December 7, 2012 MOPR filing.
(2) | Under the rules in effect prior to PJM's December 7, 2012 MOPR filing, resource types other than CTs and CCs are subject to MOPR. The MOPR Floor Offer Price is specified as $0.00 for nuclear, coal, IGCC, hydro, wind and solar facilities and is set equal to 70% of the CT Net CONE for all other resource types.

## MOPR Price Calculations
MOPR Floor Offer Prices for 2018/2019 RPM 3rd Incremental Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price/(1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2018/2019 |  | 5.71%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, COMED, DAYTON, DEOK, DOMINION, DUQUESNE, EKPC
CONE Area 4: METED, PENELEC, PPL
Combustion Turbine
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4
2018/2019 BRA CONE: Levelized Revenue Requirement, $/MW-Year | 132200 | 130300 | 128900 | 130300
Zone in the CONE Area with highest energy revenue | DPL | BGE | APS | PENELEC
Historic (2012-2014) Net Energy Revenue Offset for the Zone with highest energy revenues in the CONE Area, $/MW-Year | 41700.8702 | 47570.7399 | 36061.5368 | 51175.4083
Ancillary Services Offset, $/MW-Year per Tariff | 2199 | 2199 | 2199 | 2199
Net CONE, $/MW-Day, ICAP Price | 241.9182 | 220.6308 | 248.3273 | 210.755
Net CONE, $/MW-Day, UCAP Price | 256.57 | 233.99 | 263.37 | 223.52
MOPR Floor Offer Price for Combustion Turbine: 90% Net CONE, $/MW-Day, UCAP Price | 230.91 | 210.59 | 237.03 | 201.17
Combined Cycle
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4
2018/2019 BRA CONE: Levelized Revenue Requirement, $/MW-Year | 185700 | 176000 | 172600 | 179400
Zone in the CONE Area with highest energy revenue | DPL | BGE | APS | PENELEC
Historic (2012-2014) Net Energy Revenue Offset for the Zone with highest energy revenues in the CONE Area, $/MW-Year | 100685.9279 | 110307.0972 | 82511.9925 | 109138.8815
Ancillary Services Offset, $/MW-Year per Tariff | 3198 | 3198 | 3198 | 3198
Net CONE, $/MW-Day, ICAP Price | 224.1536 | 171.2189 | 238.0548 | 183.7346
Net CONE, $/MW-Day, UCAP Price | 237.73 | 181.59 | 252.47 | 194.86
MOPR Floor Offer Prices for Combined Cycle: 90% Net CONE, $/MW-Day, UCAP Price | 213.96 | 163.43 | 227.22 | 175.37