## 2018-19 BRA scenarios
Scenario # | Scenario Description | Auction Results | RTO | MAAC | EMAAC | SWMAAC | PSEG | PS-NORTH | DPL-SOUTH | PEPCO | ATSI | ATSI-C | COMED | BGE | PPL
Base | Actual 2018/2019 results | CP RCP | 164.77 | 164.77 | 225.42 | 164.77 | 225.42 | 225.42 | 225.42 | 164.77 | 164.77 | 164.77 | 215 | 164.77 | 164.77
|  | Base Capacity Gen RCP | 149.98 | 149.98 | 210.63 | 149.98 | 210.63 | 210.63 | 210.63 | 149.98 | 149.98 | 149.98 | 200.21 | 149.98 | 75
|  | Base DR/EE RCP | 149.98 | 149.98 | 210.63 | 59.95 | 210.63 | 210.63 | 210.63 | 41.09 | 149.98 | 149.98 | 200.21 | 59.95 | 75
|  | Cleared CP Generation MW | 138228.9 | 52669.8 | 22766.6 | 9162.5 | 4793.1 | 3003.6 | 1261.3 | 4786.2 | 8505.1 | 1984.9 | 19807.8 | 1971.2 | 8122
|  | Cleared BC Generation MW | 16277.1 | 8856.8 | 6573.5 | 672.8 | 111.4 | 30 | 345.4 | 103 | 750.7 | 0 | 891.5 | 569.8 | 663.7
|  | Cleared CP DR MW | 1484.2 | 554.6 | 152.4 | 106.9 | 15.7 | 3.5 | 9 | 33.8 | 68.1 | 17.6 | 221 | 73.1 | 233.5
|  | Cleared BC DR MW | 9600.2 | 3731.4 | 1522.2 | 1076.2 | 366.5 | 129.1 | 77.8 | 489.3 | 808.9 | 250 | 1655.7 | 586.9 | 482.7
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 359.2 | 14 | 2.7 | 11.2 | 1.7 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 166836.9 | 66071.2 | 31069 | 11180.7 | 5300.8 | 3168 | 1693.5 | 5478.7 | 10171.6 | 2258.1 | 23320.4 | 3296.9 | 9526.9
1 | Unconstrained Simulation - Remove LDA import limits | CP RCP | 185.07 | 185.07 | 185.07 | 185.07 | 185.07 | 185.07 | 185.07 | 185.07 | 185.07 | 185.07 | 185.07 | 185.07 | 185.07
|  | Base Capacity Gen RCP | 164.37 | 164.37 | 164.37 | 164.37 | 164.37 | 164.37 | 164.37 | 164.37 | 164.37 | 164.37 | 164.37 | 164.37 | 89.03
|  | Base DR/EE RCP | 164.37 | 164.37 | 164.37 | 59.95 | 164.37 | 164.37 | 164.37 | 41.09 | 164.37 | 164.37 | 164.37 | 59.95 | 89.03
|  | Cleared CP Generation MW | 137473.5 | 51760.7 | 21279.5 | 9435.1 | 4324.2 | 2671.2 | 1281 | 4786.2 | 8793.2 | 2100.8 | 19489 | 2243.8 | 8258.7
|  | Cleared BC Generation MW | 16286.9 | 8917.1 | 6533 | 672.8 | 111.4 | 30 | 304.9 | 103 | 750.7 | 0 | 901.8 | 569.8 | 663.7
|  | Cleared CP DR MW | 1502.3 | 572.7 | 150.9 | 113.3 | 14.7 | 2.5 | 8.7 | 39.4 | 68.1 | 17.6 | 221 | 73.9 | 246.7
|  | Cleared BC DR MW | 9590.5 | 3737.4 | 1523.3 | 1076.2 | 360.9 | 129.9 | 79.2 | 489.3 | 804.2 | 246.1 | 1653.4 | 586.9 | 482.7
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 359.1 | 13.9 | 2.6 | 11.2 | 1.6 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 166099.6 | 65246.4 | 29540.9 | 11459.7 | 4825.2 | 2835.4 | 1673.8 | 5484.3 | 10455 | 2370.1 | 23009.6 | 3570.3 | 9676.8
2 | Remove 3000 MW of CP supply from bottom of supply curve in region outside of MAAC (1806 MW in rest of RTO, 760 MW in ComEd, 285 MW in rest of ATSI, 149 MW in ATSI-Cleveland) | CP RCP | 188.26 | 188.26 | 225.36 | 188.26 | 225.36 | 225.36 | 225.36 | 188.26 | 188.26 | 188.26 | 220 | 188.26 | 188.26
|  | Base Capacity Gen RCP | 176.9 | 176.9 | 214 | 176.9 | 214 | 214 | 214 | 176.9 | 176.9 | 176.9 | 208.64 | 176.9 | 90.37
|  | Base DR/EE RCP | 176.9 | 176.9 | 214 | 68 | 214 | 214 | 214 | 41.09 | 176.9 | 176.9 | 208.64 | 68 | 90.37
|  | Cleared CP Generation MW | 137363.3 | 53534.4 | 22766.6 | 9628.5 | 4793.1 | 3003.6 | 1261.3 | 4786.2 | 8359.2 | 1951.8 | 19768.1 | 2437.2 | 8258.7
|  | Cleared BC Generation MW | 16224.6 | 8909.7 | 6573.5 | 672.8 | 111.4 | 30 | 345.4 | 103 | 750.7 | 0 | 901.8 | 569.8 | 663.7
|  | Cleared CP DR MW | 1496.3 | 574.3 | 152.3 | 114 | 15.7 | 3.5 | 8.7 | 39.4 | 68.1 | 17.6 | 221 | 74.6 | 247.8
|  | Cleared BC DR MW | 9652.7 | 3741.6 | 1522.6 | 1076.2 | 366.6 | 129.2 | 78 | 489.3 | 816.2 | 252.2 | 1655.6 | 586.9 | 482.7
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 359.2 | 14 | 2.7 | 11.2 | 1.7 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 165983.4 | 67018.6 | 31069.3 | 11653.8 | 5300.9 | 3168.1 | 1693.4 | 5484.3 | 10033 | 2227.2 | 23290.9 | 3764.4 | 9677.9
3 | Add 3000 MW of CP supply to bottom of supply curve in region outside of MAAC (1806 MW in rest of RTO, 760 MW in ComEd, 285 MW in rest of ATSI, 149 MW in ATSI-Cleveland) | CP RCP | 148.5 | 149.27 | 225.36 | 149.27 | 225.36 | 225.36 | 225.36 | 149.27 | 148.5 | 148.5 | 174.42 | 149.27 | 149.27
|  | Base Capacity Gen RCP | 127.5 | 128.27 | 204.36 | 128.27 | 204.36 | 204.36 | 204.36 | 128.27 | 127.5 | 127.5 | 153.42 | 128.27 | 70.95
|  | Base DR/EE RCP | 127.5 | 128.27 | 204.36 | 49.95 | 204.36 | 204.36 | 204.36 | 41.09 | 127.5 | 127.5 | 153.42 | 49.95 | 70.95
|  | Cleared CP Generation MW | 138902.2 | 51349.6 | 22766.6 | 9162.5 | 4793.1 | 3003.6 | 1261.3 | 4786.2 | 8788.1 | 2097.7 | 20073.8 | 1971.2 | 7238
|  | Cleared BC Generation MW | 16303.1 | 8861.6 | 6573.5 | 576.8 | 111.4 | 30 | 345.4 | 103 | 750.7 | 0 | 884 | 473.8 | 663.7
|  | Cleared CP DR MW | 1401.9 | 472.3 | 152.3 | 56.9 | 15.7 | 3.5 | 8.7 | 27.5 | 68.1 | 17.6 | 221 | 29.4 | 201.3
|  | Cleared BC DR MW | 9574.2 | 3731.8 | 1522.6 | 1076.2 | 366.6 | 129.2 | 78 | 489.3 | 803.5 | 250 | 1635.3 | 586.9 | 482.7
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 359.2 | 14 | 2.7 | 11.2 | 1.7 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 167427.9 | 64673.9 | 31069.3 | 11034.7 | 5300.9 | 3168.1 | 1693.4 | 5472.4 | 10449.2 | 2370.9 | 23558.5 | 3157.2 | 8610.7
4 | Remove 6000 MW of CP supply from bottom of supply curve in region outside of MAAC (3612 MW in rest of RTO, 1520 MW in ComEd, 570 MW in rest of ATSI, 298 MW in ATSI-Cleveland) | CP RCP | 205.28 | 205.28 | 225.36 | 205.28 | 225.36 | 225.36 | 225.36 | 205.28 | 205.28 | 205.28 | 224.85 | 205.28 | 205.28
|  | Base Capacity Gen RCP | 193.92 | 193.92 | 214 | 193.92 | 214 | 214 | 214 | 193.92 | 193.92 | 193.92 | 213.49 | 193.92 | 109.37
|  | Base DR/EE RCP | 193.92 | 193.92 | 214 | 68.37 | 214 | 214 | 214 | 41.09 | 193.92 | 193.92 | 213.49 | 68.37 | 109.37
|  | Cleared CP Generation MW | 136711.7 | 54567.7 | 22766.6 | 9996.1 | 4793.1 | 3003.6 | 1261.3 | 5153.8 | 8210.7 | 1899.3 | 19757.4 | 2437.2 | 8916.8
|  | Cleared BC Generation MW | 16158.3 | 8896.2 | 6573.5 | 701.9 | 111.4 | 30 | 345.4 | 103 | 750.7 | 0 | 884 | 598.9 | 628.7
|  | Cleared CP DR MW | 1518.4 | 587.4 | 152.5 | 126.9 | 15.7 | 3.5 | 8.7 | 48.7 | 68.6 | 18.1 | 221 | 78.2 | 247.8
|  | Cleared BC DR MW | 9719 | 3783.5 | 1522.4 | 1076.2 | 366.6 | 129.2 | 78 | 489.3 | 823 | 254 | 1655.6 | 586.9 | 517.7
|  | Cleared CP EE MW | 898.1 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 359.2 | 14 | 2.7 | 11.2 | 1.7 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 165364.7 | 68093.4 | 31069.3 | 12063.4 | 5300.9 | 3168.1 | 1693.4 | 5861.2 | 9891.8 | 2177 | 23262.4 | 3797.1 | 10336
5 | Add 6000 MW of CP supply to bottom of supply curve in region outside of MAAC (3612 MW in rest of RTO, 1520 MW in ComEd, 570 MW in rest of ATSI, 298 MW in ATSI-Cleveland) | CP RCP | 120.51 | 149.19 | 225.38 | 149.19 | 225.38 | 225.38 | 225.38 | 149.19 | 120.51 | 120.51 | 160 | 149.19 | 149.19
|  | Base Capacity Gen RCP | 100 | 128.68 | 204.88 | 128.68 | 204.88 | 204.88 | 204.88 | 128.68 | 100 | 100 | 139.49 | 128.68 | 70.95
|  | Base DR/EE RCP | 100 | 128.68 | 204.88 | 49.95 | 204.88 | 204.88 | 204.88 | 41.09 | 100 | 100 | 139.49 | 49.95 | 70.95
|  | Cleared CP Generation MW | 139937.2 | 51158 | 22667.9 | 9162.5 | 4793.1 | 3003.6 | 1261.3 | 4786.2 | 9137.5 | 2246.7 | 20179.6 | 1971.2 | 7238
|  | Cleared BC Generation MW | 16567.2 | 9056.3 | 6672.2 | 579.9 | 111.4 | 30 | 345.4 | 103 | 750.7 | 0 | 884 | 476.9 | 663.7
|  | Cleared CP DR MW | 1383.8 | 470.3 | 151.9 | 55.3 | 15.7 | 3.5 | 8.7 | 27.5 | 66.7 | 16.2 | 221 | 27.8 | 201.3
|  | Cleared BC DR MW | 9310 | 3732.1 | 1522.9 | 1076.2 | 366.6 | 129.2 | 78 | 489.3 | 768.4 | 236.8 | 1614.8 | 586.9 | 482.7
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 359.2 | 14 | 2.7 | 11.2 | 1.7 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 168444.7 | 64675.3 | 31069.2 | 11036.2 | 5300.9 | 3168.1 | 1693.4 | 5472.4 | 10762.1 | 2505.3 | 23643.8 | 3158.7 | 8610.7
6 | Remove 3000 MW of CP supply from bottom of supply curve in MAAC (300 MW in rest of MAAC, 1001 MW in rest of EMAAC, 264 MW in rest of PS, 252 MW in PS-North, 122 MW in DPL-South, 331 MW in PEPCO, 359 MW in BGE, 371 MW in PL) | CP RCP | 179.33 | 179.33 | 239.02 | 179.33 | 239.02 | 239.02 | 239.02 | 179.33 | 179.33 | 179.33 | 215 | 179.33 | 179.33
|  | Base Capacity Gen RCP | 155.31 | 155.31 | 215 | 155.31 | 215 | 215 | 215 | 155.31 | 155.31 | 155.31 | 190.98 | 155.31 | 90.37
|  | Base DR/EE RCP | 155.31 | 155.31 | 215 | 59.95 | 215 | 215 | 215 | 41.09 | 155.31 | 155.31 | 190.98 | 59.95 | 90.37
|  | Cleared CP Generation MW | 137677.6 | 51604.5 | 22319 | 8615.7 | 4434.8 | 2765.3 | 1139.3 | 4455.2 | 8717.7 | 2082.7 | 19822.9 | 1755.4 | 7887.7
|  | Cleared BC Generation MW | 16237.2 | 9044.5 | 6955.1 | 672.8 | 493 | 30 | 345.4 | 103 | 750.7 | 0 | 876.5 | 569.8 | 663.7
|  | Cleared CP DR MW | 1506.1 | 574.8 | 153 | 113.3 | 15.7 | 3.5 | 8.7 | 39.4 | 68.1 | 17.6 | 221 | 73.9 | 246.7
|  | Cleared BC DR MW | 9640.1 | 3738.7 | 1521.9 | 1076.2 | 366.6 | 129.2 | 78 | 489.3 | 816.2 | 252.2 | 1655.6 | 586.9 | 482.7
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 359.2 | 14 | 2.7 | 11.2 | 1.7 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 166307.5 | 65221.1 | 31003.3 | 10640.3 | 5324.2 | 2929.8 | 1571.4 | 5153.3 | 10391.5 | 2358.1 | 23320.4 | 3081.9 | 9305.8
7 | Add 3000 MW of CP supply to bottom of supply curve in MAAC (300 MW in rest of MAAC, 1001 MW in rest of EMAAC, 264 MW in rest of PS, 252 MW in PS-North, 122 MW in DPL-South, 331 MW in PEPCO, 359 MW in BGE, 371 MW in PL) | CP RCP | 150 | 150 | 185.34 | 150 | 185.34 | 185.34 | 185.34 | 150 | 150 | 150 | 215 | 150 | 150
|  | Base Capacity Gen RCP | 130 | 130 | 165.34 | 130 | 165.34 | 165.34 | 85 | 130 | 130 | 130 | 195 | 130 | 70.95
|  | Base DR/EE RCP | 130 | 130 | 165.34 | 49.95 | 165.34 | 165.34 | 85 | 41.09 | 130 | 130 | 195 | 49.95 | 70.95
|  | Cleared CP Generation MW | 138830.7 | 53625.6 | 23065.8 | 9852.5 | 4931.6 | 2949.9 | 1316.8 | 5117.2 | 8402.9 | 1960.5 | 19739.5 | 2330.2 | 8043.8
|  | Cleared BC Generation MW | 16327.8 | 8805.4 | 6619.2 | 579.9 | 111.4 | 30 | 391.1 | 103 | 750.7 | 0 | 959.9 | 476.9 | 663.7
|  | Cleared CP DR MW | 1418.9 | 489.3 | 169.3 | 56.9 | 14.7 | 2.5 | 27.1 | 27.5 | 68.1 | 17.6 | 221 | 29.4 | 201.3
|  | Cleared BC DR MW | 9549.6 | 3686.9 | 1477.7 | 1076.2 | 357.7 | 129.4 | 46.5 | 489.3 | 803.5 | 250 | 1655.6 | 586.9 | 482.7
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 359.1 | 13.9 | 2.6 | 11.2 | 1.6 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 167373.4 | 66865.7 | 31386.2 | 11727.8 | 5429.4 | 3113.6 | 1781.5 | 5803.4 | 10064 | 2233.7 | 23320.4 | 3519.3 | 9416.5
8 | Remove 6000 MW of CP Supply from bottom of supply curve in MAAC (600 MW in rest of MAAC, 2002 MW in rest of EMAAC, 528 MW in rest of PS, 504 MW in PS-North, 244 MW in DPL-South, 662 MW in PEPCO, 718 MW in BGE, 742 MW in PL) | CP RCP | 196.77 | 196.77 | 412.39 | 196.77 | 412.39 | 412.39 | 412.39 | 196.77 | 196.77 | 196.77 | 215 | 196.77 | 196.77
|  | Base Capacity Gen RCP | 166.04 | 166.04 | 381.66 | 166.04 | 381.66 | 381.66 | 381.66 | 166.04 | 166.04 | 166.04 | 184.27 | 166.04 | 90.37
|  | Base DR/EE RCP | 166.04 | 166.04 | 381.66 | 68 | 381.66 | 381.66 | 381.66 | 41.09 | 166.04 | 166.04 | 184.27 | 68 | 90.37
|  | Cleared CP Generation MW | 137043.6 | 50434.6 | 21502.4 | 8616.1 | 4437.3 | 2572.4 | 1017.3 | 4491.8 | 8883.4 | 2118.3 | 19822.9 | 1719.2 | 7834.1
|  | Cleared BC Generation MW | 16227.7 | 9033.9 | 6899.5 | 672.8 | 665.3 | 30 | 345.4 | 103 | 750.7 | 0 | 876.5 | 569.8 | 663.7
|  | Cleared CP DR MW | 1511.6 | 581.3 | 152.8 | 120.5 | 15.7 | 3.5 | 8.7 | 45.9 | 68.6 | 18.1 | 221 | 74.6 | 247.8
|  | Cleared BC DR MW | 9644.3 | 3741.2 | 1522.2 | 1076.2 | 366.6 | 129.2 | 78 | 489.3 | 815.9 | 251.9 | 1655.6 | 586.9 | 482.7
|  | Cleared CP EE MW | 882.5 | 239.8 | 46.8 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 364.5 | 19.3 | 8 | 11.2 | 1.9 | 1.1 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 165674.2 | 64050.1 | 30131.7 | 10647.9 | 5499.2 | 2737.1 | 1449.4 | 5196.4 | 10557.4 | 2393.9 | 23320.4 | 3046.4 | 9253.3
9 | Add 6000 MW of CP supply to bottom of supply curve in MAAC (600 MW in rest of MAAC, 2002 MW in rest of EMAAC, 528 MW in rest of PS, 504 MW in PS-North, 244 MW in DPL-South, 662 MW in PEPCO, 718 MW in BGE, 742 MW in PL) | CP RCP | 143.22 | 143.22 | 168.74 | 143.22 | 168.74 | 168.74 | 168.74 | 143.22 | 143.22 | 143.22 | 215 | 143.22 | 143.22
|  | Base Capacity Gen RCP | 123.21 | 123.21 | 148.73 | 123.21 | 148.73 | 148.73 | 85 | 123.21 | 123.21 | 123.21 | 194.99 | 123.21 | 64.73
|  | Base DR/EE RCP | 123.21 | 123.21 | 148.73 | 49.95 | 148.73 | 148.73 | 85 | 41.09 | 123.21 | 123.21 | 194.99 | 49.95 | 64.73
|  | Cleared CP Generation MW | 139190.9 | 54368.2 | 23231.2 | 10459.6 | 4544.7 | 2961.3 | 1425.1 | 5379.4 | 8354.1 | 1948.7 | 19775.1 | 2675.1 | 7980
|  | Cleared BC Generation MW | 16299.1 | 8746 | 6619.2 | 567.1 | 111.4 | 30 | 391.1 | 103 | 750.7 | 0 | 924.3 | 464.1 | 617.1
|  | Cleared CP DR MW | 1305.4 | 375.8 | 169.3 | 37.2 | 14.7 | 2.5 | 27.1 | 27.5 | 68.1 | 17.6 | 221 | 9.7 | 107.5
|  | Cleared BC DR MW | 9578.5 | 3721 | 1465.2 | 1076.2 | 351.2 | 128.3 | 46.5 | 489.3 | 803.5 | 250 | 1655.6 | 586.9 | 529.3
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 358.9 | 13.7 | 2.4 | 11.2 | 1.4 | 0.7 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 167620.1 | 67469.3 | 31538.9 | 12302.4 | 5035.8 | 3123.7 | 1889.8 | 6065.6 | 10015.2 | 2221.9 | 23320.4 | 3831.7 | 9258.9
10 | Use VRR curve shape and Net CONE values of the 2017/2018 BRA | CP RCP | 159.78 | 159.78 | 224.77 | 159.78 | 224.77 | 224.77 | 224.77 | 159.78 | 159.78 | 159.78 | 216.32 | 159.78 | 159.78
|  | Base Capacity Gen RCP | 137 | 137 | 201.99 | 137 | 201.99 | 201.99 | 201.99 | 137 | 137 | 137 | 193.54 | 137 | 75
|  | Base DR/EE RCP | 137 | 137 | 201.99 | 59.95 | 201.99 | 201.99 | 201.99 | 41.09 | 137 | 137 | 193.54 | 59.95 | 75
|  | Cleared CP Generation MW | 137361.3 | 51895.1 | 22692.4 | 9162.5 | 4917 | 3003.6 | 1261.3 | 4786.2 | 8505.1 | 1984.9 | 19790.8 | 1971.2 | 7672.8
|  | Cleared BC Generation MW | 16627.1 | 9155.7 | 6771.6 | 672.8 | 111.4 | 30 | 345.4 | 103 | 750.7 | 0 | 909.3 | 569.8 | 663.7
|  | Cleared CP DR MW | 1338.1 | 449.8 | 144.8 | 49.3 | 14.8 | 2.3 | 8.3 | 26.5 | 66.8 | 17.4 | 210.6 | 22.8 | 196.9
|  | Cleared BC DR MW | 9266.9 | 3654.3 | 1475.4 | 1076.7 | 353.2 | 124.5 | 76.7 | 489.8 | 769 | 237.7 | 1601.2 | 586.9 | 482.7
|  | Cleared CP EE MW | 844.5 | 232.2 | 48.7 | 143.9 | 11.6 | 0.8 | 0 | 53 | 9.8 | 0 | 510.5 | 90.9 | 23.7
|  | Cleared BC EE MW | 342.5 | 13.4 | 2.6 | 10.7 | 1.7 | 0.9 | 0 | 10.2 | 27.2 | 5.4 | 199 | 0.5 | 0.1
|  | Total Cleared MW | 165780.4 | 65400.5 | 31135.5 | 11115.9 | 5409.7 | 3162.1 | 1691.7 | 5468.7 | 10128.6 | 2245.4 | 23221.4 | 3242.1 | 9039.9
11 | Use VRR curve shape of the 2017/2018 BRA | CP RCP | 152.98 | 152.98 | 212.79 | 152.98 | 212.79 | 212.79 | 212.79 | 152.98 | 152.98 | 152.98 | 205 | 152.98 | 152.98
|  | Base Capacity Gen RCP | 128.27 | 128.27 | 188.08 | 128.27 | 188.08 | 188.08 | 188.08 | 128.27 | 128.27 | 128.27 | 180.29 | 128.27 | 70
|  | Base DR/EE RCP | 128.27 | 128.27 | 188.08 | 49.95 | 188.08 | 188.08 | 188.08 | 41.09 | 128.27 | 128.27 | 180.29 | 49.95 | 70
|  | Cleared CP Generation MW | 136859.6 | 51721.1 | 22590.2 | 9162.5 | 4793.1 | 3003.6 | 1261.3 | 4786.2 | 8429.6 | 1966.8 | 19593.4 | 1971.2 | 7672.8
|  | Cleared BC Generation MW | 16241.9 | 8864.6 | 6573.5 | 579.8 | 111.4 | 30 | 345.4 | 103 | 750.7 | 0 | 909.3 | 476.8 | 663.7
|  | Cleared CP DR MW | 1420.1 | 488 | 154.8 | 56.9 | 16.7 | 3.5 | 9 | 27.5 | 70.1 | 18.3 | 221 | 29.4 | 214.5
|  | Cleared BC DR MW | 9635.4 | 3750.8 | 1541.6 | 1076.2 | 365.5 | 129.9 | 80.2 | 489.3 | 801.5 | 249.3 | 1680 | 586.9 | 482.7
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 359.2 | 14 | 2.7 | 11.2 | 1.7 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 0.5 | 0.1
|  | Total Cleared MW | 165403.5 | 65083.1 | 30914.4 | 11037.7 | 5300.8 | 3168.8 | 1695.9 | 5472.4 | 10090.7 | 2240 | 23148.1 | 3160.2 | 9058.7
12 | Remove Base DR/EE and Base Capacity constraints for all LDA's but maintain for overall RTO | CP RCP | 160 | 160 | 220.94 | 160 | 220.94 | 220.94 | 220.94 | 160 | 160 | 160 | 213.97 | 160 | 160
|  | Base Capacity Gen RCP | 137 | 137 | 197.94 | 137 | 197.94 | 197.94 | 197.94 | 137 | 137 | 137 | 190.97 | 137 | 137
|  | Base DR/EE RCP | 137 | 137 | 197.94 | 137 | 197.94 | 197.94 | 197.94 | 137 | 137 | 137 | 190.97 | 137 | 137
|  | Cleared CP Generation MW | 138630.6 | 52493.5 | 23060 | 9244.7 | 4828.5 | 3003.6 | 1215.6 | 4812.4 | 8505.1 | 1984.9 | 19804.6 | 2027.2 | 7526.8
|  | Cleared BC Generation MW | 15531.2 | 8724.8 | 6280 | 590.5 | 76 | 30 | 391.1 | 76.7 | 750.7 | 0 | 876.5 | 513.8 | 1101.4
|  | Cleared CP DR MW | 1255.4 | 314.7 | 157.8 | 8.9 | 17.7 | 4.5 | 9 | 2.4 | 70.1 | 18.3 | 223 | 6.5 | 80.5
|  | Cleared BC DR MW | 10307.9 | 4428.7 | 1538.6 | 1463.4 | 364.5 | 128.9 | 80.2 | 662.6 | 804.7 | 249.3 | 1678 | 800.8 | 782.1
|  | Cleared CP EE MW | 887.3 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 397.4 | 52.2 | 2.7 | 49.4 | 1.7 | 0.9 | 0 | 10.7 | 28.5 | 5.6 | 208.8 | 38.7 | 0.1
|  | Total Cleared MW | 167009.8 | 66258.5 | 31090.7 | 11508 | 5300.8 | 3168.8 | 1695.9 | 5620.5 | 10169.4 | 2258.1 | 23326.5 | 3482.4 | 9515.8
13 | 100% CP requirements | CP RCP | 236.67 | 236.67 | 427.23 | 236.67 | 427.23 | 427.23 | 427.23 | 236.67 | 236.67 | 236.67 | 250 | 236.67 | 236.67
|  | Base Capacity Gen RCP | 236.67 | 236.67 | 427.23 | 236.67 | 427.23 | 427.23 | 427.23 | 236.67 | 236.67 | 236.67 | 250 | 236.67 | 236.67
|  | Base DR/EE RCP | 236.67 | 236.67 | 427.23 | 236.67 | 427.23 | 427.23 | 427.23 | 236.67 | 236.67 | 236.67 | 250 | 236.67 | 236.67
|  | Cleared CP Generation MW | 159264.6 | 64260.3 | 29547.6 | 10150.8 | 6060.3 | 3076.4 | 1596.4 | 5238.3 | 10146 | 2312.5 | 21770.3 | 2507.4 | 9882.3
|  | Cleared BC Generation MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cleared CP DR MW | 4181.9 | 1170.2 | 476.7 | 148.6 | 107.2 | 40.4 | 36.8 | 53.7 | 352.6 | 68.8 | 836 | 94.9 | 309.6
|  | Cleared BC DR MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cleared CP EE MW | 972.1 | 244.6 | 51.6 | 151.1 | 12.4 | 0.9 | 0 | 55.7 | 10.3 | 0 | 535.6 | 95.4 | 24.9
|  | Cleared BC EE MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Cleared MW | 164418.6 | 65675.1 | 30075.9 | 10450.5 | 6179.9 | 3117.7 | 1633.2 | 5347.7 | 10508.9 | 2381.3 | 23141.9 | 2697.7 | 10216.8
Notes:
(1) Incremental supply additions and removals have been allocated to LDAs based on LDA pro-rata share of the peak-load of the region to which supply is being added or removed.
(2) In scenarios 2 through 5, the rest of RTO area includes the AEP, APS, DAY, DEOK, DUQ, DOM and EKPC zones; and the rest of ATSI area includes the ATSI zone outside of the ATSI-Cleveland LDA.
(3) In scenarios 6 through 9, the rest of MAAC area includes the Penelec and MetEd zones; the rest of EMAAC area includes the AECO, JCPL, PECO zones and the DPL zone outside of the DPL-South LDA; and the
rest of PS area includes the PS zone outside of the PS-North LDA.