## PJM Buy Bids-Sell Offers
Configuration of 1st Incremental Auction for 2018/2019 Delivery Year | [8 empty] | 2016-09-26
PJM Buy Bids & Sell Offers
37209166
Price Points for PJM Buy Bids and PJM Sell Offers ***
Location | Change in Reliability Requirement (MW) | Uncleared PJM Buy Bids from Prior IA | Additional Buy Bids * | PJM Buy Bid (MW) ** | Capacity Type | Point 1 x-axis (MW) | Point 1 y-axis ($/MW-Day) | Point 2 x-axis (MW) | Point 2 y-axis ($/MW-Day) | Point 3 x-axis (MW) | Point 3 y-axis ($/MW-Day) | Point 4 x-axis (MW) | Point 4 y-axis ($/MW-Day)
RTO (Rest of) | 80.2494 | NA | 0 | 0 | -- | -- | -- | -- | -- | -- | -- | -- | --
MAAC (Rest of) | -1544.7 | NA | 0 | -777.3 | BaseGen | 0 | 17.39 | 777.3 | 63.84 | -- | -- | -- | --
EMAAC (Rest of) | -793.2 | NA | 0 | -793.2 | BaseGen | 0 | 74.46 | 793.2 | 164.42 | -- | -- | -- | --
SWMAAC (Rest of) | 68.3 | NA | 0 | 0 | -- | -- | -- | -- | -- | -- | -- | -- | --
PS (Rest of) | -259.7 | NA | 0 | -259.7 | BaseGen | 0 | 104.76 | 259.7 | 199.72 | -- | -- | -- | --
PS NORTH | -59.3 | NA | 0 | -59.3 | BaseGen | 0 | 181.77 | 59.3 | 223.27 | -- | -- | -- | --
DPL SOUTH | -138.7 | NA | 0 | -138.7 | BaseGen | 0 | 30.08 | 128.8 | 194.22 | 138.7 | 218.19 | -- | --
PEPCO | -15.8 | NA | 0 | -15.8 | BaseGen | 0 | 156.93 | 15.8 | 164.13 | -- | -- | -- | --
ATSI (Rest of) | -252.2 | NA | 0 | -252.2 | BaseGen | 0 | 76.76 | 252.2 | 141.49 | -- | -- | -- | --
ATSI-CLEVELAND | -77.1 | NA | 0 | -77.1 | BaseGen | 0 | 110.14 | 77.1 | 162.4 | -- | -- | -- | --
COMED | -1043.4494 | NA | 0 | -1043.4 | BaseGen | 0 | 22.78 | 1043.4 | 208.87 | -- | -- | -- | --
BGE | -249.8 | NA | 0 | -249.8 | BaseGen | 0 | 58.23 | 249.8 | 161.54 | -- | -- | -- | --
PL | 618.9 | NA | 0 | 0 | -- | -- | -- | -- | -- | -- | -- | -- | --
TOTAL | -3666.5 | NA | 0 | -3666.5
* Additional Buy Bids to account for Non-Viable DR commitments related to DR Legacy DLC Transition Provision. None for this auction.
** A PJM Sell Offer is indicated by a negative PJM Buy Bid. The 777.3 MW MAAC Sell Offer reflects the net of a 1,544.7 MW MAAC Sell Offer with a 80.2 MW RTO Buy Bid, 618.9 MW PL Buy Bid, and 68.3 MW SWMAAC Buy Bid.
*** The price of a PJM buy bid is based on the Updated VRR Curve Increment which is the portion of the Updated VRR Curve remaining beyond the point representing all capacity already procured in prior auctions for the Delivery Year. The price of a PJM Sell Offer is based on the Updated VRR Curve Decrement which is the portion of the Updated VRR Curve to the left of the point representing all capacity already procured in prior auctions for the Delivery Year.

## 1st IA Configuration
2018-2019 1st Incremental Auction Configuration
LDA
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-C | COMED | BGE | PL
1st IA Reliability Requirement | 156940.9 | 67479.6 | 37284.3 | 16014.3 | 12097.1 | 6319.8 | 3011 | 8165.4 | 15718.8 | 5952.6 | 26661.2266 | 8456.9 | 10659
BRA Reliability Requirement | 160607.4 | 69853.6 | 38535.2 | 16211.6 | 12416.1 | 6379.1 | 3149.7 | 8181.2 | 16048.1 | 6029.7 | 27704.676 | 8706.7 | 10040.1
Change in Reliability Requirement * | -3666.5 | -2374 | -1250.9 | -197.3 | -319 | -59.3 | -138.7 | -15.8 | -329.3 | -77.1 | -1043.4494 | -249.8 | 618.9
Change in CETL | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Import Limit Margin ** | NA | 1668.3 | 0 | 3643.2 | 502.4 | 391.5 | 180.7 | 4085.7 | 2804.6 | 575.4 | 0 | 869 | 3656.1
* As per Section 5.4.(c) of the PJM OATT, the reliability requirement for the RTO and each LDA will be updated since the change in reliability requirement for the RTO and each LDA or parent of the LDA exceeds the lesser of the 500 MW or 1% threshold.
** Capacity Import Limit Margin indicates the capacity import capability remaining into the LDA.

## 1st IA Parameters
2018-2019 RPM First Incremental Auction Planning Parameters
RTO
Installed Reserve Margin (IRM) | 16.5%
Pool-Wide Average EFORd | 6.58%
Forecast Pool Requirement (FPR) | 1.0883
Demand Resource (DR) Factor | NA
Preliminary Forecast Peak Load | 156141.1 | Load forecast from 2016 Load Report adjusted for Non-Zone Load..
Short-Term Resource Procurement Target | NA |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | 31264.57 | 26692.67 | 32710.24 | 32710.24 | 28355.68
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
CETO | NA | -7870 | 1470 | 2950 | 5430 | 2350 | 1190 | 1720 | 3690 | 3360 | 1900 | 4260 | -60
CETL | NA | 7883 | 8375 | 9888 | 7926 | 3761 | 1702 | 7045 | 9240 | 4557 | 5227 | 6527 | 4538
Reliability Requirement | 169928.3591 | 67221 | 37230 | 15852 | 12083 | 6318 | 3011 | 8099 | 15680 | 5947 | 26262 | 8361 | 10634
Total Peak Load of FRR Entities | 13079.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 356 | 0 | 0
Preliminary FRR Obligation | 14234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 387.4 | 0 | 0
Reliability Requirement adjusted for FRR | 155694.4 | 67221 | 37230 | 15852 | 12083 | 6318 | 3011 | 8099 | 15680 | 5947 | 25916.8266 | 8361 | 10634
Short-Term Resource Procurement Target | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
EE Cleared in Prior Auction (UCAP) | 1246.5 | 258.6 | 54.3 | 162.3 | 14.1 | 1.8 | 0 | 66.4 | 38.8 | 5.6 | 744.4 | 95.9 | 25
Reliability Requirement with EE Addback | 156940.9 | 67479.6 | 37284.3 | 16014.3 | 12097.1 | 6319.8 | 3011 | 8165.4 | 15718.8 | 5952.6 | 26661.2266 | 8456.9 | 10659
Net CONE, $/MW-Day (UCAP Price) | 301.31 | 272.3389 | 285.5212 | 243.7687 | 298.7237 | 298.7237 | 258.956 | 251.3573 | 272.389 | 272.389 | 321.0786 | 236.17 | 285.4912
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 451.97 | 408.5133 | 428.2818 | 382.1285 | 448.0905 | 448.0905 | 388.434 | 382.1285 | 408.5835 | 408.5835 | 481.6228 | 382.1285 | 428.2417
Point (b) UCAP Price, $/MW-Day | 225.98 | 204.25 | 214.14 | 182.83 | 224.04 | 224.04 | 194.22 | 188.52 | 204.29 | 204.29 | 240.81 | 177.13 | 214.12
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 156671.5 | 67363.8 | 37220.3 | 15986.8 | 12076.3 | 6309 | 3005.8 | 8151.4 | 15691.8 | 5942.4 | 26615.5 | 8442.4 | 10640.7
Point (b) UCAP Level, MW | 160847.6 | 69159.3 | 38212.4 | 16412.9 | 12398.2 | 6477.1 | 3086 | 8368.7 | 16110.1 | 6100.8 | 27324.9 | 8667.4 | 10924.3
Point (c) UCAP Level, MW | 168795.7 | 72576.8 | 40100.6 | 17224 | 13010.9 | 6797.2 | 3238.4 | 8782.2 | 16906.1 | 6402.2 | 28675.1 | 9095.7 | 11464.1
Participant-Funded ICTRs Awarded | NA | 892 | NA | NA | NA | NA | 72 | NA | NA | NA | NA | NA | NA
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 89.1% | NA | NA

## BRA Parameters
2018-2019 RPM Base Residual Auction Planning Parameters | [5 empty] | 2015-08-26 | #4368641
Added Post-Clearing BRA Credit Rates
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.7% | From 2014 Reserve Requirement Study.
Pool-Wide Average EFORd | 6.35% | Includes OMC outages
Forecast Pool Requirement (FPR) | 1.0835 | Based on Pool-Wide EFORd including OMC outages
Demand Resource (DR) Factor | NA | DR Factor eliminated
Preliminary Forecast Peak Load | 161418.4 | Load data: from 2015 Load Report with adjustments due to load served outside PJM.
Short-Term Resource Procurement Target | NA | STRPT eliminated
Base Capacity Resource Pre-Clearing BRA Credit Rate, $/MW | 32912.42 | Capacity Performance Resource Credit Rates are based on the Net CONE of the modeled LDA in which the planned resource is located (see pre-clearing credit rate applicable to each modeled LDA below)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
CETO | NA | -1900 | 2850 | 5160 | 5800 | 2350 | 1360 | 3470 | 4520 | 3340 | 860 | 4550 | -500
CETL | NA | 7883 | 8375 | 9888 | 7926 | 3761 | 1702 | 7045 | 9240 | 4557 | 5227 | 6527 | 4538
Reliability Requirement | 174896.8 | 69853.6 | 38535.2 | 16211.6 | 12416.1 | 6379.1 | 3149.7 | 8181.2 | 16048.1 | 6029.7 | 28045.8 | 8706.7 | 10040.1
Total Peak Load of FRR Entities | 13188.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 343.3 | 0 | 0
Preliminary FRR Obligation | 14289.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 372 | 0 | 0
Reliability Requirement adjusted for FRR | 160607.4 | 69853.6 | 38535.2 | 16211.6 | 12416.1 | 6379.1 | 3149.7 | 8181.2 | 16048.1 | 6029.7 | 27704.676 | 8706.7 | 10040.1
Short-Term Resource Procurement Target | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Net CONE, $/MW-Day (UCAP Price) | 300.57 | 271.67 | 284.82 | 243.17 | 297.99 | 297.99 | 258.32 | 250.74 | 271.72 | 271.72 | 320.29 | 235.59 | 284.79
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 450.86 | 407.51 | 427.23 | 381.19 | 446.99 | 446.99 | 387.48 | 381.19 | 407.58 | 407.58 | 480.44 | 381.19 | 427.19
Point (b) UCAP Price, $/MW-Day | 225.43 | 203.75 | 213.62 | 182.38 | 223.49 | 223.49 | 193.74 | 188.06 | 203.79 | 203.79 | 240.22 | 176.69 | 213.59
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 160329.8 | 69732.9 | 38468.6 | 16183.6 | 12394.6 | 6368.1 | 3144.3 | 8167.1 | 16020.4 | 6019.3 | 27656.8 | 8691.6 | 10022.7
Point (b) UCAP Level, MW | 164633 | 71604.5 | 39501.1 | 16617.9 | 12727.3 | 6539 | 3228.6 | 8386.3 | 16450.3 | 6180.8 | 28399.1 | 8924.9 | 10291.8
Point (c) UCAP Level, MW | 172823 | 75166.6 | 41466.1 | 17444.6 | 13360.5 | 6864.3 | 3389.3 | 8803.5 | 17268.7 | 6488.3 | 29811.9 | 9368.9 | 10803.7
Participant-Funded ICTRs Awarded | NA | 892 | NA | NA | NA | NA | 72 | NA | NA | NA | NA | NA | NA
Capacity Performance Resource Pre-Clearing BRA Credit Rate, $/MW | 54854.03 | 49579.78 | 51979.65 | 44378.53 | 54383.18 | 54383.18 | 47143.4 | 45760.05 | 49588.9 | 49588.9 | 58452.93 | 42995.18 | 51974.18
Participant-Funded ICTRs Awarded | NA | 892 | NA | NA | NA | NA | 72 | NA | NA | NA | NA | NA | NA
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 97% | 86.4% | 43% | 40.8% | 48.7% | 55.8% | 16.1% | 48.6% | 30.6% | 91.7% | 28.5% | 69.7%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO | CETL | CETL to CETO Ratio % | 2014 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load
RTO | NA | NA | NA | 156414.7 | 161418.4 | NA | 13188.2 | 148230.2
AE | 640 | > 736 | > 115% | 2610 | 2634 | 1.0092 | 0 | 2634
AEP | 1710 | > 1967 | > 115% | 22760 | 23224 | 1.0204 | 11945.3 | 11278.7
APS | 2520 | > 2898 | > 115% | 8350 | 8713 | 1.0435 | 0 | 8713
ATSI | 4520 | 9240 | 204.4% | 12760 | 12924 | 1.0129 | 0 | 12924
ATSI-CLEVELAND | 3340 | 4557 | 136.4% | NA | 4444.6 | NA | 0 | 4444.6
BGE | 4550 | 6527 | 143.5% | 6940 | 7062 | 1.0176 | 0 | 7062
COMED | 860 | 5227 | 607.8% | 21970 | 22959 | 1.045 | 343.3 | 22615.7
DAYTON | 920 | > 1058 | > 115% | 3290 | 3506 | 1.0657 | 0 | 3506
DEOK | 4130 | > 4750 | > 115% | 5310 | 5425 | 1.0217 | 878 | 4547
DLCO | 1590 | > 1829 | > 115% | 2830 | 2908 | 1.0276 | 0 | 2908
DOM | -1320 | * | * | 19090 | 20557 | 1.0768 | 0 | 20557
DPL | 1030 | > 1185 | > 115% | 4020 | 4164 | 1.0358 | 0 | 4164
DPL SOUTH | 1360 | 1702 | 125.1% | NA | 2396 | NA | 0 | 2396
EKPC | 630 | > 725 | > 115% | 2144.7 | 2259.4 | 1.0535 | 21.6 | 2237.8
JCPL | 3280 | > 3772 | > 115% | 6090 | 6236 | 1.024 | 0 | 6236
METED | 1190 | > 1369 | > 115% | 2850 | 2958 | 1.0379 | 0 | 2958
PECO | 2850 | > 3278 | > 115% | 8380 | 8622 | 1.0289 | 0 | 8622
PENLC | 230 | > 265 | > 115% | 2770 | 2923 | 1.0552 | 0 | 2923
PEPCO | 3470 | 7045 | 203% | 6540 | 6500 | 0.99388 | 0 | 6500
PL (incl. UGI) | -500 | 4538 | * | 7145 | 7287 | 1.0199 | 0 | 7287
PS | 5800 | 7926 | 136.7% | 10160 | 10146 | 0.99862 | 0 | 10146
PS NORTH | 2350 | 3761 | 160% | NA | 4963.4 | NA | 0 | 4963.4
RECO | NA | NA | NA | 405 | 411 | 1.0148 | 0 | 411
EMAAC | 2850 | 8375 | 293.9% | NA | 32213 | NA | 0
SWMAAC | 5160 | 9888 | 191.6% | NA | 13562 | NA | 0
Western MAAC | -7320 | * | * | NA | 13168 | NA | 0
MAAC | -1900 | 7883 | * | NA | 58943 | NA | 0
Western PJM | 4800 | > 5520 | > 115% | NA | 81918.4 | NA | 13188.2
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation/Limiting Facility
MAAC | Thermal / Sandy Spring - High Ridge 230 kV
EMAAC | Voltage / Low voltage magnitude at Cochranville 230 kV
SWMAAC | Thermal / Conastone - Northwest '2322' 230 kV
PS | Thermal / Roseland - Cedar Grove 230 kV
PSNORTH | Thermal / Roseland - Cedar Grove 230 kV
DPLSOUTH | Thermal / Red Lion - Cedar Creek 230 kV
PEPCO | Thermal / Burches Hill -Talbert '068' 230 kV
ATSI | Thermal / Tidd - Collier 345 kV
ATSI-CLEVELAND | Turned off all internal generation
COMED | Thermal / Loretto - Wilton 345 kV Blue line
BGE | Thermal / Pumphrey 230/115 kV transformer
PL | Thermal / Wescoville 500/138 kV transformer

## Base Capacity Constraints
2018/2019 Base Capacity Constraints
Forecast Pool Requirement | 1.0883
Pool-Wide Average EFORd for 2018/2019 including OMC outages | 6.58%
Demand Resource Factor | NA
Quantities are in Unforced Capacity Megawatts | PJM Region | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Updated Peak Load Forecast | 156141.1 | 56982 | 30947 | 13118 | 9863 | 4918.7 | 2274.3 | 6353 | 12545 | 4197.6 | 21693 | 6765 | 7234
FRR Peak Load | 13079.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 356 | 0 | 0
Peak Load Forecast adjusted for FRR | 143062 | 56982 | 30947 | 13118 | 9863 | 4918.7 | 2274.3 | 6353 | 12545 | 4197.6 | 21337 | 6765 | 7234
EE Addback to Peak Load Forecast | 1145.3643 | 237.6183 | 49.8943 | 149.1317 | 12.956 | 1.654 | 0 | 61.0126 | 35.6519 | 5.1456 | 684.0026 | 88.1191 | 22.9716
Base Capacity DR Constraint
Percent of Updated Forecast Peak Load | 6.9% | 19.2% | 11.2% | 6.6% | 11% | 4.1% | 5.3% | 8.7% | 14.4% | 14.9% | 14.2% | 6.7% | 12.7%
Base Capacity DR Constraint as Unforced Capacity | 10828.9203 | 11956.2452 | 3778.1991 | 952.9489 | 1182.2803 | 219.5477 | 131.1814 | 607.2922 | 1971.5794 | 681.5034 | 3403.0949 | 499.7027 | 1003.0158
Base Capacity Constraint
Percent of Updated Forecast Peak Load | 16.8% | 31.5% | 42.7% | 21.4% | 47.5% | 36.3% | 14.5% | 28.9% | 27.2% | 23.6% | 53.1% | 16.7% | 14.6%
Base Capacity Constraint as Unforced Capacity | 22632.7113 | 16838.1887 | 12364.7665 | 2652.349 | 4382.4061 | 1668.5639 | 308.0744 | 1731.6795 | 3196.7739 | 926.5844 | 10923.7429 | 1069.1647 | 989.8016
DR Constraints for FRR Load (ICAP as % of peak load)
Base Capacity DR Constraint | 6.9% | 19.2% | 11.2% | 6.6% | 11% | 4.1% | 5.3% | 8.7% | 14.4% | 14.9% | 14.2% | 6.7% | 12.7%
Base Capacity Constraint | 16.8% | 31.5% | 42.7% | 21.4% | 47.5% | 36.3% | 14.5% | 28.9% | 27.2% | 23.6% | 53.1% | 16.7% | 14.6%
Previously Committed Capacity (Cleared in BRA) | PJM Region | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Base Capacity DR/EE | 9959.4 | 3745.4 | 1524.9 | 1087.4 | 368.2 | 130 | 77.8 | 500 | 837.4 | 255.6 | 1864.5 | 587.4 | 482.8
Base Capacity Generation | 16277.1 | 8856.8 | 6573.5 | 672.8 | 111.4 | 30 | 345.4 | 103 | 750.7 | 0 | 891.5 | 569.8 | 663.7
CP Resources | 140600.4 | 53469 | 22970.6 | 9420.5 | 4821.2 | 3008 | 1270.3 | 4875.7 | 8583.5 | 2002.5 | 20564.4 | 2139.7 | 8380.4
Base Capacity | 26236.5 | 12602.2 | 8098.4 | 1760.2 | 479.6 | 160 | 423.2 | 603 | 1588.1 | 255.6 | 2756 | 1157.2 | 1146.5
Total Resources | 166836.9 | 66071.2 | 31069 | 11180.7 | 5300.8 | 3168 | 1693.5 | 5478.7 | 10171.6 | 2258.1 | 23320.4 | 3296.9 | 9526.9

## Cap Import Limits
2018/2019 Capacity Import Limits in Megawatts
External Source Zone
| Simultaneous | North | West 1 | West 2 | South 1 | South 2
First Contingency Total Transfer Capability (FCTTC) | 7707 | 168 | 1276 | 5193 | 670 | 362
Capacity Benefit Margin (CBM) | 3500 | 76 | 579 | 2358 | 304 | 164
Confirmed NEDTS* | 10749 | 188 | 2337 | 5461 | 2092 | 671
Approved CIL Exception Requests* | 5424.4 | 0 | 1916 | 2399 | 840.4 | 269
Capacity Import Limit (CIL) for use in BRA ** | 0 | 92 | 0 | 436 | 0 | 0
Notes:
* Updated on 9/13/2016 to reflect updated approved CIL exception requests as of 9/13/2016. Confirmed NEDTS values as of 9/6/2016.
** In addition to ensuring that the CIL used in the auction plus the granted exceptions to not exceed the granted Network External Designated (NED) transmission service less the CBM, PJM is also ensuring that the CIL used in the auction plus the granted exceptions does not exceed the FCTTC less the CBM. Because the simultaneous limit is zero, no imports will be cleared in the auction other than those for which a CIL exception was granted.

## Credit Rates
2018-2019 Pre-Clearing 1st IA Credit Rates
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Net CONE, $/MW-Day (UCAP Price) | 301.31 | 272.3389 | 285.5212 | 243.7687 | 298.7237 | 298.7237 | 258.956 | 251.3573 | 272.389 | 272.389 | 321.0786 | 236.17 | 285.4912
BRA Base Capacity DR/EE Resource Clearing Price, $/MW-day | 149.98 | 149.98 | 210.63 | 59.95 | 210.63 | 210.63 | 210.63 | 41.09 | 149.98 | 149.98 | 200.21 | 59.95 | 75
BRA Base Capacity Resource Clearing Price, $/MW-day | 149.98 | 149.98 | 210.63 | 149.98 | 210.63 | 210.63 | 210.63 | 149.98 | 149.98 | 149.98 | 200.21 | 149.98 | 75
Base Capacity DR/EE Resources Credit Rate, $/MW | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45
Base Capacity Resources Credit Rate, $/MW | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45 | 32993.45
Capacity Performance Resources Credit Rate, $/MW | 54989.08 | 49701.84 | 52107.62 | 44487.78 | 54517.07 | 54517.07 | 47259.47 | 45872.71 | 49710.99 | 49710.99 | 58596.84 | 43101.03 | 52102.14
2018-2019 Post-Clearing 1st IA Credit Rates
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Net CONE, $/MW-Day (UCAP Price) | 301.31 | 272.3389 | 285.5212 | 243.7687 | 298.7237 | 298.7237 | 258.956 | 251.3573 | 272.389 | 272.389 | 321.0786 | 236.17 | 285.4912
Net CONE, $/MW-Day (ICAP Price) | 281.4838 | 254.419 | 266.7339 | 227.7287 | 279.0676 | 279.0676 | 241.9167 | 234.818 | 254.4658 | 254.4658 | 299.9516 | 220.63 | 266.7058
1st IA Base Capacity DR/EE Resource Clearing Price, $/MW-day | 22.51 | 22.51 | 80.04 | 22.51 | 80.04 | 80.04 | 35.68 | 22.51 | 22.51 | 22.51 | 25.36 | 22.51 | 22.51
1st IA Base Capacity Resource Clearing Price, $/MW-day | 22.51 | 22.51 | 80.04 | 22.51 | 80.04 | 80.04 | 35.68 | 22.51 | 22.51 | 22.51 | 25.36 | 22.51 | 22.51
1st IA Capacity Performance Resource Clearing Price, $/MW-day | 27.15 | 27.15 | 84.68 | 27.15 | 84.68 | 84.68 | 84.68 | 27.15 | 27.15 | 27.15 | 30 | 27.15 | 27.15
Base Capacity DR/EE Resources Credit Rate, $/MW | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300
Base Capacity Resources Credit Rate, $/MW | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300 | 7300
Capacity Performance Resources Credit Rate, $/MW | 54989.08 | 49701.84 | 52107.62 | 44487.78 | 54517.07 | 54517.07 | 47259.47 | 45872.71 | 49710.99 | 49710.99 | 58596.84 | 43101.03 | 52102.14

## Non-Viable DR
2018/2019 1st IA Non-Viable DR Commitments Related to DR Legacy DLC Transition Provision
No requests received for this auction.
Zone/Sub Zone | Annual DR | Extended Summer DR | Limited DR
AE | 0 | 0 | 0
AEP | 0 | 0 | 0
APS | 0 | 0 | 0
ATSI | 0 | 0 | 0
ATSI-C | 0 | 0 | 0
BGE | 0 | 0 | 0
COMED | 0 | 0 | 0
DAYTON | 0 | 0 | 0
DEOK | 0 | 0 | 0
DLCO | 0 | 0 | 0
DOM | 0 | 0 | 0
DPL | 0 | 0 | 0
DPLSOUTH | 0 | 0 | 0
EKPC | 0 | 0 | 0
JCPL | 0 | 0 | 0
METED | 0 | 0 | 0
PECO | 0 | 0 | 0
PENELEC | 0 | 0 | 0
PEPCO | 0 | 0 | 0
PL | 0 | 0 | 0
PS | 0 | 0 | 0
PSNORTH | 0 | 0 | 0
RECO | 0 | 0 | 0
Total | 0 | 0 | 0
Rest of LDA | Annual DR | Extended Summer DR | Limited DR | Cumulative-Annual DR | Cumulative-Extended Summer DR | Cumulative-Limited DR | Total-Rest of LDA | Total-Cumulative
RTO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MAAC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EMAAC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SWMAAC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PSNORTH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPLSOUTH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PEPCO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ATSI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ATSI-CLEVELAND | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
COMED | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BGE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0